| Experiment 1 (186 days) |  |  |  |  | Experiment 2 (123 days) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Phase | Phase description | Period (days) | Hydraulic loading (l/day) | Mean faeces addition (g/day) | Vermifilter | Hydraulic loading (l/day) | Mean faeces addition (g/day) | Final vermicompost weight (kg) | Final worm density (kg/m2) |
| 1 | 50 g feed | 1-30 | 12 | 45 ±15 | 1 | 30 | 157 ±45 | 3.2 | 11.8 |
| 2 | 100 g feed | 31-47 | 12 | 97 ±1 | 2 | 12 | 157 ±46 | 3.9 | 11.3 |
| 3 | Resting phase | 48-71 | 1 | 0 | 3 | 1 | 155 ±46 | 3.9 | 8.3 |
| 4 | Variable phase | 72-186 | 12 | 99 ±66 | 4 | 0 | 158 ±46 | 1.9 | 8.0 |

Note: all masses are expressed as wet weights