# A Song of Pressure and Flow, or There and Back Again

James P. Howard, MA, MB BChir, MRCP (1) and Venkatesh L. Murthy, MD, PhD, FACC (2)

- National Heart and Lung Institute, Imperial College London, London, UK

- Division of Cardiovascular Medicine, Department of Internal Medicine and Frankel Cardiovascular Center, University of Michigan, Ann Arbor, MI

Correspondence:

Venkatesh L. Murthy

1338 Cardiovascular Center

1500 E. Medical Center Dr, SPC 5873

Ann Arbor, MI 48109-5873

Tel:	1-734-936-5387

Fax:	1-734-232-3246

Email:	vlmurthy@med.umich.edu

Keywords:	Fractional Flow Reserve; Quantitative Flow Reserve; Coronary Flow Reserve; Adenosine

It has been over two decades since fractional flow reserve (FFR) was introduced, and it now plays a central role in guidelines for stable coronary artery disease.(1,2) FFR is calculated as the ratio of the pressure distal to a stenosis (Pd) to the pressure proximal to a stenosis (Pa) during hyperaemia. However, FFR’s adoption has been slow, with international uptake estimated below 10%.(3) Reasons for this may include the costs and practicalities of administering adenosine, patient discomfort during hyperaemia and safety concerns in certain patient subgroups.(4)

In this issue of JACC: Cardiovascular Interventions, Mejía-Rentería et al.(5) investigate the diagnostic performance of the ‘quantitative flow ratio’ (QFR), a physiological assessment which hopes to provide a faster, safer and cheaper surrogate measure of FFR which does not require passing of a coronary pressure wire or pharmacological hyperaemia. The diagnostic performance of QFR has been investigated in small studies previously.(6,7) However, because it relies on angiographic flow-measurements, Mejía-Rentería et al. wished to investigate whether coronary microcirculatory parameters could affect its accuracy. The authors now show that QFR’s diagnostic performance, when judged against FFR, does degrade in patients with coronary microcirculatory dysfunction (CMD), as high microvascular resistance causes the positive predictive value to decrease from 93 to 67%.

The method of QFR calculation used by the authors requires two pieces of information. First, a 3-dimensional model of the stenosis is constructed from two angiographic views. Second, the flow velocity in the vessel is measured using simple ‘frame counting’ of contrast. Using these data, the pressure drops over the length of the vessel can be simulated, and the QFR calculated.

QFR, therefore, indirectly estimates coronary pressure ratios by measuring flow, whilst FFR uses direct measurements of coronary pressure. Given this, FFR, fractional flow reserve, may seem a surprising name for a ratio of pressures; and indeed this gives interesting insights into the history of coronary physiology.

## Coronary flow measurements and the birth of coronary physiology

Myocardial ischaemia in patients with stable angina develops when myocardial oxygen demand exceeds what the coronary circulation can supply. This supply can be thought of as the volume of blood delivered to a tissue per second (cm3/s) and can be quantified simply by multiplying the blood flow velocity through the vessel (cm/s) by the vessel’s cross-sectional area (cm2).

By the early 1990s, technology had evolved sufficiently to allow velocity sensors to be mounted on angioplasty guidewires.(8) By measuring coronary flow velocity at rest, and also during hyperaemia, physicians could now estimate a vessel’s ability to meet the increased flow requirements during exercise. The ratio of flow velocity during hyperaemia to that at rest was termed the coronary flow (velocity) reserve (CFR). Observational data showed that using a CFR cut-off of 2.0 provided superior risk-stratification in patients with intermediate severity coronary lesions than single photon emission computer tomography (SPECT).(9)

## The era of pressure-derived coronary physiology

However, these flow-measuring guidewires could also measure pressure. Initially it was unclear how the pressure throughout the cardiac cycle could be interpreted. Like in an electrical circuit, pressure (or voltage, V) = flow (or current, I) × resistance (R), so pressure across the cardiac cycle could only become an accurate surrogate for flow if resistance across the coronary circulation was constant. Pijls et al. proposed, however, that during hyperaemia, resistance is low and varies minimally. They therefore published a paper covering the experimental basis for a pressure-derived estimate of flow reserve, fractional flow reserve (FFR).(10) More recently, investigators have hypothesised performing pressure measurements during the ‘wave free’ period of diastole where resistance is naturally minimal and constant, providing the instantaneous wave-free ratio (iFR).

With time, these more practical pressure-based measurements have gained popularity. Not only are the pressure-sensing guidewires cheaper and easier to use than the flow-measuring models, but studies showed data can be useful for treatment decision making at the stenosis-level. The loss in pressure across a stenosis is related to the flow-limiting potential of the lesion.(10) This was in contrast to CFR, where an abnormally low value could represent limitations to flow anywhere along the vessel length, including the distal microcirculation.

The data supporting FFR’s use in intermediate coronary stenoses followed over the next two decades. The DEFER,(11) FAME(12) and FAME-2(13) studies went on to show the safety of deferring PCI in patients with FFRs > 0.75, and reduced composite endpoints (largely urgent revascularisation) from intervening on lesions with FFRs < 0.80.

As with many other indices, patients requiring clinical assessment often have values close to the clinical cut-offs of CFR and FFR, and in these patients recent data show that CFR and FFR discordance occurs in around one third of patients.(14) Interestingly, in these discordant cases, it appears it is the CFR which better categorises the high-risk patients, rather than FFR. This begs the question: is it flow we should be trying to measure in these patients with intermediate stenoses, rather than pressure? Or even both? One might argue the strength of pressure-derived measurements lies in their ability to identify focal pressure drops over lesions and guide revascularisation strategies, whilst CFR seems to provide more accurate information on disease severity and prognostication. Perhaps, by combining these two measures patients can be managed to the best of our current evidence base.

## A flow renaissance?

At first the results of this new study might appear disappointing. In patients without haemodynamically significant lesions (as judged by FFR) but with high microvascular resistance, QFR gives ‘false positives’. However, is this a fair assessment? Possibly not, and there are two reasons we might be optimistic.

First, one could argue QFR’s utility could lie in identifying patients at low risk who do not need to progress to direct FFR measurement with a pressure wire. If so, this study’s results are encouraging, with the negative predictive value remaining as high at 87% even in patients with CMD.

Second, we must remember FFR is only estimating flow by measuring pressure, despite its name. Ironically, QFR is now trying to estimate pressure gradients by measuring flow. This may strike the reader as peculiar when one remembers the prognostic importance of CFR in CFR/FFR discordance.(14) One therefore has to wonder: in patients with high microvascular resistance and lower coronary blood flow, maybe these ‘false positives’ for QFR are not so ‘false’ after all?

Conversely, we don’t currently know the significance of the rarer ‘false negative’ QFR readings, i.e. patients with FFRs below 0.80 but normal QFRs. Hopefully future studies investigating the relationship between QFR, FFR and CFR will demonstrate whether such cases are truly failures of QFR to identify flow-limiting lesions, or instead cases where CFR is preserved and QFR identifies patients who are at lower risk. (14)

We commend the authors for this study; any new measure should first be validated against the ‘gold standard’ by which patients are currently treated, and FFR, and more recently iFR, have been extensively validated.(3) However, the authors also acknowledge a limitation in having not stratified their results by CFR values. Such an analysis might indeed show superiority for QFR over FFR. Indeed, if QFR can accurately measure flow, it will not merely be a less-invasive surrogate for FFR, but rather synergistic with it, providing us with a fast, practical, safe and reliable measure of CFR.

## Disclosures

Dr. Howard is supported by The Wellcome Trust. Dr. Murthy owns stock in General Electric and receives grant support from Siemens Medical Imaging. Dr. Murthy is supported by R01HL136685 from the National, Heart, Lung, and Blood Institute.

## References

1.	Authors/Task Force members., Windecker S., Kolh P., et al. 2014 ESC/EACTS Guidelines on myocardial revascularization. Eur Heart J 2014;35(37):2541–619. Doi: 10.1093/eurheartj/ehu278.

2.	Fihn SD., Gardin JM., Abrams J., et al. 2012 ACCF/AHA/ACP/AATS/PCNA/SCAI/STS Guideline for the Diagnosis and Management of Patients With Stable Ischemic Heart Disease: A Report of the American College of Cardiology Foundation/American Heart Association Task Force on Practice Guidelines, and the American College of Physicians, American Association for Thoracic Surgery, Preventive Cardiovascular Nurses Association, Society for Cardiovascular Angiography and Interventions, and Society of Thoracic Surgeons. J Am Coll Cardiol 2012;60(24):e44–164. Doi: 10.1016/J.JACC.2012.07.013.

3.	Götberg M., Cook CM., Sen S., Nijjer S., Escaned J., Davies JE. The Evolving Future of Instantaneous Wave-Free Ratio and Fractional Flow Reserve. J Am Coll Cardiol 2017;70(11):1379–402. Doi: 10.1016/J.JACC.2017.07.770.

4.	Dattilo PB., Prasad A., Honeycutt E., Wang TY., Messenger JC. Contemporary Patterns of Fractional Flow Reserve and Intravascular Ultrasound Use Among Patients Undergoing Percutaneous Coronary Intervention in the United States: Insights From the National Cardiovascular Data Registry. J Am Coll Cardiol 2012;60(22):2337–9. Doi: 10.1016/J.JACC.2012.08.990.

5.	Mejía-Rentería H. Influence of microcirculatory dysfunction on angiography based functional assessment of coronary stenoses. JACC Cardiovasc Interv 2018.

6.	Tu S., Westra J., Yang J., et al. Diagnostic Accuracy of Fast Computational Approaches to Derive Fractional Flow Reserve From Diagnostic Coronary Angiography: The International Multicenter FAVOR Pilot Study. JACC Cardiovasc Interv 2016;9(19):2024–35. Doi: 10.1016/J.JCIN.2016.07.013.

7.	Xu B., Tu S., Qiao S., et al. Diagnostic Accuracy of Angiography-Based Quantitative Flow Ratio Measurements for Online Assessment of Coronary Stenosis. J Am Coll Cardiol 2017;70(25):3077–87. Doi: 10.1016/j.jacc.2017.10.035.

8.	Serruys PW., Di Mario C., Meneveau N., et al. Intracoronary pressure and flow velocity with sensor-tip guidewires: A new methodologic approach for assessment of coronary hemodynamics before and after coronary interventions. Am J Cardiol 1993;71(14):D41–53. Doi: 10.1016/0002-9149(93)90133-W.

9.	Chamuleau SAJ., Tio RA., de Cock CC., et al. Prognostic value of coronary blood flow velocity and myocardial perfusion in intermediate coronary narrowings and multivessel disease. J Am Coll Cardiol 2002;39(5):852–8.

10.	Pijls NH., van Son JA., Kirkeeide RL., De Bruyne B., Gould KL. Experimental basis of determining maximum coronary, myocardial, and collateral blood flow by pressure measurements for assessing functional stenosis severity before and after percutaneous transluminal coronary angioplasty. Circulation 1993;87(4):1354–67. Doi: 10.1161/01.CIR.87.4.1354.

11.	Pijls NHJ., van Schaardenburgh P., Manoharan G., et al. Percutaneous Coronary Intervention of Functionally Nonsignificant Stenosis. J Am Coll Cardiol 2007;49(21):2105–11. Doi: 10.1016/j.jacc.2007.01.087.

12.	Tonino PAL., De Bruyne B., Pijls NHJ., et al. Fractional Flow Reserve versus Angiography for Guiding Percutaneous Coronary Intervention. N Engl J Med 2009;360(3):213–24. Doi: 10.1056/NEJMoa0807611.

13.	De Bruyne B., Pijls NHJ., Kalesan B., et al. Fractional Flow Reserve–Guided PCI versus Medical Therapy in Stable Coronary Disease. N Engl J Med 2012;367(11):991–1001. Doi: 10.1056/NEJMoa1205361.

14.	van de Hoef TP., van Lavieren MA., Damman P., et al. Physiological Basis and Long-Term Clinical Outcome of Discordance Between Fractional Flow Reserve and Coronary Flow Velocity Reserve in Coronary Stenoses of Intermediate Severity. Circ Cardiovasc Interv 2014;7(3):301–11. Doi: 10.1161/CIRCINTERVENTIONS.113.001049.