Figure S1 Ion Exchange model basis - relationship between zeolite exchange capacity of natural zeolite Qe and the NH4+ initial concentration C0

Construction Stage of WWTP Process Units

Construction Material inputs

Production of Concrete

Production of Zeolite

Operation Stage of WWTP Process Units

Production of NaCl

Atmospheric Emissions

Organic Fertiliser for Agricultural land

NH4+ Recovery

Avoided Chemical Fertiliser Production

Production of Pumps/ Motors/ Blowers etc.

Production of Steel

Production of Grid Electricity

Atmospheric Emissions

Energy Recovery Options

Avoided Production of Grid Electricity

Biogas Combustion

End-of-Life Stage of WWTP Process Unit

1st Order

2nd Order

3rd Order

LEGEND

Figure S2 System boundary definition of N removal and recovery routes for municipal waste water

A

COD 750 mg/L

TN 60 mg N/L

PO43- 10 mg P/L

COD 35.8 mg/L

TN 12.4 mg N/L

PO43- 0.2 mg P/L

COD 45.9 mg/L

TN 12.4 mg N/L

PO43- 0.2 mg P/L

Influent

Effluent

Denitrification

Nitrification

Clarifier

B

COD 750 mg/L

TN 60 mg N/L

PO43- 10 mg P/L

COD 21.1 mg/L

TN 13.1 mg N/L

PO43- 3.2 mgP/L

COD 20.8 mg/L

TN 12.6 mg N/L

PO43- 2.9 mg P/L

Influent

Effluent

Anaerobic Digestion

SHARON

ANAMMOX

Clarifier

COD 38.9 mg/L

TN 44.5 mg N/L

PO43- 11.2 mg P/L

COD 33 mg/L

TN 41.4 mg N/L

PO43- 0.3 mg P/L

C

COD 38.9 mg/L

TN 0 mg N/L

PO43- 11.2 mg P/L

COD 38.9 mg/L

TN 44.5 mg N/L

PO43- 11.2 mg P/L

COD 750 mg/L

TN 60 mg N/L

PO43- 10 mg P/L

Influent

Regeneration

Anaerobic Digestion

Ion Exchange

Effluent

Figure S3 COD/N/P flows for conventional pathway (A), Anammox (B) and anaerobic route with ion exchange (C) Notes: COD=Chemical oxygen demand;  TN=total nitrogen

Figure S4 LCA sensitivity analysis on the exchange capacity of zeolite