Stochastic Protein Sensing at Non-Equilibrium Capture Rate Conditions Yields Accumulation at the Nanopore Entrance

Kevin J. Freedman1, S. Raza Haq2, Michael R. Fletcher3, Joe P. Foley3, Per Jemth2, Joshua B. Edel1, Min Jun Kim5,*

1. Department of Chemistry, Imperial College London, South Kensington, SW7 2AZ, London, United Kingdom

2. Department of Medical Biochemistry and Microbiology, Uppsala University, Uppsala, Sweden

3. Department of Chemistry, Drexel University, Philadelphia, PA 19104, USA

5. Department of Mechanical Engineering and Mechanics, Drexel University, Philadelphia, PA 19104, USA

Single molecule capturing of analytes using an electrically biased nanopore is the fundamental mechanism in which nearly all nanopore experiments are conducted.  With pore dimensions being on the order of a single molecule, the spatial zone of sensing only contains approximately a zepto-liter of volume.  As a result, nanopores offer high precision sensing within the pore but provide little to no information about the analytes outside the pore.  In this study we use capture frequency and rate balance theory to predict and study the accumulation of proteins at the entrance to the pore.  Protein accumulation is found to have positive attributes such as capture rate enhancement over time but can additionally lead to negative effects such as long-term blockages typically attributed to protein adsorption on the surface of the pore.  Working with the folded and unfolded states of the protein domain PDZ2, we show that applying short (e.g. 3-25 seconds in duration) positive voltage pulses, rather than a constant voltage, can prevent long-term current blockades (i.e. adsorption events).  Based on these findings, protein analytes have been found to enter an area around the pore which, over time, deviates from the bulk concentration and in doing so has opened up new avenues to studying the concentration-dependent enhancement of protein kinetics such as aggregation, folding, and in the case of a multi-analyte nanopore sensing, protein binding.

Emerging from a field focused on DNA analysis and sequencing1, studies using solid-state nanopores have been increasingly focused on the kinetics and dynamics of proteins 2, 3, 4, 5, 6, protein-protein complexes7, 8, RNA-antibody complexes 9, DNA-protein complexes10, and other molecular assemblies.  A unique advantage of nanopore sensing is in the potential to acquire single molecule label-free, in-solution measurements. This ultimately opens the door for numerous discoveries to be made including, as will be described, the thermodynamics of proteins.  Typical bulk measurements average out the small scale fluctuations that occur as a result of thermal energy however single molecule data can provide insight into these minute perturbations11.  More important than this is the heterogeneity of a protein which is only now starting to be revealed through single molecule techniques12.  A protein can be modified, mutated, or intrinsically have a multitude of different states which are in constant fluctuation13, 14, 15, 16.  When an ensemble average is taken, for example of a structurally dynamic protein, the distinct differences between sub-populations become hidden and may not accurately represent any of the populations being averaged.

The operating principles of nanopore sensing are simple, briefly a solitary hole is drilled in a thin, nanometer-scale membrane17.  Information is acquired about the molecules when they transition from one side of the pore to the other in a process known as translocation.  The frequency in which the molecule enters the pore is referred to as the capture rate and depends on the properties of the protein (e.g. charge, size), the buffering solution (e.g. pH, electrolyte concentration), the pore dimensions (i.e. diameter and membrane thickness), and the voltage being applied across the pore18.  Molecular capturing using a nanopore has mainly been described experimentally and mathematically using DNA18, 19, 20, 21, 22, with several proteins studies coming out only more recently4, 23.  As it is will be shown here, the use of proteins drastically alters capture rate kinetics, the analyte concentration profile immediately outside the pore (i.e. accumulation at the pore), and the resulting modulation of ionic current.  Since multiple proteins can exist inside the pore at a given time as well as having a greater propensity to adsorb to surfaces, proteins are less ideal for nanopore analysis compared to DNA.  However in this study we demonstrate two methods of manipulating the capture rate kinetics and the accumulation of proteins around the nanopore.  These methods include (1) using buffers with unequal conductivity and (2) using voltage cycles (short positive voltage pulses) to translocate proteins and then subsequently decreasing the voltage to allow proteins to disperse from the pore vicinity.

Proteins are complex molecules to study using nanopores.  The difficulty is due to the fact that proteins have a heterogeneous charge distribution along its linear sequence as well as a varying level of charge and hydrophobicity on the surface of the folded protein.  In comparison, double stranded DNA has been a relatively ideal analyte as it can be designed to virtually any length and the backbone of the polymer has a homogeneous negative charge24, 25, 26.  The long length of DNA makes it extremely unlikely that a second DNA molecule will enter the pore especially if the pore is plugged end-to-end with DNA whereas proteins are small enough that multiple proteins can reside inside the pore at a given time causing multiple steady current levels to be recorded.  Since DNA has a homogenous negative charge, electrostatic repulsion between the joined monomers while inside the pore does not occur.  Interestingly, proteins have been shown to be quite unstable inside the pore due to the repulsion of opposite charges27.

In spite of these difficulties, there have been significant discoveries made by studying proteins with both biological and solid-state nanopores4, 5, 7, 23, 27, 28, 29, 30, 31, 32.  To do this typically one must fine-tune experimental conditions to minimize the adsorption of proteins to the pore.  Since keeping the pore free of protein is essential to collecting data, characterizing and perhaps even predicting when adsorption is likely to occur is critical to future success in the field of nanopore sensing.  In this work, we describe how the interplay of diffusive and barrier-limiting capture kinetics can lead to protein accumulation around the entrance of the pore owing to an imbalance of the two rate equations.  Using both the folded and unfolded state of our model protein domain (PDZ2), the energetic barrier height to cross the pore was calculated and the exponential barrier-limited regime was characterized.  Most importantly, by showing that pore clogging can be abolished by reducing protein accumulation at the pore using shorter recording times (i.e. voltage cycles), our study provides evidence that protein adsorption to the pore is initiated by simultaneous pore entry attempts (i.e. steric frustration) by more than one protein and not necessarily by the protein`s propensity to adsorb onto the pore wall as previously thought.

Results & Discussion

Constant Voltage Recordings.  In order to validate our hypothesis about the existence of protein accumulation around the entrance of the pore, a member of the PDZ protein domain family was used which is a highly conserved protein-protein interaction domain found within many organisms33.  The exact sequence of the protein is that of the pseudo wild type SAP97 PDZ2 (here denoted PDZ2), which was expressed and purified as previously described34, 35.  PDZ2 is a relatively small protein domain (approximately 4 × 5 nm) with a low net theoretical positive charge (+3.8e) at neutral pH.  Results were obtained using pores drilled with a field emission transmission electron microscope (JEOL 2100F) with a diameter of 15 ± 2 nm (50 nm thick membranes).

Upon adding a 10 nM concentration of PDZ2 to one side of our fluidic cell, transient current drops were detected within the first 5 minutes of recording.  Events remained short and transient for the first 10 minutes until long-term current events were observed in a reproducible and time dependent manner.  The long-term events were defined as any event that lasted more than 0.5 seconds.  Typically these long-term events had the same current blockade depth as the transient events.  Once the pore is in the blocked state, transient events can still be observed since the pore diameter is several times the size of a single protein molecule.  After 10 minutes of applying a constant voltage, the blocked current further decreased in a step-wise manner consistent with the magnitude of the transient current drops.  The quantized nature of the current level is consistent with proteins adsorbing/desorbing on the surface of the pore.  These results are summarized in Fig. 1, where ionic current traces are plotted 0 min, 5 min, 10 min, and >10 min after the initial application of 500 mV of voltage.  To our knowledge, this is the first report of event frequency being time dependent.

An all-points histogram, taken of an ionic current recording, is useful at identifying the multitude of potential states in which the pore is conducting ions.  If there is more than one discrete state in ionic conductance, peaks in the histogram correspond to the number of proteins which exist inside the pore (Fig. 1c).  The peak with the largest current value is the open pore conductance corresponding to no protein residing inside the pore.  The second peak is the blocked ionic current level corresponding to a single protein inside the pore.  It should be noted that the long term current blockade depth should not be interpreted in the same way as the current drop parameter extracted from short events.  This is due to the fact that the adsorbed state is not the same as the free-solution state of the protein.  As a second protein enters the blocked pore, the current is further reduced.  Interestingly, the change in current is not as great as the ΔI between the open pore and the first current blockade level.   In fact with each additional protein that enters the pore, the change in current decreases to a lower ΔI.  This was predicted through molecular dynamics simulations recently wherein one, two, and three proteins were placed  inside the pore and the current drop was shown to be non-additive36.  Since no changes in structure were modelled in the above study, the decreasing ΔI could be due to varying protein positions within the pore or a manipulation of ion flow due to the introduction of charges on the surface of the pore.

Figure 1. (a) Ionic current recording 1 minute, 5 minutes, and 10 minutes after applying a constant applied voltage (V = 500 mV).  (b) After 10 minutes of applying a constant voltage, the current no longer has a steady baseline but rather resides in one of multiple blocked states of the pore.  Y-axes in both plots are the same. (c) All-points histogram of the ionic current recording shown in (b) showing four stable levels of ionic current.

The diffusion-based capture mechanism describes the process of a molecule transitioning from a spatial region away from the pore with low voltage-mediated displacement (i.e. diffusion-dominated) to a hemispherical region around the pore where the molecule undergoes biased motion.  In this case biased motion refers to the molecule being driven by the electric field (i.e. voltage-dominated) created when an applied voltage is applied across the membrane.  Consequently, a voltage profile is created which funnels the analyte from the bulk solution into the vicinity of the pore.  Since the gradient of the voltage becomes greater in magnitude as a molecule approaches the pore, the velocity of the molecule increases by the function v=μ∇V(r), where µ is the electrophoretic mobility of the analyte.  The applied voltage in which the charged protein overcomes Brownian motion is determined by Vo=kBT/ze, where z is the effective charge on the molecule, kB is the Boltzmann constant, T is temperature and e is the elemental charge.  The equation for the (concentration-normalized) diffusion-based capture rate (Rdiff [min-1 nM-1]) is given by18:

Rdiff=πd2μ4l∆V

where d is the diameter of the pore, and l is the length of the pore.

The second method in which the translocation process is described is through a Van't Hoff-Arrhenius law wherein the rate of translocation is determined by the energy barrier within the pore.  The delivery of the analyte is necessary but not sufficient to result in translocation but rather the analyte waits until it has enough energy to climb the energetic barrier and enter the pore.  The energetic cost in this case is mainly entropic stemming from the restriction of motion within the nanopore.  In the case of DNA, the threading probability is often used to derive the observed translocation rate.  For proteins we use a more general form of the equation which is given by21:

Rbar=ωexpq∆V-U‡kBT

where q is the effective charge of the protein, and U‡ is the energy barrier height without any voltage applied.  Here, ω is generally interpreted as the attempt rate to translocate.

Based on the formulations of the diffusion (Rdiff) and energy barrier (Rbar) capture rates, if Rdiff > Rbar, proteins would be brought to the entrance of the pore faster than they could overcome the entrance barrier to translocate.  The result would be that the local concentration would be enhanced (Fig. 2a-d).  Plotting the translocation frequency as a function of voltage would yield an exponential curve consistent with the expression for energy barrier controlled capture rate (i.e. the limiting rate).  If Rdiff < Rbar, a protein would still be captured by the hemispherical region dictated by the voltage and pore dimensions however the protein would almost immediately be shuttled across the pore with little to no protein crowding.  In this case, plotting the translocation frequency as a function of voltage would produce a linear curve as predicted by the diffusion-based capture mechanism.  Based on this hypothesis, the build-up of proteins around the pore would enhance the probability of two or more proteins entering the pore at the same time.  If multiple proteins were to attempt translocation and be confined within the nanopore at the same time, we would expect a greater degree of protein-protein interactions as well as protein-pore interactions.  Although protein accumulation can enhance the translocation rate in the beginning (as shown in Fig. 1), prolonged recordings at a constant voltage can lead to long-term current blockades and irreversibly blocked pores which severely limits data collection.

Based on the above capture rate equations, there are three scenarios which are possible for a given set of experimental conditions.  The first describes diffusion as the limiting rate giving rise to a linear capture rate function with respect to voltage.  In the second scenario the energy barrier rate is the limiting rate yielding an exponential curve with respect to voltage.  The last possibility is that the curves intersect creating a piecewise function which changes from an exponential curve to a linear curve.  This occurs at a point where molecules are brought to the pore at exactly the same rate as they are translocated (Rdiff = Rbar).  Using characteristic protein/pore properties, these three scenarios are shown graphically in the Supporting Information (Fig. S1).  In the case where Rdiff > Rbar, the rate of accumulation is the difference between the two rates.  The accumulation of proteins at the entrance of the pore can therefore be expressed by the following:

Racc.moleculesmin=C Rdiff-Rbar= Cbulkπd2μ4l∆V- ωCcaptured(t)  expqV-U‡kBT

where C is concentration.  Since there exists potentially two regimes of concentration, subscripts are used to indicate which concentration regime should be considered (Cbulk versus Ccaptured).  Far away from the pore, the capture of molecules via diffusion will depend mostly on the bulk concentration of protein.  Assuming the translocation success rate is constant (defined as the rate at which molecules pass through the pore divided by the attempt rate, ω), the larger number of proteins around the pore will enhance the barrier-limiting rate.  Ccaptured is therefore the concentration at the pore’s entrance which increases over time when Rdiff > Rbar.  Enhancement of Ccaptured is expected to increase the translocation rate both by increasing the number of molecules which have enough energy to cross a fixed energy barrier height as well as decreasing the energy barrier due to a greater concentration gradient across the membrane.   After the initial moments of applying a voltage, Ccaptured = Cbulk and the individual capture rates are constant.  It follows that the rate of accumulation is also fixed and therefore the number of molecules close to the pore linearly increases with time.  The rate of accumulation however changes with voltage as shown in Fig. 2e-f.  The parabolic nature of the curve suggests that accumulation at the pore can be reduced by either reducing or increasing the applied voltage.  In this model, we also see that the rate of accumulation decreases when the energy barrier is reduced to a lower energy level (Fig. 2f), as expected.

Figure 2.  (a) Schematic representation of the nanopore (under Rdiff > Rbar conditions) with the dotted line representing the capture radius for proteins.  The concentrations of the bulk protein solution (Cbulk) and of the area within the capture radius (Ccaptured) are labeled for the time period prior to and including the first moments of applying a voltage (tva).  (b) Schematic representation of the free energy versus the spatial location of the protein as it translocates the pore.  (c) Schematic representation of the protein concentration at some short time after the voltage is applied (t > tva) and (d) at an arbitrarily long time after the voltage is applied (t >> tva).  (e-f) Rate of accumulation plotted with respect to applied voltage.  Values were obtained by analytically solving the rate equations with characteristic protein and pore values (Ddiff  ≈ 10-10 m2/s , q ≈ +3, U‡ ≈ 0.76 eV, μ ≈ 1×10-5 cm2/Vs, dpore ≈ 15 nm, lpore ≈ 50 nm).  In (f) the energy barrier to translocate the pore was reduced from U‡ ≈ 0.76 eV to U‡ ≈ 0.71 eV.

Event Detection and Analysis.  Protein translocation events, defined as transient decreases in current less than 500 milliseconds, were detected using a threshold and characterizing features were extracted including event duration and event amplitude.  The threshold was typically set to 3-4 standard deviations away from the noise level of the open pore current at each voltage.  Once events were detected, the inter-event time, δt, was calculated as the time between the start of each event (Fig. 3a).  The event statistics were gathered from multiple recording sessions where each recording was typically under 5 minutes in duration.

If an all-points histrogram of the ionic current is plotted (Fig. 3b), two prominent peaks are observed.  The larger peak corresponds to the open pore current and the second smaller peak characterizes the blocked state of the pore (i.e. containing a single protein molecule).  Typically, one can verify the existence of an energy barrier inside the pore by experimentally measuring the time it takes the protein to traverse the pore.  If no energy barrier exists inside the pore, the event duration is expected to be inversely proportional to the applied voltage.  Conversely, if an energy barrier exists, the event duration will show an exponential dependence with applied voltage.  Plotting the event duration trend with voltage however assumes that the analyte keeps its structural and chemical properties the same no matter the magnitude of the voltage.  Due to the range of voltages used in this study, plotting the event duration versus applied voltage (Fig. 3c) instead provided evidence for protein unfolding through electric field-induced destabilization.  As the applied voltage was increased from 200 mV to 300 mV, the originally natively folded protein is observed to have longer event durations despite the larger electrophoretic force.  Since the protein is positively charged and the SiN membrane is slightly negative, the protein moves with the electroosmotic flow through the pore.  This force would also cause the event duration to decrease.  In order to determine how the folded state of the protein would affect the electrophoretic mobility of the protein, capillary electrophoresis was performed on the natively folded protein and the unfolded protein.  We found that the migration time for the unfolded PDZ2 molecule was significantly longer than that of the folded state.  The electrophoretic mobilities, µ, for the folded and unfolded PDZ2 protein were found to be |µ|folded=1.38 ± 0.02 ×10-5 cm2/Vs and |µ|unfolded= 1.02 ± 0.05 ×10-5 cm2/Vs, respectively (electropherograms supplied in Supporting Information).  The increase in event duration between 200 and 300 mV can therefore be explained in terms of a lower electrophoretic mobility due to unfolding.

The inter-event time, δt, was calculated as the difference between the starting points of two sequential events.  This was done for the voltage range of 200-800 mV with a voltage increment of 200 mV.  The inter-event time parameter forms a Poisson distribution with a variance that depends on the applied voltage.  Despite this, the δt parameter is typically shown on a log scale and fit with an exponential (Fig. 3di).  Since the probability of observing two simultaneous events is extremely small, the same data can also be displayed as a cumulative Poisson distribution function which shows the changes between voltages most clearly while still showing a small probability of simultaneous events (Fig. 3dii).  With an applied voltage of 200 mV, the inter-event time distribution has a large variance compared to the 800 mV condition.  At 800 mV, the probability of obtaining an inter-event time greater than 1.5 seconds is extremely low (< 1%).  Further event property histograms are supplied in the Supporting Information while a more detailed analysis of these event properties as a function of voltage can be found in a previous work27.

Figure 3.  Event parameter definitions and capture rate as a function of the electric field.  (a) A representative current trace showing two events separated by the inter-event time, δt.  (b) An all-points histogram of the ionic current trace where the transiently blocked state and the open state of the pore are clearly observed.  (c) Event durations for the folded (no urea) and unfolded states (8 M urea) of PDZ2 within the voltage range of 200 - 800 mV.  Mean values were obtained through a least-squares fit of a single exponential to each dataset.  (d) Plots showing the inter-event time fitted to exponential functions as well as displayed as Poisson cumulative distribution functions (cdf) at four voltages: 200 mV, 400 mV, 600 mV, 800 mV.

Capture Rates for the Folded and Unfolded Protein.  Capture rates were calculated by counting the number of events per unit time and normalizing by the concentration of protein.  Capture rates could also be calculated by using fitting parameters of the δt distribution.  Using the first method allowed us to detect any traces of capture rate enhancement over time which would be hidden when all the data are merged to form the δt distribution.  Measurement times were typically under 30 seconds and, as we will show later, insignificant amounts of  protein accumulation occurred within this short window of time (supporting data in Fig. 5d-e).  Therefore assuming a pseudo-steady state with no capture rate enhancement, we tested three experimental conditions in order to study the capture kinetics of proteins as a function of the applied voltage: (1) 0 M urea in both cis and trans chambers, (2) 8 M urea in cis chamber and 0 M urea in the trans chamber, and (3) 8 M urea in both the cis and trans chambers.    The capture rates for all three conditions start out having an exponential dependence which means that proteins are arriving at the pore and then wait to have enough energy to cross the pore.   Interestingly, in the 0 M urea condition, there is both a barrier-dominated regime and a linear diffusive regime (Fig. 4).  The data collected at 0 M urea shows the unique transition from Rdiff > Rbar (200 - 600 mV) to Rdiff < Rbar (600 - 800 mV).  The Rdiff < Rbar condition is favorable because the capture rate is high and protein accumulation does not occur.  We observe no long term current blockades in this voltage range with the folded protein.

In both the urea conditions a transition into a linear capture rate is not observed.  The diffusive capture rate depends on the state of the protein through the electrophoretic mobility term, µ.  However the energy barrier rate equation is exponentially dependent on the size of the barrier height.  The unfolded state of the protein will have a significantly larger energy barrier to transition into a confined space since its hydrodynamic radius is larger and it will have a greater number of conformational states available to it outside the pore.  Although both rate equations will become smaller, the energy barrier capture rate (Rbar) will be more drastically reduced and will be the limiting rate throughout the voltage range tested.

Using well-established techniques, the energy barrier for the folded and unfolded protein can be calculated based on the capture data and the pore geometry.  To do this, the capture rate is redefined as R=κv expU‡-ΔU/kBT where κ is a probability factor, ν is the frequency factor, U‡ is the activation energy or barrier height, and ΔU is the reduction in the energy barrier due to the applied potential21.  In order to obtain an estimate of the frequency factor, a barrier penetration calculation is performed where ν=CDdiffApore/lpore.  Using C = 6.023 ×1018 molecules/m3, Ddiff  = 10-10 m2/s, Apore = 1.77 ×10-16 m2, and lpore = 50 nm, the value of the energy barrier for the folded state of the protein was U‡ ≈1.9 kBT.  Performing a similar calculation for the unfolded state of the protein yielded U‡ ≈ 3.3 kBT.  In comparison, a similar study found the energy barrier for folded maltose binding protein (MBP) to be ~7.4 kBT and 10.4 kBT for the unfolded protein 4.  The smaller absolute value of the energy barrier in this study is likely due to the size of the protein relative to the pore.  In this work, the average diameter of the protein can be estimated to be ~2.5 nm which was studied using a 15 nm pore whereas MBP is nearly twice this size and studied using a 20 nm pore. The relative size of the pore is larger in this study which means the confinement effects on the protein are less.

The asymmetric condition where 8 M urea was put into only one side of the flow cell increased the capture rate through electrostatic focusing of proteins.  Typically electrostatic focusing occurs when asymmetric salt concentrations are used on either side of the membrane as previously shown with DNA analytes18.  Here, we show that electrostatic focusing also works using proteins and asymmetric concentrations of urea which also alters the solution conductivity.  Conductivity measurements of 2 M KCl with and without 8 M urea were 112 mS/cm and 200 mS/cm, respectively.  To explain the capture enhancement briefly, the electrical circuit under asymmetric conditions can be thought of as three resistors in series (RKCl-cis, Rpore, RKCl-trans).  The lower conductivity solution in the cis chamber (i.e. containing urea) causes a redistribution of voltage that depends on the degree of asymmetry.  The net effect is a higher electric field that emanates from the pore and is able to capture a greater number of molecules.  Numerical simulations of the electric field enhancement can be viewed in Fig. 4b.  The higher electric field strength on the side of the pore with proteins amounts to both Rdiff and Rbar increasing.

In the first few minutes of applying a voltage we observed insignificant changes in the capture rate since the concentration of the protein immediately outside the pore takes time to increase (event counts per cycle shown in Fig. 5d).  We predict that there is a threshold concentration that is reached which makes interactions with the pore increasingly probable.  If the voltage at which the protein overcomes Brownian motion is determined by Vo=kBT/ze and we solve for the voltage profile assuming a 15 nm pore and an ion screened protein charge of +1.9e (assuming 50% charge screening37), the capture radius around the pore is r* ≈ 121 nm at 200 mV.  Given that a protein is captured and is trapped by the voltage potential V(r), it will spend most of its time a distance rg away from the pore; where rg is the protein’s radius of gyration (nm).   The difference between r* and rg will determine how long it takes to reach the threshold concentration.  Since the unfolded protein has a larger rg, we expect the unfolded protein to stay further away from the pore while waiting to cross the energy barrier of the pore.  In addition to the larger energy barrier to cross the pore, the unfolded protein may also have a reduced capture rate as a result of its greater distance away from the pore.  We approximated the radius of gyration using equations in the literature yielding an rg ≈ 1.38 nm for the folded state, and rg ≈ 2.1 nm for the unfolded state, which coincide with proteins with a similar number of amino acids38, 39.

Figure 4. (a) Capture rates for three experimental conditions as a function of voltage (200-800 mV).  Solution conditions include 0 M urea in both sides of the flow cell (black circles), 8 M urea in the cis chamber only (red triangles), and 8 M urea in both chambers (blue squares).  All experiments were conducted with a 15 nm pore, 2 M KCl, and with the PDZ2 protein domain (all experiments performed at [PDZ2] = 10 nM with the exception of the asymmetric condition which was at [PDZ2] = 100 nM).  (b) The electric field distribution on the cis side of the flow cell under symmetric (0 M Urea/0 M Urea) and asymmetric (8 M Urea/0 M Urea) conductivity conditions.  The urea concentrations were simulated as a change in solution conductivity which was measured experimentally to be 112 mS/cm and 200 mS/cm for 8 M urea and 0 M urea, respectively.

The Effect of Protein Accumulation.  Protein adsorption onto the pore surface is an adverse consequence of the protein coming into close proximity with a solid-state surface.  Under normal circumstances one would have to modify the surface of the pore with an anti-fouling agent.  Although proteins can and do adsorb onto the surface of the nanopore, this work shows that the adsorption process is coerced to occur through protein accumulation.  In order to show that protein accumulation is the cause of long-term events (which are typically observed even at low concentrations) and not time-dependent dimer formation which may also block the pore for longer time periods, a protocol was developed which would limit the duration of a constant applied voltage.  A three-step voltage stepping protocol was developed for this purpose (Fig. 5a).  The first ~3.5 second is the “record” mode in which useful data was recorded followed by an unclogging step (0.5 seconds in duration) and a zero voltage step (1 second in duration) to allow proteins to re-randomize via diffusion.  A second reason for the zero voltage steps was that, qualitatively, it was noticed that zero voltage unclogged the pore faster than a sudden negative voltage. Previous reports by Niedzwiecki and colleagues show that the blocked state of the pore becomes more probable at higher voltages29.  The duration of the positive voltage pulse (dpvp) (i.e. the “Recording” mode) was varied between 4 s and 24 s to determine if there was any time dependence to event frequency.  The linear increase in the number of events per cycle with cycle duration implies that there is no significant enhancement of the capture rate within these timescales (Fig. 5d-e).  Using the modified voltage protocol on the same solution as before (10 nM PDZ2) yielded no long-term current blockades (Fig. 5c; overlay of 30 traces taken 30 minutes after initiating the recording).  The fact that the voltage stepping protocol works at preventing long-term events suggests adsorption is a controllable process within the nanopore.

By applying transient voltage pulses we showed that long-term events can be avoided provided that Rdiff > Rbar.  An alternative method to prevent long-term events is to make use of electrostatic focusing which enhances Rbar relatively more compared to Rdiff since the ΔV term is an exponential function.  In this study, we observe a change in the limiting rate equation at 600 mV for the folded state of the protein.  Using electrostatic focusing, the voltage at which Rdiff intersects Rbar can be manipulated.  Using exponential and linear curves to fit the experimental data as a function of ΔV, we show that a 10% and 50% enhancement in the electric field through asymmetric salt conditions can reduce the voltage where protein accumulation first starts to occur from 600 mV to 400 mV (Supporting Information).

This work has shown that long-term current blockages are not solely caused by a protein’s susceptibility to stick to the pore but rather that accumulation at the pore’s entrance also plays an important, and perhaps, a dominant role.  The significance of this work also extends to the kinetics of single molecules since crowding has been shown to substantially affect binding40, 41, oligomerization40, 42, and protein folding41, 43, 44, 45.  In theory, nanopores could be used to study the effects of protein crowding (i.e. enhancements of certain states or rare protein-protein complexes) in real time.  The known stabilizing effects of higher solute concentrations is well documented however it is unclear how long these effects can be observed after removal from such an environment.  Nanopores may be able to answer this question since a single protein must leave the crowded environment and enter the pore.  Modifying the voltage across the membrane can alter the translocation time and therefore probe the molecule at various time points.  Protein accumulation could also enhance the existence of rare protein states immediately before sensing them.  In terms of protein binding and oligomerization, protein crowding is important to consider since protein complexes could be formed which are larger than the pore causing another source of long-term current blockades.  If two proteins can be shown to accumulate at different rates, the measurement of protein binding kinetics may also be obtainable.  This study provides additional evidence that nanopores do not measure bulk solution properties of an analyte; in addition to nanoscale confinement effects caused by the pore and electric field-induced kinetics5, 27, 46, 47.

Figure 5.  (a) Schematic representation of the voltage cycles used to translocate proteins through the nanopore as well as the resulting current response.  The durations of the positive voltage pulse (dpvp), negative voltage pulse (dnvp), and the zero voltage pulse (dzvp), are defined as shown in the schematic.  (b) Three-stage voltage stepping protocol: (i) record mode, (ii) un-clogging mode, (iii) re-randomization mode.  (c) Overlay of 30 current traces showing a stable baseline current and only short, transient events.  The 30 traces were taken from a recording that was running for >10 minutes.  The red trace is the baselines current of a single trace.  (d) Number of events per cycle at 800 mV and a protein concentration of 10 nM.  The duration of the positive voltage pulse (dpvp) that was used here had the following values: 4 s (di), 8 s (dii), 24 s (diii).  A set of 20 cycles was performed three times and the average for each cycle number was calculated.  (e) The average number of events plotted as a function of cycle duration (s) for a protein concentration of 10 nM and an applied voltage of 800 mV.

Conclusion

In this report we show that the rate in which proteins translocate a solid-state pore is not constant with time.  Instead, event frequency is enhanced over time through a process involving protein accumulation, which stems from unbalanced rate equations.  Protein accumulation is potentially useful as it can enhance the frequency of events when using ultra-low protein concentrations however we also observe a greater probability of long-term events at our specific experimental conditions.  Event frequency was plotted as a function of voltage between the range of 200 and 800 mV for both the folded and unfolded state of the protein.  We discovered that at high voltages (600 - 800 mV) the folded protein, which has a lower energy barrier, is no longer limited by the barrier translocation rate (i.e. no longer the rate limiting step).  To our knowledge this is the first time observing a transition between barrier-limited and diffusion-limited translocation kinetics.  By knowing the limiting rate function, protein crowding can be identified in translocation data and steps to control it can be taken.  In this work, a modified voltage protocol was developed which allows the enhanced concentration of proteins around the pore to diffuse away.  Ultimately, this led to a steady baseline and longer data collection time.  The broad significance of this work includes redefining the way in which proteins cause long-term current blockades.  Previously it was thought that long-term events were caused by the proteins propensity to adsorb to the pore whereas here it is clear that accumulation at the pore also plays a role.  Furthermore, local concentration enhancement is shown to be controllable and potentially useful for studying concentration-dependent processes such as aggregation, folding, adsorption, and protein-protein binding.

Methods

Protein expression, purification and equilibrium denaturation.  SAP97 PDZ2 was expressed and purified as described previously 34, 35.  The purity of the proteins was checked by SDS-PAGE and their identity by mass spectrometry. The PDB code for the pseudo wild-type SAP97 PDZ2 protein domain is 2X7Z.  The sequence is given by the one letter amino acid code as follows: MHHHHHLVPRGSKPVSEKIMEIKLIKGPKGLGFSIAGGVGNQHWPGDNSIYVTKIIEGGAAHKDGKLQIGDKLLAVNNVALEEVTHEEAVTALKNTSDFVYLKVAKPTS.

Fabrication.  Nanopores were drilled in a 50 nm thick free-standing silicon nitride membrane which was supported on all sides by a silicon chip.  Fabrication of this membrane consisted of first depositing a layer of low-stress silicon nitride on a silicon wafer using low pressure chemical vapor deposition (LPCVD) followed by photolithography, deep reactive ion etching (DRIE) and KOH etching to form a 50 × 50 μm2 square membrane. Pores were then drilled using a field emission TEM (JEOL 2010F) forming pores with diameters of 15 ± 2 nm.

Single channel recordings.  Pore characterization and event recording was accomplished by placing the nanopore between two electrolytic half cells filled with buffered potassium chloride (2 M KCl).  The nanopore chip was held in place using a custom built polycarbonate flow cell with PDMS gaskets to assure that the only path of ionic current is through the nanopore.  Electrodes (Ag/AgCl) were placed in both chambers and connected to the headstage of a patch clamp amplifier (Axopatch 200B, Molecular Devices Inc.) which allowed the ionic current to be measured at various applied voltages. Signals were recorded at 250 kHz with a lowpass Bessel filter of 10 kHz.  Conductance measurements were performed prior to each experiment and were found to be within 5% of each other.  A graphical representation of our custom-built flow cell used for all experiments, a TEM image of a 15 nm pore and IV-curve graphs for several pores are shown in the supplementary information.

Data acquisition and analysis.  Prior to each experiment, protein solutions were made fresh by diluting the desired protein into buffered KCl for a final protein concentration of 10 nM (diluted in 2 M KCl, 10 mM potassium phosphate buffer, pH 7).  After characterization of the pore, protein was injected into one chamber of the flow cell while a constant voltage is applied across the pore.  Protein translocation events, defined as transient decreases in current, were detected using a threshold and characterizing features were extracted including event duration and event amplitude.  Event detection was performed using custom Matlab scripts.  Event durations were calculated by using the width of the event half-way between the baseline current value and the maximum current drop value.  The reported values for event duration were obtained by fitting the binned data with a single exponential function.  All other event or capture rate statistics were obtained by Gaussian and exponential fits of histograms using Origin 8.1.

Acknowledgments

This material is based upon work supported by the National Science Foundation Graduate Research Fellowship under Grant ID No. 2010095296, IIE’s Whitaker International Program and the HFSP young investigator award (RGY0075/2009-C).  JBE acknowledges the receipt of an ERC starting investigator grant and PJ a grant from the Swedish Research Council.

References

1.	Miles B., Ivanov A., Wilson K., Dogan F., Japrung D., Edel J. Single molecule sensing with solid-state nanopores: novel materials, methods, and applications. Chem. Soc. Rev. 42, 15-28 (2013).

2.	Cheley S., Xie H., Bayley H. A genetically encoded pore for the stochastic detection of a protein kinase. ChemBioChem 7, 1923-1927 (2006).

3.	Cressiot B., et al. Protein transport through a narrow solid-state nanopore at high voltage: experiments and theory. ACS Nano 6, 6236-6243 (2012).

4.	Oukhaled A., et al. Dynamics of completely unfolded and native proteins through solid-state nanopores as a function of electric driving force. ACS Nano 5, 3628-3638 (2011).

5.	Wei R., Gatterdam V., Wieneke R., Tampé R., Rant U. Stochastic sensing of proteins with receptor-modified solid-state nanopores. Nat. Nanotechnol. 7, 257-263 (2012).

6.	Japrung D., et al. Single-molecule studies of intrinsically disordered proteins using solid-state nanopores. Anal. Chem. 85, 2449-2456 (2013).

7.	Yusko E., et al. Controlling protein translocation through nanopores with bio-inspired fluid walls. Nat. Nanotechnol. 6, 253-260 (2011).

8.	Freedman K.J., Bastian A.R., Chaiken I., Kim M.J. Solid-state nanopore detection of protein complexes: applications in healthcare and protein kinetics. Small 9, 750-759 (2013).

9.	Wanunu M., Bhattacharya S., Xie Y., Tor Y., Aksimentiev A., Drndic M. Nanopore analysis of individual RNA/antibiotic complexes. ACS Nano 5, 9345-9353 (2011).

10.	Hornblower B., et al. Single-molecule analysis of DNA-protein complexes using nanopores. Nat. Methods 4, 315-317 (2007).

11.	Schuler B., Hofmann H. Single-molecule spectroscopy of protein folding dynamics—expanding scope and timescales. Curr. Opin. Struct. Bio. 23, 36-47 (2013).

12.	Kaufman L.J. Heterogeneity in single-molecule observables in the study of supercooled liquids. Annu. Rev. Phys. Chem. 64, 177-200 (2013).

13.	Yu H., et al. Direct observation of multiple misfolding pathways in a single prion protein molecule. Proc. Natl. Acad. Sci. U.S.A. 109, 5283-5288 (2012).

14.	Arai M., Ferreon J.C., Wright P.E. Quantitative analysis of multisite protein–ligand interactions by NMR: binding of intrinsically disordered p53 transactivation subdomains with the TAZ2 domain of CBP. J. Am. Chem. Soc. 134, 3792-3803 (2012).

15.	Boehr D.D., Nussinov R., Wright P.E. The role of dynamic conformational ensembles in biomolecular recognition. Nat. Chem. Bio. 5, 789-796 (2009).

16.	Lange O.F., et al. Recognition dynamics up to microseconds revealed from an RDC-derived ubiquitin ensemble in solution. Science 320, 1471-1475 (2008).

17.	Li J., Stein D., McMullan C., Branton D., Aziz M., Golovchenko J. Ion-beam sculpting at nanometre length scales. Nature 412, 166-169 (2001).

18.	Wanunu M., Morrison W., Rabin Y., Grosberg A.Y., Meller A. Electrostatic focusing of unlabelled DNA into nanoscale pores using a salt gradient. Nature Nanotecnol. 5, 160-165 (2010).

19.	Mihovilovic M., Hagerty N., Stein D. Statistics of DNA capture by a solid-state nanopore. Phys. Rev. Lett. 110, 028102 (2013).

20.	He Y., Tsutsui M., Fan C., Taniguchi M., Kawai T. Gate manipulation of DNA capture into nanopores. ACS Nano 5, 8391-8397 (2011).

21.	Henrickson S.E., Misakian M., Robertson B., Kasianowicz J.J. Driven DNA transport into an asymmetric nanometer-scale pore. Phys. Rev. Lett. 85, 3057-3060 (2000).

22.	Grosberg A.Y., Rabin Y. DNA capture into a nanopore: interplay of diffusion and electrohydrodynamics. J. Chem. Phys. 133, 165102 (2010).

23.	Pastoriza-Gallego M., et al. Dynamics of unfolded protein transport through an aerolysin pore. J. Am. Chem. Soc. 133, 2923-2931 (2011).

24.	Stellwagen N., Gelfi C., Righetti P. The free solution mobility of DNA. Biopolymers 42, 687-703 (1997).

25.	Heng J., et al. Sizing DNA using a nanometer-diameter pore. Biophys. J. 87, 2905-2911 (2004).

26.	Kasianowicz J., Brandin E., Branton D., Deamer D. Characterization of individual polynucleotide molecules using a membrane channel. Proc. Natl. Acad. Sci. U.S.A. 93, 13770-13773 (1996).

27.	Freedman K.J., Haq S.R., Edel J.B., Jemth P., Kim M.J. Single molecule unfolding and stretching of protein domains inside a solid-state nanopore by electric field. Sci. Rep. 3,  (2013).

28.	Fologea D., Ledden B., McNabb D., Li J. Electrical characterization of protein molecules by a solid-state nanopore. Appl. Phys. Lett. 91, 053901 (2007).

29.	Niedzwiecki D.J., Grazul J., Movileanu L. Single-molecule observation of protein adsorption onto an inorganic surface. J. Am. Chem. Soc. 132, 10816-10822 (2010).

30.	Oukhaled G., et al. Unfolding of proteins and long transient conformations detected by single nanopore recording. Phys. Rev. Lett. 98, 158101 (2007).

31.	Plesa C., Kowalczyk S.W., Zinsmeester R., Grosberg A.Y., Rabin Y., Dekker C. Fast translocation of proteins through solid state nanopores. Nano Lett. 13, 658-663 (2013).

32.	Talaga D.S., Li J. Single-molecule protein unfolding in solid state nanopores. J. Am. Chem. Soc. 131, 9287-9297 (2009).

33.	Ivarsson Y. Plasticity of PDZ domains in ligand recognition and signaling. FEBS Lett. 586, 2638-2647 (2012).

34.	Chi C.N., et al. A sequential binding mechanism in a PDZ domain. Biochem. 48, 7089-7097 (2009).

35.	Haq S.R., et al. The plastic energy landscape of protein folding. J. Biol. Chem. 285, 18051-18059 (2010).

36.	Kannam S.K., et al. Sensing of protein molecules through nanopores: a molecular dynamics study. Nanotechnol. 25, 155502 (2014).

37.	van Dorp S., Keyser U.F., Dekker N.H., Dekker C., Lemay S.G. Origin of the electrophoretic force on DNA in solid-state nanopores. Nat. Phys. 5, 347-351 (2009).

38.	Harjinder Singh H., Karlapalem K., Mitra A. A real valued genetic algorithm for generating native like structure of small globular protein. In: Eng. Med. Bio. Soc. (ed^(eds) (2008).

39.	Kohn J.E., et al. Random-coil behavior and the dimensions of chemically unfolded proteins. Proc. Natl. Acad. Sci. U.S.A. 101, 12491-12496 (2004).

40.	Zhou H. Influence of crowded cellular environments on protein folding, binding, and oligomerization: Biological consequences and potentials of atomistic modeling. FEBS Lett. 587, 1053-1061 (2013).

41.	Zhou H.X. Protein folding and binding in confined spaces and in crowded solutions. J. Molec. Recog. 17, 368-375 (2004).

42.	Shtilerman M.D., Ding T.T., Lansbury P.T. Molecular crowding accelerates fibrillization of α-synuclein:  could an increase in the cytoplasmic protein concentration induce Parkinson's disease? Biochem. 41, 3855-3860 (2002).

43.	Soranno A., et al. Single-molecule spectroscopy reveals polymer effects of disordered proteins in crowded environments. Proc. Natl. Acad. Sci. U.S.A.,  (2014).

44.	Zhou H.-X. Polymer crowders and protein crowders act similarly on protein folding stability. FEBS Lett. 587, 394-397 (2013).

45.	Batra J., Xu K., Qin S., Zhou H.-X. Effect of macromolecular crowding on protein binding stability: modest stabilization and significant biological consequences. Biophys. J. 97, 906-911 (2009).

46.	Heng J.B., et al. Stretching DNA using the electric field in a synthetic nanopore. Nano Lett. 5, 1883-1888 (2005).

47.	Rathore N., Knotts Iv T.A., de Pablo J.J. Confinement effects on the thermodynamics of protein folding: monte carlo simulations. Biophys. J. 90, 1767-1773 (2006).