Noninvasive cardiac imaging in suspected acute coronary syndrome

# Pankaj Garg1, S. Richard Underwood2,3, Roxy Senior4, John P. Greenwood1and Sven Plein1

1Leeds Institute of Cardiovascular and Metabolic Medicine, University of Leeds, Clarendon Way, Leeds LS2 9JT, UK.

2Imperial College London, London SW7 2AZ, UK.

3Royal Brompton & Harefield NHS Trust, Sydney St, London SW3 6NP, UK.

4Royal Brompton Hospital and Cardiovascular Biomedical Unit, National Heart and Lung Institute, Imperial College London, Sydney St, London SW3 6NP, UK.

Correspondence to S.P.

s.plein@leeds.ac.uk

# Abstract | Noninvasive cardiac imaging has an important role in the assessment of patients with acute-onset chest pain. In patients with suspected acute coronary syndrome (ACS), cardiac imaging offers incremental value over routine clinical assessment, the electrocardiogram, and blood biomarkers of myocardial injury, to confirm or refute the diagnosis of coronary artery disease and to assess future cardiovascular risk. This Review covers the current guidelines and clinical use of the common noninvasive imaging techniques, including echocardiography and stress echocardiography, computed tomography coronary angiography, myocardial perfusion scintigraphy, positron emission tomography, and cardiovascular magnetic resonance imaging, in patients with suspected ACS, and provides an update on the developments in noninvasive imaging techniques in the past 5 years.

Chest pain suggestive of acute coronary syndrome (ACS) is a common cause of presentation to emergency departments in developed countries and contributes to 20–37% of medical admissions 1,2. In up to 90% of patients presenting with suspected ACS, the diagnosis is subsequently ruled out, generally after a period of observation and a series of investigations that lead to substantial health-care costs 3,4. Diagnostic pathways based on the 12-lead electrocardiogram (ECG) and on older-generation blood biomarkers missed ACS in 2–5% of patients, potentially resulting in inappropriate discharge 5–7. Modern blood biomarkers, such as fifth-generation troponins measured with a highly sensitive assay, improve the detection of ACS, but can have low specificity, which leads to unnecessary further investigations 8. Heart-type fatty acid-binding protein is a novel biomarker of myocardial ischaemia that provides incremental value when used in combination with troponins measured with a highly sensitive assay 9. However, even with modern biomarkers, ACS cannot reliably be ruled out from a single early blood sample, and current guidelines recommend serial sampling that necessitates prolonged observation 10. Furthermore, evidence of the diagnostic value of novel cardiac biomarkers in patients with unstable angina is insufficient; these patients, by definition, have no elevation of conventional serum markers 10,11.

Cardiac imaging can complement history, ECG, and cardiac biomarkers for a timely identification and exclusion of ACS (FIG. 1). When appropriately used, imaging can reduce the rate of missed diagnoses and guide the management of those patients with confirmed ACS. The most commonly used noninvasive techniques are discussed in this Review, including echocardiography and stress echocardiography, computed tomography coronary angiography (CTCA), myocardial perfusion scintigraphy (MPS), and cardiovascular magnetic resonance (CMR) imaging. An overview of the relative strengths and weaknesses of each of these modalities in the assessment of patients with acute chest pain is given in Table 1.

# Transthoracic echocardiography

The European Society of Cardiology (ESC) guidelines for the management of suspected ACS endorse bedside standard 2D transthoracic echocardiography (2D-TTE) as the first-line imaging technique (class 1C evidence) for patients with acute chest pain (TABLE 2) 12. In the ESC guidelines for the management of ST-segment elevation myocardial infarction (STEMI), 2D-TTE is recommended for the diagnosis of other causes of chest pain, such as pulmonary embolus, dissection of the ascending aorta, or pericardial effusion 13. Similarly, the American College of Cardiology Foundation (ACCF) ‘Appropriate use criteria for echocardiography’, published in 2011, rate the role of 2D-TTE in suspected ACS as ‘appropriate’ 14.

In clinical practice, 2D-TTE can be helpful in patients with suspected STEMI if a diagnosis cannot be made from the patient’s history and ECG. In these circumstances, early 2D-TTE can detect regional wall-motion abnormalities  and assist the decision for invasive assessment and primary percutaneous coronary intervention (FIG. 2). Several studies have demonstrated the incremental value of 2D-TTE over the ECG in the assessment of patients with suspected ACS 15–22. In a study of 280 patients with suspected ACS on the role of echocardiography in patients with equivocal ECG, echocardiography demonstrated a sensitivity of 71%, a specificity 91%, and a negative predictive value of 73% for diagnosing ACS 7. In the ischaemic cascade, regional wall-motion abnormalities precede ECG changes and can be detected even if the patient presents many hours after an event (FIG. 3) 18,23. However, the presence of regional wall-motion abnormalities is not only associated with myocardial ischaemia, but also with previous myocardial infarction (MI), focal myocarditis, left bundle branch block, and several cardiomyopathies, posing diagnostic challenges. In some patients, a poor acoustic window because of body habitus or lung diseases might limit the acquisition of diagnostically useful images 24.

Novel 2D-TTE methods offer additional information over regional wall-motion abnormalities alone. Before contracting during the ejection phase, the ischaemic myocardial segments tend to stretch as the intraventricular pressure rises steeply during the isovolumetric contraction phase 25,26. Strain imaging can identify this process in patients with suspected ACS 27–29. In a study that used a cut-off value for global peak systolic longitudinal strain of −20%, strain imaging demonstrated sensitivity of 93% and specificity of 78% for the diagnosis of myocardial ischaemia 27. Another study showed a strong correlation of segmental strain imaging with coronary stenosis on invasive coronary angiography in patients with no apparent regional wall-motion abnormality 28. Furthermore, absence, or a shorter duration, of early systolic lengthening on strain imaging accurately identified patients with non-ST-segment elevation myocardial infarction  (NSTEMI) even in those with minimal myocardial damage 30. In this study, the duration of early systolic lengthening was more prolonged in patients with coronary occlusions than in those without occlusions (86 ± 45 versus 63 ± 31 ms, P <0.01), and showed good correlation with final infarct size (r = 0.67, P <0.001).

# Contrast echocardiography

Contrast agents can improve endocardial detection for the assessment of regional wall-motion abnormalities in TTE. Real-time myocardial contrast echocardiography extends the evaluation of wall-motion abnormalities by assessing myocardial perfusion. Importantly, initial concerns over the safety of ultrasound contrast agents (SonoVue®, Bracco Imaging SpA, Italy, and Luminity®, Lantheus Medical Imaging, USA) proved to be unfounded and the agents are now considered safe in patients with chest pain and suspected ACS 31. Several studies have shown that contrast echocardiography can accurately identify patients with ACS and contribute to prognostication. In a study of 957 patients presenting to the emergency department with chest pain, normal wall thickening on contrast echocardiography was associated with a low incidence of future adverse events, whereas both abnormal wall thickening and a myocardial perfusion defect suggestive of ischaemia were associated with a high incidence of events 23. In this study, the negative predictive value for contrast echocardiography was extremely high, at 99–100%. However, the positive predictive value was very poor in the presence of previous MI (in the range of 2.9–14.0% between the four quartiles, which were assigned on the basis of the time interval between the last episode of chest pain and contrast echocardiography). In another study of multivariate logistic regression analysis, in which myocardial contrast echocardiography, Thrombolysis In Myocardial Infarction (TIMI) risk score, abnormal ECG, and troponin T levels were compared in 100 patients, myocardial contrast echocardiography was the strongest predictor of ACS, and the measured perfusion defect size correlated with the ejection fraction at the 4-week follow-up (r = –0.79, P <0.001) 32. Two other studies have also shown that myocardial contrast echocardiography can provide incremental mid-term (30 days) and long-term (2 years) prognostic information over a modified TIMI score 33,34. Myocardial contrast echocardiography in the emergency room can be cost-effective, with a saving of $900 per patient compared with usual care 35.

Echocardiography methods under development include antibody-coated microbubbles to image selectins, which are adhesion molecules that are expressed by the injured endothelium in acute ischaemia and persist for several hours after the acute event, providing an ‘ischaemic memory’. However, these antibody-coated microbubbles have only been evaluated in animal models 36.

# Stress echocardiography

The role of exercise and pharmacological stress echocardiography in the assessment of suspected ACS (FIG. 4) has been studied extensively 31,37–43. The use of stress echocardiography is advocated in the ESC guidelines on suspected ACS (class I, level A evidence) and is categorized as appropriate in suspected ACS in North American guidelines 12,14. In both guidelines , the use of stress echocardiography is mainly recommended for patients with no resting chest pain, normal ECG findings, negative troponin, and a low risk score.

The diagnostic accuracy of stress echocardiography was evaluated in a study of 503 patients with acute chest pain who underwent exercise stress echocardiography and exercise MPS for the detection of coronary artery disease (CAD) 38. Stress echocardiography had similar sensitivity to stress MPS (85% versus 86%), with slightly, but significantly, greater specificity (95% versus 90%). The sensitivity of exercise-tolerance testing was significantly lower (43%) than that of stress echocardiography, although the specificity was similar (95%). In a real-world study of stress echocardiography assessing the feasibility and safety of the examination in 839 consecutive patients presenting to chest pain units, 811 (96.7%) patients had technically successful stress echocardiography with no major complications 41. At 1- year follow-up, hard event rates (all-cause mortality and acute MI) were 0.5% in the normal stress echocardiography group versus 6.6% in the abnormal stress echocardiography group. In multivariate regression analysis, only abnormal stress echocardiography (HR 4.08, 95% CI 2.15–7.72, P <0.001) and advancing age (HR 1.78, 95% CI 1.39–2.37, P <0.001) predicted MI and death. A prospective, double-blind, multicentre, dobutamine stress study in 377 low-risk patients presenting to the emergency department with acute chest pain showed a 6-month risk of composite cardiac events of 14/351 (4%) in patients with a negative dobutamine stress echocardiography and 8/26 (30.8%) in patients with positive dobutamine stress echocardiography (P <0.0001) 42. In a head-to-head comparison of stress echocardiography and ECG-based exercise-tolerance testing, stress echocardiography was superior to exercise-tolerance testing in stratifying patients as low risk (77% versus 33%, P <0.0001). In addition, fewer of the patients who underwent stress echocardiography required further tests than those who underwent exercise-tolerance testing (3% versus 47%, P <0.0001), and stress echocardiography was more cost-effective than exercise-tolerance testing (£366.63 versus £515.48, P = 0.004) 39 In another study of 199 patients with acute-onset chest pain presenting to the emergency department and randomized to exercise-tolerance testing or stress echocardiography, the cost-effectiveness was similar, but the event rate in patients who underwent exercise-tolerance testing was significantly higher than in those who underwent stress echocardiography (0% versus 11%, P = 0.004) 43.

# Computed tomography coronary angiography

The use of CTCA is rapidly expanding and recommendations for the use of this imaging test are included in several relevant guidelines. The ACCF ‘Appropriate use criteria for cardiac computed tomography’ have endorsed CTCA as an appropriate test in the context of acute chest pain with normal or nondiagnostic ECG, and normal or equivocal biomarkers in the groups determined pretest to have low- or intermediate  likelihood of an ACS 44. CTCA is also endorsed by the ACCF for the evaluation of suspected coronary anomalies in this setting. Similarly, the ESC guidelines on suspected ACS recommend CTCA (class IIa, level B evidence) as an alternative to invasive coronary angiography to exclude ACS or other causes of chest pain in low- to intermediate likelihood groups in whom ECG and troponin are inconclusive (TABLE 2) 12.

High quality CTCA is feasible with multidetector CT scanners acquiring ≥64 slices, and these scanners are now widely available, including in many emergency departments 45. In a meta-analysis of 9 studies 46–54 involving 1,559 patients with symptoms suggestive of ACS and an initial nondiagnostic ECG, the pooled sensitivity, specificity, and positive and negative predictive values for 64-slice CTCA for major cardiovascular events at 30 days were 93.3%, 89.9%, 48.1%, and 99.3%, respectively 55. Four randomized, controlled clinical trials have incorporated CTCA into an early evaluation strategy in patients with suspected ACS presenting to the emergency department and have compared this test with usual care 56–59. A meta-analysis of these trials involving 3,266 patients determined pretest to have a low- to intermediate-likelihood of ACS showed that incorporating CTCA shortened the hospital stay. However, the pooled weighted incidence of invasive coronary angiography was 8.4% in the CTCA group versus 6.3% in the standard investigation group (P = 0.03) — a relative increase of invasive coronary angiography rates of 33% 60. Whether the observed increase in invasive procedures leads to improved patient outcome or decreases the need for future testing is unknown. A long-term outcome study published in 2014 assessing the use of CTCA in 196 patients with suspected ACS and a median follow-up of 47.4 months showed an excellent prognosis if CTCA was negative (1% readmitted with chest pain; 0% revascularization, ACS, or death) 61.

In addition to coronary imaging, coronary artery calcium scoring has also demonstrated high negative predictive value of 99% in patients presenting with acute chest pain 62. However, coronary artery calcium scoring alone in this study missed two patients (1.5%) with obstructive coronary artery disease. In another study of 1,049 patients, addition of coronary artery calcium scoring analysis to CTCA did not help predict 30-day cardiovascular events 63. Contrast-enhanced CT can be used to assess myocardial perfusion. A retrospective study of 158 consecutive patients who underwent ungated contrast-enhanced CT in the emergency department to rule out other causes of chest pain (mainly pulmonary embolus) showed high sensitivity (93%) and specificity (87%) of perfusion CT to detect acute MI (defined by a rise in troponin) 64. Similarly, a subgroup analysis of the ROMICAT trial 65 that evaluated the role of CTCA in acute chest pain showed that the assessment of myocardial perfusion and regional wall-motion abnormalities by CT improved the detection of ACS (area under the curve 0.88 versus 0.79, P = 0.02). In patients with a nondiagnostic ECG and equivocal cardiac biomarkers, current evidence thus shows that CTCA has a high negative predictive value for excluding ACS in low- to intermediate- likelihood groups, can facilitate triage decisions and reduce lengths of stay in patients with suspected ACS. In a multicentre, randomized, control trial of 749 patients, costs of care were 38% lower using CTCA compared with the standard care [57]. Also, in the same study, time to diagnosis was significantly lower for CTCA versus MPS (2.9 h, 95% CI 2.1–4.0 h versus 6.3 h, 95% CI 4.2–19.0 h, P <0.0001) [57].

# Radionuclide imaging

MPS is the most established method for assessment of ischaemia and viability 66,67. A full MPS study consists of imaging after both stress and rest injections of thallium-201 or technetium-99m labelled tracers, with the resting study showing myocardial scar and the stress-induced defects indicating inducible hypoperfusion — commonly, but incorrectly, referred to as ‘ischaemia’.

Among the currently available techniques in the acute setting, MPS has the strongest prognostic data. MPS is endorsed by the North American ‘Appropriate use criteria for cardiac radionuclide imaging’ and the ESC guidelines as an appropriate test in suspected ACS where diagnosis was not confirmed by ECG and biomarkers (TABLE 2) 12,68. Many observational studies have assessed the diagnostic and prognostic performance of rest MPS in the acute setting 69–77. In a pooled analysis of 2,465 patients presenting with recent (<6 h) pain, the sensitivity for detecting MI by rest MPS was 90%, with a specificity of 80% and a negative predictive value of 99% 78. The ERASE trial  79 was a large (n = 2,475) multi-centre, randomized trial that compared MPS with usual care and showed a 14% reduction in hospital admission and an estimated cost-saving of $60 to $72 per patient with the incorporation of MPS . Several prospective, randomized trials have also shown that resting MPS is cost-effective, and that the use of resting MPS improves the triage of patients presenting with acute chest pain 80–83. In the short term, 30-day cardiac event rates (acute MI, death, or revascularization) are 3% with normal MPS compared with 10–30% with abnormal MPS 75,80. Finally, an observational study of 1,187 consecutive patients showed excellent 1-year outcome in patients with normal MPS compared with those with abnormal MPS (0% MI/death versus 11% MI and 8% cardiac death, P < 0.001)73.

Although rest MPS is an excellent rule-out test, the sensitivity of this test in patients who no longer have chest pain is low 84. Another limitation is the inability of rest MPS to distinguish acute from chronic MI 85, as both appear as hypoperfused areas. After the initial chest pain has settled, stress–rest MPS to detect inducible hypoperfusion is more accurate and has greater prognostic value than rest MPS 86–88. The stress study is normally performed after a normal resting study, which can delay the discharge; however, the stress study can be performed after discharge in otherwise low-risk patients. Initial stress MPS in low-risk patients is safe and has similar performance to rest MPS alone 89.

MPS techniques developed in the past 5-10 years allow myocardial metabolism to be imaged. In ischaemic memory imaging, prolonged functional and/or biochemical alterations following an episode of severe myocardial ischaemia are detected. Myocardial ischaemia leads to a shift from aerobic fatty acid to anaerobic glucose metabolism 90. Even when myocardial perfusion is restored and ischaemia has resolved, the return to fatty acid metabolism can take 12 h or longer 91. This metabolism shift can be imaged using the fatty acid analogue ß-methyl-p-[123I] iodophenylpentadecanoic acid92. This form of ischaemic memory imaging has similar sensitivity (90%) and specificity (80%) to resting MPS for detecting ACS within 12 h of the cessation of chest pain 93 (FIG. 3 and 4), with no difference between early (0–12 h) and late (12–13 h) imaging. 18F-fluorodeoxyglucose (FDG) is a glucose analogue tracer that is used in positron emission tomography (PET) imaging to measure glucose utilization. The tracer accumulates in normal and ischaemic (viable) myocardium; however, under fasting conditions, FDG uptake is suppressed in normal myocardium and is accumulated in the ischaemic region 91. Hence, for FDG-PET ischaemic memory imaging, FDG is administered after a fast of at least 6 h or after an overnight fast. Flurpiridaz F-18 is a novel tracer in phase III clinical trials that has demonstrated increased image quality, with higher contrast and resolution than current PET tracers 94. However, the value of flurpiridaz F-18 in patients with suspected ACS remains unknown.

Hybrid imaging classically involves the combination (or fusion) of an anatomical (CTCA) and a functional test (SPECT, PET, CMR). Hybrid imaging is superior in determining the presence of functionally significant CAD (stenosis ≥70% with ≥10% myocardial ischaemic burden) compared with either of the individual techniques 95. The first reports of PET-CT 96–98 and SPECT-CT 99–101 have suggested a role for hybrid imaging in detecting functionally significant CAD, but further evaluation in patients with ACS is required. In addition, the availability of hybrid imaging is currently limited to a small number of centres with appropriate expertise and equipment.

# Cardiovascular Magnetic Resonance

CMR has an emerging role in the assessment and management of patients with ACS, in particular those who are clinically stable. CMR provides structural and functional assessment of regional myocardial motion and thickening, rest and stress perfusion, myocardial oedema, microvascular obstruction, and intramyocardial haemorrhage 102. The 2006 North American ‘Appropriateness criteria for cardiac computed tomography and cardiac magnetic resonance imaging’ recommends stress CMR as appropriate for the evaluation of patients deemed to have intermediate- likelihood of ACS when the ECG is uninterpretable or the patient is unable to exercise 103. MR coronary angiography, where available, might be appropriate to detect coronary anomalies. Current ESC guidelines highlight in particular the ability of CMR to detect myocarditis and assess viability and perfusion defects in patients with suspected ACS 12. The ESC guidelines on the management of suspected NSTEMI also recommend stress CMR (class I, level A evidence) in patients without recurrent pain, normal ECG, negative troponin and a low (≤108) Global Registry of Acute Coronary Events (GRACE) risk score (TABLE 2) 12.

A study published in 2004 showed that CMR was feasible and safe in 72 patients with recent non-ST-segment elevation ACS 104. CMR within 3 days of the event had 96% sensitivity and 83% specificity for significant CAD (stenosis ≥70%) defined by invasive angiography. CMR was also more accurate than the TIMI risk score (P <0.001). In a study of 161 patients presenting to the emergency department within 12 h of symptoms suggestive of ACS, but without ST-segment elevation on initial ECG, the diagnostic performance of CMR was evaluated using cine imaging for LV function, resting first-pass perfusion, and late gadolinium enhancement  105. Total imaging time was 38 minutes and patients were absent from the emergency department for less than 1 h. Although the sensitivity and specificity for the diagnosis of ACS as defined by troponin I and invasive angiography for this CMR protocol was only 84% and 85%, respectively, CMR added incremental value over clinical parameters.

Myocardial oedema develops before ischaemic necrosis or even troponin release 106. The oedema can persist even when ECG changes and myocardial dysfunction have resolved 107 (FIG 3), and can persist up to 1 month 108. A study in which oedema-sensitive T2-weighted imaging (T2W-imaging) was added to the CMR protocol used in previous reports showed increased specificity, positive predictive value, and overall accuracy (96%, 85%, and 93%, respectively) compared with the conventional CMR protocol while sensitivity remained at 85% 109. In addition, in this study, oedema-sensitive T2W-imaging accurately identified all patients with acute MI, often before cardiac biomarkers were elevated. A study of 135 low-risk patients presenting to the emergency department with chest pain showed that none of the patients with a normal adenosine CMR study had a subsequent diagnosis of CAD or an adverse outcome after 1 year 110. In the same study, the sensitivity of stress CMR was 100%, with a specificity of 93% for predicting adverse outcomes during a 1-year follow-up period. In two similar separate studies evaluating 192 patients who received adenosine stress and rest CMR, none of the patients with normal CMR had clinical events during 9 months of follow-up 111,112. Finally, in a randomized trial evaluating the cost-effectiveness of stress CMR in 110 intermediate- and high-risk patients with ACS, stress CMR led to a cost-saving of >20% compared with standard inpatient care ($3,101 versus $4,742, P = 0.004). The decrease of medical-care costs was a result of the reductions in coronary artery revascularization, readmissions, and further cardiac testing, without an increase in post-discharge ACS at 90 days 113.

Emerging CMR methods for ACS imaging include in particular parametric mapping techniques. T1-mapping can quantify the extent and severity of acute ischaemic injury (FIG. 5). In an early study, noncontrast T1-maps had 96% sensitivity and 91% specificity for detecting acute MI 114. In a study published in 2012, T1-mapping was superior to T2W-imaging in detecting NSTEMI (area under the curve 0.91 ± 0.02 versus 0.81 ± 0.04, P = 0.004) 115. T1-mapping is also superior to T2W and late gadolinium enhancement imaging in detecting acute myocarditis, which is one of the main differential diagnoses in patients with acute chest pain 116,117.

# Value of noninvasive imaging tests

Whether noninvasive imaging improves clinical outcome in patients presenting with possible ACS, and which imaging strategy provides the best results, remains unknown. In a retrospective analysis of privately insured patients in the USA who presented with chest pain but no evidence of MI by 24 h, early testing by CTCA, stress echocardiography, MPS, and exercise ECG led to higher rates of cardiac catheterisation and revascularisation, but no reduction in cardiac events compared with conservative management 118. Notably, stress echocardiography did not lead to a rise in invasive downstream investigation. CMR was not included in this study, highlighting the need for further large, prospective trials that include all contemporary imaging modalities 118.

# Conclusions

Bedside echocardiography is the first-line imaging test in patients with acute chest pain to assist in the diagnosis and management of patients presenting with suspected ACS. The advanced imaging techniques (stress echocardiography, CTCA, MPS, and CMR) add additional diagnostic and prognostic value, particularly when history, ECGs, and early cardiac biomarkers results are equivocal. Negative predictive values for all the advanced imaging techniques are comparable, and are higher than routine bedside echocardiography. Advanced imaging techniques are cost-effective, can reduce length of hospital stay, provide information on alternative diagnoses, and, if appropriately used, can improve patient flow in the emergency department. However, the optimal use and comparative value of these imaging techniques remain to be defined.

1.	Goodacre, S. The health care burden of acute chest pain. Heart 91, 229–230 (2005).

2.	Knockaert, D. C., Buntinx, F., Stoens, N., Bruyninckx, R. & Delooz, H. Chest pain in the emergency department: the broad spectrum of causes. Eur. J. Emerg. Med. 9, 25–30 (2002).

3.	Ekelund, U., Nilsson, H.-J., Frigyesi, A. & Torffvit, O. Patients with suspected acute coronary syndrome in a university hospital emergency department: an observational study. BMC Emerg. Med. 2, 1 (2002).

4.	Goodacre, S. W. et al. The Randomised Assessment of Treatment using Panel Assay of Cardiac Markers (RATPAC) trial: a randomised controlled trial of point-of-care cardiac markers in the emergency department. Heart 97, 190–6 (2011).

5.	Solinas, L. et al. Prevalence, clinical characteristics, resource utilization and outcome of patients with acute chest pain in the emergency department. A multicenter, prospective, observational study in north-eastern Italy. Ital. Heart J. 4, 318–24 (2003).

6.	Pope, J. H. et al. Missed diagnoses of acute cardiac ischemia in the emergency department. N. Engl. J. Med. 342, 1163–70 (2000).

7.	Di Pasquale, P. et al. Sensitivity, specificity and predictive value of the echocardiography and troponin-T test combination in patients with non-ST elevation acute coronary syndromes. Int. J. Cardiovasc. Imaging 20, 37–46 (2004).

8.	Hammarsten, O. et al. Troponin T percentiles from a random population sample, emergency room patients and patients with myocardial infarction. Clin. Chem. 58, 628–37 (2012).

9.	Gami, B. N. et al. Utility of Heart-type Fatty Acid Binding Protein as a New Biochemical Marker for the Early Diagnosis of Acute Coronary Syndrome. J. Clin. Diagn. Res. 9, BC22–4 (2015).

10.	Thygesen, K. et al. Third universal definition of myocardial infarction. Eur. Heart J. 33, 2551–2567 (2012).

11.	O’Gara, P. T. et al. 2013 ACCF/AHA guideline for the management of ST-elevation myocardial infarction: a report of the American College of Cardiology Foundation/American Heart Association Task Force on Practice Guidelines. J. Am. Coll. Cardiol. 61, e78–140 (2013).

12.	Hamm, C. W. et al. ESC Guidelines for the management of acute coronary syndromes in patients presenting without persistent ST-segment elevation: The Task Force for the management of acute coronary syndromes (ACS) in patients presenting without persistent ST-segment elevatio. Eur. Heart J. 32, 2999–3054 (2011).

13.	Steg, P. G. et al. ESC Guidelines for the management of acute myocardial infarction in patients presenting with ST-segment elevation. Eur. Heart J. 33, 2569–619 (2012).

14.	Douglas, P. S. et al. ACCF/ASE/AHA/ASNC/HFSA/HRS/SCAI/SCCM/SCCT/SCMR 2011 Appropriate Use Criteria for Echocardiography. A Report of the American College of Cardiology Foundation Appropriate Use Criteria Task Force, American Society of Echocardiography, American Heart Associat. J. Am. Coll. Cardiol. 57, 1126–66 (2011).

15.	Horowitz, R. S. et al. Immediate diagnosis of acute myocardial infarction by two-dimensional echocardiography. Circulation 65, 323–329 (1982).

16.	Sasaki, H., Charuzi, Y., Beeder, C., Sugiki, Y. & Lew, A. S. Utility of echocardiography for the early assessment of patients with nondiagnostic chest pain. Am. Heart J. 112, 494–7 (1986).

17.	Peels, C. H., Visser, C. A., Kupper, A. J., Visser, F. C. & Roos, J. P. Usefulness of two-dimensional echocardiography for immediate detection of myocardial ischemia in the emergency room. Am. J. Cardiol. 65, 687–91 (1990).

18.	Sabia, P. et al. Value of regional wall motion abnormality in the emergency room diagnosis of acute myocardial infarction. A prospective study using two-dimensional echocardiography. Circulation 84, I85–92 (1991).

19.	Saeian, K., Rhyne, T. L. & Sagar, K. B. Ultrasonic tissue characterization for diagnosis of acute myocardial infarction in the coronary care unit. Am. J. Cardiol. 74, 1211–5 (1994).

20.	Kontos, M. C. et al. Comparison between 2-dimensional echocardiography and myocardial perfusion imaging in the emergency department in patients with possible myocardial ischemia. Am. Heart J. 136, 724–33 (1998).

21.	Kontos, M. C., Arrowood, J. A., Paulsen, W. H. & Nixon, J. V. Early echocardiography can predict cardiac events in emergency department patients with chest pain. Ann. Emerg. Med. 31, 550–7 (1998).

22.	Mohler, E. R. et al. Clinical utility of troponin T levels and echocardiography in the emergency department. Am. Heart J. 135, 253–60 (1998).

23.	Kalvaitis, S. et al. Effect of time delay on the diagnostic use of contrast echocardiography in patients presenting to the emergency department with chest pain and no S-T segment elevation. J. Am. Soc. Echocardiogr. 19, 1488–93 (2006).

24.	Senior, R. et al. Contrast echocardiography: evidence-based recommendations by European Association of Echocardiography. Eur. J. Echocardiogr. 10, 194–212 (2008).

25.	Lyseggen, E. et al. Myocardial strain analysis in acute coronary occlusion: a tool to assess myocardial viability and reperfusion. Circulation 112, 3901–3910 (2005).

26.	Smedsrud, M. K. et al. Duration of myocardial early systolic lengthening predicts the presence of significant coronary artery disease. J. Am. Coll. Cardiol. 60, 1086–93 (2012).

27.	Dahlslett, T. et al. Early assessment of strain echocardiography can accurately exclude significant coronary artery stenosis in suspected non-ST-segment elevation acute coronary syndrome. J. Am. Soc. Echocardiogr. 27, 512–9 (2014).

28.	Choi, S. W. et al. Diagnostic Value of Ultrasound-Based Strain Imaging in Patients With Suspected Coronary Artery Disease. Korean Circ. J. 38, 398 (2008).

29.	Sarvari, S. I. et al. Layer-specific quantification of myocardial deformation by strain echocardiography may reveal significant CAD in patients with non-ST-segment elevation acute coronary syndrome. JACC. Cardiovasc. Imaging 6, 535–44 (2013).

30.	Zahid, W. et al. Early systolic lengthening may identify minimal myocardial damage in patients with non-ST-elevation acute coronary syndrome. Eur. Heart J. Cardiovasc. Imaging 15, 1152–60 (2014).

31.	Anantharam, B. et al. Safety of contrast in stress echocardiography in stable patients and in patients with suspected acute coronary syndrome but negative 12-hour troponin. Am. J. Cardiol. 104, 14–8 (2009).

32.	Korosoglou, G. et al. Usefulness of real-time myocardial perfusion imaging in the evaluation of patients with first time chest pain. Am. J. Cardiol. 94, 1225–31 (2004).

33.	Tong, K. L. et al. Myocardial contrast echocardiography versus Thrombolysis In Myocardial Infarction score in patients presenting to the emergency department with chest pain and a nondiagnostic electrocardiogram. J. Am. Coll. Cardiol. 46, 920–7 (2005).

34.	Rinkevich, D. et al. Regional left ventricular perfusion and function in patients presenting to the emergency department with chest pain and no ST-segment elevation. Eur. Heart J. 26, 1606–11 (2005).

35.	Wyrick, J. J. et al. Cost-efficiency of myocardial contrast echocardiography in patients presenting to the emergency department with chest pain of suspected cardiac origin and a nondiagnostic electrocardiogram. Am. J. Cardiol. 102, 649–52 (2008).

36.	Villanueva, F. S. et al. Myocardial ischemic memory imaging with molecular echocardiography. Circulation 115, 345–52 (2007).

37.	Tsutsui, J. M. et al. Diagnostic accuracy and prognostic value of dobutamine stress myocardial contrast echocardiography in patients with suspected acute coronary syndromes. Echocardiography 22, 487–95 (2005).

38.	Conti, A. et al. Assessment of patients with low-risk chest pain in the emergency department: Head-to-head comparison of exercise stress echocardiography and exercise myocardial SPECT. Am. Heart J. 149, 894–901 (2005).

39.	Jeetley, P., Burden, L., Stoykova, B. & Senior, R. Clinical and economic impact of stress echocardiography compared with exercise electrocardiography in patients with suspected acute coronary syndrome but negative troponin: a prospective randomized controlled study. Eur. Heart J. 28, 204–11 (2007).

40.	Gaibazzi, N. et al. Contrast stress-echocardiography predicts cardiac events in patients with suspected acute coronary syndrome but nondiagnostic electrocardiogram and normal 12-hour troponin. J. Am. Soc. Echocardiogr. 24, 1333–41 (2011).

41.	Shah, B. N. et al. Incremental diagnostic and prognostic value of contemporary stress echocardiography in a chest pain unit: mortality and morbidity outcomes from a real-world setting. Circ. Cardiovasc. Imaging 6, 202–9 (2013).

42.	Bholasingh, R. et al. Prognostic value of predischarge dobutamine stress echocardiography in chest pain patients with a negative cardiac troponin T. J. Am. Coll. Cardiol. 41, 596–602 (2003).

43.	Nucifora, G. et al. Comparison of early dobutamine stress echocardiography and exercise electrocardiographic testing for management of patients presenting to the emergency department with chest pain. Am. J. Cardiol. 100, 1068–73 (2007).

44.	Taylor, A. J. et al. ACCF/SCCT/ACR/AHA/ASE/ASNC/NASCI/SCAI/SCMR 2010 appropriate use criteria for cardiac computed tomography. A report of the American College of Cardiology Foundation Appropriate Use Criteria Task Force, the Society of Cardiovascular Computed Tomography, the. J. Am. Coll. Cardiol. 56, 1864–94 (2010).

45.	Hoffmann, U. & Bamberg, F. Is computed tomography coronary angiography the most accurate and effective noninvasive imaging tool to evaluate patients with acute chest pain in the emergency department?: CT coronary angiography is the most accurate and effective noninvasive imaging to. Circ. Cardiovasc. Imaging 2, 251–63; discussion 263 (2009).

46.	Johnson, T. R. et al. ECG-gated 64-MDCT angiography in the differential diagnosis of acute chest pain. AJR Am J Roentgenol 188, 76–82 (2007).

47.	Gallagher, M. J. et al. The Diagnostic Accuracy of 64-Slice Computed Tomography Coronary Angiography Compared With Stress Nuclear Imaging in Emergency Department Low-Risk Chest Pain Patients. Ann. Emerg. Med. 49, 125–136 (2007).

48.	Rubinshtein, R. et al. Usefulness of 64-slice cardiac computed tomographic angiography for diagnosing acute coronary syndromes and predicting clinical outcome in emergency department patients with chest pain of uncertain origin. Circulation 115, 1762–8 (2007).

49.	Johnson, T. R. C. et al. Dual-source CT for chest pain assessment. Eur. Radiol. 18, 773–780 (2008).

50.	Takakuwa, K. M. & Halpern, E. J. Evaluation of a ‘triple rule-out’ coronary CT angiography protocol: use of 64-Section CT in low-to-moderate risk emergency department patients suspected of having acute coronary syndrome. Radiology 248, 438–446 (2008).

51.	Ueno, K. et al. Diagnostic capacity of 64-slice multidetector computed tomography for acute coronary syndrome in patients presenting with acute chest pain. Cardiology 112, 211–218 (2009).

52.	Hollander, J. E. et al. Coronary Computed Tomographic Angiography for Rapid Discharge of Low-Risk Patients With Potential Acute Coronary Syndromes. Ann. Emerg. Med. 53, 295–304 (2009).

53.	Hoffmann, U. et al. Coronary computed tomography angiography for early triage of patients with acute chest pain: the ROMICAT (Rule Out Myocardial Infarction using Computer Assisted Tomography) trial. J. Am. Coll. Cardiol. 53, 1642–50 (2009).

54.	Hansen, M. et al. The value of dual-source 64-slice CT coronary angiography in the assessment of patients presenting to an acute chest pain service. Heart. Lung Circ. 19, 213–218 (2010).

55.	Takakuwa, K. M., Keith, S. W., Estepa, A. T. & Shofer, F. S. A meta-analysis of 64-section coronary CT angiography findings for predicting 30-day major adverse cardiac events in patients presenting with symptoms suggestive of acute coronary syndrome. Acad. Radiol. 18, 1522–8 (2011).

56.	Goldstein, J. A. et al. A randomized controlled trial of multi-slice coronary computed tomography for evaluation of acute chest pain. J. Am. Coll. Cardiol. 49, 863–71 (2007).

57.	Goldstein, J. A. et al. The CT-STAT (Coronary Computed Tomographic Angiography for Systematic Triage of Acute Chest Pain Patients to Treatment) trial. J. Am. Coll. Cardiol. 58, 1414–22 (2011).

58.	Litt, H. I. et al. CT angiography for safe discharge of patients with possible acute coronary syndromes. N. Engl. J. Med. 366, 1393–403 (2012).

59.	Hoffmann, U. et al. Coronary CT angiography versus standard evaluation in acute chest pain. The New England journal of medicine 367, 299–308 (2012).

60.	Hulten, E. et al. Outcomes after coronary computed tomography angiography in the emergency department: a systematic review and meta-analysis of randomized, controlled trials. J. Am. Coll. Cardiol. 61, 880–92 (2013).

61.	Nasis, A. et al. Long-term outcome after CT angiography in patients with possible acute coronary syndrome. Radiology 272, 674–82 (2014).

62.	Fernandez-Friera, L. et al. Diagnostic value of coronary artery calcium scoring in low-intermediate risk patients evaluated in the emergency department for acute coronary syndrome. Am. J. Cardiol. 107, 17–23 (2011).

63.	Chang, A. M., Le, J., Matsuura, A. C., Litt, H. I. & Hollander, J. E. Does coronary artery calcium scoring add to the predictive value of coronary computed tomography angiography for adverse cardiovascular events in low-risk chest pain patients? Acad. Emerg. Med. 18, 1065–71 (2011).

64.	Mano, Y., Anzai, T., Yoshizawa, A., Itabashi, Y. & Ohki, T. Role of non-electrocardiogram-gated contrast-enhanced computed tomography in the diagnosis of acute coronary syndrome. Heart Vessels (2013). doi:10.1007/s00380-013-0437-8

65.	Bezerra, H. G. et al. Incremental value of myocardial perfusion over regional left ventricular function and coronary stenosis by cardiac CT for the detection of acute coronary syndromes in high-risk patients: a subgroup analysis of the ROMICAT trial. J. Cardiovasc. Comput. Tomogr. 5, 382–91

66.	Kontos, M. C. et al. Sensitivity of acute rest myocardial perfusion imaging for identifying patients with myocardial infarction based on a troponin definition. J. Nucl. Cardiol. 11, 12–9

67.	Zaman, M. M. et al. Correlation between severity of coronary artery stenosis and perfusion defect assessed by SPECT myocardial perfusion imaging. Mymensingh Med. J. 19, 608–13 (2010).

68.	Hendel, R. C. et al. ACCF/ASNC/ACR/AHA/ASE/SCCT/SCMR/SNM 2009 Appropriate Use Criteria for Cardiac Radionuclide Imaging: A Report of the American College of Cardiology Foundation Appropriate Use Criteria Task Force, the American Society of Nuclear Cardiology, the American Col. J. Am. Coll. Cardiol. 53, 2201–29 (2009).

69.	Wackers, F. J. et al. Value and limitations of thallium-201 scintigraphy in the acute phase of myocardial infarction. N. Engl. J. Med. 295, 1–5 (1976).

70.	Bilodeau, L., Théroux, P., Grégoire, J., Gagnon, D. & Arsenault, A. Technetium-99m sestamibi tomography in patients with spontaneous chest pain: correlations with clinical, electrocardiographic and angiographic findings. J. Am. Coll. Cardiol. 18, 1684–91 (1991).

71.	Varetto, T., Cantalupi, D., Altieri, A. & Orlandi, C. Emergency room technetium-99m sestamibi imaging to rule out acute myocardial ischemic events in patients with nondiagnostic electrocardiograms. J. Am. Coll. Cardiol. 22, 1804–8 (1993).

72.	Hilton, T. C. et al. Technetium-99m sestamibi myocardial perfusion imaging in the emergency room evaluation of chest pain. J. Am. Coll. Cardiol. 23, 1016–22 (1994).

73.	Tatum, J. L. et al. Comprehensive strategy for the evaluation and triage of the chest pain patient. Ann. Emerg. Med. 29, 116–25 (1997).

74.	Kontos, M. C., Jesse, R. L., Schmidt, K. L., Ornato, J. P. & Tatum, J. L. Value of acute rest sestamibi perfusion imaging for evaluation of patients admitted to the emergency department with chest pain. J. Am. Coll. Cardiol. 30, 976–82 (1997).

75.	Heller, G. V et al. Clinical value of acute rest technetium-99m tetrofosmin tomographic myocardial perfusion imaging in patients with acute chest pain and nondiagnostic electrocardiograms. J. Am. Coll. Cardiol. 31, 1011–7 (1998).

76.	Duca, M. D. et al. Comparison of acute rest myocardial perfusion imaging and serum markers of myocardial injury in patients with chest pain syndromes. J. Nucl. Cardiol. 6, 570–6

77.	Kosnik, J. W. et al. Resting sestamibi imaging for the prognosis of low-risk chest pain. Acad. Emerg. Med. 6, 998–1004 (1999).

78.	Sechtem, U., Achenbach, S., Friedrich, M., Wackers, F. & Zamorano, J. L. Non-invasive imaging in acute chest pain syndromes. Eur. Heart J. Cardiovasc. Imaging 13, 69–78 (2012).

79.	Udelson, J. E. & Spiegler, E. J. Emergency department perfusion imaging for suspected coronary artery disease: the ERASE Chest Pain Trial. Md. Med. Suppl, 90–4 (2001).

80.	Udelson, J. E. et al. Myocardial Perfusion Imaging for Evaluation and Triage of Patients With Suspected Acute Cardiac Ischemia. JAMA 288, 2693 (2002).

81.	Stowers, S. A. et al. An economic analysis of an aggressive diagnostic strategy with single photon emission computed tomography myocardial perfusion imaging and early exercise stress testing in emergency department patients who present with chest pain but nondiagnostic electro. Ann. Emerg. Med. 35, 17–25 (2000).

82.	Radensky, P. W., Hilton, T. C., Fulmer, H., McLaughlin, B. A. & Stowers, S. A. Potential cost effectiveness of initial myocardial perfusion imaging for assessment of emergency department patients with chest pain. Am. J. Cardiol. 79, 595–9 (1997).

83.	Forberg, J. L. et al. Negative predictive value and potential cost savings of acute nuclear myocardial perfusion imaging in low risk patients with suspected acute coronary syndrome: a prospective single blinded study. BMC Emerg. Med. 9, 12 (2009).

84.	Fram, D. B. et al. Duration of abnormal SPECT myocardial perfusion imaging following resolution of acute ischemia: an angioplasty model. J. Am. Coll. Cardiol. 41, 452–9 (2003).

85.	Harrison, S. D., Harrison, M. A. & Duvall, W. L. Stress myocardial perfusion imaging in the emergency department--new techniques for speed and diagnostic accuracy. Curr. Cardiol. Rev. 8, 116–22 (2012).

86.	Nerenberg, R. H., Shofer, F. S., Robey, J. L., Brown, A. M. & Hollander, J. E. Impact of a negative prior stress test on emergency physician disposition decision in ED patients with chest pain syndromes. Am. J. Emerg. Med. 25, 39–44 (2007).

87.	Shoyeb, A. et al. Value of definitive diagnostic testing in the evaluation of patients presenting to the emergency department with chest pain. Am. J. Cardiol. 91, 1410–4 (2003).

88.	Fesmire, F. M. et al. The Erlanger chest pain evaluation protocol: a one-year experience with serial 12-lead ECG monitoring, two-hour delta serum marker measurements, and selective nuclear stress testing to identify and exclude acute coronary syndromes. Ann. Emerg. Med. 40, 584–94 (2002).

89.	Duvall, W. L. et al. Stress-only Tc-99m myocardial perfusion imaging in an emergency department chest pain unit. J. Emerg. Med. 42, 642–50 (2012).

90.	Depre, C., Vanoverschelde, J.-L. J. & Taegtmeyer, H. Glucose for the Heart. Circulation 99, 578–588 (1999).

91.	Yoshinaga, K., Naya, M., Shiga, T., Suzuki, E. & Tamaki, N. Ischaemic memory imaging using metabolic radiopharmaceuticals: overview of clinical settings and ongoing investigations. Eur. J. Nucl. Med. Mol. Imaging 41, 384–93 (2014).

92.	Inaba, Y. & Bergmann, S. R. Prognostic value of myocardial metabolic imaging with BMIPP in the spectrum of coronary artery disease: a systematic review. J. Nucl. Cardiol. 17, 61–70

93.	Kontos, M. C. et al. Iodofiltic acid I 123 (BMIPP) fatty acid imaging improves initial diagnosis in emergency department patients with suspected acute coronary syndromes: a multicenter trial. J. Am. Coll. Cardiol. 56, 290–9 (2010).

94.	Li, Y., Zhang, W., Wu, H. & Liu, G. Advanced tracers in PET imaging of cardiovascular disease. Biomed Res. Int. 2014, 504532 (2014).

95.	Gaemperli, O., Bengel, F. M. & Kaufmann, P. A. Cardiac hybrid imaging. Eur. Heart J. 32, 2100–8 (2011).

96.	Namdar, M. et al. Integrated PET/CT for the assessment of coronary artery disease: a feasibility study. J. Nucl. Med. 46, 930–5 (2005).

97.	Groves, A. M. et al. First experience of combined cardiac PET/64-detector CT angiography with invasive angiographic validation. Eur. J. Nucl. Med. Mol. Imaging 36, 2027–33 (2009).

98.	Kajander, S. et al. Cardiac positron emission tomography/computed tomography imaging accurately detects anatomically and functionally significant coronary artery disease. Circulation 122, 603–13 (2010).

99.	Rispler, S. et al. Integrated single-photon emission computed tomography and computed tomography coronary angiography for the assessment of hemodynamically significant coronary artery lesions. J. Am. Coll. Cardiol. 49, 1059–67 (2007).

100.	Sato, A. et al. Incremental value of combining 64-slice computed tomography angiography with stress nuclear myocardial perfusion imaging to improve noninvasive detection of coronary artery disease. J. Nucl. Cardiol. 17, 19–26

101.	Schaap, J. et al. Incremental diagnostic accuracy of hybrid SPECT/CT coronary angiography in a population with an intermediate to high pre-test likelihood of coronary artery disease. Eur. Heart J. Cardiovasc. Imaging 14, 642–9 (2013).

102.	Lockie, T., Nagel, E., Redwood, S. & Plein, S. Use of cardiovascular magnetic resonance imaging in acute coronary syndromes. Circulation 119, 1671–81 (2009).

103.	Hendel, R. C. et al. ACCF/ACR/SCCT/SCMR/ASNC/NASCI/SCAI/SIR 2006 appropriateness criteria for cardiac computed tomography and cardiac magnetic resonance imaging: a report of the American College of Cardiology Foundation Quality Strategic Directions Committee Appropriateness C. J. Am. Coll. Cardiol. 48, 1475–97 (2006).

104.	Plein, S. et al. Assessment of non-ST-segment elevation acute coronary syndromes with cardiac magnetic resonance imaging. J. Am. Coll. Cardiol. 44, 2173–81 (2004).

105.	Kwong, R. Y. et al. Detecting acute coronary syndrome in the emergency department with cardiac magnetic resonance imaging. Circulation 107, 531–7 (2003).

106.	Abdel-Aty, H., Cocker, M., Meek, C., Tyberg, J. V & Friedrich, M. G. Edema as a very early marker for acute myocardial ischemia: a cardiovascular magnetic resonance study. J. Am. Coll. Cardiol. 53, 1194–201 (2009).

107.	h-Ici, D. O. et al. T1 mapping in ischaemic heart disease. Eur. Heart J. Cardiovasc. Imaging 15, 597–602 (2014).

108.	Fishbein, M. C., Maclean, D. & Maroko, P. R. The histopathologic evolution of myocardial infarction. Chest 73, 843–9 (1978).

109.	Cury, R. C. et al. Cardiac magnetic resonance with T2-weighted imaging improves detection of patients with acute coronary syndrome in the emergency department. Circulation 118, 837–44 (2008).

110.	Ingkanisorn, W. P. et al. Prognosis of negative adenosine stress magnetic resonance in patients presenting to an emergency department with chest pain. J. Am. Coll. Cardiol. 47, 1427–32 (2006).

111.	Lerakis, S. et al. Prognostic value of adenosine stress cardiovascular magnetic resonance in patients with low-risk chest pain. J. Cardiovasc. Magn. Reson. 11, 37 (2009).

112.	Hartlage, G. et al. Prognostic value of adenosine stress cardiovascular magnetic resonance and dobutamine stress echocardiography in patients with low-risk chest pain. The international journal of cardiovascular imaging 28, 803–12 (2012).

113.	Miller, C. D. et al. Stress CMR imaging observation unit in the emergency department reduces 1-year medical care costs in patients with acute chest pain: a randomized study for comparison with inpatient care. JACC. Cardiovasc. Imaging 4, 862–70 (2011).

114.	Messroghli, D. R. et al. Myocardial T1 mapping: application to patients with acute and chronic myocardial infarction. Magn. Reson. Med. 58, 34–40 (2007).

115.	Dall’Armellina, E. et al. Cardiovascular magnetic resonance by non contrast T1-mapping allows assessment of severity of injury in acute myocardial infarction. J. Cardiovasc. Magn. Reson. 14, 15 (2012).

116.	Ferreira, V. M. et al. T(1) mapping for the diagnosis of acute myocarditis using CMR: comparison to T2-weighted and late gadolinium enhanced imaging. JACC. Cardiovasc. Imaging 6, 1048–58 (2013).

117.	Garg, P., Greenwood, J. P. & Plein, S. Multiparametric relaxometry by cardiac magnetic resonance imaging in Takotsubo cardiomyopathy. Eur. Heart J. Cardiovasc. Imaging (2015). doi:10.1093/ehjci/jev167

118.	Foy, A. J., Liu, G., Davidson, W. R., Sciamanna, C. & Leslie, D. L. Comparative effectiveness of diagnostic testing strategies in emergency department patients with chest pain: an analysis of downstream testing, interventions, and outcomes. JAMA Intern. Med. 175, 428–36 (2015).

Author contributions

P.G. researched data for the article and wrote the manuscript. P.G., S.R.U., R.S., J.P.G. and S.P. reviewed and edited the manuscript before submission. P.G. and S.P. provided substantial contribution to the discussion of content.

# Competing interests statement

The authors declare no competing interests.

Figure 1 | Algorithm for the management of suspected acute coronary syndrome (ACS). Use of cardiac imaging is dependent on resting electrocardiogram (ECG) and a highly sensitive troponin (hs-Tn) assay (adapted from ESC guidelines).  STEMI, ST-segment elevation myocardial infarction; CTCA, computed tomography coronary angiography; CMR, cardiovascular magnetic resonance; Echo, echocardiography; MPS, myocardial perfusion scintigraphy; PPCI, primary percutaneous coronary intervention.

Figure 2 | Transthoracic echocardiography in a patient with suspected ACS. a | Apical four-chamber view in end-diastole. b | Apical four-chamber view in end-systole demonstrating reduced thickening in the mid-to-apical septum and apex (yellow arrows) suggestive of left anterior descending artery ischaemia. c | Colour Doppler in apical four-chamber view demonstrating moderate-to-severe ischaemic mitral regurgitation. d | Continuous wave Doppler across the mitral valve demonstrated dense spectrum of the mitral regurgitation.

Figure 3 | Timeline of pathophysiological changes in ischaemic myocardium and imaging techniques used to study the associated changes. a | Computed tomography coronary angiography (CTCA).  b | Myocardial contrast echocardiography for the assessment of perfusion defects. c | Rest myocardial perfusion scintigraphy (MPS). d | Contrast-enhanced magnetic resonance angiography for the detection of proximal coronary anomaly. e | Stress cardiovascular magnetic resonance (CMR). f | Myocardial ischaemic memory imaging with β-methyl-p-[123I] iodophenylpentadecanoic acid. g | Strain imaging on echocardiography (Echo) for heterogeneity of strain curves. h | Myocardial tagging with CMR for regional strain variations in ischaemic myocardium. i | Echocardiography to detect regional wall motion abnormality. j | Cine CMR imaging to detect regional wall motion abnormality. k | Ratio of peak mitral inflow velocity (E) and mitral valve propagation velocity (Vp) for estimating left atrial pressure (E/Vp). l | Native T1-maps on CMR imaging for the quantification of myocardial oedema. m | T2-weighted CMR imaging for myocardial oedema. n | Late gadolinium enhancement (LGE) imaging on CMR for scarred myocardium. o | LGE for microvascular obstruction. p | T2-weigthed imaging on CMR for intramyocardial haemorrhage. Panel f is reprinted with permission obtained from Elsevier Ltd © 93.CP, chest pain; IMH, intramyocardial haemorrhage; LV, left ventricular MVO: microvascular obstruction.

Figure 4 | Imaging in patients with suspected ACS. a | Rest (upper panel) and stress (lower panel) myocardial perfusion scintigraphy (MPS) in a patient with inferior wall ischaemia at stress. b | Rest (upper panel) and stress (lower panel) contrast-enhanced stress echocardiography demonstrating apical ballooning at peak stress suggestive of significant ischaemia (involving more than 3 segments and hence ≥10% myocardial ischaemic burden) in the left anterior descending artery (LAD). c | Computed tomography coronary angiography in a patient with crescendo angina and negative serial troponin tests demonstrating significant proximal right coronary artery soft plaque lesion and two nonsignificant LAD lesions (inset; through-plane imaging for plaque characterization).

Figure 5 | Multiparametric cardiovascular magnetic resonance imaging in a patient with suspected ACS. a | 3D wall-motion colourmap showing an area of hypokinesia and akinesia (yellow arrow). b | Short-axis native T1-map demonstrating high inflammation in the peri-infarct anterior wall (green arrow). c | Nonquantitative T2-weighted imaging demonstrating myocardial oedema in the same segment (yellow arrow). d | Early gadolinium enhancement imaging demonstrating absence of microvascular obstruction. e | Late gadolinium enhancement imaging confirms small subendocardial scar in the anterior wall (yellow arrow). f | Extracellular volume from the pre/post-contrast T1-maps shows that the area of myocardial oedema and the infarct are in the same segments (yellow arrow).

Table 1. Overview of noninvasive cardiac imaging for the assessment of acute chest pain.

| Modality | Advantages | Disadvantages |
| --- | --- | --- |
| 2D-TTE | Bedside Widely available Relatively low cost to other imaging modolities RCT and observational data support the use of 2D-TTE Standard reporting approach Strain related techniques might add to the diagnostic accuracy | Might not be available 24/7 Poor endocardial definition that reduces the diagnostic yield Quantification is not as reliable as for other techniques Reliability is questionable when symptoms subside |
| Contrast Echo (CE) or MCE (Perfusion) | CE increases the diagnostic yield of 2D-TTE RCT and observational data support use of CE and MCE For MCE, large studies suggests incremental diagnostic and prognostic information | Reporting approach for MCE is not standardized MCE is mostly used in research centres |
| Stress Echo (SE) | SE (exercise) is superior to EET (and similar to exercise MPS) in risk stratification RCT and observational data support the use of SE (mainly exercise with/without contrast) Contrast is safe to use in SE Can be used even when symptoms have subsided Provides incremental prognostic information | Probably not available 24/7 Available only in centres with local expertise in SE |
| CTCA | Widely available Can be reported remotely by on-call radiologist/cardiologist Standard acquisition and reporting approach RCT and observational data support the use of CTCA Perfusion CT might add to the diagnostic value Other causes of chest pain can be diagnosed using triple rule-out CT | Probably not available 24/7 Coronary calcium could interfere with the interpretation Functionally nonsignificant lesions (moderate stenosis) can lead to increased invasive assessments Patients with fast heart rates, atrial fibrillation and abnormal renal functions might not be eligible Radiation exposure Adequate renal function is required (eGFR >30 ml/min/1.73 m2), otherwise the risk of contrast induced nephropathy increases |
| Rest MPS | Widely available Standard acquisition and reporting approach RCT and observational data support the use of rest MPS Quantitative assessment is possible and is widely used Provides prognostic information | Probably not available 24/7 Radiation exposure |
| CMR | Comprehensive structural and functional assessment Tissue characterization — myocardial oedema assessment, EGE for thrombus, LGE for scar and MVO, IMH Well validated for the quantification of LV functional parameters RCT and observational data support use of stress CMR Provides several clinical parameters of prognosis No radiation exposure | Most probably not available 24/7 Expertise for comprehensive imaging in this setting is not widely available Reporting approaches are not standardized Patients with claustrophobia, fast heart rates, severe renal impairment, high burden of ventricular ectopics, and ferromagnetic implants might not be eligible for stress CMR Adequate renal function is required (eGFR >30 ml/min/1.73 m2), otherwise there is a potential risk of nephrogenic systemic fibrosis |

CMR, cardiovascular magnetic resonance; CTCA, computed tomography coronary angiography; Echo, echocardiography; EET, exercise electrocardiography test ; EGE, early gadolinium enhancement; IMH, intramyocardial haemorrhage; LGE, late gadolinium enhancement; LV, left ventricular; MCE, myocardial contrast echocardiography ; MOV, microvascular obstruction; MPS, myocardial perfusion scintigraphy; RCT, randomized controlled trial ; TTE, transthoracic echocardiography.

Table 2 | Guideline endorsement of advanced imaging when ACS is suspected but ECG and biomarkers are inconclusive

| Modality | Guidelines | Endorsed for |
| --- | --- | --- |
| 2D-TTE | ESC guidelines for NSTE-ACS 2011 ACCF/ASE/AHA Appropriate Use Criteria for Echocardiography 2011 | Primary bedside modality For resting RWMA |
| Stress Echo | ESC Guidelines for NSTE-ACS 2011 ACCF/ASE/AHA Appropriate Use Criteria for Echocardiography 2011 | In all suspected ACS for RWMA |
| CTCA | ESC Guidelines for NSTE-ACS 2011 ACCF/ASE/AHA Appropriate Use Criteria for Cardiac Computed Tomography 2010 | In low/intermediate CAD likelihood for coronary anatomy In patients with suspected coronary anomalies |
| Rest MPS | ESC Guidelines for NSTE-ACS 2011 Appropriate Use Criteria for Cardiac Radionuclide Imaging 2009 | In all suspected ACS for myocardial scar |
| CMR | ESC Guidelines for NSTE-ACS 2011 Appropriateness Criteria for Cardiac Computed Tomography and Cardiac Magnetic Resonance Imaging 2006 | In intermediate CAD likelihood for myocardial scar or RWMA In patients with suspected coronary anomalies using MR coronary angiography |

ACCF, American College of Cardiology Foundation; ACS, acute coronary syndrome; ASE, American Society of Echocardiography ; CAD, coronary artery disease; CMR, cardiovascular magnetic resonance; CTCA, computed tomography coronary angiography; Echo, echocardiography; MPS, myocardial perfusion scintigraphy; NSTE, non-ST-segment elevation; MR, magnetic resonance; RWMA, regional wall motion abnormalities

Author biographies

Pankaj Garg obtained his medical degree with honours in 2003 from the Moscow Medical Academy, Russia. Dr Garg currently works as a research fellow in cardiac MRI at the University of Leeds, UK. He is honorary cardiology registrar for the Sheffield Teaching Hospitals NHS Foundation Trust and Leeds Teaching Hospitals NHS Trust, UK. His research focus is on tissue characterization and the role of 3D phase contrast acquisition for the assessment of intracardiac flow on cardiac MRI.

Stephen Richard Underwood is Professor of Cardiac Imaging at the Imperial College London (National Heart and Lung Institute), UK, and Honorary Consultant to the Royal Brompton Hospital, London, UK. A cardiologist by initial training, Professor Underwood now has dual specialization in cardiology and nuclear medicine. His principal interest is noninvasive imaging of the cardiovascular system, in particular nuclear cardiology, X-ray CT, and magnetic resonance imaging. He has been involved in the pioneering work at the Royal Brompton Hospital, where many of the techniques for cardiac imaging have been developed. His research interests include myocardial hibernation, the cost-effectiveness of imaging techniques, and pharmacological stress.

Roxy Senior is Professor of Clinical Cardiology at the National Heart and Lung Institute, Imperial College London, UK. Professor Senior graduated and obtained a Master’s degree in medicine and cardiology from the University of Calcutta, India. He became a Consultant Cardiologist and Director of Cardiac Research at the Northwick Park Hospital, Harrow, UK, in 1995, and was then appointed Consultant Cardiologist and Director of Echocardiography at the Royal Brompton Hospital in 2010. His research interests include echocardiography and he has published >250 original papers in this field.

John P. Greenwood obtained his medical degree from Leeds University, UK, in 1991, and his PhD in cardiovascular disease in 1999 (Leeds University, UK). Professor Greenwood trained in cardiac MR at the Royal Brompton Hospital, London, UK, and in coronary intervention in Toulouse, France. His research interests include optimizing the diagnosis and treatment of stable and unstable coronary artery disease.

Sven Plein graduated from Phillips University Marburg, Germany, in 1996. He obtained a PhD in Cardiology from the University of Leeds, UK, in 2003, and has been a Professor of Cardiology in Leeds since 2013. Professor Plein has published >140 papers in cardiac imaging with a focus on cardiovascular magnetic resonance.

Key Points

Cardiac imaging can complement history, electrocardiogram, and cardiac biomarkers for a timely identification and ruling out of acute coronary syndrome (ACS)

Bedside echocardiography is the first-line imaging test in patients with suspected ACS

The advanced imaging techniques (stress echocardiography, computed tomography coronary angiography, myocardial perfusion scintigraphy, and cardiovascular magnetic resonance) add diagnostic and prognostic value in patients with suspected ACS

Novel radionuclides, such as ß-methyl-p-[123I] iodophenylpentadecanoic acid, enable imaging of metabolic disturbances in glucose metabolism that result from myocardial ischaemia (which can last >12 h), thereby allowing late detection of ischaemia

Multiparametric tissue characterization on cardiovascular magnetic resonance enables the detection of myocardial oedema in ischaemic injury, which can be detected very early and can last up to a few weeks