Polymer encapsulation of bacterial biosensors enables co-culture with mammalian cells

Ignacio Moya-Ramírez1,2,3, Pavlos Kotidis1, Masue Marbiah1,2, Juhyun Kim1,2, Cleo Kontoravdi1, Karen Polizzi1,2,*

1 Department of Chemical Engineering, Imperial College London, London, SW7 2AZ, United Kingdom

2 Imperial College Centre for Synthetic Biology, Imperial College London, London, SW7 2AZ, United Kingdom

3 Present address: Department of Chemical Engineering, Universidad de Granada, Departamento de Ingeniería Química, Spain, 18071 Avda. Fuentenueva s/n, Granada.

* To whom correspondence should be addressed: k.polizzi@imperial.ac.uk

Keywords: co-culture, biosensor, bacteria, mammalian cells, L-lactate, hydrogel encapsulation

Abstract: Coexistence of different populations of cells and isolation of tasks can provide enhanced robustness, adaptability, or impart new functionalities to a culture. However, generating stable co-cultures involving cells with vastly different growth rates can be challenging. To address this, we developed Living Analytics in Multi-layer Polymer Shell (LAMPS), an encapsulation method that facilitates the co-culture of mammalian and bacterial cells. We leverage LAMPS to pre-program a separation of tasks within the co-culture: growth and therapeutic protein production by the mammalian cells and L-lactate biosensing by Escherichia coli encapsulated within LAMPS. LAMPS enable the formation of a synthetic bacterial-mammalian cell interaction that enables a living biosensor to be integrated into a biomanufacturing process. Our work serves as a proof-of-concept for further applications in bioprocessing since LAMPS combine the simplicity and flexibility of a bacterial biosensor with a viable method to prevent runaway growth that would disturb mammalian cell physiology.

# Introduction

Like any other industrial process, bioindustries strongly rely on monitoring and controlling actions to maintain the optimal operating conditions.1 To that end, the concentrations of substrates and key metabolites need to be tightly monitored. This is commonly performed by electrochemical or chromatography techniques, which normally require destructive sampling and are used off-line.2 In this regard, there is a growing interest in harnessing the ability of living systems to interact with their environment to develop analytical devices, i.e., biosensors. They leverage the naturally evolved ability of organisms, cells or biomolecules to detect and respond to a specific target molecule or ligand. Biosensors can compare favorably with their physicochemical counterparts in terms of sensitivity, specificity and limit of detection.3,4 They are also capable of detecting complex analytes such as proteins in a simpler way than traditional approaches.5,6 Therefore, their versatility allows biosensors to find numerous applications for quantitative measurements,7–9 as diagnostic tools,10,11 or as wearable devices.12 Furthermore, the use of standardized and modular parts and an engineering workflow that follows the design-build-test-learn cycle, allow the implementation of more sophisticated designs to enhance the performance of the biosensor. Examples include the use of toggle or bistable switches,13,14 logic gates,15 and transcriptional amplifiers16. Recent examples of more complex biosensor designs with higher functionality include the construction of oscillators to coordinate the dynamic behavior of thousands of colonies in response to the concentration of the analyte,17 amplification of the biosensor response,18 or the integration of biosensors as a regulatory element to control de dynamics of the genes involved in the biosynthesis of chemicals.19 In addition, innovative designs based on different kinds of output signals beyond the more traditional reporter proteins such as GFP, including FRET or structural changes in nucleic acids probes.20–22

Biosensors also possess an emerging potential to become a foundational technology for metabolite control in biomanufacturing. Here, whole-cell biosensors (based on living cells) are of particular interest because they can be easily programmed for control actions linked to the biosensing, bringing new capabilities to a bioprocess. In addition, they are easy and inexpensive to produce once assembled. However, the integration of whole-cell bacterial biosensors in a biomanufacturing process will require strict compartmentalization to control the populations of the biosensing and producing cells to avoid undesired growth of the former and depletion of nutrients.

Here we establish a framework for the use of whole-cell biosensors in biomanufacturing. As a proof-of-concept, we have selected a bacterial-mammalian co-culture, as it represents the biggest challenge in terms of differences in physiology and growth rate in a cell culture and remains underexplored for this kind of application. In particular, we employed an Escherichia coli whole-cell biosensor that expresses GFP in response to the concentration of L-lactate. This allows us to capitalize on synthetic biology tools widely established in E. coli for rapid biosensor development. However, because bacteria such as E. coli have rapid growth rates, they can easily overgrow the population of mammalian cells in the culture. Therefore, the main challenge is to balance the system so that both populations survive and function correctly. To overcome this challenge, we present a method to encapsulate the whole-cell bacterial biosensor, based on an inner hydrogel core carrying the E. coli biosensor coated by a polymeric multilayer shell to impart further physical and chemical stability that we have called LAMPS (Living Analytics in a Multilayer Polymer Shell). We show how LAMPS produce a GFP signal in response to the L-lactate produced by two different mammalian cell lines. Given the simplicity of the encapsulation described here, it would be possible to build different LAMPS modules to detect additional metabolites of interest or to produce different output signals to facilitate multiplexing. Therefore, LAMPS could be deployed widely in biomanufacturing processes, by allowing self-regulated and pre-programed responses to key metabolites in a cell culture.

# Results

## Whole-Cell Biosensor Design and Optimization

We built a co-culture consisting of an E. coli whole-cell L-lactate biosensor encapsulated in LAMPS and a free-growing mammalian cell culture (Figure1.a). The L-lactate responsiveness of LAMPS is encoded on a plasmid within the bacteria, that carries an L-lactate-inducible promoter derived from the lldPRD operon in E coli, and a transcriptional unit to overexpress the LldR regulator to reduce basal GFP expression (Figure 1.b).23,24  We tested our initial biosensor plasmid, the IPTG-inducible pLac,24 in E. coli cells encapsulated in an alginate hydrogel (LAB). The LAB hydrogel cores prepared had a mean diameter of 1.6 mm (polydispersity index 0.00157, Figure S.1). The increase in GFP fluorescence upon L-lactate addition confirmed that the E. coli-pLac cells retain their functionality when encapsulated, and therefore, suggest that they can be used as the biosensing element in a co-culture system (Figure 1.c and d).

To simplify the workflow and eliminate the need for IPTG addition, we exchanged the IPTG-inducible Hyperspank promoter driving expression of the LldR with a constitutive promoter. Two  constitutive promoters of different strength, BBa_J23.100 (strong) and BBa_J23.118 (medium),25 from the Anderson library were cloned into the biosensor plasmid and tested with a L-lactate titration experiment in liquid culture.  The original and both new designs show a L-lactate-dependent response within the commonly encountered range of L-lactate concentration in bioprocess analysis (0 mM to 20 mM), when tested in medium containing glucose or glycerol as carbon source (Figures 1.e and S.1). For both carbon sources, the design with the medium strength constitutive promoter pLac_118 had the highest signal to noise ratio (3.77, 8.41 and 10.34 for pLac, pLac_100, and pLac_118, respectively; after 10 h of incubation with 20 mM of L-lactate), while maintaining the same level of background signal and limit of detection (0.05 mM of L-lactate). A higher dynamic range is desired since it both increases sensitivity and results in a smaller number of encapsulated cells needed for the detection. Therefore pLact_118 was selected as the best design available and used for all subsequent experiments.

Figure 1. Co-culture design and validation of the biosensor element a) Design of the bacteria-mammalian cell co-culture proposed in this work, comprising an E. coli whole-cell biosensor encapsulated in an alginate hydrogel matrix with additional polymer coatings and a free-growing mammalian cell culture. The containment of the bacteria in the hydrogel must ensure that no bacteria are released into the liquid medium, and at the same time, allow inward diffusion of the lactate. The increase in lactate concentration during mammalian cell growth induces the expression of GFP by the encapsulated lactate-biosensing E. coli which remain inside the hydrogel during the course of the co-culture; b) Biosensor design for the detection of lactate. O1, O2 represent the operator sites of the lldPRD promoter, flanking the constitutive promoter BBa_J23.117. In the absence of lactate, LldR transcription factor binds to both operators. In the presence of lactate, LldR detaches from O2 and the expression of GFP is induced.23 Three different promoters upstream of the lldR gene were analyzed: Hyperspank (IPTG-inducible), BBa_J23.100 and BBa_J23.118;  c) GFP fluorescence of E. coli cells carrying the pLac plasmid and encapsulated in an alginate hydrogel observed under blue light. Beads were incubated in buffer A, with 0-, 1-, or 10 mM lactate and 0.01, 0.1, 0.25 or 1 mM IPTG (to induce regulator expression) at 37 ºC overnight. Scale bar: 6.8 mm; d) Contour plots of the fluorescence scan across the surface of alginate beads incubated overnight in M9 with different concentrations of lactate. These fluorescence scans were used to analyze the GFP signal produced by LAMPS as a function of the concentration of lactate in the culture medium; e) Lactate titration experiments with liquid cultures of E. coli carrying one of the three different lactate-sensing plasmids: pLac, pLac_100 or pLac_118. Cells were grown in M9 with glucose 0.4% as carbon source. The lines represent the mean and shading indicates the standard deviation (n=2). The equivalent experiment with glycerol is included in the supplementary information (Figure S.2).

## Encapsulation of Biosensing Bacteria

### Optimization of LAMPS Coating

Next, we studied how to contain the bacteria within LAMPS to avoid their escape and subsequent overgrowth/contamination of the mammalian cell culture. The containment strategy must allow sufficient diffusion of the analyte to preserve the biosensor responsiveness. Since alginate alone is insufficient to prevent bacterial escape,  we decided to base our approach on a multilayer (onion-like) encapsulation, alternating layers of alginate (negatively charged) and positively charged polymers.26,27 In addition, the extra layers of coating can also compensate for the mechanical and chemical instabilities of alginate in the absence of divalent cations.28 While there is extensive research about coating hydrogel beads,28 few studies have examined the propensity for bacterial escape. Recent work has suggested that an outer coating consisting of photo-crosslinked methacrylate,29 polydopamine,30 or polyacrylamide9 help to prevent microbial release. Based on this, we selected polydopamine (PD), chitosan (CH) and poly-L-lysine (PLL) as positively charged polymers to explore (Figure 2. a).

After coating with PD for 3.5 h, cells did not escape from LAMPS during an overnight incubation in buffer A, but colony forming units were observed after plating samples from LAMPS that had been disrupted. However, no colony forming units were observed on the plates when LAMPS were coated for 12 h with PD. This suggests that PD has some degree of toxicity for E. coli, even though it seems to be innocuous for S. cerevisiae.30 In addition, PD coating is opaque, with an absorption spectrum covering the UV-visible range,31 which makes it incompatible with biosensing applications based on fluorescence excitation. Conversely, CH and PLL generated a translucent coating (Figure 2.a), with CH performing better in terms of cell survivability and coating transparency, while PLL conferred higher resistance to swelling (Figure 2.a and S.2). In addition, preliminary tests using LAMPS with one coating layer of either CH or PLL prevented the release of bacteria after incubation in buffer A in 3/4 and 4/4 samples, for CH and PLL, respectively.

The performance of LAMPS after the onion-like encapsulation was tested for both polycations (PC), in order to ensure the desired containment of the bacteria in a culture environment. LAMPS with one (LAB-PC), and two (LAB-PC-alginate-PC) coating layers were incubated in M9 culture medium in a 96-well plate and the fluorescence was monitored every 20 minutes. Figure 2.b shows the response of LAMPS with one and two PC layers, in the presence and absence of L-lactate. LAMPS prepared with both CH and PLL showed a clear response when the media was spiked with L-lactate (10 mM), confirming that it is possible to perform monitoring of the fluorescence signal of the living biosensor without the need to disrupt the LAMPS first. In the absence of L-lactate, a stable background response was recorded during the first 10 h of incubation.

Overall, the number of layers had a significant effect on the dynamics of the LAMPS response, particularly the lag phase. The activation of the LAMPS with 1 layer of positively charged polymer was around 2 hours faster in culture medium compared those with 2 layers, for both CH and PLL, though the opposite occurred when LAMPS were incubated in buffer A, which lacks a carbon source (Figure S.4). This suggests that the diffusion of nutrients and/or L-lactate is slower in the multilayer coating, probably due to the thicker coating layer. However, for both positively charged polymers and regardless the number of layers, the maximum signal and background level were similar at the end of the incubation.

We also tested the performance of CH and PLL coatings in bigger culture volumes, incubating LAMPS overnight in 1 mL of M9 in a 24-well plate, instead of in 200 µL as in the previous experiment. Here, the CH-coated LAMPS cracked open, exposing the LAB core (Figure S.3b). Therefore, since PLL coatings prevented cell escape, LAMPS swelling and maintained their integrity in bigger volumes, these were used for all subsequent experiments.

Figure 2. Optimization of LAMPS coating. a) Elements of LAMPS: the LAB core, composed of an alginate matrix encapsulating lactate-sensing E. coli cells is coated with a polymer of opposite charge to isolate the encapsulated bacteria and prevent their escape, creating LAMPS (Living Analytics in a Multilayer Polymer Shell). Polydopamine (PD), chitosan (CH) and poly-L-lysine (PLL) were tested as coating polymers. The properties of LAMPS with one layer of coating polymer are summarized in the table (n.d. stands for not determined). b) Fluorescence signal upon lactate induction in M9, for 1- and 2 layer LAMPS prepared with CH and PLL. From left to right: CH-1 layer, CH-2 layers, PLL-1 layer, PLL-2 layers. For two-layered LAMPS, induction of the response was delayed around 2 hours, but the maximum signal and background remained mostly unaltered.

### Dose-Response, Preservation and Soiling of LAMPS

We next studied some features of LAMPS that are relevant for their performance as a biosensor in a co-culture. First, we tested the response of LAMPS to a range of metabolically relevant concentrations of L-lactate and calculated the transfer functions after 1, 2.6, and 5 h of incubation (Figure 3.a). The increase in fluorescence with the increase in L-lactate and over time confirms that LAMPS are responsive to L-lactate concentrations up to at least 20 mM.  However, at longer times, the signal saturated at concentrations greater than 2 mM in small volume cultures (Figure S.5).  Interestingly, when LAMPS were cultured in larger volumes, the range of detection was extended up to 20 mM (see end of the section and Figure 3.e).

We also tested the cryopreservation of LAMPS as a solution to tackle batch-to-batch variability and the need to prepare them just before use. Figure 3.b compares the response of freshly prepared LAMPS and those cryopreserved at -80ºC for several days. The maximum signal decreased as the storage time increased. Nonetheless, LAMPS remained responsive to L-lactate and the E. coli cells did not escape during the experiment, suggesting the integrity of the polymer shell is not affected by freezing or storage. Since the decrease in the signal can stem from a reduction of the number of viable E. coli inside LAMPS,9 we attempted to recover the bacterial population by pre-incubation in fresh medium to reactivate the cells prior to repeating the L-lactate titration experiment. With reactivation, LAMPS frozen for 10 days had an L-lactate response similar to freshly prepared LAMPS (Figure 3.c). Furthermore, LAMPS cryopreserved for 24 days retained ~50% of the maximum signal when reactivated before use compared to no signal at all without reactivation (Figure 3.c).

Next, to try to improve the measurement of the fluorescence signal, we aimed to reduce surface soiling by adding an additional outer layer of alginate (Figure S.6). Given the reversible nature of alginate crosslinking with Ca+2 ions, Ba+2, a stronger crosslinker, was used to achieve a more stable alginate layer.32 Figure 3.d shows that the addition of a Ba+2-crosslinked outer alginate layer (LAB-PLL-Alg-PLL-AlgBa) considerably reduces the fluorescence signal compared to LAMPS without it (LAB-PLL-Alg-PLL). However, the outer layer visibly reduced the soiling of the beads after an overnight incubation in several different media (Figure S.6). Moreover, the background signal of LAMPS terminating with alginate remained almost unchanged over a 16 h incubation, as opposed to the signal drift from 10 h onwards for those without it (Figure 3.d). Taking into account the lower background, the reduction of the fluorescence signal from the additional layer is less relevant. The data also suggest that the surface soiling may interfere with fluorescence detection. When the Ba+2 was omitted and therefore the alginate outer layer was not crosslinked, the fluorescence was similar to LAMPS with a PLL outer layer (Figure 3.d) and only a minimal reduction in soiling was observed (Figure S.6), suggesting that the crosslinking is necessary in order to retain the final alginate outer layer.

Taking this as the final design, we compared the response of LAMPS incubated in 1 mL of two types of fresh mammalian cell culture media (CD-CHO and Ham’s F-12) supplemented with L-lactate (Figure 3E, center and right). In each case, the signal proportionally increased with the L-lactate concentration between 0 and 100 mM. The differential response compared to the experiments on Figure 3a conducted in 200 µL, highlights the importance of the medium/LAMPS volume ratio as a parameter affecting the signal of the biosensor, which may require optimization for future use.

Figure 3. LAMPS dose-response, cryopreservation and soiling reduction. a) Transfer functions of freshly prepared LAMPS as a function of the lactate concentration after 1, 2.6 and 5 hours of incubation; b) Effect of cryopreservation on LAMPS response. Time course of the response of LAMPS at 20 mM of lactate after several days of cryopreservation; c) Effect of preincubation in growth medium on the LAMPS response, for beads frozen 10 and 24 days (left and right respectively). LAMPS were preincubated in M9 for 1h before beginning the lactate induction experiment where 10 mM (blue) and 0 mM (red) of lactate were tested. Straight lines: preincubated LAMPS, dashed lines: no preincubation; d) Effect of an additional outer layer of alginate crosslinked with BaCl2. For both cases, alginate-coated LAMPS (straight lines) were compared with those finished in a PLL outer layer (dashed lines). Responses at 0 and 10 mM of lactate (red and blue lines respectively) were tested. All experiments shown in this figure were carried out in a 96 well plate, with one LAMP bead per well and 200 µL of M9. The plots display the average fluorescence values of the scanned surface in the plate reader at each time point. The lines represent the mean and shading indicates the standard deviation (n=2). e) Fluorescence signal of LAMPS as a function of the concentration of L-lactate, incubated in 1 mL of different media. The fluorescence reads obtained by the scan of the surface of LAMPS are presented as a box chart. The box contains the reads within the percentiles 25 to 75%, the error bars represent the mean of all the values ± SD, the mean is indicated by a circle and the median by a horizontal red line.

## LAMPS as Biosensing Elements in Mammalian-Bacteria Co-Cultures

Finally, we tested the ability of LAMPS to act as L-lactate biosensing units in co-culture with mammalian cells. For this, we grew two Chinese Hamster Ovary (CHO) cell lines: adherent Flp-In CHO cells or an IgG-producing CHO (IgG-C) suspension-adapted cells as co-cultures with LAMPS.

The two cell lines were grown in batch culture with no feed addition for 1 to 4 days. A new LAMPS was added to each culture to measure the L-lactate concentration. After 20h of co-culture, LAMPS were recovered to perform the fluorescence readings (Figure 4a). For adherent Flp-In CHO each experiment was conducted in duplicate or triplicate, in wells with one LAMPS bead in each well. For suspension IgG-C cells, experiments were conducted in duplicate with two LAMPS in each flask, giving a total of four LAMPS scanned for each day.

Fluorescence readings from the adherent Flp-In CHO cells were very low across the whole experiment and lower than the in samples of culture medium spiked with L-lactate (Figure 3.e).  This suggests either the depletion of a key nutrient enabling bacterial biosensor functionality or the production of a metabolite that quenches fluorescence after the Flp-In CHO cells have been growing in the culture medium.  In contrast, for co-cultures of suspension IgG-C cells, the fluorescence was the lowest on day 1, increased on day 2 and showed a slight decrease on day 4. In this case, the fluorescence of LAMPS matches the trend of extracellular L-lactate concentration (Figure 4.b.).

In addition to LAMPS fluorescence, we also measured the cell density, viability, and in the case of the IgG-C cells monoclonal antibody production, of the co-cultures and compared these with the monoculture controls. Remarkably, the titer and antibody productivity of the IgG-C cells remained unaltered in co-cultures with LAMPS (Figure 4.c). In addition, the bacteria did not have a significant effect on CHO cell viability or density of either cell line when compared to positive control CHO cells grown alone (Figure 4.d). Finally, for both cell lines and for all biological replicates, no release of E. coli was detected after 20 h of co-culture, confirming that LAMPS provided total containment of the encapsulated bacteria in an actual co-culture environment (Figure 4.e). For comparison purposes, a negative control experiment with LAMPS lacking the coating layers (single layer of alginate only) was performed. Here, the proliferation of the released E. coli was clearly observed after the 20-h incubation (Figure 4.e, far right).

Figure 4. Co-cultures of mammalian cells and LAMPS a) Box plots of the fluorescence reads from LAMPS after 20 h of co-culture with mammalian cells. Each box presents the fluorescence reads obtained by the scan of the surface of one LAMPS. The box contains the reads within the 25 to 75% percentile, the error bars represent the mean of all the values ± SD, where the mean is indicated by a circle and the median by a horizontal red line. For adherent Flp-In CHO (left) each experiment was conducted in duplicate or triplicate, while for suspension IgG-C cells (right), experiments were conducted in duplicate with two LAMPS in each flask. The letters (a-c) inset into the graphs indicate significant differences in the means of the fluorescence reads for each day according to a Tukey test (p<0.01);  b) Extracellular lactate concentration in the co-culture supernatants measured by an enzymatic assay; c) Titer in mg/L (bars) and specific productivity in µg/105cell/day (squares) for the antibody produced by the IgG-C cells during the co-culture experiments; d) Culture viability (diamonds) and cell density (bars) of the mammalian cells. For b), c) and d) error bars indicate the SD of the mean values of the biological replicates shown in Figure 4a; e) Images of flasks on day 4 of the experiment with IgG-C cells after 20 h incubation. From left to right: co-cultures with two LAMPS added (duplicates), kanamycin control and negative control using LAB cores (beads where the biosensing E. coli are encapsulated, but not covered with successive PLL and alginate layers).

# Discussion

The interest in co-culture spans from the study of cell-cell interactions to the improvement of production processes.33–36 Microbial communities have been extensively used to distribute labor and reduce metabolic burden,37 making use of natural or synthetic interactions.38,39 In the particular case of mammalian-microbe co-cultures, they are of interest as models for infection studies, for example in microbiota-host interactions.40–44 However, their application to manufacturing is less explored, even though co-cultures represent a point of focus for the expansion of biomanufacturing.45 Some early examples that have been recently demonstrated are co-cultures of epithelial cells and Pichia pastoris or HEK293T cells and engineered auxotrophic E. coli. 46–48  However, applications of inter-kingdom co-cultures for manufacturing have not been reported to date, in part due to the existing gap in compartmentalization technologies that allow both types of cells survive and function correctly.  This work demonstrates vital progress in this direction, by applying a rationally designed and optimized biosensor of a key metabolite in biomanufacturing paired with a simple encapsulation methodology to permit the co-culture of L-lactate-biosensing bacteria with mammalian cells. This allows a division of labor where the two types of cells share the same culture environment, but each maintain their functionality. The methodology is modular and readily extensible to other types of biosensors, cell types, and applications, making  co-cultures broadly useful for the implementation of synthetic biology tools such as biosensor or regulatory networks into biomanufacturing.

Among the various options to contain bacteria, we opted for hydrogel encapsulation due to its simplicity, flexibility, and the wide range of available materials.49 Alginate is the most commonly used matrix for encapsulation because of its ease of handling and biocompatibility.50 However, in biomanufacturing, the main challenge for the construction of LAMPS is the need for full containment of the encapsulated E. coli to prevent contamination. We show that a multilayer coating of alternate layers alginate hydrogel and CH or PLL, completely prevents the escape of the encapsulated bacteria while maintaining their ability to sense and report the concentration of L-lactate in small volumes of M9 medium. The delay in the LAMPS response when adding successive CH or PLL layers suggests a decrease in the diffusion rate of L-lactate and/or nutrients to the interior of LAMPS and confirms the stacking of the polycations and alginate layers on to the LAB core. In contrast, Mao et al.27 reported no decrease in the rate of diffusion of dextran molecules up to 200 kDa to the interior of alginate-PL-alginate micrometric beads. This suggests that factors other than the molecular weight, such as size, charge or electrostatic attraction/repulsion might have an effect on the diffusion of molecules in and out of the beads and should be considered for each particular application. Further experimentation showed that CH coating failed when testing LAMPS in culture volumes bigger than 200 µL. This could be due to increased diffusion of Ca2+ ions out of the alginate gel core or because of a lower physical resistance. The effect of Ca2+diffusion can be tackled by supplementing the incubation medium with Ca+2. However, this may be undesirable when mammalian culture media are involved since they have well defined and complex formulations. Therefore, since CH coating was unable to maintain structural integrity, we chose PLL as the best coating counterion for the preparation of LAMPS. We also found LAMPS with an outer alginate layer have reduced soiling, particularly when crosslinked with BaCl2, leading to a lower background signal and preventing signal drift.

Similar to the behavior of the liquid cultures of the living biosensor, LAMPS showed a dose-dependent response when exposed to a range of L-lactate concentrations within normal metabolic levels both in bacterial growth medium and in two types of mammalian cell culture media (Ham’s F-12 and CD-CHO). We observed that the medium itself had an important effect on the induced and background signals of LAMPS. For example, LAMPS culture in Ham’s F-12 had a background fluorescence around 10 times higher than that in M9 or CD-CHO.  This could be attributed to differences in the growth of E. coli in different media with varying nutrient sources or variations in the concentration of other auto-florescent impurities.

The results also demonstrate successful cryopreservation of LAMPS, which can contribute to the production of standardized biosensors that provide reliable, reproducible measurements. We found that an incubation in fresh medium to recover the bacterial population allowed the use of cryopreserved LAMPS that had been stored up to 10 days with responses similar to freshly prepared ones. In future, the cryopreservation storage limit might be further extended with the use of cryoprotective substances and/or lower cryopreservation temperatures.27,51

Finally, we used the optimized LAMPS encapsulation to combine a living biosensor with a mammalian cell culture. LAMPS produced a GFP signal during their co-culture with IgG-C, but appeared to be quenched when co-cultured with FlpIn CHO. This suggests that the signal is influenced by factors other than just the concentration of L-lactate. In particular, the consumption of nutrients by the mammalian cells during the monoculture period may reduce E. coli growth rate, which can explain the drop in the signal of LAMPS after day 3 for IgG-C. This multivariate effect makes it challenging to calibrate LAMPS fluorescence versus the concentration of L-lactate to enable absolute quantification, since the calibration curve would need to be adapted to each medium, culture stage and cell line (and may require a calibration curve in spent medium at each time-point for a high degree of accuracy). Therefore, more research would be necessary to adapt to LAMPS to other cell lines and media and to enable accurate quantification. Nonetheless, these results show for the first time an approach to perform mammalian-bacteria co-cultures, where both kinds of cells can coexist in a controlled fashion and perform separated tasks. Remarkably, for both mammalian cell lines, there were no significant differences in culture viability and density between the co-cultures and the monoculture positive control.  More importantly, this was also the case for the productivity and titer of a recombinant antibody produced by the IgG-C cells. This confirms that the energy requirements of the E. coli encapsulated in LAMPS did not impose a detectable burden on the mammalian cells. The proof-of-concept demonstration shown here enables the application of other whole-cell biosensors in co-cultures, addressing compatibility issues that restrict the practical use of many synthetic microbial biosensor.52 Overall, our results demonstrate that LAMPS can be used in the rational design-build-test-learn cycles in synthetic biology because of their modularity and ease of preparation, which can seed new applications of engineered cells as tools in biomanufacturing.

# Conclusions

In this work we have shown that LAMPS enable the construction of a synthetic bacterial-mammalian cell co-culture with a pre-designed separation of tasks. This represents a demonstration of a living biosensor that can be integrated into a biomanufacturing process. We envisage that our work provides a new methodology for analysis of cells during production, that can facilitate bioprocess development to increase yields and product quality.  LAMPS may be very useful for processes run in systems such as wave bags or miniature bioreactors where fewer analytical probes are available.  The concept could be expanded to include arrays of biosensors for different molecules, given the flexibility for their design.53 Capitalizing on the modularity and simplicity of LAMPS, it would be easy to spatially arrange different engineered biological tools in a co-culture, or even to build circuits that combine different LAMPS modules, in line with the ‘plug and play’ view of synthetic biology.33 Furthermore LAMPS biosensing could be easily repurposed to distributed and modular control elements. The replacement of the GFP fluorescence signal with an active molecule (secreted enzyme or transcription factor, for example) will make it possible to couple the detection of metabolites with an action affecting the liquid culture or to interface with an electronic system.54 LAMPS can expand the applicability of the wide array of engineered synthetic cells made available by synthetic biology research to practical use in biomanufacturing.  In particular, LAMPS could be used as living control units, enabling an autonomous and dynamic regulation of L-lactate concentration or other relevant parameters.

# Methods

Salts and other ingredients for buffers and bacteria culture media, dopamine hydrochloride, fetal bovine serum (FBS), L-Glutamine, sodium L-(+)-lactate, kanamycin sulfate, β-D-1-thiogalactopyranoside (IPTG), and PBS were obtained from Sigma Aldrich (St. Louis, MO, USA). Alginic acid sodium salt from brown algae (ref. 71238), poly-L-lysine hydrochloride (MW 15000-30000 Da) and low molecular weight chitosan (ref. 448869) were also supplied by Sigma Aldrich. Chemically competent E. coli NEB5α cells were purchased from New England Biolabs (NEB, MA, USA).

M9 culture medium was prepared with 33.7 mM Na2HPO4, 22 mM KH2PO4, 8.55 mM NaCl and 9.35 mM NH4Cl as 10X stock and autoclaved. It was supplemented with 0.4 % D-glucose (or glycerol), 1 mM MgSO4, 0.3 mM CaCl2 and 1 mg/L of thiamine from stocks that were prepared separately and filter-sterilized.  Krebs-Ringer HEPES (KRH buffer) buffer was prepared with 20 mM HEPES, 135 mM NaCl, 5 mM KCl, 0.4 mM K2HPO4, adjusted to pH 7.4, autoclaved and supplemented with 1 mM MgSO4 and 1 mM CaCl2 from stocks prepared separately and filter-sterilized.  Incubation buffer (buffer A) consisted of 10 mM HEPES, 150 mM NaCl, 20 mM CaCl2 and disruption buffer (buffer B) of 0.1 M EDTA and 0.2 M potassium citrate; both were filter-sterilized.

## Whole-cell biosensor preparation and encapsulation

The biosensor used in this work (Figure 1.b)  was adapted from Trantidou et al.24 by replacing the inducible Hyperspank promoter K143015, controlling the expression of the LldR transcription factor, with the promoters J23100 or J23118 (see supplementary methods for sequences).

E. coli cells from pre-cultures, grown as described in the supplementary methods, were pelleted at 7000 g for 5 min and resuspended in fresh M9 to OD600 of 2. Solutions of 2 % sodium alginate and 100 mM CaCl2 were prepared in 10 mM Tris pH 8.5, as described in Kim et al. and filtered-sterilized with a 0.45 µm syringe filter.30 The E. coli suspension and the alginate solution were thoroughly mixed in a 1:3 volume ratio (0.25 mL and 0.75 mL respectively) in an sterile Eppendorf tube,  and the mixture was drawn into a 1 mL syringe. Alginate-bacteria beads were formed by drop-wise addition of the mixture from a height of 1 cm into 100 mL of CaCl2 solution in a sterile glass bottle under gentle magnetic agitation using a sterile 30G-blunt end needle (RS Components, UK). The alginate hydrogel beads were crosslinked for 30 min, collected with a sterile cell strainer (Fisher, UK), washed with fresh sterile CaCl2 solution and incubated for 1 min in 10 mL of KRH buffer in a Petri dish. The resulting beads after this step are labeled as Living Analytic Biosensors (LAB) fin the manuscript.

For the addition of polymer coatings to create LAMPS, LAB were covered with successive layers of polymer by dip coating. Here, LAB were transferred to a 15 mL Falcon tube containing 5 mL of a solution of 1 mg/mL of poly-L-lysine (PLL) in KRH buffer, incubated for 10 min under gentle agitation and washed with fresh KRH buffer. When desired, a second layer of alginate was added by the subsequent incubation of the beads in a 0.2 % alginate solution in 10 mM Tris buffer pH 8.5 for 10 min. Beads were washed with KRH for 1 min and again incubated in the PLL solution for 10 min. The PLL solution was removed and the beads washed with 5 mL of sterile 0.15 M mannitol. Next, 5 mL of 1 mg/mL PLL in 0.15 M mannitol were added, incubating the beads for 2 h.  Finally, the effect of an additional outer layer of alginate was also studied. For that, the beads were rinsed with KRH buffer, incubated in a 0.2 % alginate solution in 10 mM Tris buffer pH 8.5 for 10 min, washed with KRH and finally crosslinked in a solution of 50 mM BaCl2, 0.15 M mannitol for 5 min. After the addition of the last coating layer, LAMPS were rinsed with KRH buffer. Beads not used directly after preparation were cryopreserved in a 1:1 mix of incubation buffer and glycerol 50 % in 1.5 mL Eppendorf tubes. They were initially frozen at -18 ºC and moved to -80 ºC after 24 h. When desired, beads were disrupted by incubation in 1 mL of buffer B at 37ºC for at least 10 min. Modifications of the described protocol for coatings with dopamine and chitosan are detailed in the supplementary information.

## Co-culture experiments

Two CHO cell lines were used. Suspension-adapted Chinese Hamster Ovary cells producing an IgG  antibody (IgG-C) were maintained in CD-CHO medium (Life Technologies, Paisley, UK), at 36.5 °C, 150 rpm and 5% CO2. Cells were passaged three times every 3-4 days prior to the co-culture experiments, at a seeding density of 3 x 105 cell/mL. The second cell line was the adherent Flp-In CHO (Thermo Scientific, EEUU). These were seeded at a 1:10 density in T75 flasks with an adherent surface and vented cap (Sarstedt). Cells were grown in Ham’s F12 (Sigma) containing 10% FBS and 2mM L-glutamine (according to manufacturer’s instructions). Flp-In CHO cells were grown at 37ºC with a 5 % CO2 atmosphere and also subcultured 3 times prior the co-culture experiment.

Co-culture experiments were conducted over 4 days to test the response of LAMPS in different growth phases using cryopreserved beads from the same batch for each time course experiment.   LAMPS were prepared 6 days prior to the experiment and frozen and stored at -80 °C as described above. Each day prior to their use, LAMPS were defrosted at 4 ºC for 1h, washed with fresh M9, and incubated in M9-glucose at 37ºC for 1 h (12 beads/5 mL of medium). LAMPS were rinsed with PBS and individually transferred to the mammalian cell culture with a sterile plastic Pasteur pipette. LAMPS beads were co-cultured for 20 h with CHO cell cultures previously grown for 1 to 4 days, under the same conditions as those used for mammalian cell monoculture. In the co-culture experiments with adherent CHO cells, one LAMPS bead was added to each well of a 6-well plate along with 2 mL of cell culture. For suspension cells, 2 LAMPS were added to 20 mL of IgG-C cell cultures in 125 mL Erlenmeyer flasks. Both experiments had at least one independent duplicate.  Kanamycin was supplemented to a concentration of 37.5 mg/L at the beginning of the co-culture. Positive controls consisting of mammalian cell cultures in the absence of LAMPS were used to assess cell growth and productivity, with and without the addition of kanamycin.  Negative controls using LAB (without the PLL and alginate coating layers) were also used.

The supplementary material contains additional information about methods used to measure culture viability and cell density, IgG antibody and L-lactate concentration and fluorescence measurements in LAMPS.

## LAMPS fluorescence

For the fluorescence measurements, LAMPS were placed in 96 well Spheroid microplates (Corning). The semi-spherical shape of the well traps the bead in the center during measurement. A 20x20 matrix scan was made within a 2 mm radius of the center of the well using a CLARIOstar plate reader (BMG Labtech). For incubation experiments inside the plate reader, LAMPS were incubated in 200 µL of M9 culture medium, taking reads every 20 min using a gain value of 2424. The average value of the 316 reads of the matrix scan was taken as the overall fluorescence of the bead.

End-point single read measurements were used for experiments where LAMPS were incubated externally (co-cultures and L-lactate calibration curves). LAMPS were recovered from the medium, rinsed with fresh buffer A (10 mM HEPES, 150 mM NaCl, 20 mM CaCl2), and placed in 96 well Spheroid microplates containing 200 µL of buffer A. In this case, the reads corresponding to the empty section of the well were not considered for the calculation of the average fluorescence of LAMPS, and the gain was fixed to 1000.

# Supporting Information

Supplementary methods; Measurements of LAB size distribution and polydispersity index calculation; L-lactate titration experiments of the whole cell biosensor grown in M9-glycerol; Measurements of LAMPS coated with chitosan and poly-L-lysine; LAMPS fluorescence signal upon L-lactate spiking and incubation in buffer A; Time-course response of LAMPS at different L-lactate concentrations; LAMPS signals after overnight incubation in different culture media; Individual contour plots for LAMPS incubated in M9, Ham’s F-12 and CD-CHO at different L-lactate concentrations and LAMPS co-cultured with Flp-In CHO and IgG-producing CHO cells.; PCR primers and plasmids sequences

# Author information

Corresponding author:

Karen Polizzi: Department of Chemical Engineering, Imperial College London, London, SW7 2AZ, United Kingdom and Imperial College Centre for Synthetic Biology, Imperial College London, London, SW7 2AZ, United Kingdom.

email: kpolizzi@ic.ac.uk

Authors:

Ignacio Moya-Ramírez: Department of Chemical Engineering, Imperial College London, London, SW7 2AZ, United Kingdom and Imperial College Centre for Synthetic Biology, Imperial College London, London, SW7 2AZ, United Kingdom. Present address: Department of Chemical Engineering, Universidad de Granada, Departamento de Ingeniería Química, Spain, 18071 Avda. Fuentenueva s/n, Granada.

Pavlos Kotidis: Department of Chemical Engineering, Imperial College London, London, SW7 2AZ, United Kingdom.

Masue Marbiah: Department of Chemical Engineering, Imperial College London, London, SW7 2AZ, United Kingdom and Imperial College Centre for Synthetic Biology, Imperial College London, London, SW7 2AZ, United Kingdom.

Juhyun Kim: Department of Chemical Engineering, Imperial College London, London, SW7 2AZ, United Kingdom and Imperial College Centre for Synthetic Biology, Imperial College London, London, SW7 2AZ, United Kingdom.

Cleo Kontoravdi: Department of Chemical Engineering, Imperial College London, London, SW7 2AZ, United Kingdom.

# Author contributions

IMR and KP conceived the study.  IMR, PK, JK, and MM performed the experiments.  IMR and KP drafted the manuscript.  PK, JK, MM, and CK edited the manuscript.  All authors read and approved the submission.

# Competing interests

The authors have no competing interests to declare

# Acknowledgments

The authors gratefully acknowledge funding from the EPSRC Adventurous Manufacturing program (EP/T005297/1), the EPSRC Frontiers Engineering program (EP/K038648/1), and the BBSRC (BB/S006206/1). IMR also acknowledges funding from the Spanish Ministry of Science and Innovation through the project IJC2019-041817-I/AIE/10.13039/501100011033

# References

(1) 	Gargalo, C. L.; Udugama, I.; Pontius, K.; Lopez, P. C.; Nielsen, R. F.; Hasanzadeh, A.; Mansouri, S. S.; Bayer, C.; Junicke, H.; Gernaey, K. V. Towards Smart Biomanufacturing: A Perspective on Recent Developments in Industrial Measurement and Monitoring Technologies for Bio-Based Production Processes. J. Ind. Microbiol. Biotechnol. 2020, 47 (11), 947–964. https://doi.org/10.1007/s10295-020-02308-1.

(2) 	Randek, J.; Mandenius, C. F. On-Line Soft Sensing in Upstream Bioprocessing. Crit. Rev. Biotechnol. 2018, 38 (1), 106–121. https://doi.org/10.1080/07388551.2017.1312271.

(3) 	Wang, X.; Lu, X.; Chen, J. Development of Biosensor Technologies for Analysis of Environmental Contaminants. Trends in Environmental Analytical Chemistry. Elsevier May 1, 2014, pp 25–32. https://doi.org/10.1016/j.teac.2014.04.001.

(4) 	Piroozmand, F.; Mohammadipanah, F.; Faridbod, F. Emerging Biosensors in Detection of Natural Products. Synthetic and Systems Biotechnology. KeAi Communications Co. December 1, 2020, pp 293–303. https://doi.org/10.1016/j.synbio.2020.08.002.

(5) 	Fraser, L. A.; Kinghorn, A. B.; Dirkzwager, R. M.; Liang, S.; Cheung, Y. W.; Lim, B.; Shiu, S. C. C.; Tang, M. S. L.; Andrew, D.; Manitta, J.; Richards, J. S.; Tanner, J. A. A Portable Microfluidic Aptamer-Tethered Enzyme Capture (APTEC) Biosensor for Malaria Diagnosis. Biosens. Bioelectron. 2018, 100, 591–596. https://doi.org/10.1016/j.bios.2017.10.001.

(6) 	Liu, C.; Zeng, X.; An, Z.; Yang, Y.; Eisenbaum, M.; Gu, X.; Jornet, J. M.; Dy, G. K.; Reid, M. E.; Gan, Q.; Wu, Y. Sensitive Detection of Exosomal Proteins via a Compact Surface Plasmon Resonance Biosensor for Cancer Diagnosis. ACS Sensors 2018, 3 (8), 1471–1479. https://doi.org/10.1021/acssensors.8b00230.

(7) 	Pilas, J.; Selmer, T.; Keusgen, M.; Schöning, M. J. Screen-Printed Carbon Electrodes Modified with Graphene Oxide for the Design of a Reagent-Free NAD+-Dependent Biosensor Array. Anal. Chem. 2019, 91 (23), 15293–15299. https://doi.org/10.1021/acs.analchem.9b04481.

(8) 	Sun, A.; Wang, W. X. Adenine Deficient Yeast: A Fluorescent Biosensor for the Detection of Labile Zn(II) in Aqueous Solution. Biosens. Bioelectron. 2021, 179, 113075. https://doi.org/10.1016/j.bios.2021.113075.

(9) 	Tang, T. C.; Tham, E.; Liu, X.; Yehl, K.; Rovner, A. J.; Yuk, H.; de la Fuente-Nunez, C.; Isaacs, F. J.; Zhao, X.; Lu, T. K. Hydrogel-Based Biocontainment of Bacteria for Continuous Sensing and Computation. Nat. Chem. Biol. 2021, 17, 724–731. https://doi.org/10.1038/s41589-021-00779-6.

(10) 	Chaibun, T.; Puenpa, J.; Ngamdee, T.; Boonapatcharoen, N.; Athamanolap, P.; O’Mullane, A. P.; Vongpunsawad, S.; Poovorawan, Y.; Lee, S. Y.; Lertanantawong, B. Rapid Electrochemical Detection of Coronavirus SARS-CoV-2. Nat. Commun. 2021, 12 (1), 1–10. https://doi.org/10.1038/s41467-021-21121-7.

(11) 	Pan, L. H.; Kuo, S. H.; Lin, T. Y.; Lin, C. W.; Fang, P. Y.; Yang, H. W. An Electrochemical Biosensor to Simultaneously Detect VEGF and PSA for Early Prostate Cancer Diagnosis Based on Graphene Oxide/SsDNA/PLLA Nanoparticles. Biosens. Bioelectron. 2017, 89, 598–605. https://doi.org/10.1016/j.bios.2016.01.077.

(12) 	Sempionatto, J. R.; Lin, M.; Yin, L.; De, E.; Pei, K.; Sonsa-ard, T.; Silva, A. N. D. L.; Khorshed, A. A.; Zhang, F.; Tostado, N.; Xu, S.; Wang, J. An Epidermal Patch for the Simultaneous Monitoring of Haemodynamic and Metabolic Biomarkers. Nat. Biomed. Eng. https://doi.org/10.1038/s41551-021-00685-1.

(13) 	Collins, J. J.; Gardner, T. S.; Cantor, C. R. Construction of a Genetic Toggle Switch in Escherichia Coli. Nature 2000, 403 (6767), 339–342. https://doi.org/10.1038/35002131.

(14) 	Dey, A.; Barik, D. Emergent Bistable Switches from the Incoherent Feed-Forward Signaling of a Positive Feedback Loop. ACS Synth. Biol. 2021, 10 (11), 3117–3128. https://doi.org/10.1021/acssynbio.1c00373.

(15) 	Wang, B.; Kitney, R. I.; Joly, N.; Buck, M. Engineering Modular and Orthogonal Genetic Logic Gates for Robust Digital-like Synthetic Biology. Nat. Commun. 2011, 2 (1). https://doi.org/10.1038/ncomms1516.

(16) 	Wang, B.; Barahona, M.; Buck, M. Engineering Modular and Tunable Genetic Amplifiers for Scaling Transcriptional Signals in Cascaded Gene Networks. Nucleic Acids Res. 2014, 42 (14), 9484–9492. https://doi.org/10.1093/nar/gku593.

(17) 	Prindle, A.; Samayoa, P.; Razinkov, I.; Danino, T.; Tsimring, L. S.; Hasty, J. A Sensing Array of Radically Coupled Genetic “Biopixels.” Nature 2012, 481 (7379), 39–44. https://doi.org/10.1038/nature10722.

(18) 	Wan, X.; Volpetti, F.; Petrova, E.; French, C.; Maerkl, S. J.; Wang, B. Cascaded Amplifying Circuits Enable Ultrasensitive Cellular Sensors for Toxic Metals. Nat. Chem. Biol. 2019, 15 (5), 540–548. https://doi.org/10.1038/s41589-019-0244-3.

(19) 	Zhang, F.; Carothers, J. M.; Keasling, J. D. Design of a Dynamic Sensor-Regulator System for Production of Chemicals and Fuels Derived from Fatty Acids. Nat. Biotechnol. 2012, 30 (4), 354–359. https://doi.org/10.1038/nbt.2149.

(20) 	Lin, M.; Song, P.; Zhou, G.; Zuo, X.; Aldalbahi, A.; Lou, X.; Shi, J.; Fan, C. Electrochemical Detection of Nucleic Acids, Proteins, Small Molecules and Cells Using a DNA-Nanostructure-Based Universal Biosensing Platform. Nat. Protoc. 2016, 11 (7), 1244–1263. https://doi.org/10.1038/nprot.2016.071.

(21) 	Komatsu, N.; Aoki, K.; Yamada, M.; Yukinaga, H.; Fujita, Y.; Kamioka, Y.; Matsuda, M. Development of an Optimized Backbone of FRET Biosensors for Kinases and GTPases. Mol. Biol. Cell 2011, 22 (23), 4647–4656. https://doi.org/10.1091/mbc.E11-01-0072.

(22) 	Li, D.; Song, S.; Fan, C. Target-Responsive Structural Switching for Nucleic Acid-Based Sensors. Acc. Chem. Res. 2010, 43 (5), 631–641. https://doi.org/10.1021/ar900245u.

(23) 	Goers, L.; Ainsworth, C.; Goey, C. H.; Kontoravdi, C.; Freemont, P. S.; Polizzi, K. M. Whole-Cell Escherichia Coli Lactate Biosensor for Monitoring Mammalian Cell Cultures during Biopharmaceutical Production. Biotechnol. Bioeng. 2017, 114 (6), 1290–1300. https://doi.org/10.1002/bit.26254.

(24) 	Trantidou, T.; Dekker, L.; Polizzi, K.; Ces, O.; Elani, Y. Functionalizing Cell-Mimetic Giant Vesicles with Encapsulated Bacterial Biosensors. Interface Focus 2018, 8 (5), 20180024. https://doi.org/10.1098/rsfs.2018.0024.

(25) 	Anderson, J. C. Anderson’s promoter collection http://parts.igem.org/Promoters/Catalog/Anderson.

(26) 	Ladet, S.; David, L.; Domard, A. Multi-Membrane Hydrogels. Nature 2008, 452 (7183), 76–79. https://doi.org/10.1038/nature06619.

(27) 	Mao, A. S.; Özkale, B.; Shah, N. J.; Vining, K. H.; Descombes, T.; Zhang, L. Programmable Microencapsulation for Enhanced Mesenchymal Stem Cell Persistence and Immunomodulation. PNAS 2019, 116 (31), 15392–15397. https://doi.org/10.1073/pnas.1819415116.

(28) 	Simó, G.; Fernández‐Fernández, E.; Vila‐Crespo, J.; Ruipérez, V.; Rodríguez‐Nogales, J. M. Research Progress in Coating Techniques of Alginate Gel Polymer for Cell Encapsulation. Carbohydr. Polym. 2017, 170, 1–14. https://doi.org/10.1016/j.carbpol.2017.04.013.

(29) 	Li, P.; Müller, M.; Chang, M. W.; Frettlöh, M.; Schönherr, H. Encapsulation of Autoinducer Sensing Reporter Bacteria in Reinforced Alginate-Based Microbeads. ACS Appl. Mater. Interfaces 2017, 9 (27), 22321–22331. https://doi.org/10.1021/acsami.7b07166.

(30) 	Kim, B. J.; Park, T.; Moon, H. C.; Park, S. Y.; Hong, D.; Ko, E. H.; Kim, J. Y.; Hong, J. W.; Han, S. W.; Kim, Y. G.; Choi, I. S. Cytoprotective Alginate/Polydopamine Core/Shell Microcapsules in Microbial Encapsulation. Angew. Chemie - Int. Ed. 2014, 53 (52), 14443–14446. https://doi.org/10.1002/anie.201408454.

(31) 	Ball, V. Polydopamine Nanomaterials: Recent Advances in Synthesis Methods and Applications. Front. Bioeng. Biotechnol. 2018, 6 (AUG), 1–12. https://doi.org/10.3389/fbioe.2018.00109.

(32) 	Mørch, Ý. A.; Donati, I.; Strand, B. L.; Skjåk-Bræk, G. Effect of Ca2+, Ba2+, and Sr2+ on Alginate Microbeads. Biomacromolecules 2006, 7 (5), 1471–1480. https://doi.org/10.1021/bm060010d.

(33) 	Goers, L.; Freemont, P.; Polizzi, K. M. Co-Culture Systems and Technologies: Taking Synthetic Biology to the next Level. J. R. Soc. Interface 2014, 11 (96), 20140065-. https://doi.org/10.1098/rsif.2014.0065.

(34) 	Burmeister, A.; Grünberger, A. Microfluidic Cultivation and Analysis Tools for Interaction Studies of Microbial Co-Cultures. Curr. Opin. Biotechnol. 2020, 62, 106–115. https://doi.org/10.1016/j.copbio.2019.09.001.

(35) 	Zhu, H.; Meng, H.; Zhang, W.; Gao, H.; Zhou, J.; Zhang, Y.; Li, Y. Development of a Longevous Two-Species Biophotovoltaics with Constrained Electron Flow. Nat. Commun. 2019, 10 (1), 1–12. https://doi.org/10.1038/s41467-019-12190-w.

(36) 	Johnston, T. G.; Yuan, S. F.; Wagner, J. M.; Yi, X.; Saha, A.; Smith, P.; Nelson, A.; Alper, H. S. Compartmentalized Microbes and Co-Cultures in Hydrogels for on-Demand Bioproduction and Preservation. Nat. Commun. 2020, 11 (1), 1–11. https://doi.org/10.1038/s41467-020-14371-4.

(37) 	Shahab, R. L.; Brethauer, S.; Davey, M. P.; Smith, A. G.; Vignolini, S.; Luterbacher, J. S.; Studer, M. H. A Heterogeneous Microbial Consortium Producing Short-Chain Fatty Acids from Lignocellulose. Science (80-. ). 2020, 369, eabb1214. https://doi.org/10.1126/science.abb1214.

(38) 	Smith, M. J.; Francis, M. B. Improving Metabolite Production in Microbial Co-Cultures Using a Spatially Constrained Hydrogel. Biotechnol. Bioeng. 2017, 114 (6), 1195–1200. https://doi.org/10.1002/bit.26235.

(39) 	Xu, Z.; Wang, S.; Zhao, C.; Li, S.; Liu, X.; Wang, L.; Li, M.; Huang, X.; Mann, S. Photosynthetic Hydrogen Production by Droplet-Based Microbial Micro-Reactors under Aerobic Conditions. Nat. Commun. 2020, 11 (1), 1–10. https://doi.org/10.1038/s41467-020-19823-5.

(40) 	Kotula, J. W.; Kerns, S. J.; Shaket, L. A.; Siraj, L.; Collins, J. J.; Way, J. C.; Silver, P. A. Programmable Bacteria Detect and Record an Environmental Signal in the Mammalian Gut. Proc. Natl. Acad. Sci. U. S. A. 2014, 111 (13), 4838–4843. https://doi.org/10.1073/pnas.1321321111.

(41) 	Werlang, C.; Cárcarmo-Oyarce, G.; Ribbeck, K. Engineering Mucus to Study and Influence the Microbiome. Nat. Rev. Mater. 2019, 4 (2), 134–145. https://doi.org/10.1038/s41578-018-0079-7.

(42) 	Erickson, A. K.; Jesudhasan, P. R.; Mayer, M. J.; Narbad, A.; Winter, S. E.; Pfeiffer, J. K. Bacteria Facilitate Enteric Virus Co-Infection of Mammalian Cells and Promote Genetic Recombination. Cell Host Microbe 2018, 23 (1), 77-88.e5. https://doi.org/10.1016/j.chom.2017.11.007.

(43) 	Iwama, T.; Fujiya, M.; Konishi, H.; Tanaka, H.; Murakami, Y.; Kunogi, T.; Sasaki, T.; Takahashi, K.; Ando, K.; Ueno, N.; Kashima, S.; Moriichi, K.; Tanabe, H.; Okumura, T. Bacteria‐derived Ferrichrome Inhibits Tumor Progression in Sporadic Colorectal Neoplasms and Colitis‐associated Cancer. Cancer Cell Int. 2021, 21 (1), 1–15. https://doi.org/10.1186/s12935-020-01723-9.

(44) 	Chiang, C. J.; Huang, P. H. Metabolic Engineering of Probiotic Escherichia Coli for Cytolytic Therapy of Tumors. Sci. Rep. 2021, 11 (1), 5853. https://doi.org/10.1038/s41598-021-85372-6.

(45) 	Fedorec, A.; Karkaria, B.; Sulu, M.; Barnes, C. Single Strain Control of Microbial Consortia. Nat. Commun. 2019, No. 2021, 1–12. https://doi.org/10.1101/2019.12.23.887331.

(46) 	Thor, D.; Xiao, N.; Yu, R.; Jivan, A.; Cha, B. Induction of EGFP Expression in Pichia Pastoris during Co-Culture with Human Endothelial Cell Line. J. Microbiol. Methods 2019, 161, 28–34. https://doi.org/10.1016/j.mimet.2019.04.006.

(47) 	Le, H. H. M.; Vang, D.; Amer, N.; Vue, T.; Yee, C.; Kaou, H.; Harrison, J. S.; Xiao, N.; Lin-Cereghino, J.; Lin-Cereghino, G. P.; Thor, D. Enhancement of Cell Proliferation and Motility of Mammalian Cells Grown in Co-Culture with Pichia Pastoris Expressing Recombinant Human FGF-2. Protein Expr. Purif. 2020, 176, 105724. https://doi.org/10.1016/j.pep.2020.105724.

(48) 	Kunjapur, A. M.; Napolitano, M. G.; Hysolli, E.; Noguera, K.; Appleton, E. M.; Schubert, M. G.; Jones, M. A.; Iyer, S.; Mandell, D. J.; Church, G. M. Synthetic Auxotrophy Remains Stable after Continuous Evolution and in Co-Culture with Mammalian Cells. bioRxiv 2020. https://doi.org/https://doi.org/10.1101/2020.09.27.315804.

(49) 	Velasco, D.; Tumarkin, E.; Kumacheva, E. Microfluidic Encapsulation of Cells in Polymer Microgels. Small 2012, 8 (11), 1633–1642. https://doi.org/10.1002/smll.201102464.

(50) 	Paredes Juárez, G. A.; Spasojevic, M.; Faas, M. M.; de Vos, P. Immunological and Technical Considerations in Application of Alginate-Based Microencapsulation Systems. Front. Bioeng. Biotechnol. 2014, 2 (AUG), 1–15. https://doi.org/10.3389/fbioe.2014.00026.

(51) 	Mawad, A.; Helmy, Y. A.; Shalkami, A.-G.; Kathayat, D.; Rajashekara, G. E. Coli Nissle Microencapsulation in Alginate-Chitosan Nanoparticles and Its Effect on Campylobacter Jejuni in Vitro. Appl. Microbiol. Biotechnol. 2018, 102 (24), 10675–10690. https://doi.org/10.1007/s00253-018-9417-3.

(52) 	Belkin, S.; Wang, B. Sense and Sensibility: Of Synthetic Biology and the Redesign of Bioreporter Circuits. Microb. Biotechnol. 2021, 0, 1–4. https://doi.org/10.1111/1751-7915.13955.

(53) 	Hossain, G. S.; Saini, M.; Miyake, R.; Ling, H.; Chang, M. W. Genetic Biosensor Design for Natural Product Biosynthesis in Microorganisms. Trends in Biotechnology. Elsevier Ltd July 1, 2020, pp 797–810. https://doi.org/10.1016/j.tibtech.2020.03.013.

(54) 	Dixon, T. A.; Williams, T. C.; Pretorius, I. S. Sensing the Future of Bio-Informational Engineering. Nature Communications. Nature Research December 1, 2021. https://doi.org/10.1038/s41467-020-20764-2.