Point-of-Use Sensors and Machine Learning Enable Low-Cost Determination of Soil Nitrogen

Max Grell, Giandrin Barandun, Tarek Asfour, Michael Kasimatis, Alex Silva Pinto Collins, Jieni Wang, Firat Güder*

Department of Bioengineering, Imperial College London, London SW7 2AZ, UK

Abstract

Overfertilization with nitrogen fertilizers has damaged the environment and health of soil, but standard laboratory testing of soil to determine the levels of nitrogen (mainly NH4+ and NO3-) is not performed regularly. Here, we demonstrate that Point-of-Use measurements of NH4+, combined with soil conductivity, pH, easily accessible weather and timing data, allow instantaneous prediction of levels of NO3- in soil (R2 = 0.70) using a machine learning model. A long short-term memory recurrent neural network model can also be used to predict levels of NH4+ and NO3- up to 12 days into the future from a single measurement at day one, with R2NH4+= 0.60 and R2NO3-= 0.70, for unseen weather conditions. Our machine learning-based approach eliminates the need of using dedicated instruments to determine the levels of NO3- in soil. Nitrogenous soil nutrients can be determined and predicted with enough accuracy to forecast the impact of climate on fertilization planning, and tune timing for crop requirements, reducing overfertilization while improving crop yields.

Main

There is a global effort to find practices for food production that can sustainably feed the population, which is expected to surpass 10 billion people by 2050.1 The Haber-Bosch process enabled inexpensive nitrogen-based fertilizers to feed the booming population, with >600% increase in their use in the past 50 years.2,3 Increased fertilization has, however, come with a great environmental cost. Approximately 12% of available arable land is now degraded, of which >240 Mha (~926,000 mi2 or four times the area of France or state of Texas) is chemically degraded – i.e. contaminated with heavy metals and/or acidified, especially from nitrogen fertilizers, which interfere with nutrient mobility and uptake by plants.4–6 Over-fertilization has visibly destroyed ecosystems by the leaching of excess NO3- into surface waters causing eutrophication, giving rise to dead zones such as in the Gulf of Mexico.7 Over-fertilization also impacts the soil microbiome.8,9 Although this is an actively studied topic, N fertilization appears to shift relative abundance of certain microbial communities in soil, with important implication on C cycling and ecosystems.10

Application of fertilizers is poorly understood and largely varied between regions and countries; for example, eight times more is applied per hectare in China than Australia.11 Farmers across the globe typically rely on guidelines from their governments, fertilizer suppliers, or family know-how when deciding the economic optimum rate of fertilization to ensure maximum crop yields. Professional agronomists generally advise along guidelines and look at yields from previous years to estimate fertilizer requirements; they may also take soil samples for laboratory testing prior to sowing. Laboratory testing, however, is an expensive and slow process hence not performed regularly. Soil nitrogen (Soil-N) is crucial for high yields, and nitrogen fertilizer is the most frequently applied fertilizer. The optimal application rate is highly variable, however, since soil-N fluctuates widely with the properties of soil and weather over short timescales. Benchmark guidelines are unable to account for these variations. With the lack of data concerning the current and future nitrogen levels in soil, farmers tend towards overfertilization to protect yields, an environmentally and economically inefficient practice.12–14

Measurement of Soil-N is important for optimizing the use of nitrogen fertilizers and enabling spatiotemporal variable rate fertilization. Indirect spectroscopic precision farming technologies such as crop canopy sensors (e.g., near infrared spectroscopic cameras) can be used to approximate the N requirements of plants.15–17 Commercially available options include the CropSpec from Topcon Totalcare18, SunScan from Delta-T Devices19 and N-Sensor from Yara20, which can be mounted on a tractor for large-area monitoring. Indirect spectroscopic techniques, however, do not measure the levels of nitrogen in soil, instead they measure green light from the leaves of plants (related to nitrogenous compounds) to indirectly estimate levels of N fertilizer required. Machine learning algorithms are suitable for calibrating spectra (e.g., near-infrared) to soil-N.21 Spectroscopic methods require plant mass (e.g., leaves), so the measurements cannot be performed until after germination and growth. Fertilizer, however, is usually applied just before seeds are sown, hence spectroscopic techniques rarely help in-season, and only compliment national guidelines. Using ion-selective membranes, levels of nitrogen in soil (mainly in the form of NO3- and NH4+) can be directly detected electrochemically.22 Such sensors can be integrated into Internet-of-Things (IoT) type remote sensors that can provide continuous data streams concerning levels of nitrogen in soil, for example Teralytic.23 To provide spatiotemporal resolution, however, many units would need to be deployed to fields.24 Statistical models using machine learning are, therefore, well suited for filling in missing soil data25 and forecasting them into the future.26 Given that each costly sensor node is not disposable, they would require collection before harvest (i.e. labor intensive) and would be susceptible to theft. They also require infrastructure investments to create a wireless network with access points etc. With the challenges such as large investment requirements, sector heterogeneity, data ownership and privacy, user acceptance and lack of interoperability, the adoption of IoT systems for soil sensing has been slow.27–29 Ion-selective electrochemical sensors can also be produced in a small Point-of-Use (PoU) formfactor (e.g., Horiba LAQUAtwin, ELIT 8021). These commercially available sensors demonstrate high accuracy for NO3- (R2 = 0.96)30 and NH4+ (R2 = 0.98)31 however they are delicate, relatively expensive (i.e. Horiba LAQUAtwin NO3- sells for ~350 USD; each electrode ~150 USD), require sample preparation and on-site calibration.32 Optical methods such as near-infrared spectrometry are nearing commercialisation for soil-N at the PoU (R2 = 0.72-0.92)33, however they also require on-site calibration and struggle with low concentrations.34 Enzymatic biosensors are being researched, with reported R2 = 0.99, although they are delicate with short lifetimes.35

In this work, we demonstrate a new and quick approach for determining crucial, but difficult to measure N-levels in soil. We combine a new type of gas-phase NH4+ sensor (to eliminate matrix effects due to the complex sample)36,37, simulated climate data (i.e. rainfall and temperature), time passed since fertilization (i.e. number of days) and off-the-shelf soil pH and conductivity sensors with a statistical machine learning model to instantaneously and accurately determine levels of NO3- in soil. We demonstrate that the N-levels in soil can also be predicted into the future using a long short-term memory recurrent neural network over a 12-day period. With this new approach (Figure 1), fertilization can be provided more precisely to improve yields, while preventing over fertilization, thus environmental degradation.

Results and Discussion

Disposable Point-of-Use NH4+ Sensor

To measure levels of NH4+ in soil, we have developed an electrical PoU sensor to accurately determine soil-NH4+ (R2 = 0.85, limit of detection 3±1 ppm, tested up to 144 ppm) at low-cost with a large dynamic range (Figure 2.1). Each sensing module (i.e. cartridge) only consisted of a container and a disposable, chemically functionalized paper-based electrical gas sensor (chemPEGS) and 1ml 15M NaOH, costing <$0.10 (Video SV1)38–41. The chemical functionalization (10 µl 0.025M H2SO4) of chemPEGS was the best compromise between precision and measurement time (Figure S1) and builds on the paper-based electrical gas sensors described by Barandun et. al; the addition of H2SO4 makes the sensor more specific for the sensing of ammonia in comparison to our previous work.37 Sensing of NH3 with chemPEGS is susceptible to interferences from other water-soluble alkaline gases, however, because NH3 has the highest water solubility and is the dominant water-soluble alkaline gas species in our samples due to the fertilizer (ammonium nitrate), the signal generated by the chemPEGS largely originates from NH3. There is a decrease in ionic impedance during neutralization on the chemPEGS, which is measured electrically using our home-made electronics.37 An alternating voltage (10 Hz, 4 V amplitude) was supplied across the chemPEGS, and the current passing through was measured as a voltage with a transimpedance amplifier, amplified with a gain resistor (see Supporting Information, SI, Figure S2). As the H2SO4 neutralization continued, the impedance of paper increased slowly and the time it took to complete (gradient reached zero) or slow dramatically (step change in gradient, >80 % in <10 minutes) was used as the analytical signal shown in Figure 2.3 (see SI Figure S3 for raw data). We evaluated the stability of the chemPEGS, and determined they can be stored in dry conditions for 16 days without negatively impacting performance (Figure S4). Before measuring unknown concentrations, we calibrated the sensor in a range of concentrations of NH4+ from 4.5-144 ppm, in soil fertilized with NH4NO3; the calibration curve (log-log) is shown in Figure 2.4. Our measurements were compared to external laboratory measurements with a score of R2 = 0.85 (Figure S5, see Figure S6 for Bland-Altman Plot). This is below reported ISE scores mentioned above, but our new sensing mechanism needs only simple and robust components for matrix free sensing and is, therefore, likely to offer more dependable results in-field. We also measured a calibration curve for NH4NO3 in water (no soil) and verified that our soil measurements are indeed from NH4+ alone (Figure S1).

Time-dependent Nitrogen Dynamics in Soil

Time series data concerning dynamics of soil nitrogen were collected over short timescales (<20 days) in experiments simulating soil in a field (Figure 3). To reduce complexity, we did not grow any plants and investigated the nitrogen dynamics only due to microbial activity, run-off and volatilization (escape of NH3(g)). We placed 5.1 kg of soil (Westland Top Soil, unfertilized) in a 15 L plastic pots and stored them in the laboratory without covering their tops. In each experiment, we controlled the environmental conditions in two ways: i) adding a controlled amount of water to simulate rainfall, ii) passing an electrical current through a resistive heating wire (nichrome wire), wrapped around the containers, to control temperature uniformly. We kept the soil type (sandy loam, sieved) and amount of fertilizer added fixed for all experiments (fertilizer NH4NO3 was added in the beginning of each experiment to produce a concentration of 120 ppm, approximately equal to 241 kg/ha of NH4NO3 or 85 kg/ha nitrogen – calculation in SI). Experiments were performed for eight sets of environmental conditions spanning arid (1 mm/day rainfall) to tropical (10 mm/day rainfall) with temperatures ranging from 19-21°C (temperate) to 26-34°C (warm). Measurements of soil temperature, rainfall, pH, electrical conductivity (EC) and NH4+ were made in our laboratory (Güder Research Group - GRG). Levels of pH, EC, NH4+ were also measured in an external laboratory (NRM, Cawood Scientific), in addition to dryness and NO3-, for comparison and training of the machine learning model. Although when building the machine learning model we relied on the dryness values provided by the commercial laboratory, dryness is highly correlated with rainfall and temperature (in our dataset, temperature and rainfall predict dryness using linear regression with R2 = 0.86, see Figure S7 and the equation in the SI) hence can be estimated using these two metrics without needing further analytical measurements.

Dynamics of soil NH4+: In all time dependent soil experiments, the level of NH4+ dropped rapidly over time, levelling out after about a week, independent of the environmental conditions. Temperature played a considerable role only in the case of 1 mm/day rainfall/ in which the NH4+ levels settled at ~50 ppm for warm conditions, in comparison to ~0 ppm for temperate conditions. In all other scenarios, temperature or rainfall only slightly affected the NH4+ dynamics without large differences in the trends. Decreasing levels of NH4+ result from multiple processes, such as nitrification (i.e. conversion of NH4+  NO2-  NO3-) or environmental losses (leaching or volatilization), that run in parallel; however, the extent of each process might vary with environmental and soil conditions. Soil dehydration tends to limit nitrification, by restricting substrate supply to microbes and lowering activity of enzymes,42 which may explain retention of NH4+ at higher temperatures (and low rainfall). This observation is further supported by the fact that the levels of NO3- were lower for warm conditions than temperate conditions.

Dynamics of soil NO3-: Nitrification is a complex, aerobic microbial process affected by temperature, moisture, levels of O2, pH and of course availability of NH4+ among other things (e.g., nitrifier populations).6 We observed that, while at 1 mm/day rainfall the level of NO3- increased compared to the initial (day zero) concentration, for 3 mm/day it remained relatively unchanged both for warm and temperate conditions. For 5 mm/day rainfall in warm conditions, the levels of NO3- only slightly increased toward the end of the experiment. For temperate conditions the concentration of NO3- nearly halved with a rapid drop after day 10. For heavy rainfalls (10mm/day), the concentrations of NO3- dropped toward zero in a linear manner over the course of the experiments. From these experiments, it could be concluded that the optimum point for maximum nitrification and retention of NO3- in soil occurs in temperate and drier conditions, which are consistently more favourable than warm and wetter conditions. The reasons behind these trends may differ, however, depending on the conditions. While the run-off caused by the heavy rainfall (i.e. 10 mm/day) may physically leach NO3- away (the excess water was pouring out from the bottom of the pots), less rainfall (5, 3 mm/day) may hinder penetration of O2 into the soil (i.e. waterlogged soil) therefore reduce nitrification, especially if the climate is temperate so that not enough water is removed from the soil to allow oxygenation.43 The optimal temperatures for nitrification are typically reported between 24-27 °C,44 in line with our observations. In the experiments where the dryness of soil did not increase, temperature did not have a large effect, evidenced by the first 4 days of the experiment with 3 and 5 mm/day rainfall. Dryness (i.e. rainfall + temperature), therefore appears to be a more important factor in determining the levels of NO3- than temperature alone.

Dynamics of soil EC and pH: EC and pH were measured to investigate their correlation with soil nitrogen under different environmental conditions. Due to technical difficulties, we were unable to complete the EC and pH measurements for all samples in a single day, hence missed measurements which were to be performed in our laboratories. Nevertheless, we did not observe any major trends in pH or EC regardless of rainfall or temperature except for the experiments with 1 and 10 mm/day rainfall. For 1 mm/day rainfall, the EC only slightly increased and pH slightly decreased over time. Ammonium based fertilizers are known to acidify soil therefore decrease pH.45,46 With an increase in the concentration of mobile NO3- ions in soil, EC is also known to increase.46 When the rainfall was increased to 10 mm/day, however, the run-off leached out ionic species from the soil, in turn reducing EC of soil without affecting pH. The EC and pH measurements performed in our laboratory and externally did not correlate to the degree we expected (see discussion below Figure S7 in the SI).

Predicting Levels of Nitrogen in Soil Using Machine Learning

Retention, conversion or loss of nutrients added to soil is a complex function of rainfall, temperature, pH, microbe populations, soil type etc. This complexity renders creation of deterministic models to understand the relationship between nitrogenous species and their levels in soil, difficult (if not impossible) after some time, even if initial concentrations are known. We have, therefore, attempted to create a statistical model using (existing) machine learning (ML) approaches to predict levels of hard-to-measure NO3- in soil using information concerning weather (i.e. rainfall and temperature), time since fertilization, pH, EC, and NH4+ (Video SV2).

Using supervised ML, we attempted to predict the level of NO3- in soil instantaneously, and both NH4+ and NO3- into the future (see Figure S8 for the ML prediction process flow). We used the measurements performed by the external laboratory (Figure 3) as a training set (data processing for ML described in SI). The performance of the model was then tested either with data from the external lab or data generated by the PoU sensors in our lab as inputs. Training data matching the same environmental conditions (temperature and rainfall) as the test inputs were removed, so the model was always tested on unseen environmental conditions. Features were ranked in order of importance (by XGBoost, Figure 4.1 top left), where soil dryness, time since fertilization and NH4+ were the most important. We compared combinations of features, regressors and tuning parameters exhaustively (by grid search) to find the best general regressor to estimate the levels NO3- instantaneously (see Figure S9 for R2 scores for each set of environmental conditions). We have determined that the K-nearest-neighbors (Knn) algorithm, trained on all 7 features with tuning parameters of k=14, leaf size=1 and p=1, can predict instantaneous levels of NO3- with R2 = 0.63 using external lab results for training and our lab PoU sensors for test input (Figure 4.1 top right; Bland-Altman plots for Figure 4 shown in Figure S12). Using the same model, but with external lab results as test inputs, removes the impact of inaccuracy from our lab (PoU) sensors, resulting in R2 = 0.68 (Figure S10). We have also determined that XGBoost regressor produced the best predictions for dryer soils and Knn for wetter. Taking our lab PoU sensors as test inputs, and the optimal regressor and tuning for each set of environmental condition offers even better performance, giving an optimised score of R2 = 0.70 (score averaged across each set of environmental conditions – Figure 4.1 bottom left). The same process, but with external lab result as test inputs, produces on optimized best-case scenario score of R2 = 0.86 (Figure 4.1 bottom right). This score for predicting levels of NO3- in soil is comparable to direct measurements using optical (R2 = 0.83; Fourier-transform infrared spectroscopy) or electrochemical methods (R2 = 0.96; ion selective electrodes) as reported in the literature.31,47 This result was pleasantly surprising given that no additional hardware was required for determining levels of NO3- with high accuracy. We have also tuned a Knn model (k=11, leaf size=3, p=1) to predict levels of NO3- in soil using only the most basic inputs – days since fertilization, rainfall and temperature (i.e. requiring no soil sensors at all) which yielded R2 = 0.54 (Figure S11). We attempted to validate the same model for NO3- prediction on a different soil type (55% clay, 1% sand, 44% silt), with a new time series of external laboratory data. The result was a positive correlation (R2 = 0.31) between measured and predicted NO3-, however more data is needed to train the model to understand nitrogen dynamics in different soil types (Figure S13 for data and further discussion).”

While determining the concentration of NH4+ and NO3- in soil at any given moment is important (as described above), from an operational point of view, it would also be useful to know what the levels of soil nitrogen (i.e. NH4+ and NO3-) will be in the future from a single measurement to create a precise schedule for future fertilization. Soil, however, introduces a memory effect: nutrient levels today depend on the nutrient levels and other factors from yesterday (property X at time t will be a function of X at t-1). Forecasting of soil-N into the future must, therefore, consider time and sequence of data, and possess a degree of memory, for multiple correlated features. Using the time series dataset generated by the external lab, we trained a long short-term memory recurrent neural network (LSTM) model (another supervised ML algorithm) to forecast NH4+ and NO3- into the future for unseen environmental conditions. We tuned the model using grid search, minimizing root-mean-squared error using time lag and model hyperparameters (training epochs, batch size, number of neurons, defined after Figure S15). The optimal tuning was time lag=1, epochs=50, batch size=3 and number of neurons=3. The dataset was first concatenated into one multivariate time series. Each time series was then removed sequentially, and the model trained to predict the removed time series from the remaining data. Models were retrained for each desired forecast time (1-12 days into the future, longer time periods were inaccurate), but the same tuning parameters were used for all environmental conditions. Comparing predicted to real values over the 12-day period gives a score of R2NH4+ = 0.60 and R2NO3- = 0.70 using only the initial concentrations for NH4+ and NO3- on Day 0 which demonstrates efficacy even with our limited training dataset (Figure 4.2, with R2 plots in Figure S15 and Bland-Altman plots in Figure S16). In essence, by measuring NH4+, EC and pH in the field and gathering other environmental data from public sources, levels of NO3- can be estimated for today and both levels of NH4+ and NO3- into the future.

Conclusions

In this study, we demonstrated that it is possible to estimate the levels of hard-to-measure nitrogen levels in soil using easily accessible soil/climate data and ML models. This entirely new strategy allows determining and predicting levels of nitrogen (NH4+ and NO3-) in soil, both instantaneously and into the future. We have produced the first soil nitrification dataset that provides enough temporal resolution (≈3-day measurement frequency), for a range of conditions, to train a ML model. The strength of our approach is that we primarily use, inexpensive/easily accessible tools for the soil measurements (pH and EC meter with the exception of a new PoU paper-based, gas-phase NH4+ sensor developed in this work) and publicly available weather data (rainfall and temperature; in this study we simulated weather in a controlled manner) to estimate the levels of soil nitrogen through ML. The method presented is remarkably high performance such that concentration of instantaneous soil-NO3- can be estimated using PoU inputs with R2 = 0.70, and external laboratory inputs with R2 = 0.86 (comparable to existing high performance NO3- sensors) without the need for additional hardware. Using a LSTM model, the levels of NH4+ and NO3- can also be forecasted 12 days into the future, for unseen environmental conditions, with R2NH4+ = 0.60 and R2NO3- = 0.70. Furthermore, the paper-based, disposable, gas-phase NH4+ sensors (i.e. chemPEGS) developed in this work could also be used alone at the PoU without the ML model or other sensors if instantaneous detection of NH4+ is needed alone. The approach presented in this work has the following three weaknesses:

First, the supervised ML algorithms used for the prediction of soil-N require a training dataset, meaning prior measurements/climate data are needed to make the estimation algorithms work. This problem could partially be resolved by using data for soil nitrogen already published in the literature to create a training dataset. A training dataset could also be created using the PoU sensor toolkit described in this work in addition to occasional measurements of soil-NO3- in an external laboratory. We expect that performance of the algorithms will increase over time as more data are generated using the sensors and laboratory measurements. Although leave-one-out cross validation was used for training, the lack of a validation dataset may have resulted in overfitting of the hyperparameters to the weather conditions in Figure 4.1 (bottom left and bottom right).

Second, chemPEGS (for measuring NH4+ at the PoU) are expected to be cross-sensitive to other alkaline gases and currently takes a long time to perform a measurement; 30-450 minutes for 144-4.5 ppm NH4+. chemPEGS, however, demonstrated sufficient performance for measuring soil- NH4+ as it is most sensitive to NH3(g) due to its high water solubility. The time it takes to produce a result could also be reduced by measuring the rate of change of the impedance during neutralization or training a predictive machine learning model on short measurement times. The sensitivity of chemPEGS could also be improved by using a lower concentration of H2SO4.37,38,48

Third, the dataset generated in this work is limited (sparse) and does not include various scenarios such as sudden changes in weather and different types of fertilizers (e.g., urea). The current work also does not include crops, which would draw nitrogen from the soil and affect nitrogen dynamics. The limited dataset may explain the unusual LSTM tuning for batch and number of neurons (both 3), and poor performance in clay soil. Further work is needed to create a model to predict nitrogen uptake by plants.

The impact of this work is that growers can instantly determine crucial soil nutrients using only point-of-use measurements and weather data and forecast nutrients into the future to build better fertilization plans. This would ensure that appropriate nutrients are present, when needed, by the crops. This approach could enable precision farming of a new caliber (with significantly lowered capital investment), reducing fertilizer requirements, soil degradation and eutrophication, while improving crop yields. Furthermore, we hope this approach will extend to complex media other than soil, where simple chemical measurements and easily accessible data, combined with machine learning, can be used to predict, and forecast crucial outputs in healthcare, food and environmental monitoring.

Materials and Methods

Soil experiments: Top soil with sandy loam texture (69% sand 2.00-0.063mm diameter, 25% silt 0.063-0.002mm diameter, 6% clay <0.002mm diameter, density 774 g/l measured in NRM Laboratories, part of Cawood Scientific, United Kingdom) was purchased from Westland and used in the experiments without further modifications. The soil was heat sterilized but microbiota are expected to survive. For the soil experiments performed in our laboratory, the water-soluble compounds and small particles were extracted from the soil samples by mixing 100ml diH2O with 100g of soil for approximately one minute (simulating a PoU scenario, longer mixing may enhance extraction), then pressing out the solution with a potato press (VonShef) lasting a few seconds. We used the soil solution for the pH, EC and NH4+ measurements in our laboratory. Soil samples (200 g), for the measurements at the external laboratory (NRM), were extracted from the soil pots and stored in a Ziploc bag (placed inside a cool box along with cooling element) which were collected and analysed within 2 days. Different to our method of handling, the external lab used a soil-to-water ratio of 1:2.5 as they dried the samples before processing to improve consistency (we did not do this, which caused issues surrounding unmatching results between the external measurements and measurements performed by our group). Levels of soil nitrogen were measured colorimetrically by the external laboratory. NH4+ was reacted with alkaline hypochlorite and phenol to form indophenol blue. Sodium nitroprusside acted as a catalyst in formation of indophenol blue which was measured at 640nm. NO3- was reduced to nitrate using cadmium in an open tubular cadmium reactor. A diazo compound formed between nitrite and sulphanilamide, which was coupled with N-(1-Napthyl)ethylenediamine dihydrochloride to give a red azo dye, measured at 540nm. For all soil experiments, soil was weighed into pots of 5.1 kg, and fertilized with 51ml 0.665M (12,000ppm) NH4NO3 while mixing thoroughly, resulting in soil at approximately 120ppm NH4NO3.

Fabrication of chemPEGS: chemPEGS with carbon electrodes (No. C2130925D1 conductive carbon ink, 55/45 wt % with No. S60118D3 diluent from GWENT Group) were screen-printed on chromatography paper (WhatmanTM, grade 1 chromatography paper, 20 cm × 20 cm, 0.18 mm thickness) and dried overnight at room temperature to remove excess organic solvents from the electrodes. The design of the electrodes consists of three interdigitated electrodes with 1 mm spacing between each finger which was optimized to increase sensitivity – i.e. we would like to keep the sensors as resistive as possible up to the level where our electronics could handle the low-currents. To contain the H2SO4 added in a certain region within paper, wax was deposited around the electrode area to provide a hydrophobic barrier. We printed wax designs using a Xerox ColorQube 8580 printer on to Office Depot transparent acetate sheets, then heat-transferred to the chemPEGS substrate with a Vevor HP230B heat press (180 °C). 10µl 0.025M H2SO4 was then drop casted on the chemPEGS before use, to neutralize the ammonia gas. An array of batch processed chemPEGS sensors is shown in Figure S17.

Gas-phase measurement of NH4+ with chemPEGS: To operate the sensor module (i.e. cartridge), a soil solution was created by pressing 100 ml deionized water through 100 g of soil. A 5 ml soil solution was injected into each container. In the container, the solubilized soil-NH4+(aq) is in equilibrium with solubilized NH3(aq) (Equation 1), which is in equilibrium with volatilized NH3(g) in the headspace of the container under Henry’s law (Equation 2).

NH4aq++OH(aq)-↔NH3(aq)+H2O 				(1)

NH3(aq)↔NH3(g) 					(2)

The pH increased to 14 by the concentrated NaOH solution, shifts the equilibrium toward NH3(aq) and ultimately NH3(g). The NH3(g) in the headspace of the container once again dissolves in the layer of water adsorbed on the paper sensors (described by Barandun et. al.37) then neutralizes the H2SO4 in paper causing an increase in the ionic impedance (mainly due to the neutralization of highly mobile H+ ions) of the sensor in a concentration dependent manner (Figure 2.2).36,49–51 Neutralization of NH3 in chemPEGS (Equation 3) draws out more NH4+ from the soil solution to maintain equilibrium, hence the paper sensor acts as a scrubber of soil- NH4+.

2NH4++2OH-+2H++SO42-→2NH4++SO42-+2H2O		(3)

The cartridges comprised a gold plated card-reader (Midland Ross CD6734 BRN 34 Way IDC Ribbon Cable Card edge Connector) inserted into a screw cap of a 50ml centrifuge tube (VWR) and sealed with a glue gun. Using the electrical contacts on the back (left outside the tube), the card-reader was connected to a custom-built printed circuit board containing electronics that can apply a 10Hz, 4Vp-p signal across the chemPEGS. chemPEGS was inserted into the card-reader and placed in a sealed centrifuge tube containing 1ml 15M NaOH. The current produced as a result of the voltage applied was converted to a voltage again by an operational amplifier-based transimpedance amplifier (with a ratio defined by a gain resistor); the voltage signal was subsequently recorded by an Arduino Due using its onboard Analog-to-Digital Converter and communicated to a near-by PC over a serial link. Once the electrical signal (current passing through the sensor) stabilized (i.e. the paper substrate reached an equilibrium with the humidity inside the tube), a 5ml soil solution was injected into the tube using a syringe and changes in the electrical current was recorded as the analytical signal.

Calibration of chemPEGS for measuring soil-NH4+: The increase in impedance (calculated using Ohm’s Law) of the chemPEGS was measured over time during neutralization of H2SO4 that was drop casted previously. Calibration was first performed without soil for a range of NH4NO3 concentrations (4.5, 9, 18, 36, 72, 144 and 287ppm), and a range of H2SO4 concentrations (0.1, 0.05 and 0.025M), shown in Figure S1. Calibration was attempted by comparing concentration of NH4NO3 to the total change in the impedance of chemPEGS, and the time taken for impedance to stop increasing or slow dramatically (Figure S3). A concentration of 0.025M for H2SO4 gave the fastest and most precise measurements (Figure S1). Calibration in soil solution was performed for a range of concentrations (4.5, 9, 18, 36, 72, and 144ppm) of NH4NO3 spiked in the soil sample and then extracted. A calibration curve was fitted as NH4+[ppm] = (Time[minutes] × 5.43e-4)-1.26 with R2 = 0.96 (Figure 2.4).

Control of rainfall and temperature: Rainfall was fixed at 1, 3, 5, or 10 mm/day, implemented by adding a daily equivalent (pots were watered every 2 days) of 57 ml, 172 ml, 286 ml and 573 ml respectively to a pot area of 573 cm2. Temperature was controlled by wrapping pots containing soil with nichrome wire (purchased from Amazon) and applying a 36V potential, resulting in an electrical current of 1.5 A supplied from two Tenma 72-8350A power supplies in series. Soil temperature was measured at 3 points (centre, edge and in between) and averaged to estimate the temperature of soil periodically, using a Silverline 469539 Pocket Digital Probe Thermometer.

Measurement of EC and pH of soil: Using a Hanna Instruments HI5222-type benchtop EC/pH meter, the pH and EC of the solution extracted from the samples of soil were measured. Each sample was measured five times and the readings were averaged to reduce error.

Machine learning model: All computational work was performed using Python (3.6) in PyCharm integrated development environment. For modelling and optimization, we used the following core packages: Keras API for Tensorflow (LSTM model), Scikit-learn (ensemble and Knn regressors), XGBoost, pandas and NumPy.

Statistics and Reproducibility: Sample sizes for measurements from sensors made in our lab were n=5 unless otherwise stated, with error calculated by standard deviation.  No statistical method was used to pre-determine sample size, but they are similar to those reported in similar work.37 All data shown in Figure 3 were used for training the machine learning models with no exclusions. Since only physical measurements were made, experiments were not randomized, and investigators were not blinded to allocation during experiments and outcome assessment.

Data Availability

All data are available from the corresponding author upon reasonable request.

Acknowledgements

We would like to thank EPSRC (EP/R010242/1), Innovate UK (33486), Cytiva (formerly General Electric Healthcare Life Sciences) and Imperial College, Department of Bioengineering for their generous support. Firat Güder and Max Grell thank Imperial College Centre for Processable Electronics and Centre for Doctoral Training in Plastic Electronics, Professor Sophia Yaliraki from Imperial College Department of Chemistry, Professor Thomas Bell from Imperial College Department of Life Sciences, Dr Charles Mace from Tufts University Department of Chemistry and Dr Tom Schaul from (Google) DeepMind Technologies Ltd. Firat Güder also acknowledges Agri Futures Lab. Michael Kasimatis acknowledges EPSRC DTP (1846144). Alex Silva Pinto Collins acknowledges BBSRC DTP (2177734).

Author Contributions

M.G. designed and performed most of the experiments and wrote the manuscript; G.B. designed the home-made electronics; T.A. produced the supporting videos and iterated on Figure 1; M.K. performed soil measurements and maintenance, A.S.P.C. and J.W. performed measurements with home-made electronics, F.G. designed experiments and edited the manuscript.

Competing Interests

The authors declare no competing interests

Figure Captions

Figure 1: Summary of the Method

Nitrogen fertilizer is the backbone of modern agriculture and is typically applied as urea or ammonium nitrate (we used ammonium nitrate in this work), fuelling the soil-nitrogen cycle. These fertilizers produce NH4+ and NO3- in soil, available to be taken up by plants. We have combined point-of-use (PoU) electrical measurements (including a new soil-NH4+ sensor) with a machine learning model to quantify difficult-to-measure soil nutrients (such as NO3-) and forecast them into the future. This provides information concerning dynamics of soil nitrogen instantaneously and into the future to guide fertilization (reduce over-fertilization, understand the effect of weather, and ensure enough plant-available nitrogen to maximise crop yield) without laboratory measurements. At scale, this model could use a bare minimum of readily available input data to quantify and predict crucial outputs (e.g., soil macronutrients) in highly complex systems (such as soil).

Figure 2: Point-of-Use Soil Ammonium Sensor

Gas-phase NH4+ sensor cartridge, consisting of a container, 1ml 15M NaOH and a disposable chemPEGS that acts as a scrubber of soil-NH4+ connected to an integrated circuit (IC) to perform impedance analysis. (Figure 2.1) The volatilized NH3(g) dissolves in the layer of water adsorbed on the chemPEGS, (Figure 2.2) neutralizing the H2SO4 and increasing ionic impedance, which was measured electrically. The neutralization reaction draws out the remaining NH4+ from the soil solution to maintain the equilibrium of NH3 in the headspace. The time it took for neutralization to slow dramatically or complete was used as the analytical signal (see SI Figure S3 for raw data and mathematical criteria). An example signal from 144ppm soil- NH4+ is shown in Figure 2.3 with the analytical signal circled in red and the error shown in grey (calculated by standard deviation of n=5 measurements). We calibrated the sensor in a range of concentrations of NH4+ from 4.5-144ppm in soil fertilized with NH4NO3 (Figure 2.4). Each point had n=5 repeats, measured simultaneously with chemPEGS from the same batch of fabrication, with error bars corresponding to the standard deviation.

Figure 3: Soil Chemistry and Nitrogen Dynamics

Time series data of soil nitrogen dynamics were measured over short timescales (<20 days), where each corresponds to soil under different environmental conditions. We controlled rainfall and temperature by adding a controlled amount of water and passing current through a resistive heating wire (top of Figure 3). Environmental conditions span arid (1mm rain/day) to tropical (10mm rain/day), temperate (20±2 °C) and warm (31±2°C). Initial fertilization with NH4NO3 was fixed at 120 ppm. Measurements of soil temperature (n=3), rainfall, pH (n=5), EC (n=5) and NH4+ (n=5) were made in our laboratory (GRG) with errors corresponding to the standard deviation. Measurements of pH, EC, dry %, NH4+ and NO3- were measured in an external laboratory (n=1) for comparison and training the machine learn model.

Figure 4: Machine Learning Model to Predict Soil Nitrate

Instantaneous Soil-NO3- was predicted with instance based and ensemble learning regressors. Features were first ranked by importance to the XGBoost model, calculated by weight (number of times the feature occurs in the trees) and gain (each feature’s contribution to each tree), shown in Figure 4.1 (top left). The best performing regressor for all environmental conditions is Knn, which predicts NO3- using only PoU sensors from our lab as test inputs with R2 = 0.63 (Figure 4.1 top right). Optimizing the model for each set of environmental conditions (regressor and tuning for each shown in Figure S9) improves the score to R2 = 0.70 (Figure 4.1 bottom left). Using external lab data as test inputs (removing any inaccuracy from our PoU sensors) gave optimized predictions for NO3- with R2 = 0.86 (Figure 4.1 bottom right). The timeseries dataset was used to train a long short-term memory recurrent neural network (LSTM-RNN) model to forecast NH4+ and NO3- into the future, also for unseen environmental conditions. Models were retrained for each desired forecast time (1- 12 days into the future) and comparing predicted to real values over the 12-day period gives a score of R2NH4+ = 0.60 and R2NO3- = 0.70 (Figure 4.2).

References

1.	United Nations Department of Economic and Social Affairs. World Population Prospects 2019. World Population Prospects 2019 https://population.un.org/wpp/Download/Files/1_Indicators (Standard)/EXCEL_FILES/1_Population/WPP2019_POP_F01_1_TOTAL_POPULATION_BOTH_SEXES.xlsx (2019).

2.	Mosheim, R. Fertilizer Use and Price. United States Department of Agriculture - Economic Research Service https://www.ers.usda.gov/webdocs/DataFiles/50341/fertilizeruse.xls?v=5260.4 (2019).

3.	Alexandratos, N. & Bruinsma, J. World agriculture towards 2030/2050. Food and Agriculture Organization of the United Nations http://www.fao.org/3/ap106e/ap106e.pdf (2012).

4.	Tetteh, R. N. Chemical soil degradation as a result of contamination: A review. J. Soil Sci. Environ. Manag. 6, 301–308 (2015).

5.	Osman, K. T. Soil degradation, conservation and remediation. Soil Degradation, Conservation and Remediation (Springer Netherlands, 2014). doi:10.1007/978-94-007-7590-9.

6.	Beeckman, F., Motte, H. & Beeckman, T. Nitrification in agricultural soils: impact, actors and mitigation. Curr. Opin. Biotechnol. 50, 166–173 (2018).

7.	Smith, V. H., Tilman, G. D. & Nekola, J. C. Eutrophication: Impacts of excess nutrient inputs on freshwater, marine, and terrestrial ecosystems. Environ. Pollut. 100, 179–196 (1999).

8.	Zheng, F. et al. Mineral and organic fertilization alters the microbiome of a soil nematode Dorylaimus stagnalis and its resistome. Sci. Total Environ. 680, 70–78 (2019).

9.	Wang, Q. et al. Impact of 36 years of nitrogen fertilization on microbial community composition and soil carbon cycling-related enzyme activities in rhizospheres and bulk soils in northeast China. Appl. Soil Ecol. 136, 148–157 (2019).

10.	Zhao, Z. B. et al. Fertilization changes soil microbiome functioning, especially phagotrophic protists. Soil Biol. Biochem. 148, (2020).

11.	Rosas, F. Fertilizer Use by Crop at the Country Level (1990–2010). Working Paper 12-WP 535 http://publications.iowa.gov/13990/1/12-WP_535.pdf (2012).

12.	Zhu, Q., Schmidt, J. P., Lin, H. S. & Sripada, R. P. Hydropedological processes and their implications for nitrogen availability to corn. Geoderma 154, 111–122 (2009).

13.	Shanahan, J. F., Kitchen, N. R., Raun, W. R. & Schepers, J. S. Responsive in-season nitrogen management for cereals. Comput. Electron. Agric. 61, 51–62 (2008).

14.	Tremblay, N. et al. Corn response to nitrogen is influenced by soil texture and weather. Agron. J. 104, 1658–1671 (2012).

15.	Cilia, C. et al. Nitrogen status assessment for variable rate fertilization in maize through hyperspectral imagery. Remote Sens. 6, 6549–6565 (2014).

16.	Kitchen, N. R. et al. Ground-based canopy reflectance sensing for variable-rate nitrogen corn fertilization. Agron. J. 102, 71–84 (2010).

17.	Stone, M. L. et al. Use of spectral radiance for correcting in-season fertilizer nitrogen deficiencies in winter wheat. Trans. ASABE 39, 1623–1631 (1996).

18.	Topcon Totalcare. CropSpec Crop Canopy Sensors. http://topconcare.com/en/agriculture/crop-monitoring-technology/crop-canopy-sensors/ (2021).

19.	Delta-T Devices. SS1 SunScan Canopy Analysis System. https://delta-t.co.uk/product/sunscan/ (2021).

20.	Yara. N-Sensor. https://www.yara.co.uk/crop-nutrition/farmers-toolbox/n-sensor/ (2021).

21.	Morellos, A. et al. Machine learning based prediction of soil total nitrogen, organic carbon and moisture content by using VIS-NIR spectroscopy. Biosyst. Eng. 152, 104–116 (2016).

22.	Kim, H. J., Hummel, J. W. & Birrell, S. J. Evaluation of nitrate and potassium ion-selective membranes for soil macronutrient sensing. Trans. ASABE 49, 597–606 (2006).

23.	Teralytic. World’s First Wireless NPK Soil Sensor. (2021).

24.	Shaw, R., Lark, R. M., Williams, A. P., Chadwick, D. R. & Jones, D. L. Characterising the within-field scale spatial variation of nitrogen in a grassland soil to inform the efficient design of in-situ nitrogen sensor networks for precision agriculture. Agric. Ecosyst. Environ. 230, 294–306 (2016).

25.	Hengl, T. et al. Soil nutrient maps of Sub-Saharan Africa: assessment of soil nutrient content at 250 m spatial resolution using machine learning. Nutr. Cycl. Agroecosystems 109, 77–102 (2017).

26.	Zaman, B. & McKee, M. Spatio-Temporal Prediction of Root Zone Soil Moisture Using Multivariate Relevance Vector Machines. Open J. Mod. Hydrol. 4, 80–90 (2014).

27.	Brewster, C., Roussaki, I., Kalatzis, N., Doolin, K. & Ellis, K. IoT in Agriculture: Designing a Europe-Wide Large-Scale Pilot. IEEE Commun. Mag. 55, 26–33 (2017).

28.	Dincer, C. et al. Disposable Sensors in Diagnostics, Food and Environmental Monitoring. Adv. Mater. 31, (2019).

29.	Burton, R. Nitrate Sensing in the Soil. Cambridge Consultants https://www.cambridgeconsultants.com/insights/nitrate-sensing-in-the-soil (2016).

30.	Tully, K. L. & Weil, R. Ion-Selective Electrode Offers Accurate, Inexpensive Method for Analyzing Soil Solution Nitrate in Remote Regions. Commun. Soil Sci. Plant Anal. 45, 1974–1980 (2014).

31.	Choosang, J. et al. Simultaneous detection of ammonium and nitrate in environmental samples using on ion-selective electrode and comparison with portable colorimetric assays. Sensors (Switzerland) 18, (2018).

32.	Shaw, R., Williams, A. P., Miller, A. & Jones, D. L. Assessing the potential for ion selective electrodes and dual wavelength uv spectroscopy as a rapid on-farm measurement of soil nitrate concentration. Agriculture 3, 327–341 (2013).

33.	Viscarra Rossel, R. A., Walvoort, D. J. J., McBratney, A. B., Janik, L. J. & Skjemstad, J. O. Visible, near infrared, mid infrared or combined diffuse reflectance spectroscopy for simultaneous assessment of various soil properties. Geoderma 131, (2006).

34.	Sinfield, J. V., Fagerman, D. & Colic, O. Evaluation of sensing technologies for on-the-go detection of macro-nutrients in cultivated soils. Comput. Electron. Agric. 70, 1–18 (2010).

35.	Xuejiang, W. et al. Conductometric nitrate biosensor based on methyl viologen/Nafion®/ nitrate reductase interdigitated electrodes. Talanta 69, (2006).

36.	Wongchoosuk, C. et al. Electronic nose for toxic gas detection based on photostimulated core-shell nanowires. RSC Adv. 4, 35084–35088 (2014).

37.	Barandun, G. et al. Cellulose Fibers Enable Near-Zero-Cost Electrical Sensing of Water-Soluble Gases. ACS Sensors 4, 1662–1669 (2019).

38.	Grell, M. et al. Autocatalytic Metallization of Fabrics Using Si Ink, for Biosensors, Batteries and Energy Harvesting. Adv. Funct. Mater. 29, (2018).

39.	Ainla, A., Hamedi, M. M., Güder, F. & Whitesides, G. M. Electrical Textile Valves for Paper Microfluidics. Adv. Mater. 29, (2017).

40.	Hamedi, M. M. et al. Integrating Electronics and Microfluidics on Paper. Adv. Mater. 28, 5054–5063 (2016).

41.	Glavan, A. C. et al. Analytical Devices Based on Direct Synthesis of DNA on Paper. Anal. Chem. 88, 725–731 (2016).

42.	Stark, J. M. & Firestone, M. K. Mechanisms for soil moisture effects on activity of nitrifying bacteria. Appl. Environ. Microbiol. 61, 218–221 (1995).

43.	Nguyen, L. T. T. et al. Impacts of waterlogging on soil nitrification and ammonia-oxidizing communities in farming system. Plant Soil 426, 299–311 (2018).

44.	Taylor, A. E., Giguere, A. T., Zoebelein, C. M., Myrold, D. D. & Bottomley, P. J. Modeling of soil nitrification responses to temperature reveals thermodynamic differences between ammonia-oxidizing activity of archaea and bacteria. ISME J. 11, 896–908 (2017).

45.	Hao, T. et al. Impacts of nitrogen fertilizer type and application rate on soil acidification rate under a wheat-maize double cropping system. J. Environ. Manage. 270, 110888 (2020).

46.	Smith, J. L. & Doran, J. W. Measurement and Use of pH and Electrical Conductivity for Soil Quality Analysis. in Methods of Soil Analysis Online vol. 49 169–185 (Soil Science Society of America, 1997).

47.	Rogovska, N., Laird, D. A., Chiou, C. P. & Bond, L. J. Development of field mobile soil nitrate sensor technology to facilitate precision fertilizer management. Precis. Agric. 20, 40–55 (2019).

48.	Ortega, L., Llorella, A., Esquivel, J. P. & Sabaté, N. Paper-Based Batteries as Conductivity Sensors for Single-Use Applications. ACS Sensors 5, 1743–1749 (2020).

49.	Güder, F. et al. Superior functionality by design: Selective ozone sensing realized by rationally constructed high-index ZnO surfaces. Small 8, 3307–3314 (2012).

50.	Güder, F. et al. Paper-Based Electrical Respiration Sensor. Angew. Chemie - Int. Ed. 55, 5727–5732 (2016).

51.	Maier, D. et al. Toward Continuous Monitoring of Breath Biochemistry: A Paper-Based Wearable Sensor for Real-Time Hydrogen Peroxide Measurement in Simulated Breath. ACS Sensors 4, 2945–2951 (2019).