Neuromuscular Electrical Stimulation (NMES) for the Prevention of Venous Thromboembolism (VTE)

Short title: NMES VTE

Authors (family name, given name):

Ravikumar, Raveena 1

Williams, Katherine J 1

Babber, Adarsh 1

Moore, Hayley M 1

Lane, Tristan R A 1

Shalhoub, Joseph 1

Davies, Alun H1

1. Section of Vascular Surgery, Department of Surgery and Cancer, Imperial College London, Charing Cross Hospital, Fulham Palace Road, London W6 8RF.

Corresponding author:

Prof Alun Huw Davies

Room 4E04, Charing Cross Hospital,

Fulham Palace Road,

London W6 8RF,

United Kingdom.

Email: a.h.davies@imperial.ac.uk

Tel: +44 (0) 20 3311 7335

Fax: +44 (0) 20 3311 7362

Category of submission: review

Presentation information: A previous version of this study was presented at the 16th European Venous Forum meeting (2nd-4th July 2015) and Vascular Society Annual Scientific Meeting (11-13th November 2015). A repeat search has been conducted since and is submitted in this manuscript.

Abstract

Objective

Venous thromboembolism (VTE), encompassing deep vein thrombosis (DVT) and pulmonary embolism (PE), is a significant cause of morbidity and mortality, affecting 1 in 1000 adults per year. Neuromuscular electrical stimulation (NMES) is the transcutaneous application of electrical impulses to elicit muscle contraction, preventing venous stasis. This review aims to investigate the evidence underlying the use of NMES in thromboprophylaxis.

Methods

The Medline and Embase databases were systematically searched, adhering to PRISMA guidelines, for articles relating to electrical stimulation and thromboprophylaxis. Articles were screened according to a priori inclusion and exclusion criteria.

Results

The search strategy identified 10 randomised controlled trials, which were used in three separate meta-analyses; 5 trials compared NMES to control, favouring NMES (odds ratio (OR) of DVT 0.29, 95%CI 0.13-0.65; P=.003); 3 trials compared NMES to heparin, favouring heparin (OR of DVT 2.00, 95%CI 1.13-3.52; P=.02); 3 trials compared NMES as an adjunct to heparin versus heparin only, demonstrating no significant difference (OR of DVT 0.33, 95%CI 0.10-1.14; P=.08).

Conclusion

NMES significantly reduces the risk of deep vein thrombosis compared to no prophylaxis. It is inferior to heparin in preventing DVT and there is no evidence for its use as an adjunct to heparin.

(198 words)

Introduction

Venous thromboembolism (VTE), encompassing deep vein thrombosis (DVT) and pulmonary embolism (PE) is a significant cause of morbidity and mortality. It affects 1 in 1000 adults per annum1 and is responsible for 25,000 preventable hospital-related deaths2, making it the single most common cause of hospital-related mortality in the United Kingdom. DVT is associated with significant long-term morbidity due to recurrence, venous hypertension and post-thrombotic syndrome (PTS). PTS affects up to 50% of patients with proximal DVT3 and leads to venous ulceration in 5-10% of cases. The overall cost of treating VTE in the United Kingdom is estimated to be £640 million2.

VTE prophylaxis methods aim to combat venous stasis, hypercoagulability and endothelial injury; the three factors predisposing to venous thrombosis4. Pharmacological agents such as unfractionated heparin (UFH), low molecular weight heparin (LMWH) and new oral anticoagulants (NOAC) prevent the development and propagation of clots. Mechanical devices such as graduated compression stockings (GCS) and intermittent pneumatic compression (IPC) act via passive mechanisms to prevent venous stasis by applying graded circumferential pressure distally to proximally5 and increasing venous flow6, respectively.

The combination of pharmacological and mechanical thromboprophylaxis has been shown to significantly reduce the relative risk of DVT7. National guidelines recommend the use of mechanical agents such as elastic stockings and IPC in VTE prophylaxis8, 9. However, limitations of IPC include improper fitting, inappropriate use of device, peroneal nerve injury, discomfort and excessive heating under the inflatable cuffs10. Elastic stockings are associated with poor compliance and complications such as skin breaks, ulcers and blisters11.

Neuromuscular electrical stimulation (NMES) is the application of electrical impulses via transcutaneous electrodes to elicit muscle contraction either directly to the muscle belly itself, or indirectly via a nerve supplying a muscle group. Activation of lower limb muscle pumps with NMES has been shown to increase venous time averaged mean velocity (TAMV), peak venous velocity (PVV) and volume flow (VF) comparable12, 13 or superior14, 15 to IPC.

The role of NMES in venous thromboprophylaxis has been investigated since the 1960s, but did not gain popularity due to antiquated technology which only permitted its use in anaesthetised patients16. In addition, the widespread use of LMWH and mechanical devices such as GCS and IPC in clinical practice, led to a loss of interest in this technology.

Recently, the UK National Institute for Health and Care Excellence (NICE) issued a medical technology guidance (NICE MTG19) permitting the use of the gekoTM, a new and portable NMES device in patients who are not suitable for other modes of prophylaxis17. This review aims to investigate the evidence underlying the use of NMES in thromboprophylaxis.

Methods

Search strategy

The Medline and Embase databases were systematically searched on 15th February 2016, adhering to the Preferred Reporting Items for Systematic Reviews and Meta-Analysis (PRISMA)18 guidelines to identify relevant articles. The keywords used in the search string were “deep vein thrombosis” OR “deep venous thrombosis” OR “DVT” OR “venous thromboembolism” OR “VTE” AND “electric$” AND “stimulation” (Appendix 1). Human studies and English language limitations were applied. Duplicates were removed from the search. The search was augmented by manually reviewing the cited references.

Study selection

Randomised controlled trials (RCTs) assessing the application of electrical stimulation to elicit muscle contraction in surgical and non-surgical patient groups were eligible for inclusion.

The primary outcome measure was the incidence of DVT. Only imaging-proven DVT were included in the analysis. Imaging modalities included radiolabelled iodine fibrinogen uptake test (125I-FUT), venography, Doppler ultrasound, computed tomography (CTV) or magnetic resonance venography (MRV).

The secondary outcome measure was the incidence of PE. Only imaging-proven diagnosis of PE using either ventilation-perfusion scan or computed tomography pulmonary angiography (CTPA) was included in the analysis.

The analysis aimed to assess the odds ratio of developing DVT and PE with NMES compared to no prophylaxis and other methods of thromboprophylaxis including compression stockings, intermittent pneumatic compression, heparin, low molecular weight heparin and new oral anticoagulants.  Subgroup analysis comparing DVT risk reduction between surgical and medical patient groups was to be performed. Cost effectiveness analysis of NMES compared to other modalities of thromboprophylaxis would be performed to assess the cost-benefit of this treatment.

Titles and abstracts identified were screened and full text articles independently assessed according to the a priori agreed eligibility criteria stated above by two reviewers (RR and KW).

Data extraction and quality appraisal

Data extraction and assessment of methodological quality were performed independently by the same authors (RR and KW). Any discrepancy was adjudicated by the senior author (AHD). Data were extracted on study details (e.g. author, year), patient population (e.g. demographics and type of surgery), details of interventions (e.g. comparators in each arm of RCT, device data, whether device was used intraoperatively or postoperatively) and details of outcome measure (imaging modality, day imaging performed postoperatively) and duration of follow up.

Quality assessment

The quality of individual RCTs was assessed using the Cochrane Collaboration risk of bias assessment tool (Review Manager 5.3)19 by two authors (RR and KW), independently. Disagreements were adjudicated by a third reviewer (AB). The risk of bias tool consists of seven domains; random sequence generation, allocation concealment, blinding of participants and personnel, blinding of outcome assessment, incomplete outcome data, selective reporting and other bias. Each domain was graded as high, low or unclear. An overall risk of bias was assigned for each trial; high overall risk of bias for trials in which one or more domains were considered high risk, low overall risk of bias if all key domains were judged to have low risk of bias and unclear risk of bias if one or more domains were judged to have an unclear risk of bias.

Statistical analysis

The meta-analysis was conducted as part of the quantitative analysis using the Review Manager 5.3 software19. The odds ratio (OR) of DVT for each comparison group was calculated using a random effects model, using the Mantel-Haenszel statistical method. The I2 statistic was employed to quantify the statistical heterogeneity. Data on the incidence of PE related to the use of NMES were tabulated and synthesised narratively.

Results

The search strategy returned 151 articles. Additional records were identified by manually reviewing cited references. Forty-one full text articles were identified following screening of titles and abstracts. Ten RCTs provided data on imaging-proven DVT and were included for quantitative analysis. The PRISMA flow chart for the search strategy is shown in Figure 1.

Quantitative analysis

In general, reporting of trial methodology was poor. Description of blinding, randomisation technique and allocation concealment were missing in most trials. Randomisation techniques utilised pre-drawn up list20, 21, date of birth22, 23, alternate patient24, sealed envelope6, 25, randomisation table26 or computer generated27.

There was substantial clinical variation between the ten trials with respect to the patient population; general surgical 6, 20, 21, 23, 28, neurosurgical22, orthopaedic25, trauma24, 27 and non-surgical patients26 were included. In the surgical trials, NMES was used either intraoperatively6, 20-25, 28 or postoperatively27. The trials compared the incidence of DVT in patients receiving NMES to no prophylaxis20, 21, 23, 24, 28, heparin6, 22, dextran20, 21, IPC6, and as an adjunct to standard therapy25-27. Standard therapy was variable in trials with both groups receiving either heparin+IPC25, 27 or heparin alone26.

The diagnosis of DVT was determined via 125I-FUT6, 20-23, 26, 28, impedance plethysmography26, phlebography20, 21, 27 and ultrasound24, 25, 27. The protocols for 125I-FUT were variable, with pre-treatment 125I-FUT performed in some studies 6, 21, 28, but not others20, 23. The diagnostic criteria and number of measurements per limb were also variable. Phlebography20, 21, 26, 27 was used to confirm the diagnosis, but this was not performed in all patients due to technical reasons, patient choice and the greater sensitivity of 125I-FUT to detecting thrombi.

The follow up duration of the study varied between 1 day postoperative25 to 28 days26 (median 10 days). DVT was most frequently detected in the first postoperative day (53.2%), decreasing to 27.7% and 18.9% over the first 72 hours and nine days, respectively.

The variation in devices, electrical parameters and electrode placement is detailed in supplemental table 1. Reporting of electrical parameters was not standardised, precluding any meaningful comparison between the devices. Older trials utilised galvanic (direct) current, whereas newer devices used alternating current. Despite the variation in NMES devices, the underlying principle of all the devices was an increase in venous haemodynamics to prevent venous stasis. This was demonstrated in both the older trials that reported an increase in blood flow of up to 3.8 fold with intraoperative NMES21, 28 and newer trials that reported an increase in volume flow and peak velocity of up to 2.7 and 3.9 fold, respectively15. Therefore, despite device heterogeneity, calf pump output was similar across different techniques.

DVT results

Three meta-analyses were performed comparing:

- NMES versus controls (no thromboprophylaxis)

- NMES versus heparin

- NMES as an adjunct to heparin compared to heparin alone (NMES + heparin versus heparin alone).

NMES versus control

Five RCTs compared the effect of NMES to pure controls (no thromboprophylaxis). Trials involved general surgical patients20, 21, 23, 28 and trauma patients with hip fractures undergoing surgery under spinal anaesthetic24. Patients in the NMES and control group had comparable VTE risk factors (table 1). Trial methodology was weak, but sample sizes were large. Randomisation techniques used either month of birth23, alternated patients to groups24 or were not described 20, 21. As NMES was only administered intraoperatively, this was considered blinding of participant and personnel.

A total of 717 patients were included in the analysis; 309 in the NMES group and 408 in the control group. The imbalance in groups is attributed to two factors; the control group for the trial by Nicolaides et al28 was reported as number of limbs affected (56 patients, 112 limbs) as the intervention group received unilateral NMES, and the method of randomisation by Rosenberg et al23 was by month of birth, leading to poorly matched groups.

The pooled incidence of DVT in the NMES group (10.4%) was significantly lower than the control group (25.5%), with a corresponding odds ratio (OR) of 0.29 [95% confidence interval (CI) 0.13-0.65; P=.003; figure 2). However, there was no statistically significant heterogeneity across the trials (I2 =50%; P=.09).

NMES versus heparin

Three RCTs compared the effect of NMES to unfractionated heparin (UFH; 5000iu BD), with 163 patients in the NMES group and 178 patients in the heparin group6, 22, 23. Trials involved general6, 23 and neurosurgical patients22. Two trials were comparable in terms of VTE risk factors (table 2)6, 22 and the remaining trial did not provide this detail23. Once again, NMES was only administered intraoperatively and the quality of trials was a limiting factor due to randomisation techniques using the month23 and date22 of birth. Other sources of bias include failure to observe protocol23 and patient exclusion following randomisation due to complications (reason given)22.

The odds ratio of developing DVT was significantly higher with NMES compared to unfractionated heparin (NMES 23.9% vs UFH 13.4%; OR 2.00, 95% CI 1.13-3.52; P=.02) as shown in figure 3. There was low statistical heterogeneity between these trials (I2= 0%; P=.71).

NMES + heparin versus heparin alone

Three studies compared the effect of NMES as an adjunct to heparin to heparin only. Devices used in the trials were modern with no reported complications25-27. There was substantial clinical variability between trials including patient population (patients with acute spinal cord injury26, postoperative severe trauma surgery27 and intraoperative NMES during total knee arthroplasty surgery25) and duration of follow up (1- 28 days) (table 3). Trials used subcutaneous UFH only26 or either UFH or low molecular weight heparin (LMWH)25, 27.

Prior power calculations (power 0.8, α 0.05) to predict the sample size for their respective patient populations were performed for two trials25, 27. However, one trial was discontinued prematurely due to lack of funding and clinically important trends27. This was considered a risk for reporting bias.

The pooled group had 168 patients, 86 in the NMES + heparin group and 82 in the heparin only group. The odds ratio of developing DVT was lower with combination therapy than with heparin alone, but this was not statistically significant (15.1% vs 34.1%; OR 0.33, 95%CI 0.10-1.14; P=.08; figure 4). There was no statistically significant heterogeneity between the three trials (I2 =53%; P=.12).

Incidence of PE

Lindstrom reported a 19% absolute risk reduction (ARR) of PE in general surgical patients receiving intraoperative NMES compared to no thromboprophylaxis (P<.05)20.

Comparing NMES with IPC

Nicolaides6 reported a significant reduction in the incidence of DVT with IPC (4% vs 18%; P<.0025) and unfractionated heparin (9% vs 18%; P<.05) compared to NMES. However, the duration of thromboprophylaxis for each group varied; patients in the NMES group only received treatment intraoperatively, whereas the IPC group received treatment for a minimum of 72 hours or until ambulant.

Comparing benign and malignant disease

Rosenberg et al compared the effect of NMES in benign and malignant disease, reporting that whilst both NMES and UFH reduced the incidence of DVT in benign disease (ARR 18.9% and 26.3%; P<.01 and P<.001, respectively), only UFH reduced the incidence of DVT significantly in malignant disease (ARR 54.6%; P<.001).

Discussion

The results of the meta-analyses show that NMES significantly reduces the odds of developing DVT compared to no thromboprophylaxis (OR 0.29, P=.003). This result is comparable to GCS, as reported in a Cochrane review (ARR GCS vs no prophylaxis 13%)5. The meta-analysis comparing NMES to heparin showed that NMES is inferior to UFH (ARR 10.5% with UFH, P=.02) in preventing DVT. When used as an adjunct to heparin, NMES confers a 19% ARR of DVT, which is not statistically significant (P=.08). However, the results of the meta-analyses should be interpreted in the context of the limitations depicted in the risk of bias table and discussed below.

Limitations of this meta-analysis include the poor trial quality and heterogeneity in methodology, device technology and diagnostic tests. The risk of bias assessment tool rated most of the trials as high risk due to poor randomisation techniques and allocation concealment, which could lead to selection bias. Blinding of outcome assessment was only described in one trial25.

The trials included in the meta-analysis involved perioperative patients, except for Merli et al26. Whilst NMES was administered only intraoperatively in a majority of trials, other modes of thromboprophylaxis, such as IPC and heparin, could be continued for longer periods of time. This is due to the limitations of NMES technology in the early trials. However, the effect of NMES on venous haemodynamics is comparable between modern and older devices15, 21, 28. Reported limitations of current NMES devices include difficult placement of electrodes12, length of electrode-to-lead connector12, skin reactions12, discomfort due to stimulation of sensory nerves29 and multiple wire connections increasing the risk of errors27.

Paucity of trials and insufficient data precluded subgroup analysis and comparison of incidence of DVT with NMES compared to thromboprophylaxis modalities other than heparin and low molecular weight heparin. Subgroup analysis on the efficacy of NMES in DVT prophylaxis in different surgical specialities was not possible due to insufficient number of patients.

Diagnostic tests varied reflecting advances in imaging technology. A majority of trials conducted prior to 1990 employed the use of 125I–FUT6, 20-23, 26, 28. Although it is very sensitive at detecting distal DVT (84%) and allows repeat measurements, 125I-FUT lacks specificity (54%) and is poor at detecting proximal DVT30. Distal DVT is often considered less significant than proximal DVT as patients are often asymptomatic and the below knee clot is less likely to propagate, embolise or lead to PTS31. However, its management still remains controversial32.

Ascending phlebography is considered the gold standard diagnostic test for DVT, but is expensive, not easily available, technically challenging and associated with contrast reactions. It still had a high technical failure rate (25.6-45.9%)33-35 when used as the diagnostic test in the recent large multicenter trials on NOACs. Compression ultrasonograpy is widely used in clinical practice and has a sensitivity and specificity of 98% and 95% respectively for detecting symptomatic proximal DVT. However, it is operator dependent, requires a cooperative patient and is poor at detecting distal DVT (sensitivity 70%)36.

Pulmonary perfusion scintigraphy, used as the diagnostic test for pulmonary embolism, has largely been replaced by CTPA as the gold standard for diagnosis of PE, due to high sensitivity and accessibility37.

Surgery is a significant risk factor for the development of VTE, with patient and procedure related risk factors. Age, body mass index, and previous history of deep vein thrombosis warrant special caution for VTE prophylaxis. Surgical factors such as duration of surgery, sepsis, malignancy, prolonged ventilation and poor mobility are additional risk factors of VTE38. Trials have demonstrated that induction of anaesthesia causes a reduction in venous velocity16, 28. Laparoscopic surgery, in particular, has detrimental effects on venous haemodynamics as demonstrated by Jorgensen et al13.

Several trials have shown that the risk of DVT was highest in the immediate post-operative period, and diminishes with increasing mobility6, 23, 28. Therefore, although NMES was only administered intraoperatively in the older trials, this is the period when patients are at greatest risk.

Current pharmacological thromboprophylaxis methods reduce the risk of VTE by approximately 60%39. It is estimated to reduce the risk of developing a DVT from 0.30 to 0.08 in a high-risk surgical patients40. In cardiac surgery, the incidence of DVT on routine screening is 13% despite aggressive pharmacological thromboprophylaxis41. In neurosurgery, where the risk of bleeding is equally of concern, the rate of symptomatic VTE remains at 3.5%38.

Despite the limitations of the studies included, this paper provides evidence supporting the NICE guidance on the use of NMES in VTE prophylaxis for patients in whom other methods of thromboprophylaxis is contraindicated. It is inferior to heparin as a method of thromboprophylaxis. Evidence is limited for its use as an adjunct to thromboprophylaxis due to the small studies conducted using modern day devices. Large well designed RCTs would be required to assess the role of NMES in VTE prophylaxis.

Conclusion

This meta-analysis supports the use of NMES devices in reducing the risk of DVT compared to controls receiving no thromboprophylaxis. These include patients with contraindications to pharmacological thromboprophylaxis or at high risk of bleeding. Evidence for the use of NMES as an adjunct to thromboprophylaxis in perioperative patients is lacking.

Sources of funding

None.

Conflict of interest statement

The department receives funding from Firstkind and Actegy Healthy Ltd, manufacturers of neuromuscular electrical stimulation devices.

References

1.	Silverstein MD, Heit JA, Mohr DN, Petterson TM, O'Fallon WM and Melton LJ, 3rd. Trends in the incidence of deep vein thrombosis and pulmonary embolism: a 25-year population-based study. Arch Intern Med. 1998; 158: 585-93.

2.	Committee HoCH. The Prevention of Venous Thromboembolism in Hospitalised Patients. London: The Stationary Office. 2005.

3.	Baldwin MJ, Moore HM, Rudarakanchana N, Gohel M and Davies AH. Post-thrombotic syndrome: a clinical review. J Thromb Haemost. 2013; 11: 795-805.

4.	Virchow R. Gesammelte Abhandlungen zur wissenschaftlichen Medicin. Frankfurt-am-Main: Von Meidinger Sohn & Comp. 1856: 458–636.

5.	Sachdeva A, Dalton M, Amaragiri SV and Lees T. Elastic compression stockings for prevention of deep vein thrombosis. Cochrane Database Syst Rev. 2010: CD001484.

6.	Nicolaides AN, Miles C and Hoare M. Intermittent sequential pneumatic compression of the legs and thromboembolism-deterrent stockings in the prevention of postoperative deep venous thrombosis. Surgery. 1983; 94: 21-5.

7.	Kakkos SK, Warwick D, Nicolaides AN, Stansby GP and Tsolakis IA. Combined (mechanical and pharmacological) modalities for the prevention of venous thromboembolism in joint replacement surgery. J Bone Joint Surg Br. 2012; 94: 729-34.

8.	National Institute for Health and Clinical Excellence (NICE). Venous thromboembolism: Reducing the risk of venous thromboembolism (deep vein thrombosis and pulmonary embolism) in patients admitted to hospital (CG92). 2010; London.

9.	Kahn SR, Lim W, Dunn AS, et al. Prevention of VTE in nonsurgical patients: Antithrombotic Therapy and Prevention of Thrombosis, 9th ed: American College of Chest Physicians Evidence-Based Clinical Practice Guidelines. Chest. 2012; 141: e195S-226S.

10.	Lachmann EA, Rook JL, Tunkel R and Nagler W. Complications associated with intermittent pneumatic compression. Arch Phys Med Rehabil. 1992; 73: 482-5.

11.	Dennis M, Sandercock PA, Reid J, et al. Effectiveness of thigh-length graduated compression stockings to reduce the risk of deep vein thrombosis after stroke (CLOTS trial 1): a multicentre, randomised controlled trial. Lancet. 2009; 373: 1958-65.

12.	Broderick BJ, Breathnach O, Condon F, Masterson E and Olaighin G. Haemodynamic performance of neuromuscular electrical stimulation (NMES) during recovery from total hip arthroplasty. J Orthop Surg Res. 2013; 8: 3.

13.	Jorgensen JO, Lalak NJ, North L, Hanel K, Hunt DR and Morris DL. Venous stasis during laparoscopic cholecystectomy. Surgical laparoscopy & endoscopy. 1994; 4: 128-33.

14.	Williams K, Moore H and Davies A. Haemodynamic changes with the use of neuromuscular electrical stimulation compared to intermittent pneumatic compression. Phlebology. 2014; 30: 365-72.

15.	Izumi M, Ikeuchi M, Mitani T, Taniguchi S and Tani T. Prevention of venous stasis in the lower limb by transcutaneous electrical nerve stimulation. Euro J Vasc Endovasc Surg. 2010; 39: 642-5.

16.	Doran FS, Drury M and Sivyer A. A Simple Way to Combat the Venous Stasis Which Occurs in the Lower Limbs during Surgical Operations. Br J Surg. 1964; 51: 486-92.

17.	National Institute for Health and Clinical Excellence N. The geko device for venous thromboembolism prophylaxis. 2014.

18.	Moher D, Liberati A, Tetzlaff J, Altman DG and Group P. Preferred reporting items for systematic reviews and meta-analyses: the PRISMA statement. J Clin Epidemiol. 2009; 62: 1006-12.

19.	Review Manager (RevMan) Version 5.3 ed. Copenhagen: The Nordic Cochrane Centre, The Cochrane Collaboration, 2014.

20.	Lindstrom B, Holmdahl C and Jonsson O. Prediction and prophylaxis of postoperative thromboembolism: A comparison between peroperative calf muscle stimulation with groups of impulses and dextran 40. Br J Surg. 1982; 69: 633-7.

21.	Becker J and Schampi B. The incidence of postoperative venous thrombosis of the legs. A comparative study on the prophylactic effect of dextran 70 and electrical calf-muscle stimulation. Acta Chir Scand. 1973; 139: 357-67.

22.	Bostrom S, Holmgren E, Jonsson O, et al. Post-operative thromboembolism in neurosurgery. A study on the prophylactic effect of calf muscle stimulation plus dextran compared to low-dose heparin. Acta Neurochirurgica. 1986; 80: 83-9.

23.	Rosenberg IL, Evans M and Pollock AV. Prophylaxis of postoperative leg vine thrombosis by low dose subcutaneous heparin or peroperative calf muscle stimulation: a controlled clinical trial. BMJ. 1975; 1: 649-51.

24.	Goyal A, Arora S, Batra S, Sharma R, Mittal MK and Sharma VK. Role of calf muscle stimulation in the prevention of DVT in Indian patients undergoing surgeries for fractures around the hip. Indian J Orthop. 2012; 46: 542-7.

25.	Izumi M, Ikeuchi M, Aso K, et al. Less deep vein thrombosis due to transcutaneous fibular nerve stimulation in total knee arthroplasty: a randomized controlled trial. Knee Surg Sports Traumatol Arthrosc. 2014.

26.	Merli GJ, Herbison GJ, Ditunno JF, et al. Deep vein thrombosis: Prophylaxis in acute spinal cord injured patients. Arch Phys Med Rehabil. 1988; 69: 661-4.

27.	Velmahos GC, Petrone P, Chan LS, Hanks SE, Brown CV and Demetriades D. Electrostimulation for the prevention of deep venous thrombosis in patients with major trauma: a prospective randomized study. Surgery. 2005; 137: 493-8.

28.	Nicolaides AN, Kakkar VV, Field ES and Fish P. Optimal electrical stimulus for prevention of deep vein thrombosis. BMJ. 1972; 3: 756-8.

29.	Clarke Moloney M, Lyons GM, Breen P, Burke PE and Grace PA. Haemodynamic study examining the response of venous blood flow to electrical stimulation of the gastrocnemius muscle in patients with chronic venous disease. Euro J Vasc Endovasc Surg. 2006; 31: 300-5.

30.	Hirsh J, Hull RD and Raskob GE. Clinical features and diagnosis of venous thrombosis. J Am Coll Cardiol. 1986; 8: 114B-27B.

31.	Masuda EM, Kistner RL, Musikasinthorn C, Liquido F, Geling O and He Q. The controversy of managing calf vein thrombosis. J Vasc Surg. 2012; 55: 550-61.

32.	Palareti G. How I treat isolated distal deep vein thrombosis (IDDVT). Blood. 2014; 123: 1802- 9.

33.	Eriksson BI, Dahl OE, Rosencher N, et al. Oral dabigatran etexilate vs. subcutaneous enoxaparin for the prevention of venous thromboembolism after total knee replacement: the RE-MODEL randomized trial. J Thromb Haemost. 2007; 5: 2178-85.

34.	Eriksson BI, Borris LC, Friedman RJ, et al. Rivaroxaban versus enoxaparin for thromboprophylaxis after hip arthroplasty. N Engl J Med. 2008; 358: 2765-75.

35.	Lassen MR, Raskob GE, Gallus A, Pineo G, Chen D and Portman RJ. Apixaban or enoxaparin for thromboprophylaxis after knee replacement. N Engl J Med. 2009; 361: 594-604.

36.	Kearon C, Julian JA, Newman TE and Ginsberg JS. Noninvasive diagnosis of deep venous thrombosis. McMaster Diagnostic Imaging Practice Guidelines Initiative. Ann Int Med. 1998; 128: 663-77.

37.	Le Gal G and Righini M. Controversies in the diagnosis of venous thromboembolism. J Thromb Haemost. 2015; 13 Suppl 1: S259-65.

38.	Kimmell KT and Jahromi BS. Clinical factors associated with venous thromboembolism risk in patients undergoing craniotomy. J Neurosurg. 2014: 1-8.

39.	Agnelli G. Prevention of venous thromboembolism in surgical patients. Circulation. 2004; 110: IV4-12.

40.	Cohen AT, Agnelli G, Anderson FA, et al. Venous thromboembolism (VTE) in Europe. The number of VTE events and associated morbidity and mortality. Thromb Haemost. 2007; 98: 756-64.

41.	Schwann TA, Kistler L, Engoren MC and Habib RH. Incidence and predictors of postoperative deep vein thrombosis in cardiac surgery in the era of aggressive thromboprophylaxis. Ann Thorac Surg. 2010; 90: 760-6; discussion 6-8.