| Experiment | Mean across all vermifilters and phases |  |  |  |  |  | Cumulative faecal reduction1 (%) | Conversion ratio2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | COD |  |  | TCC |  |  |  |  |
|  | Influent (mg/L) | Effluent (mg/L) | Reduction (%) | Influent (CFU/100ml) | Effluent (CFU/100ml) | Reduction (%) |  |  |
| Furlong et al.,(2014) (360 days) | 4,6663 +2,848 (n=35) | 602 +326 (n=144) | 87 | 1.03 x 109 +1.01 x 109 (n=18) | 2.13 x 106 +6.12 x 106 (n=72) | 2-log10 | 97-100 | 1:0.10-0.18 |
| Experiment 1 (186 days) | 6,0003 +8,032 (n=17) | 456 +283 (n=68) | 88 | 1.02 x 109 +1.08 x 109 (n=9) | 1.23 x 106 +1.71 x 106 (n=36) | 3-log10 | 84-88 | - |
| Experiment 2 (123 days) | 5,4923,4 +5,358 (n=13) | 719 +363 (n=49) | 90 | 9.02 x 108 +1.31 x 109 (n=10) | 1.48 x 106 +1.48 x 106 (n=38) | 3-log10 | 80-83 | 1:0.09-0.19 |
| CAT Prototype (210 days) | 14,9853 +2,315 (n=9) | 830 +325 (n=20) | 94 | 8.12 x 108 +9.90 x 108 (n=5) | 1.84 x 106 +1.98 x 106 (n=17) | 3-log10 | - | - |
| Field systems (180 days) | 309 +87 (n=23) | 167 +63 (n=9) | 44 | 5.97 x 105 +2.22 x 105 (n=9) | 1.70 x 103 +6.02x 102 (n=9) | 2-log10 | 98-100 | - |

1 Reduction in the total wet mass of faeces that was added over the course of the experiment (Furlong et al., 2014)

2 Total kg of faeces added: kg vermicompost harvested at the end of the experiment (Furlong et al., 2014)

3 Influent was a suspension of the average daily mass of faeces over a week suspended in 12L of water

4Only one concentration of influent was analysed