INTRODUCTION

Clinical Cardiac Electrophysiology:

An Overview of its Evolution – 2nd Edition

David G Benditt MD FACC FHRS FESC FRCPC

Richard Sutton DSc MB BS FRCP FACC FESC FAHA FHRS  FEHRA FBHRS

MaryAnn Goldstein MD

Scott Sakaguchi MD FACC FHRS FACP

Short Title: Historical Overview

From the Cardiac Arrhythmia Center, University of Minnesota Medical School, Minneapolis, Minnesota, USA, and National Heart and Lung Institute, Imperial College London, Hammersmith Hospital, London, UK

Correspondence:

David G Benditt MD

MMC 508 420 Delaware St SE

Minneapolis, MN, 55436

Tel: 612 6254401

Fax: 612 6254937

Email: bendi001@umn.edu

Contributors

David G Benditt MD, FACC, FHRS, FESC, FRCPC

Professor of Medicine

Department of Medicine, Cardiovascular Division

University of Minnesota Medical School

MaryAnn Goldstein MD

Pediatric Electrophysiology

Minneapolis, Minnesota

Scott Sakaguchi MD FACC FHRS FACP

Professor of Medicine

Department of Medicine, Cardiovascular Division

University of Minnesota Medical School

Richard Sutton DSc MB BS FRCP FACC FESC FAHA FHRS  FEHRA FBHRS

Emeritus Professor of Clinical Cardiology, Imperial College London

Founding Editor, Europace

Hammersmith Hospital, London, UK

Clinical cardiac electrophysiology as currently practiced represents a convergence of a number of  interdependent technologies and skill sets, each with a unique (albeit occasionally overlapping) evolutionary history. Absent any one of these contributors, the clinical cardiac electrophysiologist would be less well equipped to address many common arrhythmia problems as effectively as is currently expected: 1) electrocardiography (ECG) including evolving role of artificial intelligence (AI) applications, 2) external and implantable device therapy incorporating pacing, defibrillation, and heart rhythm monitoring, 3) intracardiac recording and stimulation with ongoing innovation in catheter designs and catheter applications, 4) mapping/navigation and ablation (both epicardial and endocardial and occasionally intramyocardial), intracardiac ultrasound imaging (ICE) and evolving magnetic resonanace techniques, and 5) autonomic testing and modification, and 6) pharmacologic and autonomic therapies including antiarrhythmic drug therapy and advances in anticoagulation.

This survey is designed to both provide readers with an overview of the evolution of each of these aspects of modern clinical cardiac electrophysiology practice, and to illustrate how they interact to facilitate current clinical cardiac electrophysiology practice.  We also take this opportunity to honor a number of the ‘greats’ of our field who have passed;  their contributions should be recognized for having formed the foundations of current practice and their work merits careful review and appreciation by modern practitioners.

Inevitably, space and time preclude providing a comprehensive review of  subjects that evolved over more than 100 years, encompass contributions from throughout the world, and emanate from the effort and insight of scientists, engineers, clinicians and, often, volunteers and patients too numerous to mention.  Unfortunately, in many cases the origin of seminal work remains controversial.  As a result, some readers may differ with our interpretation of the cited events.  Nevertheless, our primary goal is to provide a reasonable perspective that will enhance appreciation of the more detailed and focused chapters to follow.

1. Electrocardiography

Electrocardiography (ECG) remains the essential foundation of modern clinical cardiac electrophysiology.  It was the desire  to better understand ECG findings that led to intracardiac electrode catheter studies of the cardiac conduction system and mechanisms of arrhythmias.  Only then was it possible to develop current pharmacologic, interventional, and  surgical treatment of arrhythmias.

The study of the heart rhythm, and occasionally its disturbances, dates back many centuries.  Descriptions of the pulse examination are found dating from the 16th century BC in Egypt, the 8th century BC in China, and the 3rd century BC in Greece (including notable observations on irregular pulses by Galen in the 2nd century AD) (1).  However, it was not until the second half of the 19th century that recordings of the heart's electrical activity from the body surface set the stage for the modern era of heart rhythm analysis and treatment.

Augustus Waller (1856-1922) is credited with recording the first cardiac body surface ECG tracing (2).  Waller was born in Paris in 1856, but ultimately became professor of physiology at the University of London, and made his landmark recordings at St Mary's Hospital, London, in 1887. St Mary's Hospital remains a busy medical facility (Figure 1), and continues to be notable for contributions to heart rhythm study and care.  Waller is also credited with popularizing the term 'electrocardiogram' for English usage (Willem Einthoven (1860-1927) had used it as early as 1905, but in Dutch [3]) when he used it in the title of a 1917 paper presented before the Physiological Society of London ("A survey of 2000 Electrocardiograms").  In any case, despite Waller's important contributions, the birth of modern electrocardiography is credited to Einthoven, working in Leiden, in The Netherlands (3,4).  Einthoven began work on ECG recording in the mid-1890s using methods similar to those used by Waller, but it was his subsequent development of the string galvanometer, and his publication of the method in 1903, that ultimately made ECG recording accessible to clinicians. Additionally, Einthoven innovated the lettering code still used for ECG description (P,Q,R,S, T), and described the use of the bipolar limb leads and the so-called Einthoven triangle, a concept that continues to be used by modern electrocardiographers to describe ECG features.  Einthoven received a Nobel Prize for this work in 1924.

In Britain at about the same time Sir James Mackenzie (1853-1925) was perhaps the first individual to make recordings of the pulse directly (using a device of his own invention) and document atrial fibrillation (from which he himself suffered). Mackenzie was born in Scotland and trained in medicine in Edinburgh, but primarily practised in England, finishing his career as a noted cardiac specialist in London. His work was internationally recognized. Unfortunately, Mackenzie suffered from angina for many years, and died of ischemic heart disease (probably an acute myocardial infarction) documented at autopsy undertaken by Sir John Parkinson.

Perhaps the most important contributor to electrocardiography and arrhythmia analysis in the first half of the 20th century was Sir Thomas Lewis (1881-1945) (Figure 2A).  Working in London in the 1920s and 1930s, Sir Thomas was both an experimentalist as well as clinician and in 1937 became first president of the British Cardiac Society. His publications comprise numerous scientific papers related to heart rhythm analysis, along with several books, each of which is considered a classic.  In particular, his landmark book 'The Mechanism and Graphic Registration of the Heart Beat' remains not only a collector’s item (Figure 2B) but, more importantly, an exceedingly insightful teaching tool for even the modern interventional electrophysiologist (5).  The concept of the ladder diagram to analyze cardiac conduction and arrhythmias is derived from Sir Thomas's approach to the evaluation of cardiac arrhythmias.

In terms of electrocardiography in America, Paul Dudley White (1886-1973) is reputed to have established the first ECG laboratory in the US in 1914 after spending a year in London learning from Sir Thomas.  However, while widely regarded as one of America's most important cardiologists from the 1920's until his death in 1973, his most evident contribution to electrocardiography was the publication in 1930 (along with Louis Wolff of Boston, and English cardiologist John Parkinson) of the manuscript describing Wolff-Parkinson-White (WPW) syndrome (6). This condition ultimately became the Rosetta stone for cardiac electrophysiologists attempting to understand re-entry as a basis for clinical tachyarrhythmias in the human heart. At approximately the same time (1933) as the publication of the description of WPW syndrome, Frank N Wilson (1890-1952), working at the University of Michigan, introduced the unipolar chest leads using the 'Wilson terminal' as the ground for each electrode, also a concept which remains in use everyday in ECG laboratories (7).

During the 1930s and through the period of the 2nd World War, the study of cardiac arrhythmias using the ECG gradually migrated from Europe to the United States in large part due to the exodus of scientists from Europe during this time period.  Many important names could be listed here, but perhaps the most notable of these were Alfed Pick (1907-1982) and Richard Langendorf  (1908-1987) (importantly backed by Louis N Katz, one of the most influential cardiologists of his day). Both Pick and Langendorf were alumni of the University of Prague (studying under the noted electrocardiographer and arrhythmologist Max Winternitz (1900-1952, who died of coronary artery disease at a young age) and worked there together prior to the 2nd World War.  Langendorf escaped to the United States in 1939.  Winternitz made his way to the UK where he stayed during the war, returning to Czechoslovakia afterward.  Pick and his wife remained on the continent during World War II and suffered considerably in concentration camps, but both fortunately survived.   In the late 1940s, with the help of Drs Langendorf and Katz, both Drs Pick arrived in the USA, with Alfred Pick joining Katz’s program at the Michael Reese Hospital in Chicago (later incorporated into the University of Chicago programs). Numerous anecdotes surround these individuals. The stories begin with those related to Langendorf's efforts to 'recruit' Pick out of war-torn Europe, while other more recent vignettes date from the 1960's and 1970s when it was generally understood at major scientific meetings, that nobody stood to ask a question after an arrhythmia abstract presentation until Dr Pick had had an opportunity to do so.  Everyone in the room waited patiently except, of course, the worried speaker. Additionally, many of the now most senior clinical cardiac electrophysiologists will clearly recall their personal stories surrounding the trepidation associated with being called to the front of the room to analyze 'unknown' ECGs (with very thick [and frustrating for the modern ECG reader] noisy baselines characteristic of older ECG recorder systems) during the annual Pick-Langendorf  'Interpretation of Cardiac Arrhythmias' course held at Chicago's Michael Reese Medical Center (usually in the depths of winter). This was the original interactive teaching course and ran for approximately 25 years (ending in 1980). The Pick-Langendorf course is reasonably considered the precursor of the subsequent (and comparably anxiety provoking) teaching course lead until recently twice each year by Mark Josephson (1943-2017, Philadelphia and Boston, USA) and Hein Wellens (1935-2020) Maastricht, The Netherlands), two of the most important modern cardiac electrophysiogy teachers, both unfortunately now deceased.  The tradition of the latter course has since been maintained by two Duke alumni, Eric Prystowsky (Indianapolis, IN) and George Klein (London, ON)

Pick and Langendorf's insightful analyses of complex arrhythmias using only the surface ECG and their intellect were remarkable.  Among the many, at the time, novel concepts that they derived from their studies of complex arrhythmias were: 'concealed conduction' (now recognized daily in clinical electrophysiology practice), the presence of non-conducted His bundle extrasystoles (a rare event, but usually good for one question on clinical electrophysiology board examinations), and the presence of 'mother' and 'daughter' waves in atrial fibrillation.  In regard to the latter point, the concept of 'mother' and 'daughter' waves remains a topic of interest in the world of atrial fibrillation ablation ("In fibrillation, the mother circus ring is still supposed to be present, but its diameter is shorter, and the pattern of both its path and and that of its daughter impulses is variable" [8, p406]).

In later years, intra-cardiac recordings substantiated most of Langendorf's and Pick's insights, providing evidence of their brilliance.  Their work is summarized in a 1956 classic textbook by Professors Katz and Pick, which is an extension of an earlier 1941 volume by Katz; the 1956 book is difficult to find, but very much worth the effort (8) (Figure 3).

The 1950s and 1960s was an era in which the spread of ECG technology inevitably resulted in a widening of academic study of the ECG, and analysis of atrioventricular (AV) conduction disturbances (including bundle-branch block) and various tachyarrhythmias.  Further, interest in the prognostic implications of ECG findings fueled the novel incorporation of ECG records (never officially used before, even in the selection of aircrew during the 2nd World War) into major epidemiological enterprises exemplified by the Framingham study (initiated 1948), and the University of Manitoba Heart Follow-up study (begun in 1946). These have been followed in more recent times by large epidemiologic studies such as the NIH sponsored Atherosclerosis Risk in Comunities (ARIC, 1987) that continue to monitor ECG observations.

During the 1950s and 1960s, Mauricio Rosenbaum (1921-2003), working in Buenos Aires, contributed the concept of 'hemiblocks' (also termed fascicular blocks, 1967) (9), Francois Dessertenne in France introduced 'torsades de pointes' (1966) for a unique form of ventricular tachycardia the spelling of which continues to create confusion (Figure 4) (10), and Leo Schamroth (1924-1988), a Belgian by birth who spent his productive career in South Africa, published perhaps the most extensive treatises on the ECG evaluation of cardiac arrhythmias, summarized in his comprehensive 1971 book  (11). These latter works are unfortunately less well known to current generation cardiologists and electrophysiologists in the USA than they ought to be;  USA clinicians are much more familiar with the teachings of Henry Marriott (1917-2007), Schamroth's American intellectual competitor,  a native of Bermuda and Rhodes scholar who trained in the UK (including a stint working with Sir Alexander Fleming of St Mary’s Hospital, London, on penicillin research) (12).

In the mid-1980s (and remaining a challenge today), investigators began to scour ECG recordings and technologies with the goal of contributing new insights into the increasingly recognized problem of sudden cardiac death risk (for example 13-15). To this end, a variety of ECG recording techniques were explored including the signal-averaged ECG (SAECG), heart rate variability (HRV), microvolt T-wave alternans, and heart rate turbulence.  Unfortunately, none of these methods has yet to meet expectations in terms of positive predictive value for identifying high-risk individuals.

The most recent evolution in ECG recording and analysis has been application of computer-based methods for ECG reading and reporting. Over approximately the past 3 to 4 decades computer systems have become ubiquitous in hospitals and clinics. In these settings they have been principally used for interpreting conventional  12-lead ECG recordings, with subsequent physician over-reading for quality control. The success of conventional computer-based ECG analysis is facilitated by the fact that 12-lead ECG recordings are typically obtained in supine ‘electrically quiet’ patients.  However, the ‘noise’ landscape is changing.  Increasingly implanted therapeutic devices such as  left ventricular assist devices [LVADs], muscle and brain stimulators generate signals that undermine conventional computer interpretation capabilities (Figure 5). Similarly, as ambulatory ECG recordings have become ubiquitous, ECG interpretation is more challenged by the  ambient electrical and mechanical noise of the outside world.  Clearly, more sophisticated computer methods are needed to deal with such challenges.

Artificial Intelligence (AI) algorithms go beyond computer-based pattern recognition and identify non-linear relationships and high-order interaction among multiple variables (16-18).  Particularly intriguing is the potential for AI to identify and learn subtleties that are not readily evident to human ECG readers.  For example, using AI, a computer learned to identify on the basis of a standard 12-lead ECG alone patient gender with 90% accuracy, and age with an average error of 6.9 ± 5.6 years (19).  Similarly, on the basis of 12-lead ECGs, AI has shown potential to identify patients with hypertrophic cardiomyopathy or to estimate plasma levels of the antiarrhythmic drug dofetilide (20,21), and is being evaluated to ascertain the likelihood of underlying ischemic heart disease that may warrant emergent revascularization.  In essence, applying AI techniques to ECG interpretation may improve our ability to identify high-risk patients and/or direct diagnostic and treatment strategies.

One of the immediate challenges that AI may mitigate is the processing of ambulatory ECGs.  Current systems automatically interpret these ECGs but still require physician over-reading.  Monitoring patients in intensive care units may also be a reasonable AI target.  With greater use of implantable loop recorders and increasingly popular direct-to-consumer ECG monitors available on smartphones and smartwatches, human over-reading of ECG data may be overwhelmed by data collection.

By the mid-1980s, surface-recorded ECG analysis began to be supplemented with the development of intracardiac and intraoperative electrogram recordings and initial forays into cardiac activation mapping. However, before proceeding with that aspect of clinical electrophysiology, we should alter course somewhat in this history to introduce the temporally parallel efforts beginning in the 1950s that resulted in the birth of device-based therapies for treatment of cardiac rhythm disturbances

.

2. Device Therapy: Pacing, Defibrillation and Monitoring

The development of a totally implantable system capable of reliably stimulating a heart that, left on its own, has an inadequate intrinsic rate, is reasonably considered the threshold defining the historical origin of 'implantable device therapy'. This time point is best assigned to 1958 when the first totally implanted pacing system was placed by a team led by Åke Senning (1915-2000), the surgeon, and Rune Elmqvist (1906-1996), the engineer designer, in Sweden  (22-24).  Despite the fact that the first implant was effective only for a few hours and necessitated immediate replacement, it was a landmark achievement nonetheless (Figure 6).  The patient survived for over 40 years and became a well-known personality in medical circles, including being a frequent guest at events sponsored by many of the major pacemaker manufacturers, whose devices he ultimately wore.

Subsequent to the initial application of the basic fixed-rate, non-programmable, asynchronous short-lived implantable pacemakers, the evolution of implantable devices progressed rapidly to provide increasingly more physiologic pacemaker capabilities with longevities exceeding a decade, the ability to terminate tachycardias by rapid stimulation methods, cardioversion and defibrillation capability, long-term diagnostic monitoring, and most recently, hemodynamic support.  The history of this evolution is complex and can only be briefly summarized here.

Early development

Controversy remains regaring the ‘inventor’ of the cardiac pacemaker.  In Australia, this destinction is usually assigned to Mark C Lidwill (1878-1969) an anestehetist in Sydney, who used his device to resuscitate a newborn in approximately 1929.  Lidwill’s efforts were in fact recognized by Alfred Hyman  (1893-1972) who is generally accorded credit for the earliest practicable electrical cardiac stimulator. Hyman, who incidently was the last American trainee of Sir James Mackenzie in London, was working in New York in the early 1930's and developed a portable electrical clock-generator that successfully stimulated hearts in an experimental setting by means of a transthoracic needle. Hyman also seems to have been the first to coin the term 'artificial pacemaker', and did report its use in a patient (22,25). The stimulus was applied to the right atrium via a transthoracic needle. The device was intended for use during resuscitation but it use aroused considerable adverse criticism and the experiments were abandoned.  Clinical use remained sporadic, and scientific clinical studies were never initiated in part due to the intervention of World War II.

The late 1940s witnessed increased interest in cardiac stimulation during surgery.  Among the more prominent contributions at the time was the work of Bigelow, Callaghan and Hopps in Toronto, who stimulated the right atrium by a transvenous approach during open-heart surgery using a device powered from a wall outlet (22,24). The electrode was bipolar and proved to be the forerunner of today’s stimulation leads.  Unfortunately, they apparently had not considered, or did not report,  stimulating the heart from the ventricles.

In the early 1950s, Paul Zoll (1911-1999) succeeded in pacing the heart by using two external skin-mounted chest electrodes connected to an external pacemaker (22,26).  He also is credited with raising interest in defibrillation. An external defibrillator/pacer was built shortly thereafter in Paris by Fred Zacuto.

Despite its evident importance, Zoll’s work raised controversy (27 see Cakulev and Waldo, Circulation 2015). In regard to pacing, there was apparently conflict with the Canadian inventors noted above who, some say, showed Zoll the way. As to Zoll’s role in defibrillation, it has been argued that a Russian team, most importantly Naum Gurevich and colleagues under the direction of Professor Lina Stern (2nd Medical University, Moscow), paved the way in the 1930’s with publications in English in the late 1940’s.  Further, Zoll’s efforts and those of William Kouwenhoven (born in Brooklyn, studied in Germany, 1886-1975)  appear to have run in parallel. Kouwenhoven worked primarily at Johns Hopkins and has been considered “The Father of Cardiopulmonary Resuscutation”. In any case, controversies aside, the transcutaneous pacing concept remains available today as part of a comprehensive external cardioverter-defibrillator system in which the cutaneous electrodes offer back-up pacing capability.  However, the transcutaneous pacing feature which Zoll apparently thought was sufficient for cardiac pacing is now little used except in the direst of bradycardic emergencies.  Transcutaneous pacing tends to activate skeletal muscles and pain fibers as well as initiate skin inflammation, thereby having the potential for causing considerable discomfort.

Bernard Lown MD [1921-2021] working with the innovative pioneer bio-engineer Barouh V Berkovitz (1926-2012) in Boston has been similarly criticized for not acknowledging the Russian contribution to defibrillation (28 see Cakulev et al, Circulation 2009). Nevertheless Lown and Berkovitz made many important observations regarding optimum cardioversion (i.e., using a synchronized shock – term for which Lown is credted as coining) and DC defibrillation methodology.

Fortunately, the need for widespread use of transcutaneus pacing was short-lived. In August 1958, Seymour Furman (1932-2006), then a surgical resident at Montefiore Hospital, Bronx, New York, (and later [1979] one of the founding members of the North American Society of Pacing and Eletrophysiology, now the Heart Rhythm Society along with Victor Parsonnet, J Warren Harthorne, and Dryden Morse ) introduced a transvenous electrode into the right ventricle and succeeded in stimulating the heart for 96 days (29), but once again the pacemaker required power from a wall socket source.  Meanwhile, in the same year and in part triggered by the need to maintain pacing despite power outages, C Walton Lillehei (1918-1999) and Earl Bakken (1924-2018) at the University of Minnesota, used for the first time a battery powered transistorized external pacemaker (22, 30) (Figure 7). It was also in that same year, as noted previously, that Senning and Elmqvist performed the first pacemaker implantation using an epicardial lead.

Initial Evolution of Implantable Pulse Generator

The early developments in cardiac pacing substantially improved the prognosis of patients with surgically-induced complete heart block and ultimately other individuals with life-threatening bradycardias.  However, the first implantable devices offered only asynchronous fixed-rate pacing, meaning that they were incapable of sensing any intrinsic cardiac electrical activity, and had very limited longevity (often measured in months). Throughout the early development of cardiac pacemakers, battery longevity remained a major limitation.  The 1958 pacemaker designed by Elmqvist (see above) had an inductive recharging circuit for non-invasive recharging of nickel-cadmium batteries (22,23).  While rechargeable devices were conceptually interesting (e.g., the Pacesetter Inc rechargeable device of the early 1970s), the battery technology at the time provided insufficient stimulation device longevity.  In addition, the idea that elderly and infirm patients should be responsible for frequently recharging their potentially life-saving pacemaker was probably neither prudent nor welcome by the patients; apart from the obvious inconvenience, the weekly (or even more frequent) re-charging process reminded patients of their dependance on technology and their inevitable mortality   Indeed, even with modern advances in rechargeable batteries, this concept remains essentially untested.  Meanwhile, William Chardack MD (1907-2006) and Wilson Greatbatch (1919-2011) were adopting mercury-zinc batteries, routinely used by watchmakers, for use in pacemakers (22,31).  Mercury-zinc technology offered about one-year longevity (later increased to about 2 years) without a need for recharging. These batteries were primarily mounted in epoxy cast pacemakers that had enough porosity to permit dissipation of the hydrogen gas that they produced.  Unfortunately, at the same time, epoxy allowed body fluids to access circuitry causing precipitous pacemaker system failures.

In 1970, a nuclear-powered implantable pacemaker with a 20-year or longer expected longevity was introduced (32).  However, this concept caused problems of potential release of radioactivity, ultimate issues with device disposal, potential inconvenience for travel by pacemaker wearers during the Cold War.  Furthermore, batteries with a lifetime in excess of 20 years prevented patients from taking advantage of the progress in circuit technology.  Consequently, following introduction in 1972 of lithium-iodine battery technology (33), which offered the potential for service lifetimes greater than a decade, and with a reliable and predictable battery depletion patterns, all former power sources became obsolete; lithium-iodine cells remain the principal energy source for modern pacing devices

The introduction of pacemakers that could sense and thereby pace only when needed (so-called 'demand' pacemakers) had been the subject of study as early as the mid 1950s (e.g., an external 'demand' system was used by Aubrey Leatham (1920-2012, previously also a trainee with Sir John Parkinson at the National Heart Hospital in London) and colleagues (34), but did not become available for implantation until the early 1960's. Despite the earlier work of others, the so-called 'demand' pacemaker is attributed to the previously mentioned engineering innovator Barouh V Berkovits (another Prague emigre) who pioneered the application of this feature in implantable devices (35,36) winning a patent legal case against Leatham's technologist Geoffrey Davies (1924-2008).  The 'demand' innovation not only reduced power consumption, but also diminished the possibility (albeit very small) of a pacing stimulus falling on the so-called cardiac 'vulnerable period' (more or less the peak of the T-wave) and triggering a tachyarrhythmia. Berkovits also pioneered the first dual-chamber pacemaker (called 'bifocal' by him at the time) (35,36).

Pacing Lead Development

Despite innovations in achieving transvenous access and endocardial stimulation, the transvenous approach for cardiac pacing was limited by instability of the leads and their tendency to fracture.  On the other hand, the favored epicardial technique had its own problems, particularly the tendency for pacing threshold to rise over time requiring implantation of high-output large devices.  Additionally, epicardial lead longevity was a major problem particularly due to conductor failure.

Ultimately, endocardial leads incorporated multi-filar coiled wire designs that yielded more robust conductors capable of withstanding many years of repetitive flexing.  Further, by the mid-1970s tined-tip leads (innovated by Paul Citron MS, Medtronic Inc), providing a means to engage the trabeculae lining the right ventricle, became commercially available (37) .  In combination, these innovations increased average lead longevity to roughly parallel or exceed that of the lithium-iodine power source, and reduced acute endocardial lead dislodgement rates from approximately 10% to 1% . Consequently, the endocardial approach for permanent pacing became the dominant technique; compared to epicardial pacing, endocardial pacing offered a less invasive approach, the possibility of being undertaken without general anesthesia, the ability to be done in centers without cardiac surgery services, and improved pacing thresholds and lead longevity.

Initially, endocardial leads were introduced via surgical cut-down over the cephalic vein in the delto-pectoral groove.  This method is still favoured by some implanters but has the limitation of being difficult to place more than one lead due in part to the small size of the vein and also due to the multiple leads rubbing on each other during the implantation procedure. Consequently the percutaneous puncture of the subclavian vein gradually became predominant in the late 1980s and early 1990s. This method made the implantation procedure quicker and easier, but introduced its own problems including pneumothorax (due to inadvertent puncture of the lung during venous access) and insulation and conductor damage where the lead[s] passed through the tough subclavian ligament / subclavius muscle which acts as a fulcrum resulting in vigorous flexion with every respiratory cycle or with physical exercise.  Direct puncture of the axillary vein over the first rib, pioneered at the University of Minnesota (38), has largely obviated these problems associated with subclavian vein access.

In addition to changes in vascular access, at about the same time bipolar pacing leads became increasingly popular. The move away from unipolar pacing permitted detection of spontaneous cardiac signals with less risk of inappropriate detection of non-cardiac signals (particularly skeletal myopotentials which were notorious for causing inappropriate pacing stimulus inhibition) (39,40). The value of bipolar sensing was instrumental for facilitating safe sensing in the atrium where spontaneous signals tend to be of low amplitude (compared to the ventricles) and the amplifier sensitivity setting must often be greater than in the ventricle (i.e., increasing risk of sensing undesirable extraneous signals).

Pacing lead development is a substantial topic unto itself and is discussed in more detail below.  In brief, lead design has been marred by a number of technical issues,  and leads remain the ‘Achilles heel’of pacing systems. In particular, lead insulation has been an ongoing issue for design teams. Silicone insulation required substantial thickness to be effective thereby taking up space in the vascular system, and the nature of the silicone surface made it difficult to slide leads side-by-side. Polyurethane insulation is inherently stronger and more lubricious (i.e., permitted multiple leads to slide better)  but has had issues with longevity due to metal-ion oxidation and environmental stress cracking. The outcome has been very innovative engineering approaches over the years, that have ultimately resulted in highly reliable systems.

Later Pacing System Developments

Important technical developments during 1970s substantially improved pulse generator reliability, longevity and safety.  Most notable among these innovations were hermetic sealing, lower power hybrid circuit technology, and improved component protection (22,41). Credit for these advances is difficult to assign; scores of engineers and scientists working in many countries and with all device manufacturers contributed hundreds of refinements thereby making the promise of increasingly reliable and and more widely available implantable devices a clinical reality.

Hermetic sealing obviously protected circuitry from disruption by seepage of biological fluids that had been a major problem associated with earlier pulse generators. Hybrid technology, as opposed to use of discrete components, was especially critical in terms of simplifying manufacturing, reducing power consumption and thereby substantially increasing the number of potential pacemaker functions without compromising service life or increasing size. Further, protection was incorporated to diminish adverse impact on device operation of strong external electric fields (e,g,. defibrillator shocks, surgical cautery) and to prevent pacing at excessively high rates (so-called 'run away'), a condition that had been occasionally encountered with certain component failures.  In sum, reliability improved, size was reduced, longevity increased and the base of potential implanting physicians was broadened as devices became more readily implanted in the pre-pectoral region with leads passed via direct puncture of the subclavian or axillary veins.

Throughout the late 1970s and 1980s, many pacemaker features were added as electronic design and manufacturing became more efficient.  Of these the development of transcutaneous telemetry communication has become invaluable.  This advance allowed testing and programming of the pacemaker to better understand and often overcome pacing problems, and allow for more effective device follow-up care. Difficulties with sensing or high pacing thresholds could often be overcome by reprogramming alone.  Among other innovations that were incorporated into devices, it now became possible to deal with the complex problem of providing more physiological pacing modes.  Thus, despite earlier work with atrial sensing and ventricular pacing by Moses Judah Folkman (1933-2008) in the late 1950s in Boston (of note, he became more famous for his work in cancer research and ultimately was elected to the National Academy of Sciences), and David A Nathan in Florida in the early 1960s  (41), it was only as a result of the technical advances in the mid-1970s that implantable rate adaptable devices (initially VDD mode) appeared.  Thereafter, the even more advanced DDD pacing mode became feasible; a concept introduced in 1977 by the German physician/surgeon Hermann Funke  (he termed it the 'Universal pacemaker') (42). The first implants of commercially available DDD systems in humans took place in Europe in the late 1970s.

As pacing systems evolved, so did the types of conditions for which they were prescribed.  Whereas the earliest devices focused on treatment of excessive bradycardia in patients with complete heart block, the physician community gradually recognized the importance of pacing in other conditions, particularly sinus node dysfunction (initially termed 'sick sinus syndrome' as coined by Lown).  In fact, by the mid-1980s, sinus node disease surpassed AV block as the largest single pacemaker indication in the USA.  In that setting, it soon became evident that that 'atrial tracking' (i.e., triggering the pacemaker rate based on the native 'sinus rate') was not always the optimum method for providing heart rate response, as many patients exhibited severe chronotropic incompetence.  Consequently, the concept of sensor-based rate-adaptive pacing emerged with the objective of providing a more reliable heart rate response.

In 1981 Anthony (Tony) F Rickards  (1945-2004) (43) conceived the idea that pacing rate could be controlled by detection of the duration of the stimulus-T interval, which is analogous to the QT interval and reflects the prevailing catecholamine drive to the heart.  However, while a pacemaker based on Rickards' concept was offered commercially, a competitive piezoelectric sensor system introduced in 1983 and based on the work of Ken Anderson and colleagues (44,45) was simpler and reasonably effective although not as physiological, and became more widely adopted (Figure 8). In essence, pacing rate was adjusted based on the degree of vibration induced in the sensor by body movement (i.e., activity).  While this method has many limitations, and initially met with scepticism among businessmen (and some physiologists) it was readily understood by pacing physicians and became highly successful in the marketplace.  Some years later, in the early 1990s, the vibration concept was modified into an accelerometer configuration.  The accelerometer sensor remains the most widely used today (although occasionally partnered with other sensors, particularly a minute ventilation sensor).  The ‘closed loop’ sensor system using changes of local impedance in the vicinity of the ventricular pacing lead to estimate myocardial ‘contractility’ and right ventriculr volume (CLS pacing system, Biotronik, Berlin, Germany) has also proved to be highly effective for pacing in selected patients with refractory vasovagal syncope (VVS), and to reduce atrial tachycardia burden in susceptible patients. Other sensor technologies, apart from the stimulus-T method discussed above, were also introduced in the mid-1980s, but none were to achieve success comparable to that of the piezoelectric 'activity'/accelerometer sensor or more recently CLS.  These sensor technologies included, temperature-based pacing, a respiratory rate or tidal volume sensor, an oxygen sensor, and a ventricular pressure (dP/dt) system. (45).  Currently, sensors for rate-adaptive pacing are the norm in modern pulse generators.  The use of more than one complementary sensor system within a device is not uncommon.

As pulse generators became smaller and multiple pacing leads (primarily one atrial and one or two ventricular) became routine, there was need for lower profile leads with slippery surfaces that permitted pacing leads to more readily pass over each other.  Silicone rubber, the material of choice up to that time, did not have sufficient slipperiness and had relatively low tear strength (i.e., was easily damaged, and the tougher silicone rubber now in use was not available at the time) (38). In addition, the manufacturers of silicone were contemplating stopping production, in part due to fallout from the silicone breast implant litigations prevalent in the early 1980s.   Consequently, in this setting polyurethane insulation seemed optimal (46).  Polyurethane (particularly those known as 80A and 55D) offered toughness and slipperiness along with the possibility of lesser thickness allowing lesser cross-sectional diameter.  The 80A form proved more flexible than 55D and was initially the most widely used for leads; unfortunately, however, the biostability of 80A was later found to be an issue with resulting insulation defects and loss of pacing function. Later forms of polyurethane along with tougher silicones have largely resolved this issue.

Optimizing the electrode-myocardial interface has been a longstanding challenge for pacing lead manufacturers (47). Throughout the early years of endocardial pacing the stability of pacing leads was a substantial concern.  As many as 10 or more percent of implants required re-do procedures as a result of acute lead dislodgement. As alluded to earlier, in order to address this problem, in the mid-1970s, tines were added at the end of conventional endocardial leads to enhance passive fixation (37). The use of tines proved to be very effective in the ventricle, but even more secure methods were sought for atrial applications. Exposed and 'sugar-coated' screws (mannitol coated ‘sweet-tip’) were available but many physicians were reluctant to use them as manipulating the lead to prevent the ultimately exposed screw required particular skill. In approximately 1977, Bisping introduced a sheathed retractable screw electrode that superseded the previously available fixed unsheathed screws for fixation (48). Over the next decade the retractable screw technology evolved and now this type of 'active' lead fixation remains very popular; all manufacturers offer a version of it.  Active fixation permitted placement of leads effectively anywhere in the right ventricle, and importantly it facilitated obtaining stable atrial sensing and pacing.  More recently, such leads have also permitted introduction of His bundle and left bundle-branch pacing, techniques that are touched upon below.

In 1983 steroid eluting leads were introduced in order to limit the endocardial inflammation and consequent rise in pacing threshold associated with newly placed pacing leads (47, 49). Ken Stokes, a Medtronic scientist, deserves much of the credit. This innovation essentially eliminated early and late threshold rise at lead-tissue interface, and was particularly important in pediatric patients in whom exit block at the electrode-myocardium interface had been a common clinical problem. Finally the tip electrode surface received considerable attention in the 1980s (49).  Specialized coatings enabled small electrode tips to have in effect much larger surface areas.  The results were lower stimulation thresholds (less energy drain) and better sensing.

Among the important developments in pacing in the late 1980s and early1990's was introduction of uniform standards for lead and generator connections to permit interchangability among devices and manufacturers [IS-1 and DF-1}.  Obtaining industry-wide agreement among vigorous competitors to develop such a standard must be considered in itself an impressive achievement.  Further modifications leading to ‘in-line’ lead-connector design were introduced in 2011 was 2000’s was introduction of a standard lead connector and header configuration [IS-4 standard for low voltage devices; DF-4 for debrillators] (50).  The in-line bipolar system standard allowed marked reduction in the size of the header and thus the overall pulse generator profile.

Later in the 1990s and in the first years of this century, devices became increasingly capable of monitoring internal and external operation.  Thus, it is now routine to be able to assess the frequency of atrial and ventricular pacing, battery longevity, lead impedances, frequency of detected tachyarrhythmias, and most recently, assessment of trans-pulmonary electrical impedance as a marker of evolving volume overload (usually as the result of worsening heart failure) (51,52).  Further, advances in transcutaneous telemetry allow device interrogation and reprogramming from out of the operative field, and also allow complete trans-telephonic evaluation of the pacing system from home, thereby not only reducing the number of necessary patient trips to the follow-up clinic but also offering the possibility of reducing unnecessary defibrillation shocks. by reprogramming implanted defibrillators.

Apart from technological advances, recent cardiac pacing practice has been characterized by development of clinical guidelines from major professional societies, large clinical trials aimed at establishing an evidence base for appropriate device indications and mode selection (53-55) and the introduction of novel pacing sites.  In particular, clinical trials revealed that 'over-pacing' of the right ventricle should be avoided in order to preserve ventricular function over the long-haul (55).  Instead, biventricular pacing (or even left-ventricular based pacing) using the coronary sinus to access the left ventricular wall was shown to improve cardiac function in patients with systolic heart failure (so-called cardiac resynchronization therapy or CRT) (57-62).

The concept that biventricular/left ventricular pacing might improve cardiac performance began to be studied long before the first clinical publications of the 1990s.  The earliest studies date from the beginning of the 1970's led by G Frank Tyers, a native of British Columbia  (64,65), then working in the Philadelphia, Derek Gibson and colleagues in London, UK (66), and a few years later by researchers under the direction of  DeTeresa in Madrid (67) and Hochleitner and colleagues in Innnsbruck, Austria (68).  However, at the time, technology limited the ease with which left ventricular leads could be placed and kept stable. In 1994, Serge Cazeau and associates working in St Cloud near Paris provided the first clinical report of cardiac resynchronization therapy (58).  Thereafter, the technique rapidly gained momentum.  Jean-Jacques Blanc (Brest, FR) and Claude Daubert  (Rennes, FR) in France and Angelo Auricchio in Germany were among the early contributors to a substantial wave of literature using CRT to improve cardiac hemodynamics. Subsequently, a series of large randomized controlled trials confirmed the value of CRT. The outcomes of MUSTIC, MIRACLE, PATH-CHF, COMPANION, CARE-HF and MADIT-CRT (22,60-63,69), convinced not only the pacing community but also many heart failure specialists that CRT is a valuable adjunct to overall heart failure patient management. MADIT-CRT also contributed the important observation that biventricular pacing frequency should target >90% and preferrably >97% pacing in order to optimize benefit in terms of heart failure or death (63).

Most Recent Pacemaker Developments

A number of important developments in recent years have substantially altered the landscape of cardiac pacing (69). First, remote monitoring of implanted devices has been a boon to patients who are often elderly and frequently required assistance from family and friends in order to attend in-person pacemaker follow-up clinics. The evolution of automatic (usually nocturnal) remote device data downloads have largely obviated most patient travel to hospital device clinics. Now, most patients are seen in clinic at most once per year  rather than the previous 3-monthly schedule. Second, the role of CRT pacing has been gradually altered to include, initially, His bundle pacing initially and, more recently, Left Bundle Branch region (LBB) pacing to facilitate ventricular contraction without placement of additional pacing leads into the coronary sinus. In this regard, His bundle pacing has proved challenging to maintain long-term stability, whereas LBB pacing via deep penetation of an active fixation lead into the inter-ventricular septum has been of increasing acceptance. Finally, leadless pacemakers delivered by specially designed introducer tools have provided an entirely new approach to permanent pacing (Figure 9). To date, this latter technology (i.e., leadless pacemakers) is restricted to right ventricular pacing sites, but subsequent algorithm development, while as yet imperfect, does permit such systems to provide atrioventricular synchronization (MicraAV®, Medtronic Inc.). The latter is achieved by using the intraventricular device to detect atrial mechanical contraction and time ventricular pacing appropriately thereafter. Currently this approach remains in process of further evaluation.  In the near future, it may be possible to place several such small pacing devices in the atria and ventricles of the same heart and by communicating with each other provide more physiological pacing capability.

One pacing topic that remains unsettled is the role of pacing after iatrogenic injury to the cardiac conduction system during certain surgical procedures. Thus, in the early days of cardiac transplantation, almost any conduction system disturbance led to pacemaker implantation. This is no longer the case, as experience taught that conduction properties recovered sufficiently during follow-up. Similarly, induction of transient AV block or LBBB during introduction of transcuanteous aortic valve replacement (TAVR) often triggered permanent pacemaker implantation. More recent data suggests that such intervention may be best retained for those patients in whom at least transient AV block occurs post-procedure.

Finally, the modern era of cardiac pacing has been accompanied by greater focus on preventing  infection of implanted  devices and managing infections that do occur.  As more pacing systems with multiple leads are implanted, the importance of device related infections has become increasingly important (70).  Infection rates associated with device implantation are estimated to be in the 1-4% range. Careful operating room practice and surgical technique remain the most important means of infection prevention.  An additional layer of protection is provided by  recently introduced absorbable antibiotic envelopes (Tyrex®, Medtronic Inc.) surrounding the implanted generator (71,72).

Removal of infected leads and devices has been a particular focus of attention. Initially,  explantation techniques were largely surgical in nature such as those used by Charles Byrd in Florida and generally utilized prolonged direct traction on the lead. In recent years, explantation techniques have evolved using laser technology and various other purpose-designed tools. While procedure risk should not be understated, the ability to better treat infections by removing foreign material from the body has been a major benefit. In fact, extraction is now advocated for many instances in which the goal is primarily preserving vascular space for the future in middle aged and younger patients in whom implanted leads are beginning to show signs of impending failure (e.g. rising

Implantable Defibrillators

Studies of the use of electrical shock to terminate arrhythmias have a long history, some of which has been alluded to above.  However, the origins of clinical defibrillation therapy may be timed from the observations of Claude Beck (1894-1971) at Case Western in Cleveland in 1947 (73), who defibrillated a 14 year old patient in the operating room.  Later, the work of Zacouto and Bouvrain (74), and of Lown (75) in the early 1960s provided further foundation for the therapeutic benefit, and it was only then that trans-thoracic defibrillation became accepted therapy.

The ultimate development of implantable devices for internal defibrillation (Implantable Cardioverter Defibrillator, ICDs) is attributable to the persistence of Michel Morowski (1924-1990)  and Morton Mower; their first proposals met with considerable scepticism and resistance (76). The initial device (so-called AID®, Intec Corp, Pittsburgh, PA) had limited functionality, was very large and required open chest procedure to place the epicardial electrodes (Figure 10).  The pulse generator resided in the abdomen as it was much too large to fit anywhere else.

The initial ICD implantations, beginning in 1980, met with concern regarding both safety and utility; as a result, at the time the implant indication required that the patient had to have survived two cardiac arrests (the chances of that are remote indeed and for good reason that limitation did not last long).  By the mid-1980s the indications had broadened and transvenous leads became available (although device size still demanded an abdominal implant site).  An alternative approach to the prevention of cardiac arrest was the use of a lower energy implantable cardioverter as proposed by Douglas P Zipes (previously Chief of Cardiology at University of Indiana, now retired, but a best selling author of suspense novels) and colleagues (77).  The cardioverter concept was based upon the view that early intervention (when the tachyarrhythmia was still presumably reasonably organized and relatively ‘slow’) would require less energy, be delivered more rapidly (i.e., shorter charge time), and require a smaller device;  however, physicians did not feel comfortable with this approach presumably due to failure of a back-up ‘rescue shock’ capability,  and  while not without considerable merit (including current use of so-called anti-tachycardia pacing (ATP) during high voltage battery charging [78]), the notion lapsed.  High-energy (≥30 joules) delivery ICD devices decisively won the day.

Transvenous pre-pectoral ICD implantation gradually evolved through the 1990s as size was reduced in successive device generations. Further, the number of ICDs implanted annually grew rapidly as clinical studies such as AVID, CASH, CIDS, MUSTT, MADIT, MADIT2 and SCD-Heft provided incontrovertible evidence that ICD therapy was more effective for preventing sudden death in high-risk populations (principally individuals with low ejection fractions), than was achievable with any other available treatment (79-86).  Other developments, which occurred in the 1990s, were adoption of biphasic shocks, inclusion of the generator’s case in the defibrillation circuit (so-called ‘active can’) and dual coil leads (87). Finally, current ICDs offer all of the functionality of modern pacemakers (including CRT capability when indicated), and are able to be fully interrogated by remote communication.

More recently, fully subcutaneous ICD systems without intravascular leads have become available. The pulse generator is most often placed laterally in the chest under the left arm and the shocking coil is tunneled to a subcutaneous position just lateral to the sternum (Boston Scientific Inc.) or directly underneath the sternum (Medtronic, Inc.) (88). The fully subcutaneous ICD is particularly useful when replacing a system that had become infected or in patients with limited vascular access. On the other hand, subcutaneous systems do not provide for cardiac pacing capability.

Ambulatory Monitoring

Ambulatory ECG monitoring (AECG) has rapidly become accepted as essential to making arrhythmia diagnoses.  The first AECG device is attributed to Norman Holter (1914-1983) and reported in 1949 using an 85 pound backpack. Subsequent reports describing experiements with ‘radioelectrocardiography’ began to appear in the early 1950s (see for example, 89). Widespread application did not occur until much later when commercial devices  (using tape recorder technology) became available after the patent was sold to DelMar Avionics.

Progressively smaller and more user friendly iterations of the so-called 'Holter' monitor developed over time (current models being all solid-state external wearable cardiac monitors, ECMs); these set the standard for ambulatory ECG monitoring well into the 1990s.  Holter-type monitors are still used and are capable of providing full disclosure rhythm recordings for 24- or 48- hour or even longer periods. In the 1970s and 1980s, so-called 'event' recorders became available.  These offered the patient the opportunity to trigger the device when symptoms occurred and were often prescribed for a month at a time and, in fact, still are used that way.  However, these devices have obvious limitations.  A significant event may not occur during the short recording duration of a Holter, while an ‘event’ recorder requires that patients have the wherewithal to interact with their device while experiencing symptoms that may be very serious.  To overcome the first problem, Andrew Krahn, George Klein and colleagues working in London, Ontario, introduced the concept of insertable (implantable) loop recorders (ILRs) (90).  The ILR (the new preferred term being insertable cardiac monitor [ICM] to allow for monitoring more parameters other than ECG alone) initially offered approximately 2 years of monitoring capability; newer models typically offer 3-4 years and are much smaller.  To deal with the second problem, that is the need for the patient to trigger the 'event recorder' when symptoms occur (something that is often not possible if the patient is 'stressed' or otherwise incapacitated), automatic wireless data transmission from mobile cardiac outpatient telemetry (MCOT) devices to a 24/7 monitoring center were developed (91). More recently, the MCOT concept has been incorporated into an ILR/ICM configuration (i.e., an implanted monitor that is capable of communicating data via wireless telemetry to a central monitoring facility).

While the ILR/ICM has become a well-established tool in clinical electrophysiology for arrhythmia detection, the need for long-term patient hemodynamic monitoring for both diagnostic and treatment assessment is increasingly being recognized.  The first iteration is implantable devices that directly or indirectly measure left atrial pressure (92,93).  These instruments may permit detection of hemodynamic changes in heart failure patients before emergency room or hospital care becomes necessary (thereby reducing healthcare expense).  The potential for similar systems to facilitate care of other chronic disease states is also beginning to be explored.

A remaining problem with ambulatory cardiac monitoring is failure of clinicians to utilize the appropriate device for the clinical circumstances (94,95). Practice guidelines recommend that the device selected should be appropriate to the expected frequency of the events being searched for. Thus daily events can be detected by a Holter monitor whereas events that expected to occur much less often necessitate devices with longer-term recording capability.

In summary, the past 50 years has been marked by impressive developments in device therapy of cardiac arrhythmias and cardiac arrest.  In particular, the size of implantable devices has progressively been reduced, while availability, functionality and reliability have substantially increased.  Inevitably, failures have occurred.  However, these have been uncommon and, given the intense clinical monitoring (including home monitoring and national registries) that has become the current standard, tend to be quickly recognized.

3. Intra-cardiac recording and stimulation, and autonomic assessment

Modern interventional cardiac electrophysiology requires development of 3 principal skills: 1) the ability to record and interpret intra-cardiac electrograms, 2) insight into the initiation and termination of arrhythmias by intra-cardiac electrical stimulation, and 3) the innovation of trans-catheter ablation methodologies.

Early Studies Using Transcatheter Recordings

The study of the cardiac conduction system has had a long history in basic science laboratories of the last decades of the 19th and first half of the 20th century.  The names of His, Purkinje, and Bachmann, are now permanently attached to the cardiac structures they described.  Other major contributors in the same era include Keith and Flack (sinus node), Tawara (AV node), and Mahaim (controversial bypass tracts), Sir Thomas Lewis, Silvio Weidmann, Brian Hoffman, Gordon Moe, Paul Cranefield, Michael Rosen and Maurits Allessie.

In the clinical arena, intracardiac electrophysiologic recording began in Staten Island, New York in the late 1960s. The key innovation was the ability to record electrograms from the His bundle. Paul Puech in Montpelier, France reported having made such a recording during a heart catheterization in 1957 (96), but Benjamin Scherlag PhD (now in Oklahoma City but then at the Staten Island Public Health Hospital under the direction of Anthony Damato MD) and colleagues are credited with developing the technique to record His bundle electrograms in humans using transvenous catheters in the late 1960’s (97).  Reviewers of the original manuscript describing the technique were unkind, but Howard Burchell, then editor of Circulation, foresaw its importance and the paper was published. Subsequently, the transvenous catheter approach has permitted direct assessment of clinical cardiac conduction system disturbances, and development of a better understanding of their pathophysiology and prognosis.  Of historical interest, Damato's laboratory in that era was the source of many 'first generation' US clinical cardiac electrophysiologists, including John J Gallagher MD (1943-2020) (who became program leader at Duke), Mark E Josephson MD (1943-2017) (who established electrophysiology at University of Pennsylvania), Ken Rosen MD (1937-1982) (founder of the extensive University of Illinois electrophysiology group in Chicago), Jeremy Ruskin MD (initiated the arrhythmia service at Massachusets General Hospital), J Anthony Gomes, and Masood Akhtar MD (1943-2019) (founder of the very productive arrhythmia program in Milwaukee).

Premature Electrical Stimulation and Entrainment

As important as intracardiac conduction system recordings have become, it was the insights of Dirk Durrer (1918-1984) and Hein Wellens (1935-2020) in the early 1970s that led to, among other things, both better understanding of both the electrical activation of the human heart (among the earliest applications of epicardial mapping), and the value of using intracardiac recording in conjunction with cardiac electrical stimulation for the triggering and mapping of tachycardia circuits, and the use of pacing as an antitachycardia tool in implanted devices (98-102). Wellens' concise treatise on the subject published in 1972 remains a classic in the field (Figure 11) (101).

The landmark contributions from Dirk Durrer and Hein Wellens established basic understanding of the use of programmed electrical stimulation (PES) of the heart (a technique now used every day in electrophysiology laboratories) to initiate and terminate many tachyarrhythmias.  These observations set the stage for intra-operative and later catheter-based mapping for treatment of complex arrhythmias. PES was employed by Gallagher and colleagues at Duke to study preexcitation (103), by Albert L Waldo (then at University of Alabama in Birmingham, now at Case Western in Cleveland) to study post-operative atrial tachyarrhythmias (including classic studies of atrial fibrillation and flutter) (104-106), by Josephson and colleagues in studies of ventricular tachycardia (107-109), and in some of the most complex studies of all by Akhtar and Denker to study properties of the conduction system (110-112)

Gallagher's work in the mid-1970s, followed the initial observations of Burchell and colleagues in Minnesota (113) and Becker et al in Europe (114), and also comprised innovations in epicardial mapping of accessory AV connections, and incorporated the many surgical innovations devised by surgeon Will Sealy (1912-2001) for dividing such connections (103,115).  At approximately the same time, Mark Josephson in collaboration with surgeon Alden Harken Jr  working in Philadelphia developed novel intra-operative endocardial mapping for ventricular tachycardia that led to innovative ablative surgery (107-109).  The Josephson-Harken endocardial surgical procedure focused on the newly discovered arrhythmogenic regions along border zones of infarct-related scars; the concept captured not only medical but also public interest.  A report in a prominent weekly US newsmagazine at the time popularized the term "Pennsylvania Peel" for this surgical technique.

Fundamental understanding of mechanisms of many common tachycardias remained controversial well into the 1970s. Even in the 'simplest case', Wolff-Parkinson-White syndrome, the concept of longitudinal dissociation of the conduction system as a basis for preexcitation lived on in the literature.  However, when Howard Burchell (1908-2009) (then working at the Mayo Clinic) induced temporary block in an accessory pathway at surgery  (113), and Anderson and Becker (114) provided anatomic descriptions of such connections, the evidence favoring accessory AV connections being the basis of WPW syndrome became incontrovertible.

The first successful surgical ablation of an accessory pathway was performed at Duke University in the early 1970s. Thereafter, the Duke group led by John Gallagher and Will Sealy not only perfected the diagnostic electrophysiological laboratory evaluation of preexcitation syndromes but also developed the surgical ablation of accessory connections (95, 104).  Shortly thereafter, the London, Ontario group led by George Klein (a Gallagher student) and Gerard Guiraudon (1931-2019) importantly contributed to advancing surgical techniques for preexcitation with introduction of the closed heart epicardial approach.  Incidently, James Cox, who later became known as the innovator of the surgical approach to atrial fibrillation (i.e., the MAZE procedures) began his career in this fertile Duke environment, before making his mark at Washington University in St Louis.

Bradyarrhythmias

Bradyarrhythmias received less attention than tachyarrhythmias in the 1980s as most of the insights into clinical conduction disease had already been made.  Specifically, the productive electrophysiology group at the University of Illinois led by Kenneth Rosen (1937-1982) had already examined the clinical electrophysiologic features of most aspects of clinical conduction disease.  Similarly Maurice Lev (1908-1994) (also working in Chicago), Jean Lenegre (1904-1972) (Paris), and Thomas James (1925-2010) (Birmingham, Alabama) had provided careful pathologic insight into cardiac conduction disturbances.  However, as alluded to earlier, Ahktar and Denker (Milwaukee) continued to provide complex but fascinating insights into the physiology of infra-nodal conduction (110-112). These latter observations are often overlooked today (perhaps partly due to the effort needed to decipher their complexity), but nonetheless are classical examples of the use of PES to better understand cardiac conduction physiology and disease. At about the same time in the mid to late 1970s and early 1980s, Harold Strauss at Duke, and William Mandel and colleagues in Los Angeles, and Onkar Narula in Florida (basing their work on the clinical observations of Irene Ferrer and the laboratory observations of J T (Thom) Bigger Jr. at Columbia University in New York), devised clinical elctrophysiological laboratory studies to assess sinus node dysfunction (116-120).  Strauss is best known for development of the sinoatrial conduction time (SACT) test using the premature atrial stimulation method, whereas Mandel popularized overdrive suppression as a test of sinus node function (Sinus Node Recovery Time, SNRT).  Mandel and Jordan, also brought to light key aspects of the effects of autonomic tone and drugs on sinoatrial function (119-120).

One of the most important contributions to clinical electrophysiolgy in the 1980s was Al Waldo’s observations on 'entrainment' (104-106, 121,122), a concept that evolved from his post-operative arrhythmia studies in Birmingham alluded to earlier (currently Professor at Case Western, Cleveland). Entrainment provided not only an intellectual foundation for understanding clinical macro-reentry tachycardias, but also has become a tool used daily in electrophysiology laboratories to establish the presence of a reentry mechanism, and to assess the location of tissues critical to the maintenance (and, of course, successful ablation) of these same arrhythmias.  While entrainment was originally used to prove a macro-reentry model in accessory AV connection arrhythmias (i.e., AV reentry), most current generation clinical electrophysiologists first become familiar with entrainment in assessment of atrial flutter and also, to some extent, in mapping of ventricular tachycardia. In this regard, much of our understanding of the macro-reentry nature of atrial flutter (both typical counter-clockwise, and less common clock-wise forms) is based on the work of Francisco (Paco) Cosio in Madrid (a self-trained electrophysiologist who did his cardiology training in Minneapolis, Minnesota).  Cosio identified the inferior vena cava - tricuspid annulus isthmus-dependent nature of this macro-reentry right atrial tachycardia (123, 124).  Now, it is standard practice for electrophysiologists to 'entrain' the tachycardia from that isthmus, thereby confirming its key role in the circuit in each patient before proceeding to permanently eliminate the circuit by trans-isthmus ablation (usually by radiofrequency energy applications).

Finally, in terms of current interest in treatment of atrial fibrillation (see later), Maurits Allessie's work in the experimental laboratory was particularly insightful and contributed two currently very important concepts: 1) 'atrial fibrillation begets atrial fibrillation' and, 2) remodeling of the atria occurs during prolonged periods of atrial fibrillation, making reversion to stable sinus rhythm increasingly more difficult (125).  Of course, with regard to the latter notion, the reverse was also observed.  If atrial fibrillation is terminated and sinus rhythm restored for a prolonged period, 'reverse remodeling' can occur in many cases, thereby enhancing the chance that sinus rhythm will be maintained.

Ablation

Selective transcatheter ablation of small regions of cardiac tissue critical to maintenance of cardiac arrhythmias, such as the cavo-tricuspid isthmus in the case of atrial flutter, derives in part from both the surgical experience alluded to earlier, and experimental and clinical work by Melvin Scheinman at the University of California-San Francisco and John Gallagher at Duke University in Durham, NC (126,127).  In the mid 1970's both studied the use of direct current (DC) shock, delivered from a conventional external defibrillator using modified connectors, with the energy (200-300 Joules) directed through conventional electrode catheters to the target tissues. The initial target organ of primary interest was the AV junction; the goal was to induce permanent AV block in patients with atrial fibrillation and excessively rapid ventricular rates.  Shortly thereafter, the same DC shock method was used (despite considerable anxiety among practitioners) with remarkable safety and effectiveness to treat postero-septal accessory pathways, drug-resistant left ventricular tachycardia, or even tachycardias arising in the right ventricular outflow tract. Given the rather crude activation mapping of arrhythmias at the time, the somewhat indiscriminate nature of DC shock damage proved paradoxically to be advantageous.  However, complications did arise when this approach was applied within the more fragile coronary sinus in an attempt to address laterally positioned accessory AV connections.

The use of DC energy as an ablative energy source was later superseded by introduction of radiofrequency (RF) energy (comparable to conventional electrocautery) in the early 1990s.  Many individuals contributed importantly to this advance, with Warren (Sonny) Jackman in the USA and Karl Heinz Kuck in Germany being particularly notable leaders in the field (129-130). RF energy could be much more precisely directed and therefore was inherently safer than DC shock ablation; one result of this development was expansion of 'indications' for ablation. In particular, attention was immediately focused on ablation of the so-called 'fast' AV nodal pathway, and then later and more successfully (and with a much lower risk of inducing AV block) the currently preferred 'slow' pathway target. Thereafter, RF energy was directed toward ablation of accessory AV connections at virtually all sites, atrial ectopic tachycardias and atrial fibrillation.

Techniques for ablation to reduce susceptibility to atrial fibrillation were based in part on the prior surgical observations by Cox and colleagues (131), but in addition as a result of the publication in 1997 of the observed importance of pulmonary vein ‘triggers’ by Michel Haissaguerre and colleagues in Bordeaux (132,133), and with important contributions being provided by John Swartz in the US and Shih-Ann Chen and colleagues in Taiwan, among others.  Interestingly, although the surgical approach of Cox and colleagues was based on disrupting presumed re-entrant mechanisms in the left atrium, they recognized the importance of isolating the pulmonary veins, and that aspect has always been part of the various Cox MAZE procedures.

Ablation of apparent triggering activity from small muscle bundles within the venous structures showed considerable success in preventing paroxysmal atrial fibrillation, but pulmonary vein stenosis was a worrisome risk and atrial fibrillation recurrence rates were high.  Consequently, isolation of the veins by antral ablation lines (primarily by so-called wide area circumferential ablation – WACA) became more popular, tended to improve success rates, and diminish complications (particularly pulmonary vein stenosis) although phrenic nerve injury and the previously unseen risk of espophago-atrial fistula became a rare but frightening concern. Other innovations such as adding additional ablation lines, ablating low amplitude signals generated at various atrial sites, addressing for rotors by specialized mapping methods, and using advanced mapping algorithms (e.g., Ripple map) have been introduced but their additional contribution to treatment efficacy is as yet controversial (134).

Apart from RF energy, other ablation methodologies have received increasing interest. Gallagher and Sealy at Duke in the 1970s pioneered the role of cryothermia for cardiac tissue ablation during surgical procedures for arrhythmia therapy (135,136); they deemed this a particularly valuable technique as it achieved a structurally solid and electrically homogenous ablation lesion.  However, catheter delivery of cryothermic lesions did not emerge for more than 15 years afterward (137,138).  Catheter delivered cryothermia for ablation purposes developed in Montreal in the 1990s, and after a slow start is now widely used. Some electrophysiologists prefer cryothermic ablation for safety reasons, especially to prevent inadvertent injury to the cardiac conduction system when they are working around the AV node area.  Currently, the most popular use of cryoablation may be in atrial fibrillation:  a specialized balloon catheter is inserted into the pulmonary vein to freeze and electrically isolate it.   Laser ablation has also been evaluated, but as yet has not been widely applied.

Autonomic Disturbances and Genetically Determined Susceptibility to Arrhythmias

During the 1980s and 1990s, cardiac electrophysiologists began to take an increasing interest in the role of autonomic disturbances as a cause of cardiac arrhythmias, and in particular syncope and other forms of what has come to be termed 'autonomic dysfunction'.

Among the earliest clinical investigators to study the impact of autonomic variations on tachyarrhythmias were Phillipe Coumel in Paris (139,140), and Menashe Waxman in Toronto. Each developed new insights into neural effects in ventricular and supraventricular tachyarrhythmias.  Waxman also identified the potential for isoproterenol to accentuate susceptibility to neurally-mediated reflex syncope in susceptible individuals.

The importance of autonomic effects on ischemia-related arrhythmias became of particular interest in this era.  The experimental work from Zipes's laboratory at University of Indiana was particularly important in revealing the asymmetry of neurological input to myocardial tissues and associated electrophysiological consequences that occur when a ventricular region has suffered myocardial infarction (141,142).

Autonomic evaluation of patients experiencing various syncope/near-syncope syndromes was another element of cardiac electrophysiology that emerged in the late 1980’s and early 1990’s. In particular, the study of reflex syncope (particularly vasovagal syncope, VVS) became a routine part of the electrophysiology laboratory within a few years of the innovation of diagnostic head-up tilt testing for assessing susceptibility to vasovagal syncope by Kenny and Sutton in London UK in 1986 (143).  Initially prolonged head-up tilt testing (up to 1 hour) was used alone, but that approach obviously had practical limitations. In 1989, Benditt’s group (taking advantage of prior insights by Menash Waxman and colleagues at the University of Toronto) introduced a shorter head-up protocol in which isoproterenol provocation was used if drug-free tilt was non-diagnostic (144). Thereafter, nitroglycerin provocation was introduced by Antonio Raviele (Venice) in the mid-1990s (145,146), and subsequently modified by Brignole and colleagues to be called the 'Italian Protocol'; the 'Italian Protocol' has become the most widely used methodology worldwide (147). Use of a drug challenge during tilt made the test more widely diagnostic with little cost in false positives.

Examination of the potential utility of cardiac pacing for vasovagal syncope  (VVS), and determining the role of tilt-table testing in defining appropriate patients, was led by Richard Sutton at Westminstter Hospital., London, in the 1980s and 1990’s (148). Later in the 1990s, the study of syncope was rendered more efficient by the availability of ILR/ICMs as described earlier.  A flow of studies supportive of the value of ILRs in this setting emanated from European investigators, primarily led by Michele Brignole (Lavagna,IT) (149,150).  The so-called ISSUE studies have helped to define the causes of syncope in a variety of clinical settings (i.e., 'isolated' forms, syncope in the setting of known conduction system disease, etc.), and have also focused on the role of pacing in VVS. In particular, they indicated that for vasovagal syncope (VVS), pacing was effective in older, treatment-resistant and ICM-positive (i.e., recorded asystolic pauses) patients (151).  Additionally, the recent BioSynch study indicates that CLS (Closed Loop Stimulation), described above, pacing mode (Biotronik Inc., Berlin, Germany) offers benefit for pacing in VVS patients with similar characteristics to those included in ISSUE 3 but selected only by positive cardioinhibitory tilt-testing (140). Following this trial the current European Society of Cardiology pacing guidelines recommend pacing in these patients as Class 1 A (152,153).

In the first decade of this century, electrophysiologists gradually but increasingly began to take interest in and responsibility for evaluating and treating patients with postural syncope and other less well-defined orthostatic intolerance syndrome (e.g., postural orthostatic tachycardia syndromes-POTS, so-called 'anoxic reflex seizures' of infants, and functional dysautonomia). It also became apparent in this period that care of these clinical problems requires a multidisciplinary approach, enlisting the help of individuals with neuroscience, geriatric, pediatric and emergency department skills (see for example 154,155).

Channelopathies - Genetically Determined Arrhythmias

During the past 25 years, one of the most rapidly growing aspects of arrhythmia research and care has been the broader recognition of the impact that genetics has on susceptibility to rhythm disturbances and drug effects (156-161). In the 1970s, pharmacogenetics focused on a few drug-genetic interactions (most often metabolic issues), but little attention was paid to proarrhythmic possibilities.  The latter came to light with recognition that certain antiarrhythmic agents (particularly Vaughan-Williams Class IA and III) provoked QT interval prolongation and increased potential for torsades de pointes. The latter arrhythmia was first described by Francois Dessertenne (1917-2006) in 1966 (10) in an 80 year-old patient with complete heart block. Subsequently, torsades was identified in a variety of clinical conditions including both genetic and drug-induced disorders. Other forms of antiarrhythmic drug-induced proarrhythmia have also been described and are clinically important; these are most often triggered by agents that are powerful block sodium channels and thereby cause marked conduction slowing in diseased hearts.

Later, the important molecular biological studies innovated by G Michael Vincent (1940-2020) and Mark Keating in Utah and Peter Schwartz in Milan began to point out various genotypic and phenotypic forms of long QT syndrome (LQTS) (156-158). Ultimately it has become suspected that drug effects and genetic susceptibility work together to increase torsade-de-pointes risk in many individuals without phenotypic LQTS in the baseline state. The efforts of Peter Schwartz (Milan, Italy) and Arthur Moss (1932-2018) ( Rochester, NY), who created a registry of LQTS patients and their follow-up, have substantially impacted the manner in which LQTS patients are managed, particularly with regard to use of beta-adrenergic blockers, exposure to not only antiarrhythmic drugs, but also to many other drug classes (e.g., antibiotics, antidepressents, antianginals, gastrointestinal remedies, etc).

In addition to LQTS, numerous other syndromes predisposing to life-threatening arrhythmias have come to light. Through the efforts of the Brugada brothers, the Brugada syndrome, although uncommon, is now widely recognized (159).  In the past 10-15 years it has been hypothesized that the Brugada syndrome may be one of a series of related syndromes collectively referred to as J-wave syndromes, named for the accentuation of the terminal portion of the QRS complex that represents ventricular depolarization on the ECG.  As noted earlier, arrhythmogenic (right) ventricular dysplasia (ARVD) was first recognized by Guy Fontaine (Paris), and has been the subject of an important follow-up registry directed by Frank Marcus in Arizona (160,161). In ARVD, the initial genes being identified point away from a 'channelopathy' and toward an abnormality in cell-cell connections (desmosomes). Short QT syndrome, some forms of atrial fibrillation, and IdiopathicVF are other recognized genetically associated conditions, but many more are likely to be identified in years to come. Some cases of idiopathic ventricular fibrillation are suspected to be a form of J-wave syndrome (161).

Ultimately the treatment goal for channelopathies is to be able to provide curative gene therapy. While gene replacement therapy is not yet a clinical reality, proof of concept has been demonstrated in cell cultures.  However, while gene 'replacement' therapy is not yet a reality in the clinic, gene-directed therapy is possible. For example, mexiletine, an infrequently used Class 1B antiarrhythmic drug (in the same class as lidocaine) may be used effectively in patients with LQTS3 since the underlying problem is a residual sodium channel current. Potentially, other 'gene-directed' treatments will also emerge.  For the present though, in most instances the only reliable treatment today for most of these life-threatening arrhythmia syndromes is ICD implantation.

4) Epicardial and endocardial mapping, imaging and navigation

The concept of mapping whole heart activation was first considered in experimental models in the early part of the 20th century, but substantial technologic development was needed before mapping could be applied clinically.

Perhaps the most impressive use of activation mapping in the early 1970s was the work of Durrer and colleagues in Amsterdam.  The detailed activation of the human heart was obtained in reanimated specimens and the hand-drawn color images were published in Circulation (the first color images in the journal) at the insistence of Howard Burchell who was editor at the time (162). A number of the original colored images are now to be found in the holdings of the Bakken Museum in Minneapolis.

Initially cardiac activation mapping evolved from ECG recordings on the body surface. At Duke in the early 1970s, Madison Spach and D. Woodrow Benson Jr developed sophisticated methods to evaluate cardiac activation using numerous body surface electrodes (163,164).  The resulting maps provided considerable insight into arrhythmia activation patterns, but were limited in applicability due to both the difficulty reproducing the technology (at the time), and the complexity of interpreting the data.

The first practical intra-operative multi-site activation mapping systems were developed by Fontaine, Guiraudon and Frank in France, and by Gallagher and colleagues at Duke University, in the mid 1970s (95, 165,166) (Figure 12).  Gallagher's system used a multi-electrode epicardial sock for intra-operative arrhythmia activation mapping.  Everything from the choice of the fabric, the design of the reusable electrodes, and the development of a computer-based measurement system, proved to be a challenge.  Ultimately, however, this was the first step in facilitating assessment of cardiac activation during arrhythmias in the surgical suite.

Over time, epicardial mapping evolved at several sites. Perhaps one of the most substantial developments was the combined epicardial-endocardial recording systems used by Boineau, Cox and Scheussler at Washington University in St Louis, MO (168).  The resulting studies not only improved our understanding of sino-atrial activation in the human, but set the stage for Cox's iterative development of the MAZE procedure for surgical therapy of atrial fibrillation.

More recently, as computers have become smaller but increasingly powerful and directional catheter technology has become more sophisticated, 3-dimensional electro-anatomic mapping of the cardiac chambers has become an essential capability of clinical electrophysiology laboratories.  The earliest non-contact mapping system was developed by Taccardi in Italy in the late 1980s (169) and refined by Yoram Rudy at Case Western Reserve University in Cleveland (later moved to St Louis).  Thereafter, Beatty and colleagues at the University of Minnesota developed a commercial mapping system in the mid 1980s (170).  A unique aspect of the system developed by Beatty and colleagues was a catheter-delivered expandable multi-electrode balloon that did not require direct tissue contact to assess endocardial activation on a beat-by-beat basis and display it for the operator to examine. The balloon system (the first EnSite® product) was not as widely accepted as was initially expected, but the system also permitted conventional point-by-point intra-cavitary mapping.  This system was purchased by St Jude Medical (now a division of Abbott Laboratories®).  Current models (EnSite®Velocity)  primarily use intracardiac measures of electrical impedance from surface mounted electrodes to model anatomy; it has the advantage of being able to detect the position of any intra-cardiac electrode catheter.  Another widely employed 3-D mapping system (Biosense Webster® Inc) uses magnetic location to monitor catheter sites within the cardiac chambers and thereby construct an activation sequence picture. This system is marketed along with a wide range of catheters (including certain models with the novel addition of contact force (CF) (124b) sensing to confirm that the catheter is in adequate proximity to the ablation target) to facilitate arrhythmia mapping, but is limited to those catheters supplied by Biosense Webster®.  The most recent addition to cardiac mapping is the Rhythmia HDX® from Boston Scientific®. It offers very high levels of data acquisition and consequently extremely favorable mapping detail.  Together, all of these systems facilitate the development of ablation strategies for complex arrhythmias.  Additionally, current systems can merge the activation maps with previously acquired other cardiac imaging sources such as computed tomographic (CT), ultrasound or magnetic resonance. Thus, the arrhythmia activation may be displayed on a cardiac image specific to the patient being evaluated. Often intracardiac ultrasound (ICE) guidance has also become an essential part of the arrhythmia mapping landscape. In this regard, ICE is used to facilitate crossing the inter-atrial septum at the level of the fossa ovalis to gain access to the left atrium for arrhythmia ablation purposes (particularly pulmonary vein [PVI] isolation for atrial fibrillation). ICE is also incorporated with certain 3-D mapping system to enhance anatomic catheter guidance.

Robotic techniques have been developed in order to take advantage of 3-D mapping tools and further facilitate ablation therapies. The methods offer the prospect of more precise and repeatable catheter movement and positioning together with less radiation exposure for operators, nurses, and technicians. Currently, such systems are expensive and are space-consuming in otherwise crowded electrophysiology laboratories.

Innovations in design of mapping catheters for use with 3-D mapping methods have made considerable progress in recent years. Multi-electode catheters such as the Biosense Webster PentaRay® (which has 20 poles arranged on 5 radiating splines) or the Orion® basket-like catheter (8 slines with 8 electrodes on each) speed mapping and permit more detailed assessment of activation wavefronts.  These catheters, along with increasingly sophisticated mapping algorithms, permits display and review of findings quickly. The further addition of saline infusion and tip pressure measurement has further improved ablation outcomes. The result has been the ability to address more effectively re-entry ventricular tachycardia and perhaps to improve outcomes with atrial fibrillation ablation.

Finally, the ablation story is embarking on a new frontier, the modification of cardiac neural control.  This concept began initially with the seminal work of Pachon and colleagues in Brazil and somewhat later Yan Yao and colleagues in Beijing and Aksu et al in Turkey (171-174).  These groups pioneered modification of epicardial cardiac ganglia (primarily near the pulmonary venous ostia) to reduce susceptibility to vasovagal syncope. While this therapeutic concept remains controversial, it has nevertheless opened the door to a range of possible applications of cardiac neural modification, most notably for prevention of paroxysmal atrioventricular block and as an ancillary procedure for prevention of recurrent atrial fibrillation. The role of cardioneural ablation (CNA) for mitigation of autonomically mediated sinus bradycardia has also become a topic of interest (174). Whether such interventions will become ‘mainstream’ remains to be seen.

5) Antiarrhythmic Drug Therapy

During approximately the first 60 years of the 20th century, antiarrhythmic drug therapy was limited to one or two membrane-active agents and various digitalis preparations (175,176).  Quinidine was available throughout this period, with procainamide being introduced in the early 1950s. In the 1960s, lidocaine (only for parenteral use) was introduced, and became the most important agent for urgent care of patients with ischemic ventricular tachyarrhythmias until amiodarone became available (in USA) in the early 1980s (177).  Bretylium (and later an infrequently prescribed orally available analog bethanidine –then better known as an antihypertensive agent) was also used parenterally for its reported antifibrillatory action, but its tendency to induce orthostatic hypotension and persisting uncertainty regarding its effectiveness undermined its acceptance (178-180).  Finally, given the limited options available, especially in terms of orally active drugs, phenytoin (Dilantin®, primarilty known for its anti-epileptic action) was often considered part of the physician's antiarrhythmic armamentarium, but  is rarely used in this capacity today.

Various beta-adrenergic blockers and calcium-channel blockers (diltiazem and verapamil) became available in the 1970s and early 1980s.  These drugs found multiple applications in the treatment of hypertension, ischemic heart disease and other cardiovascular problems. In regard to their antiarrhythmic use, their principal impact has been in management of supraventricular tachyarrhythmias; in this context they have essentially eliminated the use of digitalis preparations for that application.

The late 1970s and early 1980s saw introduction of a number of new antiarrhythmic agents.  Disopyramide (a Class IA drug) became available in the USA in 1977 (180,181).  Initially, disopyramide appeared to be a major addition to antiarrhythmic drug therapy. However, ultimately its prominent negative inotropic effects, troublesome anticholinergic side-effects (e.g., dry eyes, dry mouth, constipation), and tendency to result in marked QT interval prolongation resulted in disopyramide being relegated to a niche role.  Similarly the orally absorbable lidocaine look-alikes, tocainide and mexiletine, were introduced with the anticipation that they would be as effective for ischemia-induced arrhythmias and as hemodynamically tolerable as lidocaine.  Unfortunately this hope did not materialize.  Tocainide was eventually withdrawn due to hematologic adverse effects, and mexiletine (a drug that often causes substantial nausea) is only used sporadically, mainly as a secondary agent in conjunction with amiodarone.

The role of antiarrhythmic drugs has evolved substantially over the past several decades from an initial focus on suppressing ventricular tachyarrhythmias and premature ventricular beats to primarily treatment of atrial fibrillation. During the years in which antiarrhythmic drugs were the primary therapy for treatment of ventricular tachyarrhythmias, the prevailing hypothesis was that suppression of ventricular ectopy was desirable, and would be an effective marker for a proposed treatment's ability to prevent sudden death. The concept was reinforced (albeit indirectly) by evidence that mortality in ischemic heart disease patients correlated with the severity of ambient ventricular ectopy that they exhibited. Thus, the utility of an antiarrhythmic drug was tested by assessing its ability to suppress premature ventricular beats (PVBs). The new Class IC drugs (principally flecainide, encainide and propafenone) excelled in PVB suppression and became known as 'PVB killers', as did the related agent moricizine. However, when the PVB suppression theory was tested in a large multi-center randomized trial (Cardiac Arrhythmia Suppression Trial, CAST) in which mortality was assessed comparing placebo versus flecainide, or encainide, or moricizine the results caused considerable dismay (181). In CAST, mortality was greater in all active drug groups compared to placebo. The PVB suppression era came to an abrupt end. A new model was needed.

In the late 1970s and early to mid-1980s, about the same time as the CAST study was being undertakern, antiarrhythmic drug testing for prevention of life-threatening arrhythmias was a prominant feature in the electrophysiology laboratory.  Such testing was pioneered by multiple groups including Gallagher at Duke, Wellens in the Netherlands, Ronnie Campbell In Newcastle, John Fisher in New York, Mark Josephson in Philadelphia, and Geoff Hartzler (who later became a major figure in the then emerging field of coronary angioplasty) and Jim Maloney at the Mayo Clinic (180-185).  In this model, various antiarrhythmic drugs and drug doses were administered to hospitalized patients and after a suitable time period, treatment efficacy was then tested using pacing and extrastimulus testing in the laboratory. The desired endpoint was demonstration that an arrhythmia that was initially inducible in the drug-free state, was no longer induced in the presence of drug(s).  This approach to selecting treatment often proved frustrating;  the arrhythmia (albeit slowed by drugs) often remained inducible. Further, the stimulation protocols tended to vary from operator-to-operator making multicenter assessment of this approach among centers almost impossible. The ESVEM trial and the MUSTT study were notable exceptions in which careful protocol control was effected (185,186).  In any case, the process usually involved an in-hospital stay of many days, often required testing of several drugs, and was very expensive.  In the end, by the mid 1980s with the arrival of amiodarone in the USA (it had been available years earlier in Europe), the era of eletropharmacological drug testing closed. Amiodarone was simply not testable in that manner, for both pharmacological (i.e., very long half-life) and clinical experiential reasons. Amiodarone, despite lacking formal FDA approval for many of its applications, is now widely used for both ventricular and atrial tachyarrhythmia suppression. It is even occasionally used for its AV nodal blocking properties in patients with atrial fibrillation and difficult to control ventricular rates. However, its multitude of adverse effects must be considered in every patient exposed to the drug.

Apart from amiodarone, a number of other agents became available between the 1990s and the present day.  These included sotalol, dofetilide, propafenone, dronedarone, ibutalide (to a limited extent), and ivabradine (still unapproved for arrhythmia applications in the USA, but approved for heart failure treatment) and ranolazine (187,188).  Although flecainide and, by inference, propafenone were considered unwise for ischemic ventricular arrhythmias, both were demonstrated to be safe and effective for supraventricular arrhythmias in patients with a structurally normal hearts. Sotalol was found to be very useful for control of certain supraventricular arrhythmias (particularly atrial fibrillation) and was also found to be safe in the setting of low ejection fraction patients (perhaps in part because of its beta-blocker attributes).  Dofetilide was similarly found to have a neutral mortality effect in patients with systolic heart failure.  However, due to its QT prolongation action and the regulatory environment at the time when it was introduced, dofetilide in the USA is limited to in-hospital treatment initiation.  Both drugs continue to play an important role today. Ibutalide is only used intravenously, and is primarily employed in the emergency department use for pharmacologic termination of atrial fibrillation or flutter. Ivabradine is a unique drug that targets the sinus node pacemaker current. It has proved helpful in heart failure patients (FDA approved) but has proven most valuable to slow sinus tachycardia in patients with postural orthostatic tachycardia syndrome (POTS) or inappropriate sinus tachycardia (IST) (170). The latter applications have not yet received FDA approval.  Many other agents have been abandoned during recent years or remain at various stages of evaluation, but seem to be progressing only very slowly for antiarrhythmic use; these include include ranolazine (which is approved in USA as an anti-ischemic), azimilide, doxapram, niferidil, vanoxerine and vernakalant. Whether any of these will make an impact remains to be seen.

One of the most valuable lessons of the 'antiarrhythmic drug era' was recognition that all so-called antiarrhythmic agents had the capability to aggravate arrhythmias (so-called proarrhythmia – see earlier) (189).  It soon became evident that certain patient-related factors were important contributors to this risk, particularly diminished ejection fraction, ongoing ischemia, and genetic susceptibility (i.e., some cases of proarrhythmia may represent polymorphisms or “subclinical”  cases of channelopathies discussed earlier). As a result, with the exception of amiodarone, sotalol, and dofetilide, most available antiarrhythmic drugs were no longer considered sufficiently safe for treatment of the sickest patients. However, even with amiodarone, sotalol and dofetilide there are legitimate ongoing concerns regarding safety and adverse effects.

Disappointing clinical experience with antiarrhythmic drugs in the case of life-threatening ventricular tachyarrhythmia problems, the increasingly complex regulatory hurdles in the USA and Europe (stimulated in part by recognition of the proarrhythmic potential of these agents), the extreme development costs, and the arrival of ICD therapy has markedly undermined new antiarrhythmic drug development worldwide.  The likelihood of our being offered novel antiarrhythmic drug options in the foreseeable future seems remote.  However, there is some interest in “re-purposing” drugs already on the market.  For instance, as noted earlier, ranolazine is an agent that was developed as an antianginal agent for which it received approval by the Food and Drug Administration in 2006.  It has generated interest as an antiarrhythmic agent as it inhibits multiple ion channels and produces modest QT prolongation while showing low risk of torsades de pointes (172,173).

Currently, leaving aside the ubiquitous role of amiodarone for suppressing ventricular tachyarrhythmias in the setting of structural heart disease (especially in patients with ICDs already in situ), antiarrhythmic drugs are now primarily used for atrial fibrillation suppression. Sotalol, dofetilide, and propafenone  (along with amiodarone) as well as AV nodal blocking drugs (beta-blockers and calcium channel blockers) are probably the most widely used agents in this context.  Atrial fibrillation ablation (mainly pulmonary vein isolation techniques) is also increasingly contributing to the care of these patients.

In Memoriam

Over the last several decades, and in particular since the turn of this century, cardiac electrophysiology has lost many of its most prominent leaders/innovators., cardiac electrophysiology and pacing has lost many prominent leaders/innovators. Their published teachings and the continuing advances made by their students provide testament to their invaluable contributions. A number of these individuals are honoured here (alphabetic order), recognizing that there are others who reasonably warrant inclusion and for whom our failure to mention we apologize in advance:

Masood Akhtar (1944-2019), Milwaukee WI, Professor, University of Wisconsin  School of Medicine and Public Health, a leader in understanding cardiac conduction system physiology.

Barouh Berkovitz (1926-2012) , New York City, a native of Czechoslovakia,  provided engineering innovation in the early development of cardiac pacemakers and defibrillators. He is credited with invention of ‘demand’ pacing and the dual chamber (“bifocal”) pacemaker concept.

John T (Thom) Bigger Jr (1935-2017), New York City, Professor, Columbia University, contributions included understanding antiarrhythmic drug actions, recognition of digoxin-quinidine interaction and risk prediction after myocardial infarction

Howard Burchell (1908-2009), Minneapolis, Minnesota, was born in Athens,  Ontario, worked at Mayo Clinic and at the University of Minnesota, and editor of Circulation contributed widely in cardiology, including being instrumental in demonstrating that accessory AV connections could be blocked surgically

Phillipe Coumel (1935-2004) Paris, France was consultant and Chair of Cardiology at the famed Lariboisiere Hospital. He was instrumental in the development of the understanding of cardiac electrograms, but perhaps most prominently remembered for raising the issue of the impact of the autonomic nervous sytem in triggering and modifying arrhythmias and the hemodynamic implications of arrhythmias. He built and led a department of cardiology/arrhythmia experts testifying to his management as well as scientific skills.

Francois Dessertenne (1917-2006), Paris, France is credited with the first description of and the naming of ‘torsades de pointes’ a particular form of ventricular tachycardia. He worked at Lariboisiere Hospital, Paris.

Guy Fontaine (1936-2018), Paris, France, Professor of Medicine Universite de Paris, was a pioneer in use of catheter ablation (he termed it ‘fulguration’) and with Gerard Guiraudon in the surgical treatment of WPW syndrome. He is perhaps most well remembered for having identified right ventricular dysplasia (now termed right ventricular cardiomyopathy).

Seymour Furman (1931-2006), New York, Professor Albert Einstein Shool of Medicine, devised the transvenous pacing lead approach for cardiac pacemakers, was  a founding member of NASPE (now HRS) , and was long time editor of the journal PACE. Among his other accomplishments Dr Furman with Dr Michael Bilitch (1932-1987) of USC initiated a pacemaker registry which for about 20 years published pacing data (known as the Bilitch Report).

John J Gallagher (1943-2020), Columbus, South Carolina, former Professor of Medicine at Duke University, a leader in interpretation of intracardiac electrophysiologic recordings of clinical tachyarrhythmias, and the acknowledged leader in the understanding and surgical cure of preexcitation syndromes

Paul C Gillette (1942-2013), Argyle, Texas, Professor of Pediatrics, reasonably considered to be the driving force behind development of  clinical pediatric cardiac electrophysiology in North America, and first to hypothesize long accessory AV conduction pathways as a basis for certain of the so-called ‘Mahaim’ connections.

Wilson Greatbatch (1919-2011), Buffalo, NY, engineer and inventor is credited with inventing the earliest truly implantable pacemaker and advancing battery technology for implanted systems.

Gerard Guiraudon (1931-2019), London, Ontario, Professor of Surgery, University of Western Ontario and prior to moving to Canada in 1981 was Professor of Surgery in Paris. Gerard was a distinguished innovator of surgical procedures for cardiac arrhythmias, including epicardial approach to WPW surgery and isolation procedures for ventricular tachycardia,

Brian Hoffman (1925-2013), New York City, Professor of Medicine Columbia University, leader in the study of cardiac cellular electrophysiology, and teacher of many of the current and recent leaders of cardiac electrophysiology. When he received the medal of the New York Academy of Medicine in 1988 his impact was compared to that of Willem Einthoven.

Mark Josephson (1943-2017), Boston, Massachusetts; Professor at University of Pennsyslvania and later at Harvard Medical School, famed as a teacher of complex arrhythmias and innovator in the study of ventricular tachycardia

Ralph Lazzara (1934-2018), Oklahoma City, Professor of Medicine and Chief of Cardiology University of Oklahoma, an accomplished teacher who established the University of Oklahoma as a center of clinical cardiac electrophysiology and was a founder of the University’s Heart Rhythm Institute.

Bernard Lown (1921-2021), Boston, was born in Lithuania and received his MD at Johns Hopkins after his family escaped Europe in the war years. He made manu contributions to arrhythmology including coining the terms ‘sick sinus syndrome’ and ‘cardioversion’ as well as advancing development of DC defibrillation.  Working with the Soviet official Y. Chazov, Lown formed an organization to warn against nuclear war, for which they received a Nobel Prize in 1985.

Berndt Luderitz (1940-2021), Munich, Germany, Professor, University of Bonn, for more than 25 years and a major contributor to cardiac pacing and electrophysiology as both a teacher and historian.

Arthur J Moss MD (1932-2018) Rochester, New York, Professor University of Rochester, made numerous contributions to cardiac electrophysiology including founding the Long QT registry, and later being the principal driving force behind numerous ICD trials that ultimately led to the current practice guidelines. Arthur’s leadership, judgement, approachability and sense of humor were remarkable. His list of awards is extensive and include the 2017 James B Herrick award from the American Heart Association, the Glorney-Raisbeck award from the New York Academy of Sciencest, and the 1912 Eastman Medal fro the University of Rochester (its highest award).

Will Sealy 1912-2001, Durham North Carolina, Professior of Surgery and ‘Master Surgeon’, Duke University, an accomplished thoracic/cardiac surgeon devised surgical approaches to cure Wolff-Parkinson-White syndrome.

Eduardo Sosa (1942-2020), Sao Paulo, Brazil , Professor University of Sao Paulo (Heart Institute) provided impetus to the use of the epicardial space for catheter ablation of ventricular tachycardias.

Harold C Strauss (1940-2018), Durham, North Carolina, was a Montreal native, trained at Columbia and was Professor of Medicine and Pharmacology at Duke and later at University of Buffalo. He is recognized for both cellular electrophysiology of the sinus node and clinical measurement of sino-atrial conduction and as a demanding teacher.

G Michael  Vincent ( 1940-2020), Salt Lake City, Professor, University of Utah Medical School, innovated genetic investigations into cardiac channelopathies (e.g. long QT syndrome).

Silvio Weidmann (1921-2005), Professor University of Bern a founder of the study of cellular cardiac electrophysiology and first to demonstrate mechanisms of cardiac cell-to-cell communication

Hein Wellens (1935-2020), Maastricht, The Netherlands, Professor and Chairman of the Cardiology department at the new Academic Hospital of Maastricht (University of Limburg). Prof Wellens is widely acknowledged as a ‘father’ of interventional cardiac electrophysiology whose demonstration of the ability to start and stop re-reentrant tachycardias by electrical stimulation led to an abiding interest in understanding and preventing sudden death. He was a worldwide lecturer, and (often in conjunction with Mark Jospehson) a teacher of innumerable young cardiac electrophysiologists. Hein was always a personable and approachable teacher for whom no question was ever deemed unimportant.

Conclusion

Over the past six decades clinical cardiac electrophysiology and pacing has been characterized by rapid, multifaceted development. During that period, the specialty has benefited from the energies of many experts (many of whom are noted herein) and has expanded sufficiently to warrant the founding of highly regarded scientific organizations including, for example, (in no particular order) the Heart Rhythm Society (formerly the North American Society of Pacing and Electrophysiology, NASPE), the European Heart Rhythm Association (EHRA, a subdivision of the European Society of Cardiology), the Chinese Society of Pacing and Electrophysiology, the Chinese Cardiac Electrophysiology Association, the Asian-Pacific Heart Rhythm Society, the Taiwan Heart Rhythm Association, the India Heart Rhythm Society, and the Japan Heart Rhythm Society (JHRS). These and other societies not only serve as a source of professional education, but have been instrumental in development of numerous invaluable clinical practice guidelines, and have had an important impact on government health policies and insurance company attitudes.

In this review we have endeavoured to provide an updated overview of the development of the field of clinical cardiac electrophysiology and pacing. Inevitably, some individuals and important contributions from various parts of the world have been omitted for which we apologize.  In any event, it should be apparent to the reader that over the years, many intellectual and technological developments have played important roles in advancing the field with subsequent benefit to the care of a wide range of conditions; from heart block and other bradyarrhythmias, to tachyarrhythmias, syncope and less well characterized autonomic disturbances of cardiovascular control, heart failure and cardio-pulmonary resuscitation.  Further, the knowledge and technologies gained are now being increasingly adapted to treatment of conditions in other body systems, including the brain, stomach, intestines and bladder.

REFERENCES

1. Luderitz B, In History of the Disorders of Cardiac Rhythm, Armonk, NY, 1995, Futura Publishing Co, pp 1-6

2.  Waller AG. A demonstration on man of electromotive changes accompanying the heart's beat. J Physiol 1887; 8:229-234

3.  Einthoven W. Ueber die Form des menschlichenElektrocardigrams.  Pflugers Arch 1895; 60:101-123

4.  Einthoven W.  Ein neues Galvanometer.  Ann Phys 1903; 12:1059-1071

5.  Lewis, T.  Mechanism and Graphic Registration of the Heart Beat.  London, 1925, Shaw and Sons Ltd.

6.  Wolff L, Parkinson J, White PD. Bundle-branch block with short P-R inteval in healthy young people prone to paroxysmal tachycardia. Am Heart J 1930; 5: 685-704

7   Wilson FN, Johnston FD, MacLeod AG, Barker PS. Electrocardiograms that represent the potential variations of a single electrode. Am Heart J. 1933; 9: 447-458

8.  Katz  LN, Pick A. Clinical Electrocardiography. Part 1. The Arrhythmias. Philadelphia, 1956 Lea & Febiger

9.  Rosenbaum MB, Elizari MV, Lazarri JO.  Los hemibloqueous. Buenos Aires, 1967, Paidos Publ.

10. Dessertenne F.  La tachycardie ventriculaire a deux foyers opposes variables. Arch Mal Coeur. 1966; 59:263-272.

11. Schamroth L. Disorders of Cardiac Rhythm, Oxford, 1971, Blackwell Publishers

12. Upshaw CB, Silverman ME.  Henry JL Marriott: Lucid teacher of electrocardiography. Clin Cardiol 2007;30:207-208.

13  Breithardt G, Borggreffe M Haerten K, Ventricular late potentials and inducible ventricular tachyarrhythmias as a marker for ventricular tachycardia after myocardial infarction. Eur Heart J 1986;7:127-134

14  Huikuri HV. Makikallio T. Airaksinen KE. Mitrani R. Castellanos A. Myerburg RJ. Measurement of heart rate variability: a clinical tool or a research toy?.  J Am Coll Cardiol 1999; 34:1878-83.

15. Chow T. Joshi D. Microvolt T-wave alternans testing for ventricular arrhythmia risk stratification. Expert Rev CardiovascTherap. 2008; 6:833-42.

16. Attia ZI, Noseworthy PA, Lopez-Jimenez F, Asirvatham SJ, Deshmukh AJ, Gersh BJ, Carter RE, Yao X, Rabinstein AA, Erickson BJ, Kapa S, Friedman PA. An artificial intelligence-enabled ECG algorithm for the identification of patients with atrial fibrillation during sinus rhythm: a retrospective analysis of outcome prediction. Lancet. 2019;394(10201):861-867

17. Hannun AY, Rajpurkar P, Haghpanahi M, et al. Cardiologist-level arrhythmia detection and classification in ambulatory electrocardiograms using a deep neural network. Nature Med. 2019;25:65-9.

18. Feeny AK et al  Artificial intelligence and machine learning in arrhythmias and cardiac electrophysiology.  Circ Arrhythm Electrophysiol 2020; 13:873-890

19. Attia ZI et al. Age and sex estimation using artificial intelligence from standard 12-lead ECGs.  Circ Arrhythm Electrophysiol 2019; 12:e007284

20  Ko W-Y 2020 Detection of hypertrophic cardiomyopathy using a convolutional neural network-enabled electrocardiogram.  J Am Coll Cardiol 2020; 75:722-733,

21 Attia ZI  Noninvasive assessment of dofetilide plasma concentration using a deep learning (neural network) analysis of the surface electrocardiogram: a proof of concept study.  PLoS ONE 2018; 13:e0201059

22. Sutton R, Fisher JD, Linde C, Benditt DG. History of electrical therapy for the heart  Eur Heart J (Suppl) 2007; Suppl I: 13-110.

23.Elmqvist R, Senning A. An implantable pacemaker for the heart. In Smyth CN, ed. Proceedings of the Second International Conference on Medical Electronics. Paris, France, June 24-27, 1959. London, UK: Iliffe & Sons Ltd; 1960; pp 253-254.

24. Schechter DC. Exploring the origins of electrical cardiac stimulation. Medtronic Inc., Minneapolis, MN, USA 1983.

25. Hyman AS. Resuscitation of the stopped heart by intracardial therapy. II. Experimental use of an artificial pacemaker. Arch Int Med 1932; 50:283-305.

26. Zoll PM. Resuscitation of the heart in electrical standstill by external electric stimulation. New Engl  J Med 1952; 247: 768-772.

27 see Cakulev and Waldo, Circulation 2015

28  Cakulev and Waldo 2009

29 Furman S, Robinson G. Stimulation of the ventricular endocardial surface in control of complete heart block. Ann Surg 1959; 841-846.

30 Bakken EE. One Man's Full Life. Minneapolis, Medtronic Inc., 1999

31 Chardack WM. Heart block treated with an implantable pacemaker.  Past experience and current developments Prog Cardiovasc Dis 1964;6:507-520.

32 Norman JC, Sandberg GW, Huffman FN.  Implantable nuclear-powered cardiac pacemakers.  New Engl J Med 1970; 283: 1203-1207

33 Greatbach W, Lee JH, Mathias W, Eldridge M, Moser JR, Schneider AA .

The solid-state lithium battery: A new improved chemical power source for implantable cardiac pacemakers. IEEE Trans Biomed Eng 1971;18;317- 23

34. Cook P. Davies JG. Leatham A. External electric stimulator for treatment of ventricular standstill.  Lancet. 1956; 271:1185-9.

35. Berkovits BV, Castellanos A Jr, Lemberg L. Bifocal demand pacing. Circulation 1969 (40 - Suppl III): 44-49.

36. Castillo CA. Berkovits BV. Castellanos A Jr. Lemberg L. Callard G. Jude JR. Bifocal demand pacing. Chest. 1971; 59:360-4.

37. Mond H, Sloman G. The small tine pacemaker lead: Absence of displacement. PACE 1980; 3: 171-177.

## 38  Magney JE, Staplin DH, Flynn DM, Hunter DW    A new approach to percutaneous subclavian venipuncture to avoid lead fracture or central venous catheter occlusion.

Pacing & Clinical Electrophysiology. 1993; 16:2133-42.

39  Fetter J, Bobeldyk GL, Engman FJ.  The clinical incidence and significance of myopotential sensing with unipolar pacemakers. PACE 1984;7: 871-879

40  Levine PA, Caplan CH, Klein MD.  Myopotential inhibition of unipolar lithium pacemakers. Chest 1982; 461-466

41. Sutton R, Bourgeois I. The history of cardiac pacing. In The foundations of cardiac pacing: an illustrated practical guide to basic pacing. Vol 1, part 1. Mt Kisco, NY. 1991. Futura Publishing Co Inc. pp319-324

42  Funke HD. Die optimierte sequentielle Stimulation von Vorhof und Kammer-ein neuartiges Konzept zur Behandlung bradykarder Dysrhythmien. Herz Kreisl 1978; 10: 479-483

43.Rickards AF, Norman J. Relation between QT interval and heart rate: New design of physiologically adaptive cardiac pacemaker. Br Heart J 1981; 45: 56-61.

44. Humen DP, Anderson K, Brumwell D et al. A pacemaker which automatically icreases its rate with physiological activity.  In Cardiac Pacing.  K Steinbach et al (editors), Darmstadt, 1983, Steinkopff Verlag pp 259-265

45. Benditt DG, Milstein S, Gornick CC, Buetikofer J, Mianulli M, Fetter J:  Sensor-triggered rate-variable cardiac pacing:  Current technologies and clinical implications.  Ann Int Med 1987;107:714-724

46. Stokes K. The biostability of polyurethane leads. In Modern Cardiac Pacing, Serge Barold (editor), Mount Kisco, NY, 1985, pp173-198.

47. Stokes KB, Kriett JM, Gornick CC, Detloff BLS, Benditt DG. Low threshold cardiac pacing leads. Proc. Fifth Annual Conference. IEEE in Med and Biol Soc, 1983; pp100-103

48.  Bisping HJ, Kreuzer J, Birkenheir H. Three-year clinical experience with a new endocardial screw-in lead with introduction protection for use in the atrium and ventricle.  PACE 1980;3:424-35

49. Stokes K, Bornzin G.  The electrode-biointerface: Stimulation.  In Modern Cardiac Pacing, Serge Barold (editor), Mount Kisco, NY, 1985, pp 33-78.

50. Sticherling C, Burri H. Introduction of new industry standards for cardiac implantable electronic devices: balancing benefits  and unexpected risks. Europace 2012; 14:1081-86

51.  Wang L., Fundamentals of intra-thoracic impedance monitoring in heart failure. Am J Cardiol. 2007; 99:3G-10G.

52. Yu C, Wang L, Chau E, Chan RH, Kong S, Tang M, Christensen J,  Stadler RW, Lau C. Intrathoracic impedance monitoring in patients with heart failure: correlation with fluid Status and feasibility of early warning preceding hospitalization. Circulation 2005;112;841-848

53. Gregoratos G, Abrams J, Epstein AE, et al. ACC/AHA/NASPE guidelines update for implantation of cardiac pacemakers and antiarrhythmia devices: summary article: a report of the American College of Cardiology, American Heart Association task force on practice guidelines (ACC/AHA/NASPE committee to update the 1998 pacemaker guidelines). J Am Col Cardiol 2002; 40: 170-1719.

54.  Panos E. Vardas (Chairperson) ,Angelo Auricchio , Jean-Jacques Blanc; Jean-Claude Daubert ; Helmut Drexler; Hugo Ector; Maurizio Gasparini;Cecilia Linde; Francisco Bello Morgado; Ali Oto; Richard Sutton; Maria Trusz-Gluza - The Task Force of the European Society of Cardiology. Developed in Collaboration with the European Heart Rhythm Association. Cardiac pacing and cardiac resynchronisation therapy - European Society of Cardiology Practice Guidelines.  Eur Heart J 2007;28:2256-2295

55. Wilkoff BL, Cook JR, Epstein AE, Greene HL, Hallstrom AP, Hsia H, Kutalek SP, Sharma A. Dual-chamber pacing or ventricular back-up pacing in patients with an implantable defibrillator: the dual chamber and VVI implantable defibrillator trial (DAVID) trial. JAMA 2002; 288: 3115-3123.

56. Cazeau S, Ritter P, Bakdach S, Lazarus A, Limousin M, Henao L, Mundler O, Daubert J-C. Four chamber pacing in dilated cardiomyopathy. Pacing Clin Electrophysiol 1994; 17: 1974-1979.

57. Blanc JJ, Etienne Y, Gilard M, Mansourati J, Munier S, Boschat J, Benditt DG, Lurie KL:  Evaluation of different ventricular pacing sites in patients with severe heart failure.  Results of an acute hemodynamic study.  Circulation 1997; 96(10): 3273-3277.

58. Cazeau S, Leclerq C, Lavergne T, Walker S, Varma C, Linde C, Garrigue S, Kappenberger L, Haywood GA, Santini M, Bailleul C, Daubert J-C. Multisite stimulation in cardiomyopathies (MUSTIC) study investigators. Effects of multisite biventricular pacing in patients with heart failure and intraventricular conduction delay. N Engl J Med 2001; 344: 873-880.

59.Abraham WT, Fisher WG, Smith AL, Delurgio DB, Leon AR, Loh E, Kocovic DZ, Packer M, Clavell AL, Hayes DL, Ellestad M, Trupp RJ, Underwood J, Pickering F, Truex C, McAtee P, Messenger J. The MIRACLE Study Group. Multicenter Insynch randomized clinical evaluation. Cardiac resynchronization in chronic heart failure. N Engl J Med 2002; 346: 1845-1853.

60. Auricchio A, Stellbrink C, Sack S, Block M, Vogt J, Bakker P, Huth C, Schondube F, Wolfhard U, Bocker D, Krahnefeld O, Kirkels H. Pacing therapies in congestive heart failure (PATH-CHF) study group. Long-term clinical effect of hemodynamically optimized cardiac resynchronization therapy in patients with heart failure and ventricular conduct ion delay. J Am Coll Cardiol 2002; 39: 2026-2033.

61. Bristow MR, Saxon LA, Boehmer J, Krueger S, Kass DA, De Marco T, Carson P, DiCarlo L, DeMets D, White BG, DeVries DW, Feldman AM. Comparison of medical therapy, pacing and defibrillation in heart failure (COMPANION) investigators. Cardiac resynchronization therapy with or without an implantable defibrillator in advanced chronic heart failure. N Engl J Med 2004; 350: 2140-2150.

62. Cleland JGF, Daubert J-C, Erdmann E, Freemantle N, Gras D, Kappenberger L, Tavazzi L. The cardiac resynchronization-heart failure (CARE-HF) study investigators. The effect of cardiac resynchronization on morbidity and mortality in heart failure. N Engl J Med 2005; 352:1539-49

63. Ruwald MH, Solomon SD, Foster E, Kutyifa V, Ruwald AC, Sherazi S, McNitt S, Jons C, Moss AJ, Zareba W. Left ventricular ejection fraction normalization in cardiac resynchronization therapy and risk of ventricular arrhythmias and clinical outcomes: results from the Multicenter Automatic Defibrillator Implantation Trial With Cardiac Resynchronization Therapy (MADIT-CRT) trial. Circulation. 2014; 130(25):2278-86.

64. Tyers GFO.  Optimal electrode implantation site for asynchronous dipolar cardiac pacing.  Ann Surg 1968;167: 168-79

65. Tyers GFO. Comparison of the effect on cardiac function of single-site and simultaneous multiple-site ventricular stimulation after A-V block.  J Thorac Cardiovasc Surg 1970;59:211- 217

66.  Gibson DG, Chamberlain DA, Coltart DJ, Mercer J.  effect of changes in ventricular activation on cardiac hemodynamics in man.  Comparison of right ventricular, left ventricular, and simultaneous pacing of both ventricles.  Brit Heart J  1971; 33;397-400.

67.  De Teresa E, Rodriguez-Bailon I, Moreau J, Diez A, Marin MD, de Artaza M.  Haemodynamics of ventricular depolarization sequence during permanent cardiac pacing. In Progress in Clinical Pacing (M. Santini , editor), Milan, Springer-Verlag, 1984, pp 888-892.

## 68. Hochleitner M, Hortnagl H, Hortnagl H, Fridrich L, Gschnitzer F.  Long-term efficacy of physiologic dual-chamber pacing in the treatment of end-stage idiopathic dilated cardiomyopathy. Am J Cardiol 1992;. 70(15):1320-5.

69.  Verma N, Knight BP. Update in cardiac pacing. Arrhythmia Electrophysiol Rev 2019; 8:  228-223.

70.   Birnie DH, Wang J, Alings M, Philippon F, Parkash R, Manlucu J, Angaran P, Rinne C, Coutu B, Low RA, Essebag V, Morillo C, Redfearn D, Toal S, Becker G, Degrace M, Thibault B, Crystal E, Tung S, LeMaitre J, Sultan O, Bennett M, Bashir J, Ayala-Paredes F, Gervais P, Rioux L, Hemels MEW, Bouwels LHR, Exner DV, Dorian P, Connolly SJ, Longtin Y, Krahn AD. Risk factors for infections involving implanted cardiac electronic devices. J Am Coll Cardiol 2019;74:2845-54

71.  Krahn AD, Birnie DH . A longer look at preventing cardiac device infection. Heart Rhythm.2020; 17:1123-1124.

72. Callahan TD, Tarakji KG, Wilkoff BL Antibiotic eluting envelopes: evidence, technology, and defining high-risk populations.

Europace. 2021; 23 (Suppl 4):iv28-iv32, 2021 06 23.

73  Beck CS, Pritchard WH, Feil HS.  Ventricular fibrillation of long duration abolished by electric shock. JAMA 1947;135:985-986.

74  Bouvrain Y, Guedon J, Zacouto F. The treatment of ventricular tachycardia by external electric shock.  Arch Mal du Coeur Vaisseaux 1962;55: 257-74

75 Lown B, Amarasingham R, Neumann J. New method for terminating cardiac arrhythmias: Use of synchronized capacitor discharge. JAMA 1962;182: 548-555.

76 Mirowski M, Reid RR, Mower MM, et al. Termination of malignant ventricular arrhythmias with an implanted automatic defibrillator in human beings. N Engl J Med 1980; 303: 322-324.

77  Zipes DP, Hegger JJ, Miles WM, Mahomed Y, Brown JW, Speilman SR, Prystowski EN. Early experience with an implantable cardioverter. N Engl J Med 1984; 311: 485-490.

78  Schoels W1,  Steinhaus D, Johnson WB, O'hara G, Schwab JO, Jenniskens I, Degroot PJ, Tang F, Helmling E, EnTrust Clinical Study Investigators

Optimizing implantable cardioverter-defibrillator treatment of rapid ventricular tachycardia: antitachycardia pacing therapy during charging. Heart Rhythm 2007; 7:879-85.

doi: 10.1016/j.hrthm.2007.03.008.Epub 2007 Mar 12.

79  AVID Investigators. A comparison of antiarrhythmic-drug therapy with implantable defibrillators in patients resuscitated from near-fatal ventricular arrhyhthmias. N Engl J Med 1997; 337: 1576-1583.

80  Connolly SJ, Gent M, Roberts RS, Dorian P, Roy D, Sheldon RS, Mitchell LB, Green MS, Klein GJ, O'Brien B. Canadian implantable defibrillator study (CIDS): a randomized trial of the implantable cardioverter defibrillator against amiodarone. Circulation 2000; 101: 1297-1302.

81.  Kuck KH, Cappato R, Siebels J, et al. Randomized comparison of antiarrhythmic drug therapy with implantable defibrillators in patients resuscitated from cardiac arrest: the cardiac arrest study Hamburg (CASH). Circulation 2000; 102: 748-754.

82  Moss AJ, Hall WJ, Cannom DS, et al. Improved survival with an implanted defibrillator in patients with coronary disease at high risk for ventricular arrhythmia. Multicenter automatic defibrillator implantation trial investigators. N Engl J Med 1996; 335: 1933-1940.

83  Bigger JT Jr. Prophylactic use of implanted cardioverter defibrillators in patients at high risk for ventricular arrhythmia after coronary artery bypass graft (CABG) patch trial investigators. N Engl J Med 1997; 337: 1569-1575.

84  Buxton AE, Lee KL, Fisher JD, Josephson ME, Prystowsky EN, Hafley G. A randomized study of the prevention of sudden death in patients with coronary artery disease. Multicenter unsustained tachycardia trial investigators. N Engl J Med 1999; 341: 1882-1890.

85  Moss AJ, Zareba W, Hall WJ, Klein H, Wilber DJ, Cannom DS, Daubert J-C, Higgins SL, Brown MW, Andrews ML. The multicenter automatic defibrillator implantation trial II investigators. Prophylactic implantation of a defibrillator in patients with myocardial infarction and reduced ejection fraction. N Engl J Med 2002; 346: 877-883.

86  Bardy GH, Lee KL, Mark DB, Poole JE, Packer DL, Boineau R, Domanski M, Troutman C, Anderson J, Johnson G, McNulty SE, Clapp-Channing N, Davidson-Ray LD, Fraulo ES, Fishbein DP, Luceri RM, Ip JH. Sudden Cardiac Death in Heart Failure (SCDHeFT) Investigators: Amiodarone or an implantable cardioverter-defibrillator for congestive heart failure. N Engl J Med 2005: 352: 225-237.

87  Bardy GH, Yee R, Jung W. Multicenter experience with a pectoral unipolar implantable cardioverter-defibrillator. Active Can Investigators. J Am Coll Cardiol. 1996; 28:400-10.

88. Kaya E, Rassaf T, Wakili R. Subcutaneous ICD: Current standards and future perspective. Int J Cardiol 2019; 24;1-4

89. MacInnis HF. The clinical application of radioelectrocardiography. Can Med Assoc J 1954;70:574-76.

90 Krahn A, Klein GJ, Yee R, Norris C. Final results from a pilot study with an implantable loop recorder to determine the etiology of syncope in patients with negative non-invasive and invasive testing. Am J Cardiol 1998; 82: 117-119.

91 Joshi AK, Kowey PR, Prystowsky EN, Benditt DG, Cannom DS, Pratt CM, McNamara A, Sangrigoli RM.  First experience with a mobile cardiac outpatient telemetry (MCOT) system for the diagnosis and management of cardiac arrhythmia.  Amer J Cardiol 2005;95(7) 878-881.

92.  Bourge RC. Abraham WT. Adamson PB. Aaron MF. Aranda JM Jr. Magalski A. Zile MR. Smith AL. Smart FW. O'Shaughnessy MA. Jessup ML. Sparks B. Naftel DL. Stevenson LW. COMPASS-HF Study Group. Randomized controlled trial of an implantable continuous hemodynamic monitor in patients with advanced heart failure: the COMPASS-HF study. J Am Coll Cardiol 2008;51:1073-9.

93. Abraham WT, Stevenson LW, Bourge RC, Lindenfeld JA, Bauman JG, Adamson PB, on behalf of the CHAMPION Trial Study Group. Sustained efficacy of pulmonary artery pressure to guide adjustment of chronic heart failure therapy: complete follow-up results from the CHAMPION randomised trial. Lancet 2016;387:453-61.

94 Benditt DG, Adkisson WO, Sutton R, Mears RK, Sakaguchi S.  Ambulatory diagnostic ECG monitoring for syncope and collapse: An assessment of current clinical practice in the United States. PACE 2018;41(2):203-209.

95  Sutton R, Mears R, Kohno R, Benditt DG. Ambulatory ECG monitoring for syncope and collapse: a comparative assessment of clinical practice in UK and Germany. Europace (EP); 2018;20:DOI. 10.1093/europace/euy178 Europace. 20(12):2021-2027, 2018

96  Puech P, Latour H, Grolleau R, Dufoix R, Cabasson J, Robin J. L'activite electrique du tissu de conduction auriculo-ventriculaire en electrocardiographie intracavitaire. Arch Mal Coeur. 1970; 63:500-520.

97.  Scherlag BJ, Lau SH, Helfant RH, Berkowitz WD, Stein E, Damato AN. Catheter technique for recording His bundle activity in man. Circulation 1969; 39: 13-18.

98  Durrer D, Ross JP. Epicardial activation of the ventricles in a patient with Wolff-Parkinson-White syndrome (type B).  Circulation 1967;35:15-21

99  Durrer D, Schoo L, Schuilenburg RM, Wellens HJ. The role of premature beats in the initiation and the termination of supraventricular tachycardia in the Wolff-Parkinson-White syndrome. Circulation. 1967; 36:644-62.

100 Wellens HJ, Schuilenberg RM, Durrer D. Electrical stimulation of the heart in patients with Wolff-Parkinson-White syndrome, type A. Circulation. 1971;43:99-114.

101  Wellens HJJ.  Electrical stimulation of the heart in the study and treatment of tachycardias.  Leiden, The Netherlands, 1971, Kroese.

102  Wellens HJJ, Durrer DR, Lie K. Observations on mechanisms of ventricular tachycardia in man. Circulation 1976; 54: 237-244.

103 Gallagher JJ, Pritchett ELC, Sealy WC, Kasell J, Wallace AG. The preexcitation syndromes. Progr Cardiovasc Dis 1978; 20: 285-327.

104 Waldo AL, MacLean WA, Cooper TB, Kouchoukos NT, Karp RB. Use of temporarily placed epicardial atrial wire electrodes for the diagnosis and treatment of cardiac arrhythmias following open-heart surgery. J Thoracic Cardiovasc Surg. 1978; 76:500-5, 1978

105  Waldo AL, MacLean WA, Karp RB, Kouchoukos NT, James TN. Entrainment and interruption of atrial flutter with atrial pacing: studies in man following open heart surgery. Circulation. 1977; 56: 737-45.

106  Waldo AL, Wells JL Jr, Cooper TB, MacLean WA. Temporary cardiac pacing: applications and techniques in the treatment of cardiac arrhythmias. Prog Cardiovasc Dis 1981; 23:451-74.

107  Josephson ME, Horowitz LN, Farshidi A. Continuous local electrical activity. A mechanism of recurrent ventricular tachycardia.  Circulation. 1978; 57:659-65.

108  Josephson ME, Horowitz LN, Farshidi A, Spear JF, Kastor JA. Moore EN. Recurrent sustained ventricular tachycardia. 2. Endocardial mapping. Circulation. 1978; 57:440-7.

109  Josephson ME, Horowitz LN, Farshidi A, Kastor JA. Recurrent sustained ventricular tachycardia. 1. Mechanisms. Circulation. 1978; 57:431-40.

110  Denker S, Lehmann MH, Mahmud R, Gilbert C, Akhtar M. Divergence between refractoriness of His-Purkinje system and ventricular muscle with abrupt changes in cycle length. Circulation. 1983; 68:1212-21.

111  Denker S, Lehmann M, Mahmud R, Gilbert C, Akhtar M. Effects of alternating cycle lengths on refractoriness of the His-Purkinje system. J Clin Investigation.1984; 74:559-70.

112  Denker S, Lehmann MH, Mahmud R, Gilbert C, Akhtar M. Facilitation of macroreentry within the His-Purkinje system with abrupt changes in cycle length. Circulation. 1984; 69:26-32.

113  Burchell HB, Frye RL, Anderson MW, McGoon DC. Atrioventricular and ventriculoatrial excitation in Wolff-Parkinson-White syndrome (type B). Temporary ablation at surgery. Circulation. 1967; 36:663-72.

114 Becker AE, Anderson RH, , Durrer D, Wellens HJJ. The anatomical substrates of Wolff-Parkinson-White syndrome: a clinicopathological correlation in seven patients. Circulation 1978; 57: 870-879.

115  Sealy WC, Gallagher JJ, Pritchett ELC. The surgical anatomy of Kent bundles based on electrophysiological mapping and surgical exploration. J Thorac Cardiovasc Surg 1978; 76: 804-815

116  Strauss HC, Saroff A, Bigger JT Jr, Giardina EGV. Premature atrial stimulation as a key to the understanding of sinoatrial conduction in man. Presentation of data and critical review. Circulation 1973; 47: 86-93.

117 Benditt DG, Strauss HC, Scheinman MM, Behar VS, Wallace AG: Analysis of secondary pauses following termination of rapid atrial pacing in man.  Circulation 1976;54:436

118  Narula OS, Samet P, Javier RP. Significance of the sinus node recovery time. Circulation 1972; 45: 140-158.

119 Jordan JL, Yamaguchi I, Mandel WJ, The sick sinus syndrome.  JAMA. 1977; 237: 682-4.

120 Jordan JL, Yamaguchi I, Mandel WJ. Studies on the mechanism of sinus node dysfunction in the sick sinus syndrome. Circulation. 1978; 57: 217-23.

121 Waldo AL, MacLean WA, Karp RB. Kouchoukos NT. James TN. Entrainment and interruption of atrial flutter with atrial pacing: studies in man following open heart surgery. Circulation. 1977; 56:737-45.

122 Waldo AL. Plumb VJ. Arciniegas JG. MacLean WA. Cooper TB. Priest MF. James TN. Transient entrainment and interruption of the atrioventricular bypass pathway type of paroxysmal atrial tachycardia. A model for understanding and identifying reentrant arrhythmias. Circulation.1983; 67:73-83.

123  Cosio FG, Arribas F, Barbero JM, Kallmeyer C, Goicolea A. Validation of double-spike electrograms as markers of conduction delay or block in atrial flutter. Am J Cardiol 1988; 61: 775-780.

124  Cosio FG, Arrobas F, LopezG et al.Atrial flutter mapping and ablation. Studying atrial flutter mechanisms by mapping and entrainment. PACE1996;19:841-53

125  Wijffels CEF, Kirchhof CJHJ, Dorland R, Alessie MA. Atrial fibrillation begets atrial fibrillation. A study in awake chronically instrumented goats. Circulation 1995; 92: 1954-1968.

126 Scheinman MM, Morady F, Hess DS, Gonzalez R. Catheter-induced ablation of the atrioventricular junction to control refractory supraventricular arrhythmias. JAMA 1982; 248: 851-855.

127 Gallagher JJ, Svenson RH, Kasell J, German LD, Bardy GH, Broughton A, Critelli G. Catheter technique for closed chest ablation of the atrioventricular conduction system. A therapeutic alternative for the treatment of refractory suraventricular tachycardia. N Engl J Med 1982; 306: 194-200.

128 Jackman WM, Wang X, Friday KJ, et al. Catheter ablation of accessory atrioventricular pathways (Wolff-Parkinson-White syndrome) by radiofrequency current. N Engl J Med 1991; 324: 1605.

129.  Jackman WM, Beckman KJ, McClelland JH, et al. Treatment of supraventricular tachycardia due to atrioventricular nodal reentry by radiofrequency catheter ablation of slow pathway conduction. N Engl J Med 1992; 327: 313-318.

130 Kuck KH, Schluter M, Eiger M,Siebels J, Duckeck W. Radiofrequency current catheter ablation of accessory atrioventricular pathways, Lancet 1991;337:1557-1561

131  Cox JL, Boineau JP, Schuessler RB, et al. Successful surgical treatment of atrial fibrillation: review and clinical update. JAMA 1991; 266: 1976.

132 Haissaguerre M. Jais P. Shah DC. Takahashi A. Hocini M. Quiniou G. Garrigue S. Le Mouroux A. Le Metayer P. Clementy J. Spontaneous initiation of atrial fibrillation by ectopic beats originating in the pulmonary veins. New Engl J Med 1998; 339:659-66.

133 Haisaguerre M, Jais P, Shah DC, Garrigue S, Takahashi A, Lavergne T, Hocini M, Peng JT, Roudaut R, Clementy J. Electrophysiological end point for catheter ablation of atrial fibrillation initiated from multiple pulmonary venous foci. Circulation 1999; 101:1409-1417.

134  Barnett AS, Bahnson TD,Piccini JP. Recent advances in lesion formation for catheter ablation of atrial fibrillation. Circulation: Arrhythmia and Electrophysiology 2016;9: ahajournals.org/lookup/supp/doi.org/10.1161/CIREP. 115.003299

135  Harrison L. Gallagher JJ. Kasell J. Anderson RH. Mikat E. Hackel DB. Wallace AG. Cryosurgical ablation of the A-V node-His bundle: a new method for producing A-V block. Circulation. 1977; 55:463-70, 1977

136 Ohkawa S, Hackel DB, Mikat EM, Gallagher JJ, Cox JL. Sealy WC. Anatomic effects of cryoablation of the atrioventricular conduction system. Circulation. 1982; 65:1155-62, 1982

137  Timmermans C, Ayers GM, Crijns HJ, Rodriguez LM. Randomized study comparing radiofrequency ablation with cryoablation for the treatment of atrial flutter with emphasis on pain perception. Circulation. 2003;107(9):1250-2

138  Aoyama H, Nakagawa H, Pitha JV, Khammar GS, Chandrasekaran K, Matsudaira K, Yagi T, Yokoyama K, Lazzara R, Jackman WM. Comparison of cryothermia and radiofrequency current in safety and efficacy of catheter ablation within the canine coronary sinus close to the left circumflex coronary artery. J Cardiovasc Electrophysiol 2005; 16:1218-26, 2005

139  Coumel Ph.  Autonomic arrhythmogenic factors in paroxysmal atrial fibrillation. In Atrial Fibrillation: Mechanisms and Therapeutic Strategies. SB Olsson, MA Allessie, RWF Campbell editors, Futura Publishing, Armonk NY, 1994, pp 171-185.

140  Coumel Ph. Autonomic influences in atrial tachyarrhythmias.  J Cardiovasc Electrophysiol 1996; 7: 999-1007.

141  Zipes DP, Rubart M. Neural modulation of cardiac arrhythmias and sudden cardiac death. Heart Rhythm. 2006; 3:108-13.

142 Zipes DP. Ischemic modulation of cardiac autonomic innervation. J Am Coll Cardiol. 1991; 17:1424-5.

143 Kenny RA, Bayliss J, Ingram A, Sutton R. Head-up tilt: a useful test for investigating unexplained syncope. Lancet 1986; 1: 1352-55.

144 Almquist A, Goldenberg IF, Milstein S, Benditt DG, et al. Provocation of bradycardia and hypotension by isoproterenol and upright posture in patients with unexplained syncope. N Engl J Med 1989; 320: 346-351.

145 Raviele A, Gasparini G, Di Pede F, Menozzi C, Brignole M, Dinelli M, Alboni P, Piccolo E. Nitroglycerin infusion during upright tilt: a new test for the diagnosis of vasovagal syncope. Am Heart J. 1994;127:103-11.

146 Raviele A, Menozzi C, Brignole M, Gasparini G, Alboni P, Musso G, Lolli G, Oddone D, Dinelli M, Mureddu R. Value of head-up tilt testing potentiated with sublingual nitroglycerin to assess the origin of unexplained syncope. Am J Cardiol. 1995; 76:267-72.

147. Bartoletti A, Alboni P, Ammirati F, Brignole M, Del Rosso A, Foglia Manzillo G, Menozzi C, Raviele A, Sutton R. 'The Italian Protocol': a simplified head-up tilt testing potentiated with oral nitroglycerin to assess patients with unexplained syncope. Europace 2000; 2: 339-342.

148. Petersen MEV, Chamberlain-Webber R, Fitzpatrick AP, Ingram A, Williams T, Sutton R. Permanent pacing for cardio-inhibitory malignant vasovagal syndrome. Heart 1994; 71: 274-281

149  Brignole M, Menozzi C, Maggi R, Solano A, Donateo P, Bottoni N, Lolli G, Quartieri F, Croci F, Oddone D, Puggioni E. The usage and diagnostic yield of the implantable loop-recorder in detection of the mechanism of syncope and in guiding effective antiarrhythmic therapy in older people. Europace. 2005;7:273-9.

150  Brignole M, Sutton R, Menozzi C, Garcia-Civera R, Moya A, Wieling W, Andresen D, Benditt DG, Vardas P. International Study on Syncope of Uncertain Etiology 2 (ISSUE 2) Group. Early application of an implantable loop recorder allows effective specific therapy in patients with recurrent suspected neurally mediated syncope. Eur Heart J.  2006; 27:1085-92.

151 Brignole M, Menozzi C, Moya A, Andresen D, Blanc J-J et al. Pacemaker therapy in patients with neurally-mediated syncope and documented asystole. Issue 3: A randomised trial. Circulation 2012;125:2566-71

152  Brignole M, et al. Cardiac pacing in severe recurrent reflex syncope and tilt-induced asystole. Eur Heart J 2021; 42: 508-516.

- Glikson M, Nielsen JC, Kronborg MB, Michowitz Y, Auricchio A, Barbash IM, Barrabe ́s JA, Boriani G, Braunschweig F, Brignole M, Burri H, Coats AJS, Deharo J-C, Delgado V, Diller G-P, Israel CW, Keren A, Knops RE, Kotecha D, Leclercq C, Merkely B, Starck C, Thylen I, Tolosana JM, 2021 ESC Guidelines on cardiac pacing and cardiac resynchronization therapy. Eur Heart J 2021; 42; 3427–3520.

- Benditt DG, Sutton R. Improved acute orthostatic intolerance in POTS by lower body compression. Both Beneficial and sufficient? J Am Coll Cardiol 2021;77:297-299

- Kohno R, Cannom DS, Olshansky B, Shijun C, Krishnappa, D, Adkisson WO, Norby FL, Fedorowski A, Benditt DG. Mast cell activation disorder and postural orthostatic tachycardia syndrome: A clinical association. J Amer Heart Assoc 2021; 10: e021002

156  Moss AJ, Zareba W, Benhorin J, Locati EH, Hall WJ, Robinson JL, Schwartz PJ, Towbin JA, Vincent GM, Lehmann MH. ECG T-wave patterns in genetically distinct forms of the hereditary long QT syndrome. Circulation 1995;92: 2929-2934.

157  Zareba W, Moss AJ, SchwartzPJ, Vincent GM, Robinson JL, Priori S, Benhorin J, Locati EH, Towbin JA, Keating MT, Lehmann MH, Hall WJ.  Influence of genotype on the clinical course of the long QT syndrome. International Long QT Registry Research Group. New Engl J Med 1998;339:960-965.

158  Priori S.  Long QT and Brugada syndromes. From genetics to clinical management.  J Cardiovasc Electrophysiol 2000; 11:1174-1180.

159. Brugada J, Brugada R, Brugada P.  Right bundle-branch block and ST segment elevation in leads V1 through V3: A marker for sudden death in patients without demonstrable structural heart disease.  Circulation 1998;97:457-460.

160 Marcus Fl, Fontaine G, Guiraudon, et al. Right ventricular dysplasia. A report of 24 cases. Circulation 1982;65:384-95

161  Lehnart SE, Ackerman MJ, Benson DW Jr, Brugada R, Clancy CE, Donahue JK, George AL Jr, Grant AO, Groft SC, January CT, Lathrop DA, Lederer WJ, Makielski JC, Mohler PJ, Moss A, Nerbonne JM, Olson TM, Przywara DA, Towbin JA, Wang LH, Marks AR. Inherited arrhythmias: a National Heart, Lung, and Blood Institute and Office of Rare Diseases workshop consensus report about the diagnosis, phenotyping, molecular mechanisms, and therapeutic approaches for primary cardiomyopathies of gene mutations affecting ion channel function. Circulation. 2007; 116:2325-45, 2007

162  Durrer D, van Dam RT, Freud GE, Janse MJ, Meijler FL, Arzbaecher RC. Total excitation of the isolated human heart. Circulation. 1970; 41:899-912.

163  Benson DW Jr, Sterba R, Gallagher JJ, Walston A 2nd, Spach MS. Localization of the site of ventricular preexcitation with body surface maps in patients with Wolff-Parkinson-White syndrome. Circulation. 1982; 65:1259-68.

164  Benson DW Jr, Spach MS. Evolution of QRS and ST-T-wave body surface potential distributions during the first year of life. Circulation. 1982; 65:1247-58.

165  Harrison L, Ideker RE, Smith WM, Klein GJ, Kasell J, Wallace AG, Gallagher JJ. The sock electrode array: a tool for determining global epicardial activation during unstable arrhythmias.PACE 1980;. 3:531-40.

166 Gallagher JJ, Kasell JH, Cox JL. Smith WM. Ideker RE. Smith WM. Techniques of intraoperative electrophysiologic mapping. Am J Cardiol. 1982; 49(:221-40.

167 Frank R cardiac mapping

168 Boineau JP, Canavan TE, Schuessler RB et al: Demonstration of a widely distributed atrial pacemaker complex in the human heart. Circulation 1988; 77:1221-37

169 Taccardi B, Arisi G, Macchi E, Baruffi S, Spaggiari S. A new intracavitary probe for detecting the site of origin of ectopic ventricular beats during one cardiac cycle. Circulation. 1987; 75:272-81.

170 Kadish A, Hauck J, Pederson B, Beatty G, Gornick C. Mapping of atrial activation with a noncontact, multielectrode catheter in dogs. Circulation. 99(14):1906-13, 1999

171  Pachon JC, Pachon E, Pachon JC, Lobo TJ et al. “Cardioneuroablation:-- new treatmeny for neurocardiogenic syncope, functional AV block and sinus dysfunction using catheter RF-ablation. Europace 2005;7:1-13

172 Pachon JC, Pachon EI, Pachon MZC, Lobo TJ, et al. Catheter ablation of severe neurally mediated reflex (Neurocardiogenic or vasovagal) syncope: cardioneuroablation long-term results. Europace 2011;13:1231-1242.

## 173. Wei S, Zheng L, Qiao Y, Shi R, et al. Catheter ablation as a treatment for vasovagal syncope: Long-term outcome of endocardial autonomic modification of the left atrium. J Am Heart Assoc 2016;5:

174  Aksu T, Guler TE, Yalin K, Mutluer FO, Ozcan KS, Calo L. Catheter Ablation of bradarrhythmia: From the beginning to the future. Am J Med Sci 2018;355:252-65

175 Surawicz B. Brief History of cardiac arrhythmias since the end of the nineteenth century: Part I.  J Cardiovasc Electrophysiol 2003;14:1365-71

176  Surawicz B. Brief History of cardiac arrhythmias since the end of the nineteenth century: Part II.  J Cardiovasc Electrophysiol 2004;15:101-111

177  Singh BN, Venkatesh N, Nademanee K, Josephson MA, Kannan R. The historical development, cellular electrophysiology and pharmacology of amiodarone Prog Cardiovasc Dis1989; 31:249-80, 1989

178 Bacaner M, Benditt DG:  Management of ventricular tachycardia and fibrillation with bethanidine an orally absorbable bretylium analog.  Circulation 1981; 64 (Supp. IV): 36-41.

179  Green AF. The discovery of bretylium and bethanidine. Brit J Clin Pharmacol. 1982; 13:25-34

180 Benditt DG, Pritchett ELC, Wallace AG, Gallagher JJ:  Recurrent ventricular tachycardia in man.  Evaluation of disopyramide therapy by intracardiac electrical stimulation.  Eur J Cardiol 1979; 9:255-276.

181 Anonymous. Preliminary report: effect of encainide and flecainide on mortality in a randomized trial of arrhythmia suppression after myocardial infarction. The Cardiac Arrhythmia Suppression Trial (CAST) Investigators.  New Engl J Med 1989; 321:406-12.

182  Fisher JD, Cohen HL, Mehra R, Altschuler H, Escher DJW, Furman S. Cardiac pacing and pacemakers. II. Serial electrophysiologic-pharmacologic testing for control of recurrent tachyarrhythmias. Am Heart J 1977; 93: 658-68.

183  Hartzler GO, Maloney JD. Programmed ventricular stimulation in management of recurrent ventricular tachycardia. Mayo Clin Proceedings 1977; 52:731-41.

184 Horowitz LN. Josephson ME. Farshidi A. Spielman SR. Michelson EL. Greenspan AM. Recurrent sustained ventricular tachycardia 3. Role of the electrophysiologic study in selection of antiarrhythmic regimens. Circulation. 1978; 58:986-97, 1978

185 The ESVEM Investigators. Determinants of predicted efficacy of antiarrhythmic drugs in the Electrophysiologic Study versus Electrocardiographic Monitoring trial.  Circulation 1993; 87:323-329.

186 Wyse GD, Talajic M, Haflee GE, et al. Antiarrhythmic drug therapy in the Multicenter Unsustained Tachycardia Trial: Drug-testing and as-treated analysis. J Am Coll Cardiol 2001; 38:344-351

187 Antzelevitch C, Belardinelli L, Zygmunt AC, Burashnikov A, et al. Electrophysiological effects of ranolazine, a novel antianginal agent with antiarrhythmic properties.  Circulation 2004; 110:904-910.

188 Zareba W, Daubert JP, Beck CA, Huang DT, et al. Ranolazine in high-risk patients with implanted cardiovert-defibrillators.  JACC 2018; 72:636-645.

189 Benditt DG, Bailin S, Remole S, Milstein S:  Proarrhythmia:  Recognition of patients at risk.  J Cardiovasc Electrophysiol 1991;2:S221-S232.

Figure Legends

Figure 1  St Mary's Hospital - London, UK.  Site of Waller's first ECG recordings

Figure 2A

Sir Thomas Lewis

Figure 2B:
Front page of Sir Thomas Lewis’s classic textbook

Figure 3   Front page from Katz and Pick 1956 book.  Note that Part II was never published.

Figure 4

ECG depicting torsades de pointes ventricular tachycardia as described by Dessertenne (10)

Figure 5  12-lead ECG depicting typical ambient noise often encountered in patients with implanted LVADs or other electrically active muscle stimulation systems.

Figure 6

A model of the Siemens-Elema pacemaker which was implanted in Sweden in 1958, and was the first pacemaker implanted in a human (see text for details).

Figure 7

Schematics and device of the first transistorized wearable pacemaker developed by Lillehei and Bakken

Figure 8

Schematic of the first commercially successful sensor driven rate-adaptive pacemaker (Activitrax®, Medtronic Inc.)

Figure 9

Fully implanted pacing system placed in the right ventricle by a purpose designed catheter introduction system (Micra®, Medtronic Inc, Minneapolis, MN)

Figure 10

Dr. Michel Mirowski with the first implantable cardioverter defibrillator (see text for details)

Figure 11

Photograph of the cover of Professor Hein Wellen’s classic 1971 arrhythmia treatise

Figure 12

Photograph of the multi-electrode sock electrode used by Gallagher and colleagues for epicardial arrhythmia mapping at surgery.