Volatile Organic Compound Emission from Human Skin

Anuja T Mitra1*, Alexandra Razumovskaya-Hough 1, George B Hanna1

Address:

1	Department of Surgery and Cancer, Imperial College London, St Mary’s Hospital, Paddington, London, United Kingdom, W21NY

Email: anuja.mitra06@imperial.ac.uk

Telephone Number: +44 7545980633

*lead author

Word Count: 8400

Number of Figures:1

Number of Tables: 2

Date chapter submitted: 25/05/2023

Key words: Volatile Organic Compounds, Skin, Volatolome, Non- invasive, skin patch, headspace VOC

Chapter Abstract:

The analysis of volatile organic compounds (VOCs) emitted from the human body can provide personalised information about underlying metabolic pathophysiological processes entirely non- invasively. Despite the skin being the second largest contributor to the production of VOCs, it is an underexplored branch of the overall human volatolome and consequently the role of human skin to VOC production and the exact extent to which skin VOCs can be signatures of health and disease is unknown.

This chapter explores the role of skin VOCs in the broader scientific and clinical context of the entire human volatolome. First, the literature landscape of the human volatolome and its clinical applications is described. The focus of this chapter then shifts to the human skin volatolome. Key methodological processes and challenges in skin VOC capture and analysis are considered.  This is followed by a comprehensive summary and literature evaluation of research on skin VOCs in health and disease with a unique take on elucidating the biological origins of skin VOCs aiming to link the phenotype to the underlying disease process.

Finally, the chapter concludes by discussing the current limitations of skin VOC research and concludes by highlighting future directions for research to be undertaken in this novel scientific field to strengthen the clinical translational value of skin VOCs.

Volatile Organic Compound Emission from Human Skin

The Human Volatolome

Volatile organic compounds (VOCs) are carbon-containing metabolites emitted from the human body that exist as gaseous state due to their high vapour pressure relative to atmospheric conditions (1). VOCs can be odorous and non-odorous and secreted from various bodily matrices such as breath, urine, saliva, skin and faeces. In all cases, detection of VOCs occurs entirely non-invasively. The aggregate of VOCs emitted from the human body is known as the ‘human volatolome’.

Common chemical classes of VOCs that contribute to the human volatolome are hydrocarbons, aldehydes, alcohols, alkenes and ketones (2).  Based on this knowledge, the medicalised use of olfaction is a historical concept, with Hippocrates describing fetor oris and fetor hepaticus in his treatise on breath aroma and disease. Despite this early correlation of human scent with disease, the human aroma remained largely descriptive and anecdotal.  However, the study of VOCs and their role in disease detection and monitoring has rapidly evolved over the last two decades supported by technical advancements in analytical methods, emphasis on compound identification, elucidation of biological origins and an increasing appreciation of the importance of standardisation and quality controls (3). In particular, rapid advancements and progress in mass spectrometry (MS) techniques has enabled accurate identification and quantification of these volatile metabolites at trace level.  Since VOCs exist at parts per million (ppm) and/or parts per billion (ppb), their analysis is captured using MS which involves the ionization of molecules, followed by the separation and detection of these ions based on their mass-to-charge ratios (m/z). The resulting output is a mass spectrum which plots the relative abundance of ions as a function of their m/z values. The mass spectrum provides information about the composition and structure of the molecules present in the sample. Common MS analytical platforms that have been used to detect VOCs include ‘offline’ techniques such as time- of- flight gas chromatography (GC-MS) in one and two-dimensional forms and Fourier Transform Ion Cyclotron Resonance (FT-ICR) mass spectrometry (4,5). Online sampling platforms include the use of selected ion flow- mass spectrometry (SIFT- MS), proton-transfer-reaction time-of-flight mass spectrometry (PTR-TOF-MS) and Secondary Electrospray Ionization Mass Spectrometry (SESI-MS) (6–9). The advances in analytical technologies are reflected in the increase in the number of VOCs identified from various bodily matrices.  This is estimated to be; 1488 compounds in breath, 623 in skin, 549 in saliva, 444 in urine, 443 in faeces, 379 compounds in blood, 290 in milk and 196 in semen (10).

Clinical Applications of VOCs:

It is well known that humans have a distinct personalised ‘scent’ and this may be attributed to the individualised VOC signature generated.  VOCs are considered terminal products of human metabolism and are produced as a result of metabolic processes (11).  Therefore, metabolic changes through disease or infection would be reflected in a change in the volatolome emitted.  Given that the VOCs reflect underlying human pathophysiology, they have potential to be used as novel non- invasive clinical diagnostic tools and this has been leveraged in a variety of clinical applications.

The majority of clinical volatolomic research has focused on VOC detection within exhaled breath, but other contributors to the volatolome are increasing recognised. VOCs detected from breath offers an attractive diagnostic model due to its high patient acceptability and non- invasive nature (12). A breath test based on the detection of VOCs has shown excellent discriminatory ability in detecting oesophagogastric cancer from healthy patients in an externally validated multi- centre trial, with a sensitivity of 80% and specificity of 81% demonstrating excellent clinical translation value (13,14). Given the key to improving overall survival from this aggressive cancer is early detection, the oesophagogastric breath test demonstrates real potential to improve clinical outcomes. Breath VOCs have also been extrapolated to other hard to diagnose cancers such as pancreatic adenocarcinoma with early results demonstrating an area under the curve of 0.744 for distinguishing cancer from healthy patients (15). A breath test based on the detection of VOCs emitted in colorectal cancer has also demonstrated significant clinical promise with excellent discriminatory ability to distinguish patients with benign colorectal polyps, colorectal cancer and healthy participants (16). This portfolio of breath research has provided a platform for further large-scale multicentre validation trials being conducted by the Hanna laboratory at Imperial College, London across the UK. Aside from breath, the analysis of urinary VOCs has demonstrated excellent diagnostic ability to detect prostate cancer, with a 12-metabolite model having a 92.3% sensitivity in discriminating prostate cancer from healthy controls (17,18). These studies demonstrate a distinction in VOC profile in health and disease, reflecting a fundamental shift in the composition of the VOCs being generated that occurs when metabolic processes are altered.  As such, the analysis of VOCs may provide a non- invasive window into the underlying disease state in humans.

Role Of Skin in The Human Volatolome

Skin is the largest organ of the human body and is the second largest contributor to the overall volatolome (19). Human skin is covered by a protective continuous hydrolipidic film, representing the interface between the epidermal viable layers and the outer environment (20). Skin surface lipids (SSLs) are a mixture of sebum and keratinocyte membrane lipids, protecting the skin from environment. The composition of the SSL is unique for the high percentage of long chain fatty acids, and of the polyterpenoid squalene, that is absent in other human tissues, and in non-human Primates. The skin volatolome thus represents a complex mixture of compounds that are generated through a combination of systemic and local metabolic processes.

The derivation of skin VOCs are thought to be a product of a combination of i) glandular secretions from the eccrine, apocrine and sebaceous glands within the skin, ii) exogenous inputs to the skin from the exposome (environmental contamination, topically applied medication as well as personal care/ cosmetics), iii) perfusion of compounds from the underlying blood vessels reflecting systemic processes, iv) products and by-products of micro-biological metabolism and v)  generated from diet and its metabolites (21) (22,23). A particularly significant contribution to skin VOCs is also recognised to be from the symbiotic bacteria that colonise the skin surface and metabolise substrates in sweat/sebum.  Within this mixture, the ability to differentiate between VOCs of either endogenous or exogenous origins remains a particular challenge.  Owing to the skin’s inherent position as an interface between systemic and ambient environments, it may be uniquely influenced by VOCs arising from either of these fractions or a combination of both.  In general, those investigating the clinical roles of VOCs have sought to eliminate compounds presumed to be of exogenous origins by limiting sources of contamination during sample collection and handling and through the exclusion of exogenous VOCs during data processing.

Curran et al developed distinguishing terminology for the study of skin VOCs; the primary odour of an individual contains constituents that are stable over time regardless of diet or environmental factors; the secondary odour contains constituents that are present due to diet and environmental factors; and the tertiary odour contains exogenous constituents that are present due to influence of the external environment (i.e., lotions, soaps, perfumes, etc.) (22).  Any alteration in inflammatory, metabolic, or infectious states can thus change the quality and quantity of skin VOCs.

Methods for skin VOC capture and analysis

There is currently no recognised standard procedure for skin VOC. Thus, the task of optimising the methods used for the collection and analysis of skin VOCs plays an integral role in maintaining the reliability of this investigative technique and increasing the chances of successful clinical translation. Skin VOC sampling can be broadly categorised into three steps, i) method of VOC entrapment or capture, ii) pre- concentration of the volatile headspace and iii) volatile analysis with MS.

Volatile entrapment/collection: This initial step involves generating and trapping VOCs emitted from skin.  Methods used to capture VOCs can be classified as being: (i) ‘non- contact’ methods sampling the direct analysis of gas above or adjacent to the skin region (known as ‘headspace’), or (ii) ‘contact’ methods using capture of VOCs onto an absorbent material placed directly on or close to the skin surface.

Headspace VOC capture is regarded as a non- contact technique and involves placing either the whole subject or a region of interest of the body within an enclosed chamber (24).  This technique promotes the volatile components emitted from the skin to enter the gaseous phase within an enclosed vessel. Skin VOC release is encouraged by creation of a partition concentration gradient, often using a temperature incubation step prior to sampling to enhance the process. Headspace collection of VOCs can be ‘dynamic’ or ‘static’. Static headspace relies on the passive equilibration of volatile compounds between the sample and headspace, while dynamic headspace involves actively purging and trapping the volatile compounds with an inert gas for subsequent analysis. While both techniques are effective, dynamic headspace analysis has the benefit of concentrating volatile species through the continuous collection of the headspace which is an obvious benefit for untargeted metabolomics and can be argued to be more reflective of the comprehensive skin volatolome.

Direct contact methods for the collection of skin VOCs include the use of solvents to liberate volatiles, glass beads and most commonly skin patches made from adsorbent materials such as cotton gauze, polydimethylsiloxane (PDMS) or solid phase micro- extraction fibres (SPME) that are carbon mesh sheets impregnated with sorbent phase.  A recent systematic review of the literature that investigated techniques used for skin VOCs analysis demonstrated that the most common method was utilising contact-based sampling over headspace techniques (25). Within contact-based methods, most studies used a skin patch and some used solvent extraction onto glass beads. A paper by Curran et al compared 4 skin collections techniques, on 26 healthy volunteers to assess the efficiency of each technique on the yield of VOCs generated using GCMS (22). Results demonstrated that solvent extraction produced 32 compounds, skin sampling with static headspace generated 23 compounds, skin sampling with dynamic headspace produced 38 compounds and a skin patch with subsequent headspace generated 24 compounds.  The compound classes detected were similar between the groups indicating reliability in the technique but possibly that dynamic headspace may be the superior technique in terms of number of volatiles produced.  Despite the evidence that non- contact methods liberate more VOCs, there is a preponderance towards the use of contact-based absorption methods. This may be explained by the fact that, with non-contact-based sampling, the participant is required to be present for the entire sampling time which can be lengthy and troublesome. Conversely, the application of an absorptive skin patch is easy, self-administrable, and can be performed quickly in the community permitting a ’hub and spoke’ method of sampling (12)

Preconcentration steps: The second step involved with the analysis of skin VOCs is the use of a ‘preconcentration step’. This traps the liberated volatiles onto an adsorbent material such as PDMS patches, SPME fibres as well as thermal desorption tubes. Once trapped, the adsorbent materials are coupled to a mass spectrometer and heated to release the VOCs through a process known as thermal desorption (26). Studies reported in the literature have demonstrated a higher yield of skin VOCs being detected with the use of a pre- concentration step. A literature review carried out by Mitra et al demonstrated when collecting skin VOCs using a dynamic headspace method, the use of a pre- concentration material such as SPME fibres was superior in terms of number of skin VOCs generated in comparison to direct injection techniques (25).  Preconcentration is not always employed, with some researchers opting to inject the collected VOCs directly into the GCMS instrument. The advantages of this are it avoid high levels of background VOCs emitted from the pre-concentrating medium itself however is reported to yield fewer volatiles in comparison to methods using a preconcentration phase.

Adsorbent Materials for VOC Collection

It is worth considering the selection of the adsorbent material used for skin VOC capture, whether this be applicable for skin patches or materials used as a pre- concentrating agent. The adsorption material must have affinity for coverage of the spectrum of VOCs emitted by the skin, which encompasses C6-26 hydrocarbon length volatiles with low to medium molecular weight. The chemical classes of skin VOCs can be segregated into polar (carboxylic acids) and non- polar classes (alkenes, alkanes, aldehydes and ketones). It is of paramount importance that the adsorbent material of choice is therefore suitable for the detection of such compounds. Table 1 summarises common adsorbent materials that have been utilised so far for the detection of skin VOCs.

Table 1: Common adsorbant

| Material | Description | Advantages | Disadvantages |
| --- | --- | --- | --- |
| PDMS: Polydimethylsiloxane | Silicone based organic polymer | Optically clear, generally inert, non- toxic and non- flammable Boiling point 200 Allows capture of compounds with broad range of polarities with affinity to non- polar compounds and ease of use, can be applied directly to the skin | Not ideal for capture of large MW and polar compounds e.g. lipids/ fatty acids |
| Tenax (PPPO), Poly 2, 6-diphenyl-p-phenylene oxide | Traditional sorbent (porous polymer) trapping medium to high boiling compounds | Useful for low concentrations compounds due to its low background, easily cleaned, widely used in thermal desorption. High thermal stability ensures wide range of volatility capture C6-26, or VOCs with boiling point from 100-400 Max temp- 350. Desorption temp- 300 Highly inert- protects labile compounds Highly hydrophobic therefore minimises retention of water | Cannot reliably capture small organic molecules e.g., hydrocarbons C4 and below or mid-range highly polar compounds (c5- 12) |
| Porapak, cross linked polysyrene beads | Porous Polymer | High affinity to non- polar compounds with broad range of capture within this class Stable at high temperatures | Relatively low max temp- 225- 290°C Higher background levels than other adsorbents No polar compound coverage |
| Carbotrap | Carbon based sorbents | Has even lower background then Tenax Max temp 400°C Hydrophobic Designed to retain and release mid to large MW | Shows some reactivity towards α-pinene and aldehydes |
| Carboxen | Non- specific carbon sorbents used for their minimal artefact levels | Carbograph 5TD- medium/ strong sorbents suitable for light hydrocarbons Max temp- 400°C Designed to retain and release small molecular weight compounds Methanol is retained |  |
| Gauze pads | Cross linked multiple layers of cotton | Cheap, easily accessible, inert, high patient acceptability | High levels of background which requires analytical grade cleaning prior to use |

Low molecular weight or volatile compounds usually require a 100µm PDMS coated fibre whereas larger molecular weight or semi volatile compounds are more effectively extracted with a 30µm PDMS fibre or a 7µm PDMS fibre. The extraction of very polar analytes from skin is possible using an 85µm polyacrylate-coated fibre. To increase extraction efficiency hybrid coated fibres are used such as PDMS/DVB for alcohols or amines and for an expanded range of analyte coverage (C3-C20), a triple adsorbent fibre composed of DVB/Carboxen on PDMS fibre is recommended.

In terms of pre- concentration adsorbent materials, the most commonly used for skin VOC capture was the triple hybrid DVB/Car/PDMS SPME fibre to widen the range of volatile capture, followed by pre- concentration onto thermal desorption tubes coated with Carbotrap and Tenax (25). For skin patches, the most frequently used material was PDMS followed by simple cotton gauze. Advantages of the use of cotton as an absorbent material is the cost- effectiveness, ease of accessibility of the material and the its inert nature however it must be thoroughly cleaned to analytical grade standards and pre-treated to achieve acceptable background levels of VOCs prior to use (27).

Mass Spectrometry: The final steps involves the analysis of the captured volatiles.  This is achieved using mass spectrometry (MS) techniques due to the analytical sensitivity required for trace volatiles. One dimensional GCMS profiles compounds based on their mass to charge ratio with verification by an external library of compounds known as the NIST database and is the most common analytical platform used for skin VOC analysis. However, advances in technology have permitted the use of two-dimensional GCMS which has superior isomeric separation and greater sensitivity of identification of co-eluting compounds, making it ideal for the analysis of complex biological matrices such as skin (28,29).  Although these platforms are highly sensitive and unrivalled regarding their analytical abilities at scale, such offline analytical workflows are time consuming and require expertise to run. Other MS approaches include selected ion flow tube mass spectrometry (SIFT-MS) and secondary electrospray ionisation (SESI), where samples are introduced directly to an external ionisation source.  These platforms allow real time analysis of results with negligible need for sample preparation and may be more suited to the clinical environment.  Such, real-time approaches are targeted in their analysis so may be ideally suited to biomarker discovery studies and point of care testing once a biomarker is discovered.  In the future, accurate and affordable instruments capable of real time analysis as well as wearable sensors may provide additional opportunities to widen access to volatile biomarker assessment in clinic practice (30).

Anatomical Location of sampling: Considering skin is the largest organ of the human body, that colonises different microbial colonies across regions with varying complexity, the selection of sampling site is an integral aspect to consider. Common anatomical sites for sampling skin VOCs reflect the density of sebaceous glands in the region of interest such as the forehead, neck, upper and lower back and chest (25).  Ultimately, the sampling site selected will be influenced by several factors including patient acceptability, ease of access, and the aims of the research study.  For example, the hand and forearms are often used in clinical skin VOC studies due to ease and comfort of sampling this location.  In comparison, studies investigating microbial sweat profiles preferentially sample from the axilla and groin that is rich in commensal microflora (31) and similarly, studies investigating the attractiveness of mosquito species to human volatile odour have selected common sites of mosquito bites such as the wrist and ankle (32,33). Compounds such as squalene are ubiquitous across all skin sampling locations with decreased amounts on the feet however hexanoic acid is most abundant on chest and armpits and phenylenedibenzoate and benzene derivates are indicative of personal care products/ cosmetics found on face which demonstrates the variation in results dependent on the location of sampling. Another important consideration aside from the aims of the study when selecting the location of skin VOC sampling is to choose a region that will minimise exogenous skin VOCs from the exposome. This was demonstrated in a study by Gallagher et al where SPME skin patches were applied to two different anatomical sites (back vs. forearm) (21).  Results demonstrated a significant variation in the volatiles generated between these areas being discriminated by different amounts of dimethylsulphone and two exogenous compounds, hexyl salicylate and a-hexyl cinnamaldehyde.  Dimethylsulphone was found to be greater in the forearm, while hexyl salicylate and a-hexylcinnamaldehyde were higher in SPME samples from the back.  The differences reﬂect how consumer products are applied to the body as exogenous compounds from shampoos and conditioners may be detected on the upper back and perfume on the distal forearm which is an important consideration for researchers undertaking skin VOC sampling.

Skin VOCs in health and disease

The analysis of skin VOCs offers a novel non-invasive method for detection and monitoring of human health and disease. Skin VOCs are of great importance in numerous scientific, environmental, and medicinal fields. The human skin volatolome has been applied in search and rescue operations and human trafficking scenarios that rely on the detection of common VOCs, such as ketones and alcohols to identify individuals (6).  Skin volatomics have also been studied in the ecology of blood-sucking vectors of human diseases and used in the design of perfumes and personal care products (22) (34).  Personalised skin volatolomics may be of greater relevance in medicinal fields to enable the non-invasive detection of changes in an individual’s health status.  A particular strength of skin volatolomics may lie in scenarios that require serial or longitudinal samplings.  In the case of response to therapy and drug monitoring, the ability of the skin to excrete exogenous metabolites or surrogate markers of the systemic metabolism may be a specific advantage.

Healthy volatolome: The most recent literature review of skin VOCs has demonstrated a unique signature of healthy skin (25). From a total of 22 studies evaluated from regions of disease-free skin using untargeted metabolomics, 689 compounds were identified from 32 different chemical classes, the most common being: aldehydes (18%), carboxylic acids (12%), alkanes (12%), fatty alcohols (9%), ketones (7%), and benzenes and derivatives (6%) (Figure 1). The most common VOCs detected from healthy skin were decanal (n = 21 studies), nonanal (n = 20), octanal (n = 18), heptanal (n = 15), benzaldehyde (n = 15), 6-methyl, 5-hepten-2-one (n = 11), and acetone (n = 9). Generally, acetone, acetaldehyde, 6-methyl-5-hepten-2-one, nonanal and decanal were ‘stable’ volatiles consistently detected at high emission rates. The putative biological origins of VOCs of healthy skin were evaluated in this study by matching individual metabolites using their CAS numbers against the Kyoto Encyclopaedia of Genes and Genomes and Human Metabolome databases. Results demonstrated 13% of VOCs had endogenous origins, 46% had exogenous origins, and 41% were present in mixed pathways. Although exogenous VOCs are present in all biological sampling matrices, this is particularly troublesome for skin VOCs in comparison to other assays such as urine which reflects the unique interface of skin as a matrix between endogenous processes and the outer exposome. Compounds such as limonene, undecanal and 1-dodecanol were commonly detected exogenous skin VOCs, that are regularly used in food flavouring, preservatives, and cosmetic fragrances (35,36). Compounds such as phenol, are known to be abundantly expressed in the environmental as well as being secondary metabolites of common medications such as aspirin (37,38). A significant proportion of skin compounds also had mixed biological origins such as benzoic acid which is a widely used fungistatic compound used as a food preservative; however, also produced endogenously as a by-product of phenylalanine metabolism in gut bacteria (39).

Currently, there is no clinically validated skin biomarker that may be used for diagnostic purposes, but various association have been drawn between skin VOCs and human health such as the presence of 2-nonenal as a biomarker for ageing, ethanol to signify alcohol consumption and dimethyl sulphone, ally methyl sulphide and allymercaptan as indicators of garlic ingestion (36,40). Skin VOCs associated with cigarette smoking have been identified with 3 compounds from the heteroaromatic class; 2-methyl furan, 3-methylfuran, 2-pentyl furan, and 2,5-dimethyl furan, being associated with nicotine exposure in dermal emissions in healthy volunteers (41). The application of this can be used in clinical situations to determine the smoking status of patients, or to identify exposure to second hand smoke.

Figure 1: The Composition of the Human Skin Volatolome in Health and Disease

Figure 1a; The composition of the skin volatolome from the top 8 chemical classes from i) healthy skin ii) infected skin iii) participants with melanoma and iv) patients with mixed visceral adenocarcinoma. 1b; percentage change in the skin VOC profile normalised to the healthy skin profile in a range of disease states.

Skin VOCs in Benign Disease

Wound infection and healing:  In comparison to the healthy skin volatolome, studies investigating skin VOCs of wound infection and healing have demonstrated a difference in the compounds emitted. Early results have demonstrated higher levels of nonanal, tetradecanal, acetic acid and an abundance of branched chain compounds; 2-ethyl 1-hexanol, 6, 10-dimethyl-2-undecanone, and 1, 1-oxybis octane (42). The proportions of carboxylic acids and aldehydes were significantly higher in VOCs from infected skin compared to healthy and there is also a trend towards reduction in alkanes emitted from the skin in infected wounds. This may be explained as the lipid rich sebum layer that coats skin serves as a protective barrier as well as having anti- microbial defence mechanisms. The oxidation of these lipids has been postulated to be a source for skin carboxylic acids seen in the healthy volatolome. In infection, the increase in fatty acids may be due to oxidation of more unusual, branched chain fatty acids present in the microbiome that contains longer acyl chains which translates to more plentiful combination of fatty acids produced that is reflected in the changes in skin volatiles seen. The origin of common compounds such as 9-decenoic and 10-undecenoic acids can be satisfactorily explained by such a route.

Recent efforts have attempted to profile skin emanations in phases of wound healing. This would aid clinical practice by identifying infected wounds early, especially if the volatile profile was specific to the offending microbial organism.  Skin VOCs have been profiled in real time in the microbial headspace of wounds at days 0, 7, 14, 21 and 28 (43). Results demonstrated a significant difference in the skin VOCs between time points with the most pertinent difference being between day 0 and other time points (day 7- 14 and day 21- 28). Ten VOCs were identified that were responsible for the difference between healthy and early wounds and two of these, linolenic acid and glycerol were significantly higher in infected wounds at day 7 and 14. Their presence and abundance may represent a measure of varying wound healing that can be measured non- invasively. A study by Thomas et al utilised PDMS patches to profile microbial skin changes in adult patients with chronic arterial leg ulcers with the aim of identifying possible volatile biomarkers that underpin the metabolism of wound healing. Skin VOC analysis demonstrated a 73.3% prediction accuracy of differentiating control and infected lesions and generated a list of tentative compounds that may represent infection, healthy and boundary lesion wounds (44).

The skin VOC profile through injury has also been investigated with early results demonstrating a reduction in the proportion of carboxylic fatty acids produced. This finding could be attributed to the fact that mechanical injury disrupts the waxy lipid film layer and consequently reduces the generation of carboxylic acids through lipid oxidation (45). This strengthens the insights into the putative biological origins of skin VOCs. Other changes in skin VOCs with injury relate to sebum- derived components such as polyterpenoid squalene.

Parkinson’s Disease: Anecdotally, it has been observed that characteristic odours released in bodily secretions are pathognomonic for Parkinsons disease and are present in individuals before the motor symptoms of Parkinsons disease develop (46). Thus, the analysis of skin VOCs offers an opportunity for early disease diagnosis in this group of patients. Two papers attempted to characterise this chemical signature and identifiy non- invasive biomarkers or therapeutic targets of Parkinsons disease. Trivedi et al swabbed the upper back in 43 Parkinsons patients and healthy controls, demonstrating that the concentrations of perillic acid and eicosane were altered in the skin VOC profile in Parkinsons (47). This work was expanded by Sinclair et al who used found that in addition to the two compounds reported, hippuric acid and octadecanol was specific associated with Parkinsons disease and may allude to a unique volatile biomarker that may guide clinical practice (48).

Malaria: A large proportion of skin VOC research has been in relation to vector disease. An individual’s scent and ‘attractiveness’ to mosquitos has been frequently  investigated since mosquitoes rely on chemical cues to find their host, and humans can be ranked for attractiveness to mosquitoes based on their skin VOC profile. Mosquitoes are known to demonstrate preference for certain regions on the human host. The skin surface chemical profile can consequently be used to find specific mosquito attractiveness biomarkers. The analysis of the body odours of individuals with varying attractiveness has led to the identification of several attractive and repellent skin volatiles that can be used as vector control tools. Two skin VOCs, octanal and tetradecanoic acid have been demonstrated to be attractive to female nulliparous mosquito species, Anopheles gambiae and Aedes aegypti (32,49,50). In another study, a PDMS patch was used to analyse skin VOCs emitted over the wrist and ankle region and analysed with two-dimensional GCMS. Results demonstrated compounds such as 5-Ethyl-1,2,3,4-tetrahydronaphthalene, 1,1′- oxybisoctane, 2-(dodecyloxy)ethanol, α,α-dimethylbenzene methanol, methyl salicylate, 2,6,10,14-tetramethylhexadecane, 1,2- benzenedicarboxylic acid, bis(2-methylpropyl) ester, 4-methylbenzaldehyde, 2,6-diisopropylnaphthalene, n-hexadecanoic acid, and γ-oxobenzenebutanoic acid ethyl ester were closely associated with individuals who perceived themselves as attractive for mosquitoes (29). Conversely, dodecanoic acid, pentadecanoic acid heptadecanoic acid, phenanthrene, butyrolactone, 2-undecanone, and 6-methyl-1-heptanol were more abundant in individuals who perceived themselves as not attractive to mosquitoes. These studies demonstrated the clinical applications of skin VOC analysis as a non-invasive passive sampling approach to investigate mosquito host relationships.

Cancer:  A specific ‘smell’ of cancer was first proposed in 1989 by Williams and Pembroke, who demonstrated the ability of dogs to detect cancer based on their exquisitely sensitive olfactory system (51). Whether this phenomenon was due to detection of VOCs that are directly induced by the cancer metabolome or the detection of compounds that are general to advanced disease with inflammation and infection needs to be ascertained, however this technology has been extrapolated in various studies to evaluate skin VOCs in malignant disease.

Melanoma: Skin VOC analysis has been explored for the detection of malignant melanoma. Two skin VOCs, dimethyl disulfide and dimethyl trisulfide compounds have been associated with this cancer, postulating to be generated endogenously by the tumour metabolome as they are not known to be generated by normal melanocytes providing insights into the increased methylation process in melanoma (52). These results have been corroborated by results profiling headspace skin VOCs of skin patches from melanoma, benign naevi and skin samples. Results demonstrated significantly more carboxylic acids produced from melanoma in comparison to healthy skin and aldehydes and benzene derivatives from the melanoma group. Only pyridine and 3- hexanol appeared to be specific for naevi, and phthalate, butanal, dimethylsulfone and indole, were 16 times more likely to be detected from melanoma than benign naevus. The presence of longer chain alcohols and methylated benzenes were abundant in the melanoma group.  A study conducted by Abaffy et al generated a 12-metabolite model that distinguished melanoma biopsies from healthy skin with 89% sensitivity and 90% specificity (53). Abaffy et al also performed untargeted profiling of skin VOCs generated in the headspace from 10 fresh melanoma biopsies directly with paired with healthy tissue samples using GCMS. Results revealed increased levels of short chain saturated fatty acids; lauric acid and palmitic acid in melanoma in comparison to controls (52). Increased levels of these fatty acids may be a consequence of de novo lipid synthesis and upregulated fatty acid metabolism, a phenomenon that is considered integral in the metabolic reprogramming of cancer.

Visceral Cancer: The diagnostic ability of skin VOCs in determining visceral organ cancers in humans have been investigated in a study by Monedeiro et al (54). Skin VOCs from 32 patients with mixed visceral adenocarcinoma (lung, prostate, gastric, kidney, head and neck, pancreas, and colorectal) were collected using cotton skin patches.  Of the 52 VOCs that were identified, low molecular weighted non-polar compounds from chemical classes, such as alkenes, alkanes, and ketones were significantly higher in cancer patients in comparison to healthy patients. This may be explained by evaluating the biological origins of these compounds as alkenes, aldehydes and ketones are known secondary metabolites of lipid peroxidation and may be an indicator of oxidative stress that is known to be higher within tumour microenvironments (55)(56). In comparison, carboxylic acids were lower in the cancer group, reflecting a shift in the VOC skin signature in disease states. In addition, depending on the VOC profile, an accuracy of 70% was achieved when classifying the tumour site, grade and whether the tumour was primary or metastatic. Total aldehydes were strongly correlated with staging of adenocarcinomas, while phenol and 2,6-dimethyl-7-octen-2-ol were correlated with Gleason score in prostate cancer patients.

There is currently insufficient evidence to draw meaningful conclusions relating skin VOCs and specific disease states. Those studies that were identified did provide tentative evidence of a link between skin VOCs and both cutaneous and systemic disease however, further studies are required to validate these findings. Although these are early results with relatively small number of patients, it contributes to a growing evidence base of the clinical utility of cancer associated skin VOCs for local skin cancers as well as their role in identifying underlying solid organ visceral cancers.

3. Limitations and Future Directions

At the present time, there is limited understanding of the optimal methodology for capturing and analysing skin VOCs. This is emphasised by the finding that no two studies within the literature share a directly comparable methodology, thereby highlighting the heterogeneity present within sampling methods.  Except for a small number of studies that have employed direct injection analytical methods, most studies could be broadly categorised as those that used absorptive agents placed either in direct contact with the skin or near the skin. Although exogenous VOCs are present in all biological sampling matrices, this is particularly troublesome for skin VOCs due to its continual contact with the environmental exposome (57). Exogenous compounds have been detected in studies despite rigorous pre- testing practices e. g non- odor deodorant, no body wash/ perfume for days prior to testing but has appeared ubiquitously in skin emanations. Although it is impossible to eliminate all exogenous VOCs, efforts can be made to minimise their presence. Such measures include asking participants to refrain from the use of personal care products prior to sampling, sampling in well-ventilated environments and careful selection of the anatomical location of skin sampling (31).

Considering the heterogeneity in observed methodologies and the potential for this to impact on future findings, a summary of potentially important methodological considerations for skin based volatolomics is provided in Table 2.

Table 2. Considerations for Analysis of Skin Volatile Organic Compounds

Future research should focus on elucidating the mechanisms and kinetics of skin VOC generation and the relative contributions of both local and systemic metabolism. The chemical diversity of skin VOCs has been postulated to arise from the underlying metabolism of the participant (affected by phenotype, diet and environment); exogenous inputs (medication, environ-mental contamination); compounds speciﬁcally related to the metabolism of bacteria in the lesion; and the associated pathology of tissue damage. Although several studies researched the influences of different anatomical sites and skin infection on the VOC profile, no individual study investigated the influence of skin-specific bacterial species on VOC production. Considering resident microbiota are known to be plentiful sources of VOCs, more work is needed to understand their role in producing unique skin volatile profiles. Elucidation of pathophysiological mechanisms underlying production of disease-specific VOCs may provide novel insights into therapeutic approaches for treatments for various diseases. Further work should focus on method development, assessment of cost- effective strategies and optimisation in order to optimise the extraction of VOCs.

3. Conclusion:

The study of VOCs and their role in disease detection and monitoring has rapidly evolved over the last two decades, supported by technical advancements in analytical methods, emphasis on compound identification, elucidation of biological origins, and an increasing appreciation of the importance of standardisation and quality controls.

Considering that skin is the largest organ in the body and second largest contributor to the overall human volatolome, VOCs emitted from the skin reflect valuable underlying metabolic information in an entirely non- invasive manner for a plethora of health and disease conditions.  Research has demonstrated its valuable resource in the detection, monitoring and response to numerous conditions in humans.  VOC detection from the skin is particularly attractive owing to the potential to detect both locally occurring as well as broader systemic changes in the metabolism, the ease of accessibility, and the high patient acceptability of this nature of sampling. Measuring VOCs from skin has advantages over other matrices such as breath and blood. The use of a skin patch does not require a trained scientist to use, is self-administrable with no discomfort, easily transported and stored which enables sampling in the clinic and community for online and offline analysis. Skin gas is easier to collect than blood or expired air.

There is now a compendium of studies and an emerging VOC phenotype for conditions that have been demonstrated using untargeted MS approaches. When translating this to clinic, real time targeted methods can be used based on the data from discovery studies. This may be more feasible in clinic and at scale.  Future validated large scale human trials will be necessary to assess its diagnostic value and the feasibility and practicality of its use.

The number of VOCs that are emitted from the skin is continuing to rise and the future looks promising of using this matrix for clinical diagnosis. The number of identifiable VOCs is also rising. As research progresses and methodologies become aligned and consistent, the confidence in VOC annotation will increase and the number of undocumented VOCs in samples should reduce.

The next steps of research in the volatilomic field should be directed towards investigating the origins and mechanistic drivers behind the production of VOCs, this will guide identification of endogenous and exogenous origins of compounds, enable analytical refinements and aid our understanding of certain disease processes.

End of Chapter

References:

1.	Wang N, Ernle L, Bekö G, Wargocki P, Williams J. Emission Rates of Volatile Organic Compounds from Humans. Environ Sci Technol [Internet]. 2022 Apr 19;56(8):4838–48. Available from: https://doi.org/10.1021/acs.est.1c08764

2.	Mochalski P, King J, Unterkofler K, Hinterhuber H, Amann A. Emission rates of selected volatile organic compounds from skin of healthy volunteers. J Chromatogr B Analyt Technol Biomed Life Sci [Internet]. 2014;959:62–70. Available from: http://ovidsp.ovid.com/ovidweb.cgi?T=JS&PAGE=reference&D=med11&NEWS=N&AN=24768920

3.	Hanna GB, Boshier PR, Markar SR, Romano A. Accuracy and Methodologic Challenges of Volatile Organic Compound–Based Exhaled Breath Tests for Cancer Diagnosis: A Systematic Review and Meta-analysis. JAMA Oncol [Internet]. 2019 Jan 10;5(1):e182815–e182815. Available from: https://doi.org/10.1001/jamaoncol.2018.2815

4.	Wilde MJ, Cordell RL, Salman D, Zhao B, Ibrahim W, Bryant L, et al. Breath analysis by two-dimensional gas chromatography with dual flame ionisation and mass spectrometric detection – Method optimisation and integration within a large-scale clinical study. J Chromatogr A [Internet]. 2019;1594:160–72. Available from: https://www.sciencedirect.com/science/article/pii/S0021967319301311

5.	Parsons BA, Marney LC, Siegler WC, Hoggard JC, Wright BW, Synovec RE. Tile-Based Fisher Ratio Analysis of Comprehensive Two-Dimensional Gas Chromatography Time-of-Flight Mass Spectrometry (GC × GC–TOFMS) Data Using a Null Distribution Approach. Anal Chem [Internet]. 2015 Apr 7;87(7):3812–9. Available from: https://doi.org/10.1021/ac504472s

6.	Mochalski P, Unterkofler K, Hinterhuber H, Amann A. Monitoring of selected skin-borne volatile markers of entrapped humans by selective reagent ionization time of flight mass spectrometry in NO+ mode. Anal Chem [Internet]. 2014;86(8):3915–23. Available from: http://ovidsp.ovid.com/ovidweb.cgi?T=JS&PAGE=reference&D=med11&NEWS=N&AN=24611620

7.	Turner C, Parekh B, Walton C, Spanel P, Smith D, Evans M. An exploratory comparative study of volatile compounds in exhaled breath and emitted  by skin using selected ion flow tube mass spectrometry. Rapid Commun Mass Spectrom. 2008;22(4):526–32.

8.	Lin GP, Vadhwana B, Belluomo I, Boshier PR, Španěl P, Hanna GB. Cross Platform Analysis of Volatile Organic Compounds Using Selected Ion Flow Tube and Proton-Transfer-Reaction Mass Spectrometry. J Am Soc Mass Spectrom [Internet]. 2021 May 5;32(5):1215–23. Available from: https://doi.org/10.1021/jasms.1c00027

9.	Belluomo I, Boshier PR, Myridakis A, Vadhwana B, Markar SR, Spanel P, et al. Selected ion flow tube mass spectrometry for targeted analysis of volatile organic compounds in human breath. Nat Protoc [Internet]. 2021; Available from: https://doi.org/10.1038/s41596-021-00542-0

10.	Drabinska N, Flynn C, Ratcliffe N, Belluomo I, Myridakis A, Gould O, et al. A literature survey of volatiles from the healthy human breath and bodily fluids: the humvolatilome. J Breath Res [Internet]. 2021 Mar 24; Available from: https://iopscience.iop.org/article/10.1088/1752-7163/abf1d0

11.	Shirasu M, Touhara K. The scent of disease: volatile organic compounds of the human body related to  disease and disorder. J Biochem. 2011 Sep;150(3):257–66.

12.	Woodfield G, Belluomo I, Boshier PR, Waller A, Fayyad M, von Wagner C, et al. Feasibility and acceptability of breath research in primary care: a prospective, cross-sectional, observational study. BMJ Open [Internet]. 2021 Apr 1;11(4):e044691. Available from: http://bmjopen.bmj.com/content/11/4/e044691.abstract

13.	Markar SR, Wiggins T, Antonowicz S, Chin ST, Romano A, Nikolic K, et al. Assessment of a Noninvasive Exhaled Breath Test for the Diagnosis of Oesophagogastric Cancer. JAMA Oncol [Internet]. 2018 Jul 1;4(7):970–6. Available from: https://doi.org/10.1001/jamaoncol.2018.0991

14.	Kumar S, Huang J, Abbassi-Ghadi N, Španěl P, Smith D, Hanna GB. Selected Ion Flow Tube Mass Spectrometry Analysis of Exhaled Breath for Volatile Organic Compound Profiling of Esophago-Gastric Cancer. Anal Chem [Internet]. 2013 Jun 18;85(12):6121–8. Available from: https://doi.org/10.1021/ac4010309

15.	Markar SR, Brodie B, Chin ST, Romano A, Spalding D, Hanna GB. Profile of exhaled-breath volatile organic compounds to diagnose pancreatic cancer. British Journal of Surgery [Internet]. 2018 Oct 1;105(11):1493–500. Available from: https://doi.org/10.1002/bjs.10909

16.	Woodfield G, Belluomo I, Laponogov I, Veselkov K, Cross AJ, Hanna GB, et al. Diagnostic Performance of a Noninvasive Breath Test for Colorectal Cancer: COBRA1 Study. Gastroenterology. 2022 Nov;163(5):1447-1449.e8.

17.	Khalid T, Aggio R, White P, De Lacy Costello B, Persad R, Al-Kateb H, et al. Urinary Volatile Organic Compounds for the Detection of Prostate Cancer. PLoS One [Internet]. 2015 Nov 24;10(11):e0143283. Available from: https://doi.org/10.1371/journal.pone.0143283

18.	Wen Q, Myridakis A, Boshier PR, Zuffa S, Belluomo I, Parker AG, et al. A Complete Pipeline for Untargeted Urinary Volatolomic Profiling with Sorptive Extraction and Dual Polar and Nonpolar Column Methodologies Coupled with Gas Chromatography Time-of-Flight Mass Spectrometry. Anal Chem. 2023 Jan 5;

19.	de Lacy Costello B, Amann A, Al-Kateb H, Flynn C, Filipiak W, Khalid T, et al. A review of the volatiles from the healthy human body. J Breath Res [Internet]. 2014 Jan 13;8(1):014001. Available from: https://iopscience.iop.org/article/10.1088/1752-7155/8/1/014001

20.	De Luca C, Valacchi G. Surface Lipids as Multifunctional Mediators of Skin Responses to Environmental Stimuli. Mediators Inflamm. 2010;2010:1–11.

21.	Gallagher M, Wysocki CJ, Leyden JJ, Spielman AI, Sun X, Preti G. Analyses of volatile organic compounds from human skin. Br J Dermatol [Internet]. 2008;159(4):780–91. Available from: http://ovidsp.ovid.com/ovidweb.cgi?T=JS&PAGE=reference&D=med7&NEWS=N&AN=18637798

22.	Curran AM, Rabin SI, Prada PA, Furton KG. Comparison of the Volatile Organic Compounds Present in Human Odor Using Spme-GC/MS. J Chem Ecol [Internet]. 2005;31(7):1607–19. Available from: https://doi.org/10.1007/s10886-005-5801-4

23.	Baguneid M, Ashrafi M, Alonso-Rasgado T, Bayat A, Novak-Frazer L, Rautemaa-Richardson R, et al. Validation of biofilm formation on human skin wound models and demonstration of clinically translatable bacteria-specific volatile signatures. Sci Rep [Internet]. 2018;8(1):9431. Available from: http://ovidsp.ovid.com/ovidweb.cgi?T=JS&PAGE=reference&D=emed19&NEWS=N&AN=629395683

24.	Rankin-Turner S, McMeniman CJ. A headspace collection chamber for whole body volatilomics. Analyst. 2022;147(22):5210–22.

25.	Mitra A, Choi S, Boshier PR, Razumovskaya-Hough A, Belluomo I, Spanel P, et al. The Human Skin Volatolome: A Systematic Review of Untargeted Mass Spectrometry Analysis. Vol. 12, Metabolites. 2022.

26.	Riazanskaia S, Blackburn G, Harker M, Taylor D, Thomas CLP. The analytical utility of thermally desorbed polydimethylsilicone membranes for in-vivo sampling of volatile organic compounds in and on human skin. Analyst [Internet]. 2008;133(8):1020–7. Available from: http://pubs.rsc.org/en/journals/journal/an

27.	Prada PA, Curran AM, Furton KG. The evaluation of human hand odor volatiles on various textiles: a comparison between contact and noncontact sampling methods. J Forensic Sci [Internet]. 2011;56(4):866–81. Available from: http://ovidsp.ovid.com/ovidweb.cgi?T=JS&PAGE=reference&D=med8&NEWS=N&AN=21480894

28.	Doležal P, Kyjaková P, Valterová I, Urban Š. Qualitative analyses of less-volatile organic molecules from female skin scents by  comprehensive two dimensional gas chromatography-time of flight mass spectrometry. J Chromatogr A. 2017 Jul;1505:77–86.

29.	Wooding M, Rohwer ER, Naude Y. Chemical profiling of the human skin surface for malaria vector control via a non-invasive sorptive sampler with GCxGC-TOFMS. Anal Bioanal Chem [Internet]. 2020;412(23):5759–77. Available from: http://ovidsp.ovid.com/ovidweb.cgi?T=JS&PAGE=reference&D=emexa&NEWS=N&AN=632384165

30.	Shetewi T, Fitzgerald S, Duffy E, Morrin A, Finnegan M, Xu  Aoife; ORCID: http://orcid.org/0000-0002-3031-4794 SAOM. Investigation of the relationship between skin-emitted volatile fatty acids and skin surface acidity in healthy participants - a pilot study. J Breath Res [Internet]. 2021; Available from: http://ovidsp.ovid.com/ovidweb.cgi?T=JS&PAGE=reference&D=emexb&NEWS=N&AN=634664828

31.	Kuhn F, Natsch A. Body odour of monozygotic human twins: a common pattern of odorant carboxylic acids released by a bacterial aminoacylase from axilla secretions contributing to an inherited body odour type. J R Soc Interface [Internet]. 2009;6(33):377–92. Available from: http://ovidsp.ovid.com/ovidweb.cgi?T=JS&PAGE=reference&D=med7&NEWS=N&AN=18682364

32.	Bernier UR, Kline DL, Barnard DR, Schreck CE, Yost RA. Analysis of human skin emanations by gas chromatography/mass spectrometry. 2.  Identification of volatile compounds that are candidate attractants for the yellow fever mosquito (Aedes aegypti). Anal Chem. 2000 Feb;72(4):747–56.

33.	Roodt AP, Naude Y, Stoltz A, Rohwer E. Human skin volatiles: Passive sampling and GCxGC-ToFMS analysis as a tool to investigate the skin microbiome and interactions with anthropophilic mosquito disease vectors. J Chromatogr B Analyt Technol Biomed Life Sci [Internet]. 2018;1097–1098:83–93. Available from: http://ovidsp.ovid.com/ovidweb.cgi?T=JS&PAGE=reference&D=med15&NEWS=N&AN=30212730

34.	Morrison G, Eftekhari A, Fan A, Majluf F, Krechmer JE. The influence of personal care products on ozone-skin surface chemistry. PLoS One. 2022 Sep 29;17(9):e0268263.

35.	HMDB. The Human Metabolome Database [Internet]. p. https://hmdb.ca/. Available from: https://hmdb.ca/

36.	FooDB. FooDB [Internet]. p. https://foodb.ca/compounds/FDB002916. Available from: https://foodb.ca/compounds/FDB002916

37.	McDonnell G, Russell AD. Antiseptics and disinfectants: activity, action, and resistance. Clin Microbiol Rev [Internet]. 1999 Jan;12(1):147–79. Available from: https://pubmed.ncbi.nlm.nih.gov/9880479

38.	Lu C, Wang X, Dong S, Zhang J, Li J, Zhao Y, et al. Emissions of fine particulate nitrated phenols from various on-road vehicles in  China. Environ Res. 2019 Dec;179(Pt A):108709.

39.	Han J, Meng J, Chen S, Li C. Integrative analysis of the gut microbiota and metabolome in rats treated with  rice straw biochar by 16S rRNA gene sequencing and LC/MS-based metabolomics. Sci Rep. 2019 Nov;9(1):17860.

40.	Haze S, Gozu Y, Nakamura S, Kohno Y, Sawano K, Ohta H, et al. 2-Nonenal Newly Found in Human Body Odor Tends to Increase with Aging. Journal of Investigative Dermatology [Internet]. 2001;116(4):520–4. Available from: https://www.sciencedirect.com/science/article/pii/S0022202X15411984

41.	Mochalski P, Wiesenhofer H, Allers M, Zimmermann S, Guntner AT, Pineau NJ, et al. Monitoring of selected skin- and breath-borne volatile organic compounds emitted from the human body using gas chromatography ion mobility spectrometry (GC-IMS). J Chromatogr B Analyt Technol Biomed Life Sci [Internet]. 2018;1076:29–34. Available from: http://ovidsp.ovid.com/ovidweb.cgi?T=JS&PAGE=reference&D=med15&NEWS=N&AN=29396365

42.	Ashrafi M, White I, Muhamadali H, Alonso-Rasgado T, Goodacre R, Bayat A, et al. First identification of volatile biomarker profiles and their associations in acute wound healing processes in human skin. Wound Repair and Regeneration [Internet]. 2018;26(4):A2. Available from: http://ovidsp.ovid.com/ovidweb.cgi?T=JS&PAGE=reference&D=emed19&NEWS=N&AN=625646124

43.	Ashrafi M, White I, Muhamadali H, Alonso-Rasgado T, Goodacre R, Bayat A, et al. First identification of volatile biomarker profiles and their associations in acute wound healing processes in human skin. Wound Repair and Regeneration [Internet]. 2018;26(1):A23. Available from: http://ovidsp.ovid.com/ovidweb.cgi?T=JS&PAGE=reference&D=emed19&NEWS=N&AN=622081441

44.	Thomas AN, Riazanskaia S, Cheung W, Xu Y, Goodacre R, Thomas CLP, et al. Novel noninvasive identification of biomarkers by analytical profiling of chronic wounds using volatile organic compounds. Wound Repair Regen [Internet]. 2010;18(4):391–400. Available from: http://ovidsp.ovid.com/ovidweb.cgi?T=JS&PAGE=reference&D=med8&NEWS=N&AN=20492633

45.	Duffy E, Jacobs MR, Kirby B, Morrin A. Probing skin physiology through the volatile footprint: Discriminating volatile emissions before and after acute barrier disruption. Exp Dermatol [Internet]. 2017;26(10):919–25. Available from: http://ovidsp.ovid.com/ovidweb.cgi?T=JS&PAGE=reference&D=med14&NEWS=N&AN=28370710

46.	Silverdale M, Trivedi D, Sinclair E, Xu Y, Liscio C, Banks P, et al. Sniffing Parkinson’s in the masses: Volatilome analysis for Parkinson’s disease diagnostics. Movement Disorders [Internet]. 2018;33(Supplement 2):S384. Available from: http://ovidsp.ovid.com/ovidweb.cgi?T=JS&PAGE=reference&D=emed19&NEWS=N&AN=624550110

47.	Trivedi DK, Sinclair E, Xu Y, Sarkar D, Walton-Doyle C, Liscio C, et al. Discovery of Volatile Biomarkers of Parkinson’s Disease from Sebum. ACS Cent Sci [Internet]. 2019 Apr 24;5(4):599–606. Available from: https://doi.org/10.1021/acscentsci.8b00879

48.	Sinclair E, Walton-Doyle C, Sarkar D, Hollywood KA, Milne J, Lim SH, et al. Validating Differential Volatilome Profiles in Parkinson’s Disease. ACS Cent Sci [Internet]. 2021 Feb 24;7(2):300–6. Available from: https://doi.org/10.1021/acscentsci.0c01028

49.	Dormont L, Bessiere JM, McKey D, Cohuet A. New methods for field collection of human skin volatiles and perspectives for their application in the chemical ecology of human-pathogen-vector interactions. J Exp Biol [Internet]. 2013;216(Pt 15):2783–8. Available from: http://ovidsp.ovid.com/ovidweb.cgi?T=JS&PAGE=reference&D=med10&NEWS=N&AN=23580718

50.	Meijerink J, Braks MAH, Brack AA, Adam W, Dekker T, Posthumus MA, et al. Identification of Olfactory Stimulants for Anopheles gambiae from Human Sweat Samples. J Chem Ecol [Internet]. 2000;26(6):1367–82. Available from: https://doi.org/10.1023/A:1005475422978

51.	Williams H, Pembroke A. Sniffer dogs in the melanoma clinic? Vol. 1, Lancet (London, England). England; 1989. p. 734.

52.	Abaffy T, Moller MG, Riemer DD, Milikowski C, DeFazio RA. Comparative analysis of volatile metabolomics signals from melanoma and benign skin: A pilot study. Metabolomics [Internet]. 2013;9(5):998–1008. Available from: http://ovidsp.ovid.com/ovidweb.cgi?T=JS&PAGE=reference&D=emed14&NEWS=N&AN=52517430

53.	Abaffy T, Duncan R, Riemer DD, Tietje O, Elgart G, Milikowski C, et al. Differential volatile signatures from skin, naevi and melanoma: a novel approach to detect a pathological process. PLoS One [Internet]. 2010;5(11):e13813. Available from: http://ovidsp.ovid.com/ovidweb.cgi?T=JS&PAGE=reference&D=med8&NEWS=N&AN=21079799

54.	Monedeiro F, Dos Reis RB, Peria FM, Sares CTG, De Martinis BS. Investigation of sweat VOC profiles in assessment of cancer biomarkers using  HS-GC-MS. J Breath Res. 2020 Feb;14(2):26009.

55.	Aboelella NS, Brandle C, Kim T, Ding ZC, Zhou G. Oxidative Stress in the Tumor Microenvironment and Its Relevance to Cancer Immunotherapy. Cancers (Basel) [Internet]. 2021 Feb 27;13(5):986. Available from: https://pubmed.ncbi.nlm.nih.gov/33673398

56.	Ratcliffe N, Wieczorek T, Drabińska N, Gould O, Osborne A, De Lacy Costello B. A mechanistic study and review of volatile products from peroxidation of unsaturated fatty acids: an aid to understanding the origins of volatile organic compounds from the human body. J Breath Res [Internet]. 2020 May 27;14(3):034001. Available from: https://iopscience.iop.org/article/10.1088/1752-7163/ab7f9d

57.	Salman D, Ibrahim W, Kanabar A, Joyce A, Zhao B, Singapuri A, et al. The variability of volatile organic compounds in the indoor air of clinical  environments. J Breath Res. 2021 Dec;16(1).